**Sprowston Town Council – Streetlighting Tender 2024**

**STC Clarification #1**

**Clarifications Requested:**

Q.A1. Could you please confirm the make/model of the 114 LED lights currently in place, or if you have a preference for the remaining upgrades?

***A.A1. We do not have accurate information on the make/model of all 114 LEDs currently in place. We believe the vast majority are Urbis Axia LED lanterns, with a smaller number of other makes and models installed by various housing developers at various times.***

Q.A2. Do any of the upgrades relate to non-standard or heritage style lanterns?

***A.A2. We do not have any heritage stye lanterns or columns. We have three non-standard lighting bollards on a public footpath (please see ‘STC Clarification #1\_Street Light List\_Sprowston\_2022’ for their location).***

Q.A3. Does the Town Council wish to replace any of the current LEDs in line with the new installations?

***A.A3. No. The exceptions would be if an existing LED lantern was found to be in very poor condition, or if an existing LED was incompatible with the proposed CMS. Please note; we are looking to procure a CMS that is compatible with our existing LED lanterns.***

Q.A4. Could you advise if you have an existing asset register, or list of lights within the control of the Town Council?

***A.A4. We have a list of lights (please see attached “STC Clarification #1\_Street Light List\_Sprowston\_2022”). Please note this schedule is dated 2022 and will not now be 100% accurate. The list does not record the type of lantern fitted to each column.***