Tender Clarifications 23-10-2020

Q:Is it 3mm or 4.5mm Regupol Multi Acoustic Underlay that you require

A:3mm Please

Q: Could you please confirm if a Door Schedule has been provided?

A: A door schedule will not be provided all door sizing will form part of the contractor proposals under the design and build contract:

Additional Points

The final position of all Mezzanine columns will form part of the contractor proposals under the design and build contract.

Additional Slab drawings have been provided and uploaded to contracts finder