## 1.0 Prelims
SUPPORT ACCOMMODATION FIT OUT AND NEW SITE SERVICES
FLEETWOOD FIRE FIGHTING CENTRE
BLACKPOOL AND THE FYLDE COLLEGE
Ref | Item | Quantity | Rate | Total
1.00 | PRELIMINARIES
Location of Works
1.01 | The site is located at the Fleetwood Fire Fighting Centre, Enterprise Way, Fleetwood, FY7 8RY
Local Authority
1.02 | The Local Authority is Wyre Council, Civic Centre, Breck Road, Poulton-le-Fylde, FY6 7PU
Employer
1.03 | The Employer is Blackpool and The Fylde College, Ashfield Road, Bispham, Blackpool, FY2 0HB
Contract Administrator
1.04 | The term 'Contract Administrator' shall mean Leeming Associates, 8-10 Preston Old Road, Freckleton, Preston PR4 1PD. Tel: 01772 632556 Email: office@leemingassociates.com
Quantity Surveyor
1.05 | The term 'Quantity Surveyor' shall mean Leeming Associates
CDM Principal Designer
1.06 | The term 'CDM Principal Designer' shall mean Leeming Associates.
Drawings
1.07 | The following tender drawings form part of the tender documents:- See Leeming Associates 2642D drawing register and JRB Environmental drawing registers for Mechanical Services (dated 24.06.15) and Electrical Services (dated 30.06.15).
Description of Works
1.08 | The works comprise of the internal refurbishment of two detached modular buildings to form support accommodation for the Fire Fighting Centre together with site wide service installations including power feeder pillars, data, security / CCTV, fire alarm, external perimeter lighting, water feeds to Support Accommodation and Training Unit, and electrical works in association with new incoming electric feed to service the whole site.
Visit the Site
1.09 | Contractors are advised to visit the site and ascertain for themselves the exact nature of the proposed works and any difficulties inherent therein.
Nature of the Works/Access
1.10 | Contractor vehicular access is through the south entrance via Enterprise Way.
EMPLOYERS REQUIREMENTS
Confinement on Site
1.11 | The Contractor shall confine his employees, suppliers or subcontractors materials, plant equipment and huts within the site boundaries and to the approval of the Contract Administrator.
Maintenance of Works
1.12 | The Contractor shall include for making good all damage and disturbance to the public and private roads and footways, kerbs and the like to the entire satisfaction of the local authority, public or private owners.
Police Regulations
1.13 | The Contractor shall include for complying with all Police Regulations or instructions and the Road Traffic Act in relation to; a) parking; b) keeping roads and footpaths clean, free from mud etc and clear of all obstructions caused by materials and plant; and c) conveyance of plant and materials to and from the site.
Nuisance Generally
1.14 | The Contractor shall prevent smoke, dust, fumes, spillage, pollution of waterways/drains and other harmful activities. No bonfires will be allowed.
1.15 | Comply with any reasonable requests from the public and adjoining owners.
1.16 | Keep noise down to as low a level as can be practically attained. Avoid the use of excessively noisy tools (e.g. percussion tools) or restrict their use to agreed times. Use mufflers and acoustic enclosures when necessary.
1.17 | Ban the use of radios, cassettes etc and comply with BS 5228 - 'Noise Control on Construction Sites'.
1.18 | Prevent any form of shock or vibration being transmitted to other buildings.
Workmanship
1.19 | The Works shall be carried out in a sound and workmanlike manner in accordance with current Codes of Practice and to the satisfaction of the Contract Administrator.
1.20 | The Contractor shall employ upon the works only skilled workmen and the Contract Administrator may require the removal of any person who in his opinion is incompetent or negligent in his duties
Materials
1.21 | All materials shall be the best of their respective kinds, confirming where possible to the current British Standards. They shall be handled, stored and fixed strictly in accordance with the manufacturer's instructions.
1.22 | Materials shall be properly stored and protected on site. Damaged items shall be replaced at the Contractor's expense.
Samples
1.23 | Samples of materials proposed to be used in the Works shall be submitted as and when instructed. Approved samples will be selected therefrom and be retained on site in order that material used in the works may be compared therewith.
1.24 | The Contractor shall include for taking all precautions in safeguarding the Works, materials and plant against damage and theft and shall include for the provision of temporary fencing and lighting as considered necessary.
1.25 | The Contractor shall provide tarpaulins and all necessary coverings and take adequate precautions to keep the works free from damage by frost, wind, rain or snow during the progress of the works and clear away on completion.
1.26 | The Contractor shall allow for protecting all work in this Contract and make good any damage and leave in good condition on completion.
Existing Services
1.27 | The Contractor shall locate and identify all live services and temporarily divert and/or protect as necessary.
Signboard
1.28 | A signboard will not be required.
Building Regulations
1.29 | The Contractor shall notify the Local Council or the appointed Approved Inspector of the commencement of the works and at each relevant stage of the works in order for them to inspect the works. The Contractor shall be responsible for obtaining the Building Regulation Completion Certificate on completion of the works.
Progress Chart and Drawings
1.30 | The Contractor shall submit a standard programme and progress chart to the Contract Administrator for approval within three days of the date of acceptance of his tender and keep up-to-date during the contract works.
Site Meetings
1.31 | The Contractor may use the site facilities for regular site meetings.
Removing Rubbish and Cleaning
1.32 | The Contractor shall clear away all rubbish and debris as it accumulates and shall clean down the building immediately before giving up possession including windows, external brickwork, paving's and the like to the satisfaction of the Contract Administrator.
1.33 | The Contractor shall allow removing all waste and the likes out of the areas of works. The corridors and stair areas must be protected at all times.
Handover
1.34 | Prior to handover the Contractor shall make arrangements and agree dates for inspections in respect of making good any defects.
1.35 | All information in respect of maintenance and operation manuals and the complete Health and Safety File shall be available prior to handover.
1.36 | The Contractor shall provide notification of the proposed handover date at least seven days prior to the proposed handover. Upon receipt of such notification the Contract Administrator and the Contractor will inspect the Works and produce a 'snagging list' of defective works. All such snagging works must be completed prior to handover of the works.
CONTRACTORS GENERAL COST ITEMS
Management and Staff
1.37 | The Contractor shall include for all on and off site management costs and charges including the designation of a site foreman for the full period of the contract who should be able to be contacted by telephone at all times during the working period.
Temporary Accommodation
1.38 | The Contractor shall provide any temporary accommodation he may require for the execution of the Works, including paying any fees, charges, rates etc in connection therewith. The Contractor shall allow for the removal and any necessary reinstatement on completion.
Light and Power
1.39 | The Contractor shall obtain and pay for all power and lighting supplies for his own and his subcontractors use.
Temporary Hoarding / Fencing
1.40 | The Contractor shall provide temporary fencing, lighting and the like as may be necessary to protect the area of works for satisfying the requirements of any Local or other Authority and the requirements of the CDM Regulations regarding security of the site works.
Water
1.41 | The Contractor shall obtain and pay for all water supplied for his own and his subcontractors use.
General Scaffolding
1.42 | The Contractor shall provide all necessary scaffolding, staging and the like to undertake the works including all necessary adaptions and removal on completion.
Plant
1.43 | The Contractor shall provide all necessary plant, tools, vehicles and the like to undertake the works.
Safety, Health and Welfare
1.44 | The Contractor shall comply with all current statutes, Regulations and Agreements relating to the Building Industry in respect of Safety, Health and Welfare.
1.45 | The Contractor shall comply with all the Construction (Design and Management) Regulations 2007 and shall take on the duties of Principal Contractor and update and add to the Health and Safety File during the works.
1.46 | The Contractor's attention is brought to the Pre-Construction Information which is included within the documentation.
Protection
1.47 | The Contractor shall provide all necessary protection to all external and internal floor and wall finishes for the duration of the contract.
Skips
1.48 | The Contractor shall provide all necessary skips required to complete the scope of works. All skips must be securely ringed with heras fencing at all times. Any skips located close to the any buildings (within 6 meters) MUST be lockable and the Contractor to ensure these skips are locked when not in use.
CONTRACT PARTICULARS
1.49 | The form of contract will be the JCT Agreement for Minor Building Works 2011 Edition - MW 2011
1.50 | The following insertions or amendments will be made to the Contract:-
Recital (5th) CDM Regulations - the project is notifiable
Article 7 - Applies
Recital (7th) and Schedule 3 - Supplementary provisions do not apply
Clause 1.1 CDM Planning Period - 2 weeks ending on Date for Commencement of Work
Clause 2.2 - Commencement - date to be agreed Completion - date to be agreed
Clause 2.8 - Damages for non-completion £100.00/week or part thereof
Clause 4, 11 & Schedule 2 - To be deleted
Clause 5.3.2 - Insurance cover to be not less than £5,000,000
Clause 5.4B - Insurance of the works and existing structures by Employer in joint names
Clause 7.2 - Adjudicator to be The Royal Institution of Chartered Surveyors
0
To Collection/Tender Summary: £ |  |  |  | 0

## 2.0 Specification
SUPPORT ACCOMMODATION FIT OUT AND NEW SITE SERVICES
FLEETWOOD FIRE FIGHTING CENTRE
BLACKPOOL AND THE FYLDE COLLEGE
Ref | Item | Quantity | Rate | Total
2.00 | SPECIFICATION
The following items reflect the minimum requirements which the College will accept for certain elements of the proposed works/installations. This specification is by no means exhaustive and is included for clarity on a number of specific requirements which the College stipulates for all works.
2.01 | Vinyl Flooring
a) Polyflor Vogue Ultra PUR non slip vinyl flooring (or equal approved) fitted to manufacturer's recommendations. Flooring to have clear silicone to perimeters, welded joints and all necessary strips to doorways. Colour - TBC
b) Altro Marine 20 (or equal approved) non slip vinyl to shower room and shower cubicles (all joints to be welded). Flooring to have clear silicone to perimeters, welded joints and all necessary strips to doorways. Colour - TBC
Painting & Decorating (ICI Dulux, Crown or Berger)
2.02 | Internal woodwork (doors, skirtings etc) - rub down and prepare as required, and apply undercoat and one coat gloss coat finish. Allow primer and additional undercoat to new woodwork RAL 9010 satin finish.
2.03 | Internal walls and plastered ceilings - emulsion painted, two coats to existing plaster plus additional mist coat to new plaster. Colours: ceilings and walls - White vinyl matt emulsion RAL 9010.
2.04 | Heating pipework - all exposed steel heating distribution pipework and all associated fixing brackets to be painted. Pipework must be clean and dry, remove grease, dirt with steel wool. Prime, undercoat and one coat gloss in metal grade heat resistant gloss with a rust retardant formulate.
Pipe Boxing
2.05 | Timber pipe boxing formed with 50 x 38mm treated softwood framing. Boxing to be faced with 12mm MDF left ready for decoration. Cup and screwed access panels as required at valves and joint locations.
0
To Collection/Tender Summary: £ |  |  |  | 0

## 3.0 Schedule of Works
SUPPORT ACCOMMODATION FIT OUT AND NEW SITE SERVICES
FLEETWOOD FIRE FIGHTING CENTRE
BLACKPOOL AND THE FYLDE COLLEGE
Ref | Item | Quantity |  | Rate | Total
3.00 | SCHEDULE OF WORKS
The Contractor must allow to site check all dimensions. Areas and dimensions in this schedule are indicative.
SUPPORT ACCOMMODATION - MAIN BUILDING
1.0 | Stripping Out Works
1.1 | Carefully disconnect and remove redundant electrical fittings including power sockets, data sockets, light fittings, switches, fused spurs, extract fans, hand driers, water heaters, trunking, conduits and the like and associated wiring. | 1 | Item
1.2 | Carefully disconnect and remove existing sanitary ware/ fittings and associated pipework and fittings:-
| a) Disabled Doc M Pack comprising WC, WHB and rails (set aside for re- use) | 1 | Item
| b) WC | 1 | No
| c) WHB | 1 | No
| d) Single bowl/ single drainer sink | 2 | No
1.3 | Carefully strip out and remove the following:
| a) Floor coverings (mixture of vinyl, carpet and barrier matting) | 322 | m2
| b) Internal door, frame and architraves. | 4 | No
| c) Half hour timber framed stud partition walls and associated skirtings | 19 | m2
2.0 | New Partition Walls
2.1 | Construct new 40dB sound resisting internal partition walls comprising 70 x 38 mm timber studs faced both sides with 1 layer 15mm moisture resistant SoundBloc MR board with skim finish. | 91 | m2
2.2 | Ditto but 45dB partition wall including 1 layer of 25mm sound deadening quilt (Isowood or equal) between studs. | 35 | m2
2.3 | Construct internal partition wall between shower cubicles comprising 100 x 50 mm timber studs faced both sides with 12.5 mm moisture resistant plasterboard with skim finish. | 10 | m2
2.4 | Infill 2no. redundant door openings (Admin) in construction as described in Item 2.2 above. | 1 | Item
3.0 | Wall Linings
3.1 | Provide and fix 4 mm thick white solid grade laminate wall boarding (Whiterock or equal), screw and glue fixed including white plastic 'H' section jointers, corner beads, trims and dome caps, works to reveals, and clear silicone sealant to abutments and joints to new and existing walls in:-
| a) Male showers | 78 | m2
| b) Male WC | 39 | m2
| c) Male charging | 60 | m2
4.0 | Skirtings
4.1 | Provide and fix 100 x 19mm splayed moisture resistant MDF skirtings to new partition walls. | 108 | m
4.2 | Allow Prov. Sum for possible works to existing skirtings. | PROV SUM |  |  | 200
5.0 | Doors
5.1 | Carefully cut out and form new single door opening in existing timber framed stud partition wall (Classroom 1, BA Assembly, Admin) | 3 | No
5.2 | Provide and install 926 x 1981 mm internal pre - finished solid core fire door (FD30s), with vision panels, softwood frame and architraves including ironmongery comprising Arrone satin chrome overhead closer, mortice lock and handles and thumbturn and kickplate (Classroom 1, BA Assembly, Administration) | 3 | No
5.3 | Provide and install 926 x 1981 internal pre- finished solid core stable door, frame, architraves and matching ironmongery to suit (A7 Fire Kit Store) | 1 | No
5.4 | Provide and install 926 x 1981 mm pre- finished solid core door, softwood frame and architraves including ironmongery comprising Arrone overhead closer, push plate, pull handle and kick plate (Male WC, Male Changing, Male Showers) | 3 | No
6.0 | Sundry Joinery
6.1 | Allow Provisional Sum for sundry joinery works, pipe boxings and fixing clients equipment. | PROV SUM |  |  | 750
6.2 | Provide and fix 'Howdens' 'Greenwich Gloss White' 1000 x 600mm sink base unit. | 1 | No
6.3 | Provide and fix 500 x 750mm polished plate mirror and fixings to Male WC | 2 | No
6.4 | Allow Provisional Sums for fixtures and fittings:-
| a) B.A. Equipment Storage Units | PROV SUM |  |  | 2500
| b) Racking to Drying Room | PROV SUM |  |  | 1250
| c) Benching and coat rails to Changing and Showers | PROV SUM |  |  | 3500
7.0 | Shower Tray / Raised Floor
7.1 | Construct 175mm high raised flooring to shower cubicle areas as detail (dwg 2642 (D). 201E) including 175 x 50 sw kerb, 75 x 50 sw joists, sw firrings and 18mm WHP plywood. | 13 | m2
8.0 | WC Cubicles
8.1 | Provide and install Twyfords Bushboard System 1 range of units and fittings (to be site measured and designed by Twyfords to suit) generally to comprise:-
| a) Range of 5No shower cubicles overall 4350mm wide x 1500mm deep. | 2 | No
| b) Range of 3No WC cubicles overall 2600mm wide x 1500mm deep. | 1 | No
9.0 | Plasterwork
9.1 | Overboard existing ceiling with 12.5mm moisture resistant plasterboard with skim finish to Male Showers (PROVISIONAL) | 38 | m2
9.2 | Overboard existing ceiling with 12.5mm plasterboard with skim finish to Reception / Lobby. | 15 | m2
9.3 | Allow Prov. Sum for general patch plasterwork to walls and ceilings. | PROV SUM |  |  | 500
10.0 | Flooring
10.1 | Allow for Prov. Sum for making good existing floors prior to laying of new flooring. | PROV SUM |  |  | 1500
10.2 | Provide and lay 2mm thick Polyflor 'Vogue Ultra' non slip vinyl flooring including all necessary welded joints and clear silicone sealant to perimeters. | 284 | m2
10.3 | Allow for plates/ threshold strips to doorways. | 12 | No
10.4 | Provide and lay Altro Marine 20 (or equal) non slip vinyl to shower room and shower cubicles (all joints to be welded). | 38 | m2
10.5 | Extra for coved skirting and coved former. | 48 | m
10.6 | Extra for dressing into/ around floor drain outlet. | 10 | No
11.0 | Painting and Decorating
11.1 | Prepare, prime and apply two undercoats and one coat fill gloss paint to:-
| a) 100mm skirtings | 104 | m
| b) New single door frames and architraves (both sides) | 6 | No
11.2 | Rub down existing door frames, architraves and skirtings and window boards and apply one undercoat and one coat fill gloss paint. | 1 | Item
11.3 | Prepare and apply two full coats of vinyl silk emulsion to:-
| a) Existing walls | 391 | m2
| b) Existing ceilings | 269 | m2
11.4 | Ditto but including additional mist coat to:-
| a) New plastered walls | 156 | m2
| b) New plastered ceilings | 53 | m2
12.0 | External Works
12.1 | Design, fabricate, assemble and erect galvanised steel entrance steps, landing and tubular hand rail/ balustrade to locations shown on drawing comprising:-
| a) Single flight of 4No 150mm steps 1300mm wide with landing size 1850 x 1550mm | 2 | No
| b) Two flights of 4No 150mm steps 1300mm wide with landing size 1850 x 1550mm | 1 | No
12.2 | Allow Prov. Sum for underground drainage works. | PROV SUM |  |  | 500
12.3 | Allow Prov. Sum for works to plywood perimeter skirt / low level boxing. | PROV SUM |  |  | 1500
12.4 | Allow Prov. Sum for adaptions / renewals and rainwater goods | PROV SUM |  |  | 750
To Collection/Tender Summary: £
SUPPORT ACCOMMODATION - FEMALE SHOWER BLOCK
13.0 | Stripping out works
13.1 | Carefully strip out and remove:-
| a) Toilet cubicle partitions and doors | 5 | No
| b) Sundry wall mounted fittings, mirrors, rails and the like | 1 | Item
| c) Vinyl flooring coverings | 20 | m2
| d) Urinal screens/ divider | 1 | No
13.2 | Carefully disconnect and remove existing sanitary ware/ fittings and associated pipework and fittings.
| a) WCs | 4 | No
| b) Wash hand basins | 3 | No
| c) Urinals | 2 | No
13.3 | Carefully disconnect and remove redundant electrical fittings including power sockets, data sockets, light fittings, switches, fused spurs, extract fans, hand dryers, water heaters, trunking, conduits and the like and associated wiring. | 1 | Item
14.0 | Wall Linings
14.1 | Provide and fix 4mm thick white solid grade laminate wall boarding (whiterock or equal), screw and glue fixed, including white plastic 'H' section jointers, corner beads, trims and dome caps, works to reveals and clear silicone sealant to abutments and joints to existing walls (Female Showers). | 26 | m2
15.0 | Works to Doors
15.1 | Allow Prov. Sum for works to existing doors, frames and architraves. | PROV SUM |  |  | 250
16.0 | Cubicles
16.1 | Provide and install Twyfords Bushboard System 1 range of units and fittings (to be site measured and designed by Twyfords to suit) generally to comprise:-
| a) Range of 3No shower cubicles overall 2800mm wide x 1500mm deep. | 1 | Item
| b) Single WC cubicle overall 850mm wide x 1500mm deep. | 1 | Item
17.0 | Shower Tray / Raised Floor
17.2 | Construct 175mm high raised flooring to shower cubicle area (as before described) including 175 x 50 sw kerb, 75 x 50 sw joists, sw firrings and 18mm WBP plywood. | 4 | m2
18.0 | Sundry Joinery Works
18.1 | Allow Provisional Sum for sundry joinery works and fixing of clients equipment. | PROV SUM |  |  | 200
18.2 | Provide and fix 500 x 750mm polished plate mirror and fixings. | 1 | No
18.3 | Ditto but 500 x 1200mm | 1 | No
18.4 | Allow Prov. Sum for benching and coat rails | PROV SUM |  |  | 600
19.0 | Plasterwork
19.1 | Allow Provisional Sum for patching wall and ceiling plaster. | PROV SUM |  |  | 150
20.0 | Flooring
20.1 | Allow Provisional Sum for making good existing floors | PROV SUM |  |  | 250
20.2 | Provide and lay Altro Marine 20 (or equal) non slip vinyl flooring including all necessary welded joints and clear silicone sealant to perimeters. | 20 | m2
20.3 | Extra for coved skirting and coved former to showers. | 17 | m
20.4 | Extra for dressing into / around floor drain outlet. | 3 | No
20.5 | Allow for plates/ threshold strips to doorways. | 3 | No
21.0 | Painting and Decorating
21.1 | Rub down existing door frames, architraves, skirtings and window boards and apply one undercoat and one coat full gloss paint. | 1 | Item
21.2 | Prepare and apply two full coats of vinyl silk emulsion to:-
| a) Existing walls (lobby, WC/ changing store) | 54 | m2
| b) Existing ceilings (showers, lobby, WC/ changing store) | 20 | m2
22.0 | External Works
22.1 | Design, fabricate, assemble and erect galvanised steel entrance steps, landing and tubular handrail/ balustrade comprising single flight of 4No 1300mm wide steps 150mm high and 1850 x 1550mm landing. | 1 | No
22.2 | Allow Prov. Sum for possible drainage works. | PROV SUM |  |  | 500
22.3 | Allow Prov. Sum for works to plywood perimeter skirt/low level boxing. | PROV SUM |  |  | 500
22.4 | Allow Prov. Sum for adaptions/ renewals of rainwater goods. | PROV SUM |  |  | 300
To Collection/Tender Summary: £

## 4.0 M&E
SUPPORT ACCOMMODATION FIT OUT AND NEW SITE SERVICES
FLEETWOOD FIRE FIGHTING CENTRE
BLACKPOOL AND THE FYLDE COLLEGE
Ref | Item | Quantity |  | Rate | Total
4.00 | MECHANICAL & ELECTRICAL WORKS
The mechanical and electrical works to be undertaken are as indicated and described in JRB Environmental's tender documentation and drawings.
The forms of tender included in JRB Environmental's tender documentation are to be completed and returned with this tender.
Include here for the works outlined:-
1.0 | Mechanical Works - total amount from JRB Environmental Ltd Tender Summary | 1 | item
2.0 | Electrical Works - total amount from JRB Environmental Ltd Tender Summary | 1 | Item
0
To Collection/Tender Summary: £

## 5.0 Daywork
SUPPORT ACCOMMODATION FIT OUT AND NEW SITE SERVICES
FLEETWOOD FIRE FIGHTING CENTRE
BLACKPOOL AND THE FYLDE COLLEGE
Ref | Item | Quantity |  | Rate | Total
5.00 | DAYWORK SCHEDULE
Where at all possible additional works will be valued on a measured fair valuation or pro rata basis. Only where these alternatives are not possible will work be valued on a daywork basis.
The Contractor is to insert here his all in daywork rate per hour for the following trades:-
| A. Labourer | - | £ |  | per hour
| B. Electrical | - | £ |  | per hour
| C. Plumber | - | £ |  | per hour
| D. Joiner | - | £ |  | per hour
The Contractor is to insert here his % additions to the net cost of:-
| A. Materials | - | Cost + |  | %
| B. Plant | - | Cost + |  | %
0
To Collection/Tender Summary: £

## 6.0 Collection
SUPPORT ACCOMMODATION FIT OUT AND NEW SITE SERVICES
FLEETWOOD FIRE FIGHTING CENTRE
BLACKPOOL AND THE FYLDE COLLEGE
|  | Total | Current Valuation
6.00 | COLLECTION / TENDER SUMMARY |  |  | 0
6.01 | Preliminaries |  |  | 0
0
6.02 | Specification |  |  | 0
6.03 | Schedule of Works:-
Support Accommodation - Main Building (Items 1.0 - 12.0)
Support Accommodation - Female Shower Block (Items 13.0 - 22.0)
6.04 | Mechanical & Electrical Works
6.05 | Dayworks |  |  | #VALUE!
0
6.06 | Contingency - Allow Provisional Sum for unforeseen works | 5000 |  | 0
0
0
0
Total (excluding VAT) to Form of Tender:- |  |  |  | #VALUE!