| Revisions |  |  |  |  |
| --- | --- | --- | --- | --- |
| Rev | Date | Description | Drawn By | Checked By |

| C GL: 15.32 IL In 15000 14.30 IL Out 22500 14.30 | 0.150 Rootzone 0.350 00.080 2-6mm 0 Gravel 0.150 80mm 0 Lateral (Perforated Plastic Pipe) 0.200 Site Won Topsoil 0.400 2-6mm 0 Gravel 00.160 0.200 160mm 0 Collector (Perforated Plastic Pipe) Depth Varies 00.150 0.200 150mm 0 Solid Twin Walled Carrier Depth Varies Backfill with site won Topsoil and Subsoil 00.225 0.300 225mm 0 Solid Twin Walled Carrier 0.200 Sand 0.040 0.500 Top Drain Sand Slits @ 0.5m Intervals | Notes : 1) Existing Levels taken from drawing 25982Y_01 "Topographical Survey" by JPP. - Detention Pond Earthworks Cut = 160m3 Fill = 0m3 Net = 160m3 (Material to be removed) - The detention basin has capacity to retain 135m3 of water. |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Legend Contours 25cm Intervals 80mm 0 Laterals @ 6m Intervals 160mm 0 Collector 150mm 0 Solid Twin Walled Carrier 225mm 0 Solid Twin Walled Carrier Indicative Top Drain Sand Slits @ 50cm Intervals Inspection Chamber Inspection Chamber / Hydrobrake Headwall Detention Basin - Base Level 14.20m Detention Basin - 1:4 Slopes Top of Bank Level 15.05m |  |  |  |
|  |  | Drawing Status Design |  |  | INDICATIVE ONLY |
|  |  | Grounds Management Association 28 Stratford Office Village Walker Avenue Wolverton Mill East Milton Keynes MK12 5TW Tel: 01908 312511 |  |  |  |
|  |  | PROJECT Parish Parish Field | Job No. | GMA0930.34 |  |
|  |  |  | Scale | 1:750 / 1:20 @ A2 |  |
|  |  |  | Drawn By | OM |  |
|  |  |  | Date | 16th December 2022 |  |
|  |  |  | Consultant | Alex Vickers |  |
|  |  | CLIENT Great Sankey PC | Drainage Design Data copyright © GMA 2022 |  |  |
|  |  | DRAWING No. GMA0930.34-1 |  |  |  |