## KADUNA
KADUNA OFFICE
To provide 50KW solar Power for 8hours power supply.
S/N | DESCRIPTION OF MATERIAL | [5 empty] | QTY.
1 | 57.6KWH, 48V LifePO4 Lithium batter with BMS | [5 empty] | 7
2 | 700W, 48V Solar panel (Monocrytaline) to provide 5hrs charging time | [5 empty] | 140
3 | 80KW, 48V Pure Sine Wave Invereter (with A/C input capability) | [5 empty] | 1
4 | 200A MPPT charge Controller | [5 empty] | 11
5 | 300A rated Bus bar Combiner Box ( IP65 or higher rated) | [5 empty] | 9
7 | Roof top Installation structure | [5 empty] | lot
8 | Galvanised frame work for ground installation | [5 empty] | lot
9 | 15A Digital Timer | [5 empty] | 11
10 | 192 LED Solar Powered Outdoor Wall Light | [5 empty] | 12
11 | Battery rack | [5 empty] | 1
12 | 20A DC Circiut breaker | [5 empty] | 140
13 | 150mmsquare DC flexible cable (for all DC connectios) | [5 empty] | lots
14 | Provide appropriate lighting protection and proper grounding for the entire installation. | [5 empty] | lots
15 | Provide appropriate monitoring software and data logger | [5 empty] | lot
16 | provide appropirate containerized facility for the storage of the batteries, inverters and panels. | [5 empty] | lot
17 | Provide 1 installation waranty | [5 empty] | lot
18 | Comprehensive training for in house electrical persons | [5 empty] | lot
19 | Automatic transfer switches at various building Distribution panels | [5 empty] | 1
20 | Provide appropriate surge procetion for the installation | [5 empty] | lot
21 | appropriate cable size and length to convery the output of the solar inverter to the various DBs | [5 empty] | lots
Activity
|  |  |  | title | Location
|  |  | (b) |  |  | of
activity
of
c)
Summary of
activities
relevant to this
RFQ
(d)
Performance
period (date,
duration, and
if completed
on schedule)
(e)
Contract type
Prime or
subcontractor
(f)
Contract
value
(g)
Name
and
contacts
of the
client
1
2
3
Financial Proposal

## JIGAWA
JIGAWA Plane OFFICE
To provide 25KW solar Power for 8hours power supply first floor
S/N | DESCRIPTION OF MATERIAL |  | QTY.
1 | 57.6KWH, 48V LifePO4 Lithium batter with BMS |  | 5
2 | 700W, 48V Solar panel (Monocrytaline) to provide 5hrs charging time |  | 74
3 | 40KW, 48V Pure Sine Wave Invereter (with A/C input) |  | 1
4 | 200A MPPT charge Controller |  | 6
5 | 300A rated Bus bar Combiner Box IP65 or higher rated |  | 4
6 | 200A Combiner box IP65 or higher rated |  | 1
7 | Galvanised frame work for ground installation |  | lot
8 | 15A Digital Timer |  | 12
9 | 8000W LED Solar Powered Outdoor Wall Light , water proof |  | 12
10 | Battery rack |  | lot
11 | 20A DC Circiut breaker |  | 74
12 | 150mmsquare DC flexible cable (for all DC connectios) |  | lots
13 | Provide appropriate lighting protection and proper grounding for the entire installation. |  | lots
14 | Provide appropriate monitoring software and data logger |  | lot
15 | Roof top Installation structure |  | lot
16 | provide appropirate containerized facility for the storage of the batteries, inverters and panels. |  | lot
17 | Provide 1 installation waranty |  | lot
18 | Cpomprehensive training for in house electrical persons |  | lot
19 | Automatic transfer switches at various building Distribution panels |  | 1
20 | Provide appropriate surge procetion for the installation |  | lot
21 | appropriate cable size and length to convery the output of the solar inverter to the various DBs |  | lots
To provide 40KW solar Power for 8hours power supply to the Ground floor
S/N | DESCRIPTION OF MATERIAL |  | QTY.
1 | 57.6KWH, 48V LifePO4 Lithium batter with BMS |  | 7
2 | 700W, 48V Solar panel (Monocrytaline) to provide 5hrs charging time |  | 140
3 | 60KW, 48V Pure Sine Wave Invereter (with A/C input) |  | 1
4 | 200A MPPT charge Controller |  | 11
5 | 300A rated Bus bar Combiner Box IP65 or higher rated |  | 9
6 | Roof top Installation structure |  | lot
7 | Galvanised frame work for ground installation |  | lot
8 | Battery rack |  | 1
9 | 20A DC Circiut breaker |  | 140
10 | 150mmsquare DC flexible cable (for all DC connectios) |  | lots
11 | Provide appropriate lighting protection and proper grounding for the entire installation. |  | lots
12 | Provide appropriate monitoring software and data logger |  | lot
13 | provide appropirate containerized facility for the storage of the batteries, inverters and panels. |  | lot
14 | Provide 1 installation waranty |  | lot
15 | Cpomprehensive training for in house electrical persons |  | lot
16 | Automatic transfer switches at various building Distribution panels |  | 1
17 | Provide appropriate surge protection for the installation |  | lot
18 | appropriate cable size and length to convery the output of the solar inverter to the various DBs |  | lots

## Sheet1
ITB published 22/03/2023
Pre-Bid meeting 27/03/2023
Deadline for clarification request 29/03/2023
Estimated date for answer to clarification request 31/03/2023
Deadline for Proposal submission 10/04/2023
Estimated date of end of Evaluation process 14/04/2023
Date of Award notification 18/04/2023
Estimated date for contract Signature 28/04/2023
Date to deliver print ready files 12/05/2023
Softproof/Blueprint approval 17/05/2023
Final date of delivery to warehouse in
Milestone No. 1 | Upon acceptance of the detailed work plan that confirms all
production schedules, transport dates, and final delivery dates
and submission of proof of paper procurement.
An Advance Payment Guarantee for payment of this will be
required
30%
Milestone No. 2 Upon completion of printing, and submission of evidence that the
goods have been shipped or are ready for dispatch.
Upon validation of the pre-shipment quality inspection
40%
11
Milestone No. 3 After delivery DPU Abuja and verification and confirmation of
receipt of quality and quantity of receipt of all the pupil’s book
and teacher guides

## ABUJA
ABUJA PLANE OFFICCE
To provide 40KW solar Power for 8hours power supply to Operation Annex office
S/N | DESCRIPTION OF MATERIAL |  |  | QTY.
1 | 57.6KWH, 48V LifePO4 Lithium batter with BMS |  |  | 7
2 | 700W, 48V Solar panel (Monocrytaline) to provide 5hrs charging time |  |  | 140
3 | 60KW, 48V Pure Sine Wave Invereter (with A/C input capability) |  |  | 1
4 | 200A MPPT charge Controller |  |  | 11 |  | 7900
5 | 300A rated Bus bar Combiner Box ( IP65 or higher rated) |  |  | 9 |  | 13430000
7 | Roof top Installation structure |  |  | lot |  | 17230000
8 | Galvanised frame work for ground installation |  |  | lot
9 | 15A Digital Timer |  |  | 15 | 862200
11 | Battery rack |  |  | 1
12 | 20A DC Circiut breaker |  |  | 140 | 0.6379
13 | 150mmsquare DC flexible cable (for all DC connectios) |  |  | lots
14 | Provide appropriate lighting protection and proper grounding for the entire installation. |  |  | lots
15 | Provide appropriate monitoring software and data logger |  |  | lot
16 | provide appropirate containerized facility for the storage of the batteries, inverters and panels. |  |  | lot
17 | Provide 1 installation waranty |  |  | lot
18 | Comprehensive training for in house electrical persons |  |  | lot
19 | Automatic transfer switches at various building Distribution panels |  |  | 1
20 | Provide appropriate surge procetion for the installation |  |  | lot
21 | appropriate cable size and length to convery the output of the solar inverter to the various DBs |  |  | lots
GROUND FLOOR AND BASEMENT, CRETCH
To provide 40KW solar Power for 8hours power supply
S/N | DESCRIPTION OF MATERIAL |  |  | QTY.
1 | 57.6KWH, 48V LifePO4 Lithium batter with BMS |  |  | 7
2 | 700W, 48V Solar panel (Monocrytaline) to provide 5hrs charging time |  |  | 140
3 | 60KW, 48V Pure Sine Wave Invereter (with A/C input capability) |  |  | 1
4 | 200A MPPT charge Controller |  |  | 11
5 | 300A rated Bus bar Combiner Box ( IP65 or higher rated) |  |  | 9
7 | Roof top Installation structure |  |  | lot
8 | Galvanised frame work for ground installation |  |  | lot
9 | 15A Digital Timer |  |  | 15
11 | Battery rack |  |  | 1
12 | 20A DC Circiut breaker |  |  | 140
13 | 150mmsquare DC flexible cable (for all DC connectios) |  |  | lots
14 | Provide appropriate lighting protection and proper grounding for the entire installation. |  |  | lots
15 | Provide appropriate monitoring software and data logger |  |  | lot
16 | provide appropirate containerized facility for the storage of the batteries, inverters and panels. |  |  | lot
17 | Provide 1 installation waranty |  |  | lot
18 | Comprehensive training for in house electrical persons |  |  | lot
19 | Automatic transfer switches at various building Distribution panels |  |  | 2
20 | Provide appropriate surge procetion for the installation |  |  | lot
21 | appropriate cable size and length to convery the output of the solar inverter to the various DBs |  |  | lots
ABUJA FIRST FLOOR
To provide 50KW solar Power for 8hours power supply.
S/N | DESCRIPTION OF MATERIAL |  |  | QTY.
1 | 57.6KWH, 48V LifePO4 Lithium batter with BMS |  |  | 7
2 | 700W, 48V Solar panel (Monocrytaline) to provide 5hrs charging time |  |  | 140
3 | 80KW, 48V Pure Sine Wave Invereter (with A/C input capability) |  |  | 1
4 | 200A MPPT charge Controller |  |  | 11
5 | 300A rated Bus bar Combiner Box ( IP65 or higher rated) |  |  | 9
7 | Roof top Installation structure |  |  | lot
8 | Galvanised frame work for ground installation |  |  | lot
9 | 15A Digital Timer |  |  | 16
10 | 8000W LED Solar Powered Outdoor Wall Light , water proof |  |  | 12
11 | Appropriate Battery rack |  |  | 1
12 | 20A DC Circiut breaker |  |  | 140
13 | 150mmsquare DC flexible cable (for all DC connectios) |  |  | lots
14 | Provide appropriate lighting protection and proper grounding for the entire installation. |  |  | lots
15 | Provide appropriate monitoring software and data logger |  |  | lot
16 | provide appropirate containerized facility for the storage of the batteries, inverters and panels. |  |  | lot
17 | Provide 1 installation waranty |  |  | lot
18 | Cpomprehensive training for in house electrical persons |  |  | lot
19 | Automatic transfer switches at various building Distribution panels |  |  | 1
20 | Provide appropriate surge procetion for the installation |  |  | lot
21 | appropriate cable size and length to convery the output of the solar inverter to the various DBs |  |  | lots

## Sheet2
TECHNICAL SPCIFICATION AND PRICING TEMPLATE
JIGAWA PLANE OFFICE FIRST FLOOR: REQUIREMENT FOR THE PROVISION 25KW SOLAR POWER FOR 8 HOURS OF POWER SUPPLY )
S/N | DESCRIPTION OF MATERIAL | OEM | QTY | UNIT PRICE | TOTAL
1 | 57.6KWH, 48V LifePO4 Lithium battery with BMS |  | 5
2 | 700W, 48V Solar panel (Monocrystalline) to provide 5hrs charging time |  | 74
3 | 40KW, 48V Pure Sine Wave Inverter (with A/C input) |  | 1
4 | 200A MPPT charge Controller |  | 6
5 | 300A-rated Bus bar Combiner Box IP65 or higher rated |  | 4
6 | 200A Combiner box IP65 or higher rated |  | 1
7 | Galvanized framework for ground installation |  | lot
8 | 15A Digital Timer |  | 12
9 | 8000W LED Solar Powered Outdoor Wall Light, waterproof |  | 12
10 | Battery rack |  | lot
11 | 20A DC Circuit breaker |  | 74
12 | 150mmsquare DC flexible cable (for all DC connections) |  | lots
13 | Provide appropriate lighting protection and proper grounding for the entire installation. |  | lots
14 | Provide appropriate monitoring software and data logger |  | lot
15 | Rooftop Installation structure |  | lot
16 | provide an appropriate containerized facility for the storage of the batteries, inverters and panels. |  | lot
17 | Provide 1 installation warranty |  | lot
18 | Comprehensive training for in-house electrical persons |  | lot
19 | Automatic transfer switches at various building Distribution panels |  | 1
20 | Provide appropriate surge protection for the installation |  | lot
21 | appropriate cable size and length to convey the output of the solar inverter to the various DBs |  | lots
JIGAWA PLANE OFFICE GROUND FLOOR: REQUIREMENT FOR THE PROVISION 40KW SOLAR POWER FOR 8 HOURS OF POWER SUPPLY )
S/N | DESCRIPTION OF MATERIAL | OEM | QTY | PRICE | PRICE
1 | 57.6KWH, 48V LifePO4 Lithium battery with BMS |  | 7
2 | 700W, 48V Solar panel (Monocrystalline) to provide 5hrs charging time |  | 140
3 | 60KW, 48V Pure Sine Wave Inverter (with A/C input) |  | 1
4 | 200A MPPT charge Controller |  | 11
5 | 300A-rated Bus bar Combiner Box IP65 or higher rated |  | 9
6 | Rooftop Installation structure |  | lot
7 | galvanized framework for ground installation |  | lot
8 | Battery rack |  | 1
9 | 20A DC Circuit breaker |  | 140
10 | 150mmsquare DC flexible cable (for all DC connections) |  | lots
11 | Provide appropriate lighting protection and proper grounding for the entire installation. |  | lots
12 | Provide appropriate monitoring software and data logger |  | lot
13 | provide an appropriate containerized facility for the storage of the batteries, inverters and panels. |  | lot
14 | Provide 1 installation warranty |  | lot
15 | Comprehensive training for in-house electrical persons |  | lot
16 | Automatic transfer switches at various building Distribution panels |  | 1
17 | Provide appropriate surge protection for the installation |  | lot
18 | appropriate cable size and length to convey the output of the solar inverter to the various DBs |  | lots
ABUJA PLANE OPERATION OFFICE: REQUIREMENT FOR THE PROVISION 40KW SOLAR POWER FOR 8 HOURS OF POWER SUPPLY )
S/N | DESCRIPTION OF MATERIAL | OEM | QTY. | PRICE | PRICE
1 | 57.6KWH, 48V LifePO4 Lithium battery with BMS |  | 7
2 | 700W, 48V Solar panel (Monocrystalline) to provide 5hrs charging time |  | 140
3 | 60KW, 48V Pure Sine Wave Inverter (with A/C input capability) |  | 1
4 | 200A MPPT charge Controller |  | 11
5 | 300A-rated Bus bar Combiner Box ( IP65 or higher rated) |  | 9
7 | Rooftop Installation structure |  | lot
8 | Galvanized framework for ground installation |  | lot
9 | 15A Digital Timer |  | 15
11 | Battery rack |  | 1
12 | 20A DC Circuit breaker |  | 140
13 | 150mmsquare DC flexible cable (for all DC connections) |  | lots
14 | Provide appropriate lighting protection and proper grounding for the entire installation. |  | lots
15 | Provide appropriate monitoring software and data logger |  | lot
16 | provide an appropriate containerized facility for the storage of the batteries, inverters, and panels. |  | lot
17 | Provide 1 installation warranty |  | lot
18 | Comprehensive training for in-house electrical persons |  | lot
19 | Automatic transfer switches at various building Distribution panels |  | 1
20 | Provide appropriate surge protector for the installation |  | lot
21 | appropriate cable size and length to convey the output of the solar inverter to the various DBs |  | lots
GROUND FLOOR, BASEMENT,CRECHE PLANE OFFICE GROUND FLOOR: REQUIREMENT FOR THE PROVISION 40KW SOLAR POWER FOR 8 HOURS OF POWER SUPPLY )
S/N | DESCRIPTION OF MATERIAL | OEM | QTY. | PRICE | PRICE
1 | 57.6KWH, 48V LifePO4 Lithium battery with BMS |  | 7
2 | 700W, 48V Solar panel (Monocrystalline) to provide 5hrs charging time |  | 140
3 | 60KW, 48V Pure Sine Wave Inverter (with A/C input capability) |  | 1
4 | 200A MPPT charge Controller |  | 11
5 | 300A rated Bus bar Combiner Box (IP65 or higher rated) |  | 9
7 | Roof top Installation structure |  | lot
8 | Galvanized framework for ground installation |  | lot
9 | 15A Digital Timer |  | 15
11 | Battery rack |  | 1
12 | 20A DC circuit breaker |  | 140
13 | 150mmsquare DC flexible cable (for all DC connections) |  | lots
14 | Provide appropriate lighting protection and proper grounding for the entire installation. |  | lots
15 | Provide appropriate monitoring software and data logger |  | lot
16 | provide an appropriate containerized facility for the storage of the batteries, inverters and panels. |  | lot
17 | Provide 1 installation warranty |  | lot
18 | Comprehensive training for in-house electrical persons |  | lot
19 | Automatic transfer switches at various building Distribution panels |  | 2
20 | Provide appropriate surge protector for the installation |  | lot
21 | appropriate cable size and length to convey the output of the solar inverter to the various DBs |  | lots
FIRST FLOOR AND PENT HOUSE: REQUIREMENT FOR THE PROVISION 50KW SOLAR POWER FOR 8 HOURS OF POWER SUPPLY )
S/N | DESCRIPTION OF MATERIAL | OEM | QTY. | PRICE | PRICE
1 | 57.6KWH, 48V LifePO4 Lithium battery with BMS |  | 7
2 | 700W, 48V Solar panel (Monocrystalline) to provide 5hrs charging time |  | 140
3 | 80KW, 48V Pure Sine Wave Inverter (with A/C input capability) |  | 1
4 | 200A MPPT charge Controller |  | 11
5 | 300A-rated Bus bar Combiner Box ( IP65 or higher rated) |  | 9
6 | Rooftop Installation structure |  | lot
7 | Galvanized framework for ground installation |  | lot
8 | 15A Digital Timer |  | 16
9 | 8000W LED Solar Powered Outdoor Wall Light, waterproof |  | 12
10 | Appropriate Battery rack |  | 1
11 | 20A DC circuit breaker |  | 140
12 | 150mmsquare DC flexible cable (for all DC connections) |  | lots
13 | Provide appropriate lighting protection and proper grounding for the entire installation. |  | lots
14 | Provide appropriate monitoring software and data logger |  | lot
15 | provide an appropriate containerized facility for the storage of batteries, inverters, and panels. |  | lot
16 | Provide 1 installation warranty |  | lot
17 | Comprehensive training for in-house electrical persons |  | lot
18 | Automatic transfer switches at various building Distribution panels |  | 1
19 | Provide appropriate surge protector for the installation |  | lot
20 | appropriate cable size and length to convey the output of the solar inverter to the various DBs |  | lots

## Sheet3
SN | SUBMISSION CHECKLIST
| Document | Y / N
1 | Completed pricing proposal in Annex 1 (Pricing Approach)
2 | Completed tender response in annex 2(suppliers response) and following the requirement of the RFP
3 | This checklist is signed by an authorized representative
4 | Tax Clearance
5 | Audited Account
6 | Bank Letter
7 | Incorporation documents (CAC Certificate,Certificate of shareholdings Particulars of Board Members
8 | Appendix A to this checklist in relation to information considered by you to be confidential or commercially sensitive

## Sheet4
LIST OF EVENTS | TIMELINE
Request for proposal | 2024-12-05
Deadline for clarification | 2024-12-09
Submission of Proposal | 2024-12-10
Conclusion of evaluation of the submitted proposal | 2024-12-13
Date of award of contract notification | 2024-12-16
Commencement of work | 2024-12-18
Completion date | 2024-12-31
Milestone No | Activities | Percentage Payment | Means of Verification
Milestone 1 | Upon signing of Contract | 20% | Signed contract
Milestone 2 | Procurement of all equipment needed for the installation | 50% | Delivery/ confirmation of required equipment at the location (Delivery waybill and Goods receipt note)
Milestone 3 | Completion of installation and commissioning | 30% | Issuance of certification of job completion by DAI-PLANE authorized consultant