RFQ049 Appendix B5 Lot5 Analytical Laboratory

- Precision & Analytical Balance

- Water Deioniser (HPLC) and refill cartridges

Precision & Analytical Balance

- RS232 Interface

- Weighing modes: Grams and Newtons

- Multiple application modes and units

- Weigh-below hook

- Integral security bracket

- Integral menu lock

- AC Adaptor

Water Deioniser (HPLC) and refill cartridges

- This deionizer incorporates an ultrapure mixed bed ion exchange resin which contains a 1:1 chemical equivalent of cation and anion resins with a maximum capacity of 1400 grains as CaCO3.

- Yields water with a resistivity as high as 15 to 18 M-cm.

- Has A built-in monitor ensures water quality. If the resistivity falls below 5 M-cm, the monitor light turns from green to red

- Refill Cartridge: Cole-Parmer NGDI-20 Monobed Deionizer Mixed-Bed Resin Cartridge; Ultrapure