## Causeway Estimating v3
Company Name: | Causeway Estimating
Report: | Print Page
Estimate Number: | 100350
Estimate Name: | Repository Development Programme Enabling Works
Print Date: | 24/09/2019 15:33
ITEM | DESCRIPTION | QUANTITY | UNITS | NET RATE | NET VALUE
Miscellaneous Items
100.08 | Supply and install, manage, maintain, | 1 | item
control, monitor and report on surface
water discharge as described in the
water quality and Flow Monitoring
Performance Specification within the
Scope document.
100.09 | Supply and install monitoring | 1 | item
equipment to sample and report on
Turbidity and PH as described in
Scope document.
100.1 | Supply and install temporary | 1 | item
measures during construction to
ensure discharged water within
prescribed limits prior to
commissioning as referenced in the
Scope document.
100.11 | Supply, install and maintain 2 number | 1 | item
Dustscan DS1000 or similar as
referenced in the Scope document
(Dust Monitoring)
100.12 | Supply, install and maintain 2 number | 1 | item
Osiris dust monitors or similar as
referenced in the Scope document.
100.13 | Maintain the drainage swales, | 1 | item
drainage ditches, settlement lagoons
and flow control chambers and
headwalls as per the recommended
maintenance instructions (refer to
Aecom document AEC-RDP-T1.00
RP-091), for the duration of the
Contract
100.14 | Survey Control Establishment - Survey | 1 | item
and review the existing site survey
station and provide ongoing
monitoring as referenced in Scope
document.
100.15 | Maintenance of amphibian fence | 1 | item
around Mound 1 for the duration of the
contract.
|  |  |  | Total: | 0