Text

Description automatically generated with low confidence

Burton Latimer Skate Facility .

Design, supply and installation of all new skate facility into King George IV Recreation ground, Burton Latimer.

Spring 2023

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Preliminary Information**

North Northamptonshire Council is seeking to have installed an all new skate facility onto the existing asphalt base of a previous timber skate ramp.

*Vision for the new play area*.

The site has formally hosted an all timber skate ramp which was removed after it was badly damaged by fire. For longevity purposes local people are seeking a facility that will be more resilient. Concrete is not an option due to the limited space available meaning a concrete facility will be too small, to be useable.

A broad outline design has been agreed loosely based on a single unit featuring two in line halfpipes with other design aspects inbuilt.

1. **Scope of Work**

1.1 The design, supply and installation of a new skate facility on the site of the previous skate ramp.

1.2 Installation will be onto a full macadam base. However the base might need extending.

1.3 The new facility will be of a design that enables more than one user to skate simultaneously, though not on a single ramp. This will require a twin ramp set up. Its is presumed the ramps will be fore and aft of one another.

1.4 The council does not have a clear design guide and seeks to use the expertise of the supplier to establish an innovative design

2**. Build and Fit**

2.1 It is a requirement that the main supporting frame be produced from strong steel and that the riding deck be constructed of either Skatelite or a suitable ply

1. Post Installation Inspection.
   1. Following completion of the works, the supplier/contractor shall have prepared on their behalf and submit to the council, a completed Post Installation Inspection report. The inspector shall be a member of ‘The Register of Playground Inspectors International’.
   2. The Council will require the contractor to immediately rectify any defects highlighted in the post installation inspection report, prior to the issuing of a practical completion certificate under the terms of this contract.

It is anticipated that any providers who submit a specification/quotation for this expression of Interest will be invited to tender in due course.

All responses and clarification questions for this Expression of Interest are to be submitted to:

Dave.lane@northnorthants.gov.uk