ITT for Kresen Kernow Design, Supply and Installation of Archive Shelving Equipment

Plans and descriptions of rooms

This appendix contains information about the principal archive strong rooms and document processing rooms in Kresen Kernow for which shelving is required.

Plans and design information

- GA drawings dated 23/12/2015 are in Appendix 3(a). Services locations are shown within risers adjacent to the archive space.

- Internal finish for principal archive strong rooms

- Exposed cast in-situ concrete with applied dust sealant

- Screed floor finish

- Soffit will have exposed services running along it

- A note on loading, movements and tolerances is in Appendix 3(b)

- Plans showing heating layout are in Appendix 3(b)

- Indicative plans of lighting and power are in Appendix 3(b)

Access to principal archive strong rooms

- Access from the outside is through large door on the south of the building into a loading bay

- Access to the ground floor strong room is:

- Through two sets of double doors

- Level with entrance

- There are two methods of accessing the first floor strong room:

- Through three sets of double doors on the ground floor, via a lift to first floor, then through two sets of double doors on the first floor

- Through a single door on the ground floor, via stairs to the first floor, through a single door then a set of double doors on the first floor

- Internal door leafs are at least 2060mm high

Appendix 3(a)

Selected GA drawings dated 23 December 2015 showing the principal archive strong rooms and document processing rooms for which shelving is required. On the plans the building is split into two:

- Archive – showing the principal archive strong rooms, quarantine and document reception rooms

- Brewhouse – showing the document production room

Documents included:

- Plans:

235110 250 Proposed Archive Ground Floor Plan

235110 251 Proposed Archive First Floor Plan

235110 252 Proposed Archive Roof Plan

235110 258 Proposed Brewhouse First Floor Plan

- Sections:

235110 256 Proposed Sections 1

235110 262 Proposed Sections 2

235110 264 Proposed Sections 4

235110 265 Proposed Sections 5

235110 266 Proposed Sections 6

Elevations as well as plans and specifications showing the rest of the building are available on request. .dwg models are also available on request

Appendix 3(b)

This contains a note setting out the design principles being adopted for the superstructure elements of the Archive Box structure of Kresen Kernow. This note provides guidance on the proposed loading capacity and estimated movements and tolerances being adopted within the design of the superstructure elements. It also contains plans showing the heating layout for both the Archive and Brewhouse sections of the building and indicative plans showing layouts for lighting and small power and data for the whole building.

Documents included:

- ARUP-TN-0003 Archive Loading, Movement & Tolerances V2

- Indicative lighting and power combined

- Archive heating layout

- Brewhouse heating layout