Provision of Samples

Guidance

The Authority acknowledges that not all aspects of the requirement may be readily proven by the Tenderer due to the nature of the operational use. For this reason, where there are gaps in the information provided to fulfil the evaluation criteria, sample products are requested to enable functional testing (see below). It should be noted that the test activities may result in the destruction of the equipment used in the test programme. The results of this testing will be made available to tenderers as compensation for any returnable equipment rendered non-functional by the testing regime. Tenderers acknowledge by submitting their ITT response that this test equipment is provided free of charge.

The Tenderer may choose not to submit samples for testing. This will not lead to automatic exclusion, however the supplier will be responsible for proving unequivocal compliance with all System Requirements e.g. by providing validated military test data from other NATO countries. If the Authority is unable to satisfactorily establish compliance to the System Requirements this will be reflected in the technical scoring of the Tender.

Equipment items required for CBR Assessment Phase evaluation of PENLIKE equipment

The following items are required for Dstl to conduct a short test programme to evaluate candidate systems against the CBR aspects of the SRDs. It should be noted that the equipment list is deemed sufficient for the purposes of Assessment Phase testing but that more extensive testing will be necessary for qualification of the final systems, once they are down selected. It should also be noted that the equipment is required solely for the purposes of testing against the CBR aspects of performance. The Dstl tests are not intended to establish the suitability of the medical performance aspects of the candidate equipment.

The following items are deemed to be the minimum required for the Dstl test programme:

HRRS

- One complete system (i.e. including all ancillaries)

- One extra complete system for material samples

Or

4 x 30 cm square samples of each material used in the system’s construction

- x 10 cm lengths of zip section

- Full information of filter performance, or 7 additional filters for testing

- All available test information and details of construction materials

MEDEVAC

- One complete system (i.e. including all ancillaries)

- One extra complete system for material samples

Or

4 x 30 cm square samples of each material used in the system’s construction

4 x 10 cm lengths of zip section

- Full information of filter performance, or 7 additional filters for testing

- All available test information and details of construction materials

- 3 additional (spare) battery packs, or a battery charger if applicable

CRPS

- One complete system (i.e. including all ancillaries)

- One extra complete system for material samples

Or

4 x 30 cm square samples of each material used in the system’s construction

4 x 10 cm lengths of zip section

- Full information of filter performance, or 7 additional filters for testing

- All available test information and details of construction materials

- 3 additional (spare) battery packs, or a battery charger if applicable

Sample Items should be sent to DSTL ''''''''' ''''''''''''''''' ''''''''''''''''''''''' '''''''''' ''''''' '''''''' ''''''''''' '''''''''''''''' '''''''''''''''' '''''''''''''''''''''''' '''''''''' ''''''''''' no later than 13 Jan 17 to enable testing to commence.

Any questions regarding the provision of samples should be directed to the Authority Commercial Officer.