University Hospitals Birmingham NHS Foundation Trust

Therapy Services

Specification for the Provision of a Service for Wheelchair Maintenance

Bravo project ref 18133

- Introduction

This specification relates to the provision of a planned preventative maintenance Contract for approximately 170 wheelchairs situated at the Queen Elizabeth Hospital, Birmingham, Therapy Services. The annual price to include;

- Specific Service Criteria

  - The service provider shall provide to Therapy Services at the Trust an Annual planned programme of work with reported detail of the work being undertaken.

  - The service provider shall ensure minimum disruption and disturbance to the Therapy Services activities as well as towards patients and staff in providing this service.

  - The service provider will agree a designated day, on a weekly basis, to undertake planned servicing of Trust wheelchairs in Therapy Services. On the basis of 170 wheelchairs requiring servicing twice per annum equates to 340 wheelchairs pa at approximately 6 per week depending on availability of the wheelchairs.

  - Therapy Services will provide a work bench at QEHB and a designated work area, for wheelchairs to remain on site for servicing. The service provider will provide all necessary tools.

  - There will be clear communication channels for; reporting urgent repairs, quotations of replacement stock, and updates on progress and performance against plan.

  - All travelling , Labour and Administrative costs to be included in the annual price

  - The service provider will provide all their own necessary tools and equipment to undertake the contract ensuring that all such equipment is clean, usable and regularly maintained.  All equipment and material whilst on Trust premises must be securely stored and not left unattended.

  - The service provider’s staff shall be easily recognisable and wear a company photo ID card.

3. Operational Delivery of planned schedule

  - All Wheelchairs will be identified by their allocated unique number for traceability and assurance purposes.

  - New wheelchairs purchased by  UHB will be tagged and the backrest  stencilled with the standard identification by the service provider. This must be stencilled on not hand written.

  - Service provider’s staff shall report to a designated member of the Wheelchair Team on each Trust visit prior to commencement of work. On completion of the service, provider’s staff shall again report to a designated member of the UHB Wheelchair team wheelchair service for signature of completion.

  - For wheelchairs that need to be taken out of the Trust for rectification, a receipt for items removed must be authorised by a member of the UHB Wheelchair Team.

  - A shared Inventory of wheelchairs demonstrating their service history is to be maintained by both parties

  - A service sheet to be provided for each chair, detailing all work undertaken, and a list of any spare parts required to be fitted with cost. At the end of each year a record of the total servicing carried out should be submitted evidencing the servicing twice yearly of the stock of 170 wheelchairs.

4. Operational Delivery of unplanned work

  - Any replacement parts required identified at a planned service are to be quoted and agreed before commencement of work

  - The Wheelchair team can identify  wheelchairs for unplanned repair and these will be accommodated into the weekly schedule

  - The service provider will quote separately for these urgent/emergency repairs undertaken in addition to the annual contract.

  - In addition to the annual contract  and at an agreed price the service provider will confirm a 48hr response time to any additional or ‘urgent’ requests for repair

  - The service provider will agree with UHB a spare parts price list to be published annually.

5. Quality Assurance

  - The work shall be carried out in accordance with those standards, terms and conditions as specified within this document.

  - The designated Trust Manager will monitor the work undertaken against the Specified Standard of Service, the proposed programme of work and the contractor.

  - The designated Trust Manager will undertake an assessment of work carried out against service criteria

  - The service provider will be given 48 hours to rectify any shortfalls in Specific service Criteria following written or verbal notification.

  - Failure to rectify within the agreed timescales and to the necessary standards will result in non-payment for that specific area of work