## COVER PAGE
SCHEDULES OF WORK
-in respect of-
NEW WATER MAIN WORKS
-at-
100 LONDON ROAD, FOREST HILL, LONDON, SE23 3PQ
-for the-
HORNIMAN MUSEUM
June 2019

## CONTENTS
Schedules of Work
-in respect of-
New Water Main Works
-at-
100 London Road, Forest Hill, London, SE23 3PQ
-for the-
Horniman Museum
- comprising -
Section No. 1 | - | Conditions of Contract / Preliminaries
Section No. 2 | - | New work externally
Section No. 3 | - | New work internally
Section No. 4 | - | Dayworks
Summary

## SECTION No. 1
HORNIMAN MUSEUM
100 LONDON ROAD, FOREST HILL, LONDON, SE23 3PQ
NEW WATER MAIN WORKS
SECTION No. 1
CONDITIONS OF CONTRACT / PRELIMINARIES
£ p
Following review of the "Preliminaries and General Conditions" the Contractor is to insert below his proposed costs in respect of the Conditions of Contract and Preliminaries. In the event that no specific allowance is stated below the Contractor will be deemed to have covered elsewhere within the body of the pricing for the cost of fully complying with the terms stated.
1.01
1.02
1.03
1.04
1.05
1.06
1.07
1.08
1.09
1.1
1.11
1.12
1.13
1.14
1.15
SECTION No. 1 - CONDITIONS OF CONTRACT / PRELIMINARIES
|  |  | To Summary £ | 0

## SECTION No. 2
HORNIMAN MUSEUM
100 LONDON ROAD, FOREST HILL, LONDON, SE23 3PQ
NEW WATER MAIN WORKS
SECTION No. 2 |  | = Contractor to insert pricing
NEW WORK EXTERNALLY
£ p
2.0.1 | In pricing the items that follow, the Contractor shall be deemed to have thoroughly inspected the tender documents and have acquainted himself with the site and the full extent / character of the items. The items have been split into the following priceable areas of work: | 0 | 0 | 0 | 0
2.1 - Mechanical works
2.2 - Builder's work in connection
2.3 - Main service connections
2.0.2 | The Contractor is requested to price and submit this document electronically. In the event that the Contractor elects not to submit the tender electronically then it is requested, for ease of checking, that each printed page is individually totalled and carried forward to a summary. | 0 | 0 | 0 | 0
0
| 2.1 - MECHANICAL WORKS |  |  |  | 0
0
2.1.1 | Note: All Builder's Work In Connection (BWIC) with undertaking the following mechanical services is measured separately in Section 2.2 | 0 | 0 | 0 | 0
0
0
| Allow for supplying and installing the following new external mechanical systems; the requirements are as detailed on Harley Haddow's specification, drawings and equipment schedules (as listed at Appendix A - Item A11/110): |  |  |  | 0
0
2.1.2 | 63mm diameter water main MDPE pipework; the line of the pipework is to generally follow the existing gas supply service; the pipework is to be run completely below ground level from the new manhole (located on the site boundary) to the external face of the building (located below the plant room); all as indicated on drawing 4433-HAH-00-SW-DR-M-50-0100 | 1 | Item |  | 0
0
2.1.3 | 35mm diameter water main copper pipework; pipework to be run vertically up face of wall from the new service trench into the existing plant room; installation to be complete with all support fittings, Venture clad thermal insulation and trace pipe heating (Note: the electric connection to the trace heating is measured separately in Section 3.2) | 1 | Item |  | 0
0
| _______________________________________ |  |  |  | 0
0
| The Contractor is requested to insert below the details / costs of any additional items which are not covered by the headings of cost above but are deemed necessary in complying with the information provided on the drawings / specifications: |  |  |  | 0
0
2.1.4 |  | 1 | Item |  | 0
0
2.1.5 |  | 1 | Item |  | 0
0
2.1.6 |  | 1 | Item |  | 0
0
2.1.7 |  | 1 | Item |  | 0
0
2.1.8 |  | 1 | Item |  | 0
0
0
0
| 2.2 - BUILDER'S WORK IN CONNECTION |  |  |  | 0
0
2.2.1 | Note: The removal and reinstatement of plants is to be undertaken by the Horniman Museum; a minimum notice of 5 working days is to be provided | 0 | 0 | 0 | 0
0
| Allow for all works in connection with constructing the following; as shown on drawing 4433-HAH-00-SW-DR-M-50-0100 |  |  |  | 0
0
2.2.2 | 1No - manhole; located adjacent to the site boundary; include for building in the inlet/outlet water pipework and all making good upon completion | 1 | Item |  | 0
0
2.2.3 | service trench from the new manhole (located on the site boundary) to the external face of the building (located below the plant room); include for: all excavation works, levelling and compacting bottom of trench, bedding and surrounding water pipe in sand, pipe warning tape and backfilling trench with selected excavated material | 1 | Item |  | 0
0
2.2.4 | extra for additional works where the service trench crosses a resin bound gravel path at the front of the building; include for: careful removal of existing metal edging, cutting pavings to a straight line, breaking out of the footpath and reinstatement of all upon completion | 1 | Item |  | 0
0
2.2.5 | extra for additional works associated with forming the trench in the vicinity of the "CUE" building; the contractor is to particularly note the limited working height in this area, the proximity of an above ground gas pipe and the requirement to reinstate the service trench with gravel pavings | 1 | Item |  | 0
0
0
0
| 2.3 - MAIN SERVICE CONNECTIONS |  |  |  | 0
0
2.3.1 | Allow for all necessary liaison with Thames water in providing the new incoming water supply service (Note: All costs associated with the payment to Thames Water will be paid for direct by the Employer). | 1 | Item |  | 0
0
0
0
0
SECTION No. 2 - NEW WORK EXTERNALLY
|  |  |  | To Summary £ | 0

## SECTION No. 3
HORNIMAN MUSEUM
100 LONDON ROAD, FOREST HILL, LONDON, SE23 3PQ
NEW WATER MAIN WORKS
SECTION No. 3 |  | = Contractor to insert pricing
NEW WORK INTERNALLY
£ p
3.0.1 | In pricing the items that follow, the Contractor shall be deemed to have thoroughly inspected the tender documents and have acquainted himself with the site and the full extent / character of the items. The items have been split into the following priceable areas of work: | 0 | 0 | 0 | 0
3.1 - Mechanical works
3.2 - Electrical works
3.3 - Builder's work in connection with the M&E works
3.0.2 | The Contractor is requested to price and submit this document electronically. In the event that the Contractor elects not to submit the tender electronically then it is requested, for ease of checking, that each printed page is individually totalled and carried forward to a summary. | 0 | 0 | 0 | 0
0
| 3.1 - MECHANICAL WORKS |  |  |  | 0
0
| Allow for supplying and installing the following new internal mechanical systems; the requirements are as detailed on Harley Haddow's specification, drawings and equipment schedules (as listed at Appendix A - Item A11/110): |  |  |  | 0
0
3.1.1 | New water main service works within the level 3 plant room; the works are to provide new Boosted Cold Water Supplies to the Level 1 and level 2 plumbing facilities; include for: all new pipework, removal of redundant systems, new water meter, replacement of the existing cold water tank ball valve with a Keraflow Aylesbury type "K" valve, new duty/standy twin pump booster set and a new hydromag water conditioner; all as indicated on drawings 4433-HAH-00-ZZ-SC-M-53-0001 and 002 | 1 | Item |  | 0
0
3.1.2 | extra for control systems, bracketry and supports associated with the above works; the Contractor is to note that this element represents a Contractor Designed Portion | 1 | Item |  | 0
0
3.1.3 | Alteration works to the existing water main service within the level 1 plant room; all as indicated on drawing 4433-HAH-00-01-DR-M-50-0100 | 1 | Item |  | 0
0
3.1.4 | Alteration works to the existing water main services local to the Clock Tower building - levels 00 and 01; include for: connecting sanitaryware at level 00 to the mains supply, capping water mains supply off at level 01 and the removal of all redundant systems; all as indicated on drawing 4433-HAH-00-ZZ-SC-M-53-0003 | 1 | Item |  | 0
0
3.1.5 | extra for draining the existing main tank, sealing and installing vent | 1 | Item |  | 0
0
3.1.6 | extra for the complete removal of 3No redundant header tanks | 1 | Item |  | 0
0
3.1.7 | Testing and commissioning | 1 | Item |  | 0
0
3.1.8 | O&M manuals and as fitted drawings | 1 | Item |  | 0
0
| _______________________________________ |  |  |  | 0
0
| The Contractor is requested to insert below the details / costs of any additional items which are not covered by the headings of cost above but are deemed necessary in complying with the information provided on the drawings / specifications: |  |  |  | 0
0
3.1.9 |  | 1 | Item |  | 0
0
3.1.10 |  | 1 | Item |  | 0
0
3.1.11 |  | 1 | Item |  | 0
0
3.1.12 |  | 1 | Item |  | 0
0
3.1.13 |  | 1 | Item |  | 0
0
0
0
| 3.2 - ELECTRICAL WORKS |  |  |  | 0
0
| Allow for supplying and installing the following new internal electrical systems; the requirements are as detailed on Harley Haddow's specification, drawings and equipment schedules (as listed at Appendix A - Item A11/110): |  |  |  | 0
0
3.2.1 | New power supply installations associated with the new plant, external trace heating and ancillaries | 1 | Item |  | 0
0
| _______________________________________ |  |  |  | 0
0
| The Contractor is requested to insert below the details / costs of any additional items which are not covered by the headings of cost above but are deemed necessary in complying with the information provided on the drawings / specifications: |  |  |  | 0
0
3.2.2 |  | 1 | Item |  | 0
0
3.2.3 |  | 1 | Item |  | 0
0
3.2.4 |  | 1 | Item |  | 0
0
3.2.5 |  | 1 | Item |  | 0
0
3.2.6 |  | 1 | Item |  | 0
0
0
0
| 3.3 - BUILDER'S WORK IN CONNECTION WITH THE M&E WORKS |  |  |  | 0
0
3.3.1 | Cut or form all holes, mortices, sinkings and chases through the structure, coverings and finishings and allow for all other above ground builders work in connection to the new Mechanical and Electrical Installations | 1 | Item |  | 0
0
0
| Provisional sums |  |  |  | 0
0
3.3.3 | Provide the Provisional Sum of £500.00 for remedial works to the existing internal finishes following the water main adaptation works | 1 | Item | 500 | 500
0
0
0
0
SECTION No. 3 - NEW WORK INTERNALLY
|  |  |  | To Summary £ | 500

## SECTION No. 4
HORNIMAN MUSEUM
100 LONDON ROAD, FOREST HILL, LONDON, SE23 3PQ
NEW WATER MAIN WORKS
SECTION No. 4 |  |  | = Contractor to insert pricing
DAYWORKS
£ p
4.01 | In the event of the Contract Administrator ordering in writing the work to be executed on a daywork basis, the rate of payment is to be as quoted by the Contractor below. |  | 0 | 0 | 0 | 0
4.02 | All sheets are to be consecutively numbered and are to give full details of the following:- the references of the Architect’s authority to carry out the work, the work executed, the date, or dates, of carrying out the work, each day being shown separately where more than one day’s work is required, the name and trade of the workpersons employed on the work, the rates of labour (as entered below), full details of materials and plant giving quantities and cost in accordance with supporting invoices, and the percentage additions on material and plant (as entered below). The sheets are to be signed by the Contractor’s foreman or authorised representative, and submitted to the Architect fully priced for his agreement and signature, within 7 days of the work being completed. |  | 0 | 0 | 0 | 0
Labour
4.03 | The hours worked on daywork shall be the hours actually worked on the operation listed on the sheet, and shall exclude time spent travelling to and from the works and meal breaks.
The Contractor shall quote below the rate he requires for payment of labour.
The rate quoted is to be an inclusive rate covering all charges including:-
(a) Wages and all labour on-costs as described in the Preliminaries
(b) All charges in respect of non-productive overtime
(c) All charges in respect of site and office supervision including foreman’s time and extra charges paid to leading or foreman craftsmen and gangers. Charges for general foreman cannot be included on daywork
(d) All overhead charges such as rent, rates, insurances, heating, water, printing, stationery, postage, telephone charges, motor car expenses, fares, transport charges, office repairs, renewals, maintenance and depreciation of premises, machinery, plant, etc.
| (e) Profit |  | 0 | 0 | 0 | 0
Labour within normal working hours:
4.04 | Hours worked between 8.00 a.m. and 6.00 p.m. Monday to Friday (inclusive) excluding meal breaks.
| 1 - Electrician | Rate per hour = |  |  |  | 0
| 2 - Plumber | Rate per hour = |  |  |  | 0
| 3 - Labourer | Rate per hour = |  |  |  | 0
| 4 - Ceiling Fixer | Rate per hour = |  |  |  | 0
| 5 - Dry-liner | Rate per hour = |  |  |  | 0
| 6 - Ductwork Technician | Rate per hour = |  |  |  | 0
| 7 - Tiler | Rate per hour = |  |  |  | 0
| 8 - Floor fitter | Rate per hour = |  |  |  | 0
| 9 - Decorator | Rate per hour = |  |  |  | 0
Labour outside of normal working hours:
In the event work is instructed outside of normal working hours the Contractor is to quote below his percentage mark-up values on the above rates:
4.05 | Hours worked between 6.00 p.m. and 8.00 a.m. Monday to Thursday (inclusive) and between 6.00 p.m. and 12.00 midnight Friday excluding meal breaks. | % uplift = |  |  |  | 0
4.06 | Hours worked between 00.01 a.m. and 12.00 midnight excluding meal breaks. | % uplift = |  |  |  | 0
4.07 | Hours worked between 00.01 a.m. and 8.00 a.m. the following Monday excluding meal breaks. | % uplift = |  |  |  | 0
4.08 | Hours worked between 00.01 a.m. and 12.00 midnight excluding meal breaks. | % uplift = |  |  |  | 0
Materials
4.09 | The Contractor is to quote here the percentage to be added to the nett invoice cost of materials to cover his supervision, overheads and profit. | % uplift = |  |  |  | 0
Plant
4.1 | The Contractor is to quote here the percentage to be added to the nett invoice cost of hire of plant to cover his supervision, overheads and profit. | % uplift = |  |  |  | 0
[6 empty] | Item |  | 2000 | 0
[6 empty] | Item |  | 1000 | 0
[6 empty] | % on £1,000 | =

## SUMMARY
HORNIMAN MUSEUM
100 LONDON ROAD, FOREST HILL, LONDON, SE23 3PQ
NEW WATER MAIN WORKS
SUMMARY
|  |  |  | £ p | 1st stage tender | Difference | PS 1st stage | PS 2nd stage
Section No. 1 | - | Conditions of contract / Preliminaries |  | 0 | 108035.85 | -108035.85
Section No. 2 | - | New work externally |  | 0
Section No. 3 | - | New work internally |  | 500 | 324866.95 | -324366.95 | 51600 | 44000
Section No. 4 | - | Dayworks |  | 0 | 9800 | -9800 | 9800 | 9800
|  |  | TENDER TOTAL £ | 500 |  |  | 0 | 0
Name of Contractor:
Address:
Date: