Tender for Grosvenor House Lift Upgrade

Tender – Document Two

Specification

CONTENTS

- Definitions	Page 3

- Introduction	Page 4

- Background	Page 4

- Scope	Page 4

- Service Conditions and Environmental Factors	Page 4

- Statement of Requirements	Page 5

- Quality Requirements	Page 6

- Whole of Life Support	Page 6

- Security	Page 6

- Training	Page 6

- Implementation Criteria	Page 6

- Monitoring Arrangements and Contract Management	Page 7

- Service Level Failure	Page 8

- Performance Monitoring and Review	Page 8

- Project Management	Page 9

- Risk Management	Page 9

- Other Relevant Details	Page 10

- Corporate Social Responsibility	Page 10

- Appendices	Page 12

- Definitions

  - The definitions of terms and/or acronyms used within this procurement are set out in Table A, below.

Table A

| ACM | Asbestos Containing Material |
| --- | --- |
| CDM | Construction (Design and Management) Regulations 2015 |
| Contract | The legal agreement between the Supplier and the Council, which details the Council’s requirements, terms and conditions |
| Critical Service Level Failure | A failure in service, deemed to be so critical to the continued operation of the Service and/or Contract that the Council is unable to continue its minimum level of service, as set out in this document. |
| Failure | A failure by the Supplier to perform one or more of the requirements set out in the Contract |
| Performance Measure | The performance measurements and targets in respect of the Supplier’s performance of the Contract |
| Month | A calendar month |
| Progress Meeting | a meeting between the Council’s Representative and the Supplier’s Authorised Representative |
| Representative | Means, in relation to a party, its employees, officers, representatives and advisors |
| Service Credit | A sum which the Authority is entitled to deduct or invoice for a Service Failure |
| Service Level | The minimum level of service required of the Supplier by the Council when performing the service detailed in the Contract |
| Service Level Failure | A shortfall or failure by the Supplier to provide the Services in accordance with any Target KPI |
| Service Period | The agreed term, during which, Goods, Services, Supplies, Works, or any part, thereof will be provided by the Supplier or any of their representatives. |
| Site | any premises (including the Council’s Premises, the Supplier’s premises or third party premises) from, to or at which: - the Service is (or is to be) provided; or - the Supplier manages, organises or otherwise directs the provision or the use of the Service. |
| Start Date | The date the Contract start |
| Target KPI | The minimum level of performance for a KPI which is required by the Council |
| The Council | Corby Borough Council |
| The Supplier | The company who wins the contract, following evaluation of all bids received by the Council |
| WEEE | Waste Electrical and Electronic Equipment. |
| Working Day | Monday to Friday, excluding any public holidays in England and Wales. |

- Introduction

  - The Council is seeking a suitably qualified and experienced Supplier to upgrade the obsolete lift control panel, tape heads and controller and refurbishment of a 1987 lift car which is part of a passenger lift at Grosvenor House, Corby.

- Background

  - The Passenger lift in Grosvenor House serves nine (9) floors in a multi-tenanted block. The lift car is a 1987 unit and is now out-dated. Several items are obsolete or end of their useful life and require replacement or upgrade.

  - The current lift meets the following specification

    - Litcran – Electric Passenger/Goods Lift 9 Floors. X2S9401. 1987. SWL= 8 persons or 630kg

- Scope

  - As a part of the works, the Supplier will be required to undertake works to the lift at Grosvenor House, George Street, Corby, Northamptonshire NN17 1QG.

  - The scope of these works is outlined in more detail in the Statement of Requirements, however, shall comprise works to the following 4 areas:

    - Motor Room;

    - Lift Car;

    - Lift Shaft; and

    - Landings:

- Service Conditions and Environmental Factors

  - An Asbestos Management Plan is available. The Supplier will be required to arrange an asbestos refurbishment/demolition survey for any items that may require removing or disturbing on, around or within the car, in the motor room or within the shaft.

    - A copy of any asbestos demolition/refurbishment survey must be made available to the client prior to any works starting on site;

    - Any ACM’s removed must be done so by a specialist or under the guidance advice of a specialist and a certificate of safe removal and waste transfer must be provided;

    - A detailed and task and site specific CDM plan covering all aspects of the works MUST be provided by the Supplier no later than 20 Working Days prior to provisional Start Date of works. The Council reserves the right to postpone the Start Date without penalty if the CDM plan is not provided as aforementioned and required amendments are not provided in a timely manner for review and acceptance;

    - The Supplier will provide a Single Point of Contact to liaise with The Council or their appointed representative during the project;

    - All waste generated by the Supplier, during and arising from the works, is to be disposed of by the Supplier and a waste transfer note provided for items such as WEEE waste, for example;

    - The Council operate a Permit to Work System that MUST be adhered to;

    - The Corby Cube is the main base for receiving Permits, Inductions, access cards, etc. and is the central point for requesting Facilities Management Staff assistance;

    - The Council is not obliged to supply parking. A space for 1 works vehicle will be made available at the Works location. Ample Pay & Display parking, at reasonable cost is available locally;

    - The working hours for this project will be between 0800-1700hrs;

    - Reasonable use of toilet/washroom facilities will be available at the works location. These are to be maintained in reasonable manner at all times; and

    - The Supplier is to respect the building and its users, visitors and occupants at all times. Good standards of housekeeping and behaviour MUST be maintained at all times and at the end of each shift, work areas are to be left clean and tidy.

- Statement of Requirements

  - General

    - This Specification, and in particular, this section, Statement of Requirements, should be read/considered alongside the Pre-Construction Information Pack and Preliminaries, included as embedded appendices, at the end of this document, which provide further detail of the Council’s requirements for this project, to which The Supplier must comply.

  - Motor Room

    - Control Panel: New unit required, existing is to be removed. New unit to be a microprocessor control panel system, providing push button control over all floors. New equipment to be suitable for use with the existing winding unit;

    - Winding Equipment: Existing winding equipment to be retained;

    - Traction sheave is worn but not excessively and can be retained; and

    - Wiring: Replace existing with new PVC wiring, to suit, where necessary.

  - Lift Car

    - Car Top Control Station: New unit required to comply with current BS & EN regulations;

    - Half Way Box: New pre wired car top connection box unit required;

    - Car Controls: New car operating station including new faceplate and operating buttons. Car preference key switch to be included. Retain coded floor selection unit;

    - Car Door Equipment: To be retained;

    - Car Door Panels: To be retained; and

    - Car interior upgrade: Reline car to give more modern feel. New LED lighting system with built in EL required. Tamperproof false ceiling for new LED lighting. New car floor.

  - Lift Shaft

    - Shaft Wiring: Replace existing with new, to suit, where necessary;

    - Trailing Cables: Replace existing;

    - Well Switches: Install new limit switches to operate in conjunction with new control system to interface with the new control system; and

    - Floor Selection System: Install new shaft proximity switches to interface with new control system.

  - Landings

    - Landing Call Buttons: Existing push buttons to be replaced for new fitted to comply with DDA, BS & EN standards, all must be fully DDA compatible; and

    - Landing Doors and Entrances: Existing automatic doors to be retained.

  - A detailed project plan showing all key stages and processes must be made available for review and acceptance no later than 20 Working Days prior to provisional Start Date of works. The Council reserves the right to postpone the Start Date without penalty if the project plan is not provided as aforementioned and required amendments are not provided in a timely manner for review and acceptance.

  - A minimum notice period to commence works is 25 Working Days.

  - A Contractor's Health and Safety Induction Booklet is included in the appendices to this Specification, which must be adhered to at all times.

- Quality Requirements

  - The Supplier will provide certificates of insurance and competences for the works to be undertaken.

  - All completion/commissioning certificates are to be supplied to The Council upon handover of the lift.

  - The Council reserves the right to have the works inspected by a Competent Person, appointed by themselves, prior to accepting handover of the lift.

- Whole of Life Support

  - The warranty periods on all items is to be provided at the bid stage.

- Security

  - The Council’s Contractors Health and Safety Induction Booklet has been included in the appendices of this Specification, which details all relevant elements of the security requirements for this project, to be followed.

- Training

  - Any training on new user operated devices is to be carried out at lift handover.

  - The Supplier must provide a full day of training with all parties required by the Council.

- Implementation Criteria

  - A detailed project plan showing all key stages and processes must be made available, for review and acceptance, no later than 20 Working Days prior to provisional Start Date of work. The Council reserves the right to postpone the Start Date without penalty if the project plan is not provided as aforementioned and required amendments are not provided in a timely manner for review and acceptance.

- Monitoring Arrangements and Contract management

  - The Supplier shall, at all times, provide the required service to meet or exceed the level of service required by the Council, as detailed in the specification and supporting documentation.

  - The Supplier shall allow for attendance to all Progress Meetings on-site or within the Council offices this shall be, but not limited to, one (1) Progress Meeting every week on-site with the Councils project manager and one (1) Progress Meeting per month in the Council’s offices with the entire team. At these meetings, progress and costs will be discussed in detail.

  - The Supplier shall cooperate in good faith with the Council to develop relevant performance measures for this Contract.

  - Management Information Reports must be completed (even where there are no transactions to report) and returned to the Council by the Reporting Date every Month during the contract term and thereafter, until all transactions relating to the contract have permanently ceased.

  - If the Supplier discovers any errors in any reported Management Information, it will inform the Council and provide corrections in the next Management Information Report.

  - The Supplier agrees to attend meetings with the Council in person to discuss the circumstances of any Failure(s) at the request of the Council If the Council requests such a meeting, the Supplier shall propose and document measures to ensure that any Failures are rectified and do not occur in the future.

  - The Supplier must be aware of the following site rules and is required to issue “Site Safety Rules” identifying any rules specific to this contract which are not addressed in their Health and Safety Policy and to make these rules known to all workers.

  - Clear and unambiguous site rules shall be displayed at all site entrances and on site safety notice boards as a minimum. Rules shall include health and safety standards on-site, including the restricted use of mobile phones, use of Personal Protective Equipment (PPE) and authorised competent people for the operation of plant and machinery

  - The following are examples, but does not form an exhaustive list:

    - Roads must be kept clear and open at all times;

    - Loading and unloading of vehicles must take place within the site boundaries or in consultation with the Highway Authority and Police;

    - The site must be fully secured outside working hours;

    - No lifting operations may traverse the site boundaries;

    - All visitors to the site must report to the principal contractor for induction and wear appropriate personal protection;

    - Site to be no smoking or smoking only in designated areas;

    - No fires permitted;

    - All hand tools to be either 110 volt or battery operated;

    - Food is only to be consumed in designated welfare accommodation;

    - Transistor radios, music centres and personal stereos are not permitted; and

    - Permits to work to be obtained by operatives for all necessary activities.

- Service Level Failure

  - Service Levels

    - If the level of performance of the Supplier:

- is likely to or fails to meet any Performance Measure; or

- is likely to cause or causes a Service Failure to occur, the Supplier shall immediately notify the Council in writing and the Council, in its absolute discretion and without limiting any other of its rights, may:

  - require the Supplier to immediately take all remedial action that is reasonable to mitigate the impact on the Council and to rectify or prevent a Service Level Failure from taking place or recurring;

  - if a Service Level Failure has occurred, deduct the applicable Service Level Credits payable by the Supplier to the Council; and/or

  - Service Credits

    - The Council shall use Project Reports supplied by the Supplier and/or complaints by tenants of the building (where relevant) to verify the calculation and accuracy of the Service Credits, if any, applicable to each Service Period.

    - Service Credits are a reduction of the amounts payable in respect of the Service and do not include VAT. The Supplier shall set-off the value of any Service Credits against the appropriate invoice in accordance with the calculation formula in 13.2.4.

    - Table B, below details the Services Levels and Service Credits, which apply to this requirement.

Table B

|  | Performance Measure | Polarity | Target | Example Performance | Difference |
| --- | --- | --- | --- | --- | --- |
| 1. | Lift Downtime – No more than 10 working days on any one occurrence | Lower is better | 10 days (100%) | 11 days (110%) | 10% |
| 2. | Project completed within agreed timescale | Lower is better | 60 days (100%) | 60 days (100%) | 0% |
|  | Service Credits |  |  |  | 10% |

    - The Service Credits shall be calculated on the basis of the following Worked Example:

              - 0.5% Service Credit will be gained for each percent below the Target.

              - Based on the example performance provided in the table above, 1 Performance Measure has underperformed, to the total value of 10% (Performance Measure 1 by 10%).

              - Therefore, if the monthly service payment is £2,500, the Service Credit will be £125.00.

- Performance Monitoring and Review

  - The Supplier shall provide the Council with weekly updates and/or written Reports, as required, in accordance with the process and timescales agreed which shall contain, as a minimum, the following information in respect of the relevant Service Period:

    - for each Service Level, the actual performance achieved over the Service Level for the relevant Service Period;

    - a summary of all failures to achieve Service Levels that occurred during that Service Period;

    - for any repeat failures, actions taken to resolve the underlying cause and prevent recurrence;

    - the Service Credits to be applied in respect of the relevant period indicating the failures and Service Levels to which the Service Credits relate; and

    - such other details as the Council may reasonably require from time to time.

  - The Supplier and the Council shall meet to discuss project performance on a weekly basis. These meetings will be the forum for the review by the Supplier and the Council of the performance of the project. These meetings shall:

    - take place at such location and time (within normal business hours) as the Council shall reasonably require;

    - be attended by the Supplier's Representative and the Council’s Representative; and

    - be fully minuted by the Supplier and the minutes will be circulated by the Supplier to all attendees at the relevant meeting and also to the Council’s Representative and any other recipients agreed at the relevant meeting.

  - The Supplier shall provide to the Council such documentation as the Council may reasonably require in order to verify the level of the performance by the Supplier and the calculations of the amount of Service Credits for any specified Service Period.

- Project Management

  - The Supplier and the Council shall each appoint a Project Manager, through whom the provision of the Service shall be managed day-to-day.

  - The Supplier and the Council shall ensure that appropriate resource is made available on a regular basis such that the aims, objectives and specific provisions of this Service can be fully realised.

- Risk Management

  - The Supplier and the Council shall pro-actively manage risks attributed to them under the terms of this Contract.

  - The Supplier shall develop, operate, maintain and amend, as agreed with the Council, processes for:

    - the identification and management of risks;

    - the identification and management of issues; and

    - monitoring and controlling project plans.

  - The Supplier will allow the Council to inspect, at any time within working hours, the accounts and records which the Supplier is required to keep.

  - The Supplier will maintain a risk register of the risks relating to the Service, which the Council and the Supplier have identified.

  - The Supplier will provide a construction phase Health and Safety Plan prior to start on site and will follow the requirements within the pre-construction information pack.

- Other Relevant Details

  - In order for Suppliers to ensure their tender submissions reflect as accurately as possible the Council’s specification and requirements, the Council strongly recommends that Suppliers undertake a site visit in order for each Supplier to satisfy itself so far as is possible that its proposed tendered price to be submitted in its bid is correct, realistic and sustainable. Such site visits may be arranged as follows:

    - Please arrange site visits directly with Roger Bell (Facilities Manager) on telephone number 01536 464 650.

  - All questions asked by Suppliers during site visits will be distributed to all Suppliers, including answers.

  - Site visits will not be scored or evaluated, but the Council makes available this opportunity to Suppliers in accordance with the principles of openness, fairness, transparency and non-discrimination so as to enable each Supplier so far as is reasonable to submit its most competitive bid.

- Corporate Social Responsibility

  - Requirements

    - In September 2017, HM Government published a Supplier Code of Conduct setting out the standards and behaviours expected of Suppliers who work with government. (https://www.gov.uk/government/uploads/system/uploads/attachment_data/fi le/646497/2017-09- 13_Official_Sensitive_Supplier_Code_of_Conduct_September_2017.pdf)

    - The Council expects its Suppliers and Sub-Contractors to meet the standards set out in that Code. In addition, the Council expects its Suppliers and Sub-Contractors to comply with the standards set out in this Section.

    - The Supplier acknowledges that the Council may have additional requirements in relation to corporate social responsibility. The Council expects that the Supplier and its Sub-Contractors will comply with such corporate social responsibility requirements as the Council may notify to the Supplier from time to time.

  - Equality and Accessibility

    - In addition to legal obligations, the Supplier shall support the Council in fulfilling its Public Sector Equality duty under S149 of the Equality Act 2010 by ensuring that it fulfils its obligations under each Contract in a way that seeks to:

- eliminate discrimination, harassment or victimisation of any kind; and

- advance equality of opportunity and good relations between those with a protected characteristic (age, disability, gender reassignment, pregnancy and maternity, race, religion or belief, sex, sexual orientation, and marriage and civil partnership) and those who do not share it.

  - Modern Slavery, Child Labour and Inhumane Treatment

    - Modern Slavery Helpline - means the mechanism for reporting suspicion, seeking help or advice and information on the subject of modern slavery available online at https://www.modernslaveryhelpline.org/report or by telephone on 08000 121 700.

    - The Supplier:

- shall not use, nor allow its Sub-Contractors to use forced, bonded or involuntary prison labour;

- shall not require any Supplier Staff or Sub-Contractor Staff to lodge deposits or identify papers with the Employer and shall be free to leave their employer after reasonable notice;

- warrants and represents that it has not been convicted of any slavery or human tracking offenses anywhere around the world;

- warrants that to the best of its knowledge it is not currently under investigation, inquiry or enforcement proceedings in relation to any allegation of slavery or human tracking offenses anywhere around the world;

- shall make reasonable enquires to ensure that its officers, employees and Sub-Contractors have not been convicted of slavery or human tracking offenses anywhere around the world;

- shall have and maintain throughout the term of any of its Contracts, its own policies and procedures to ensure its compliance with the Modern Slavery Act and include in its contracts with its Sub-Contractors anti-slavery and human trafficking provisions;

- shall implement due diligence procedures to ensure that there is no slavery or human trafficking in any part of its supply chain performing obligations under any of its Contract;

- shall prepare and deliver to the Council, upon request, a slavery and human trafficking report, setting out the steps it has taken to ensure that slavery and human trafficking is not taking place in any of its supply chains or in any part of its business with an annual certification of compliance;

- shall not use, nor allow its employees or Sub-Contractors to use physical abuse or discipline, the threat of physical abuse, sexual or other harassment and verbal abuse or other forms of intimidation of its employees or Sub-Contractors;

- shall not use or allow child or slave labour to be used by its Sub-Contractors;

- shall report the discovery or suspicion of any slavery or trafficking by it or its Sub-Contractors to the Council and Modern Slavery Helpline.

  - Income Security

    - The Supplier shall:

- ensure that that all wages and benefits paid for a standard working week meet, at a minimum, national legal standards in the country of employment;

- ensure that all Supplier Staff are provided with written and understandable Information about their employment conditions in respect to wages before they enter employment and about the particulars of their wages for the pay period concerned each time that they are paid;

- All workers shall be provided with written and understandable Information about their employment conditions in respect to wages before they enter employment and about the particulars of their wages for the pay period concerned each time that they are paid;

- not make deductions from wages:

  - as a disciplinary measure;

  - except where permitted by law; or

  - without expressed permission of the worker concerned.

- record all disciplinary measures taken against Supplier Staff; and

- ensure that Supplier Staff are engaged under a recognised employment relationship established through national law and practice.

  - Working Hours

    - The Supplier shall:

- ensure that the working hours of Supplier Staff comply with national laws, and any collective agreements;

- that the working hours of Supplier Staff, excluding overtime, shall be defined by contract, and shall not exceed 48 hours per week unless the individual has agreed in writing;

- ensure that use of overtime used responsibly, taking into account:

- the extent;

- frequency; and

- hours worked; by individuals and by the Supplier Staff as a whole.

    - The total hours worked in any seven day period shall not exceed 60 hours, except where covered by Paragraph 5.3 below.

    - Working hours may exceed 60 hours in any seven day period only in exceptional circumstances where all of the following are met:

- this is allowed by national law;

- this is allowed by a collective agreement freely negotiated with a workers’ organisation representing a significant portion of the workforce; appropriate safeguards are taken to protect the workers’ health and safety; and

- the employer can demonstrate that exceptional circumstances apply such as unexpected production peaks, accidents or emergencies.

    - All Supplier Staff shall be provided with at least one (1) day off in every seven (7) day period or, where allowed by national law, two (2) days off in every fourteen (14) day period.

  - Sustainability

    - The Supplier shall meet the applicable Government Buying Standards, which can be found online at: https://www.gov.uk/government/collections/sustainable-procurement-thegovernment-buying-standards-gbs

- Appendices

  - To open the embedded appendices, double click on the document icon.

    - Appendix 1 – Pre-Construction Information Pack

    - Appendix 2 – Preliminaries

    - Appendix 3 – Contractor’s Health and Safety Induction Booklet