Schedule D

Tender Ref HSL/ T31 1516 Gas Standard Generation System

Evaluation Criteria

Tenderers are required to demonstrate and provide evidence that meets or exceeds the specification (schedule A). Tender Submissions will be scored on the following criteria

| Score | Scoring of Tenders |
| --- | --- |
| 4 | Fully meets requirements and may offer a degree of additional benefits |
| 3 | Meets requirements, but with some minor reservations. |
| 2 | Meets some of the requirement, but with major reservations. |
| 1 | Unlikely to be able to deliver what HSE wants. |
| 0 | Cannot deliver what HSE wants or does not address the requirement. |

| Weighting | Description |
| --- | --- |
| 3 | Critical |
| 2 | Important |
| 1 | Standard |

See over page for evaluation  criteria table

Schedule D

Tender Ref HSL/ T31 1516 Gas Standard Generation System

| Tender Evaluation - Scoring Criteria |  |  |  |
| --- | --- | --- | --- |
| Criteria | Score (0-4) | Weighting (1-3) | Weighted Score |
| System capabilities benchmarked against requested specifications |  | 3 |  |
| RS-485 communications module for external PC/labview control, source code to be supplied |  | 2 |  |
| Modular system allowing secondary dilution |  | 2 |  |
| Humidity Control capabilities benchmarked against requested specifications |  | 1 |  |
| Ability to generate inorganic standard gas atmospheres such as mercuric chloride |  | 1 |  |
| Warranty Period (24 Months) |  | 1 |  |
| On Site Training |  | 1 |  |
| Maintenance |  | 1 |  |
| Delivery |  | 1 |  |
|  |  | Total Score |  |