Contract Specification:

The Provision of Cleaning & Ancillary Services

CONTRACT REF: NHSBT1265

SOUTH

Schedule A: Contract Requirements

The Provision of Cleaning & Ancillary Services

South

Tender reference:

The Provision of Cleaning & Ancillary Services NHSBT 1265

Contents

Schedule A: Contract Requirements	2

1.	Overview	4

National/Regional Main Centre Properties	5

2.	Definitions	5

3.	Variation of Conditions – (See attached Terms and Conditions)	6

4.	Scope of Contract	6

5.	Consumable Products	8

6.	Computer Aided Facilities Management (CAFM) System	9

7	Porter / Handyman Services	10

8	Service	10

9	Specialist Sub-Contractor Providers	11

10	Emergency Call Out & On Call Cover	11

11.	Specification	11

12	Statutory Obligations	11

13	Specialist Cleaning	12

14	Mobilisation Period	12

15	Cleaning and Ancillary Tasks	14

16	Manufacturer’s Instructions	14

17	Testing of Portable Appliances	14

18	Plant Shutdowns & Disruption of Services	14

19	Records: Overview	15

20	Records: Documentation & Drawings	16

21	Performance monitoring (SLA & KPI’s)	16

22	Use of Service Provider Approved Sub-Contractor Providers	17

23.	Liaison with Other Bodies – NHSBT Specialist Service Provider & NHS Trusts & Landlords	18

24.	Equipment and Consumables	18

25.	Infection Prevention and Control	18

25.2	Water Safety Management	18

25.3	Colour Coding Scheme	19

26	Exclusions	19

27	Contract Management and Client Team	19

28	Working Parties / Steering Groups	20

29	Instructions to the Service Provider	20

30	Site Visits	20

31	Contract Variations	20

32	Health & Safety	20

33	Permits to Work	23

34	Fire Safety	23

35	Induction & Training	23

36	Information Governance	24

37	Operatives	24

38	Core Hours	24

39	Cover	25

40	Welfare	25

41	Visitors	25

42	Miscellaneous	25

43.	Price and payment	27

44	General Information	28

45	Information	28

46	Assurance Auditing	28

47	Customer complaints	28

NHS Blood and Transplant (NHSBT)

The Provision of Cleaning & Ancillary Services

# 1.	Overview

Service Providers who provide goods or services to NHSBT must understand the critical nature of the work undertaken by NHSBT. Failure to meet the contract requirements can impact on the collection, testing and processing of Blood and Tissue Products, Transplant Services. Stock levels are demand led and can reduce dramatically following an event, therefore the continuous flow of Blood and Tissue Product and Transplant Services is critical.

By its nature, the work undertaken by NHSBT has a direct impact on Patient Lives and is often lifesaving in nature – the effective operational delivery of this Cleaning Contract plays an essential part in ensuring the continuity of services on which NHSBT rely.

The Service Provider should be aware that a key element of the contract is ensuring that NHSBT remains compliant with statutory and legal requirements and with working to Good Manufacturing Practice (GMP). GMP is the term used to indicate enhanced working regimes operating around a Donor Centre / blood production / processing / storage area where particular levels of cleanliness and care are needed to avoid impact of any kind on the core activity of the organisation which in turn could affect patient lives.

The purpose of this Specification is to give a clear understanding of the proposed requirements and the expected outcomes of the service. NHSBT is a pharmaceutical manufacturer and distributor and it is obliged to adhere to European legislation relating to GMP and demonstrate stringent levels of control to satisfy the requirements of the Medicines and Healthcare Products Regulatory Agency (MHRA). This Specification highlights the important role that the appropriate level of cleanliness and attendance to reactive tasks plays in the contribution towards this key NHSBT business commitment.

The standards identified in this Specification shall be read in conjunction with statutory requirements for all aspects of the Contract. It is the Service Provider’s responsibility to ensure that they have a clear understanding of the complexity of the service and that required in its delivery.

Cleaning and ancillary services within NHSBT’s premises gives a suitable environment for the Products and Services which relate to both MHRA and GMP requirements, together with the more general requirements for both Operatives and the public.

The Service Provider should be aware that compliance with such stringent requirements includes a high degree of regulation, conformance with procedures, and provision of a full audit trail. Examples of such procedures will include prompt action in closing out Quality Incidents (QI’s) i.e. where non-compliant activities have occurred, carrying out Corrective Actions within agreed timescales and, as necessary, contributing to a Root Cause Analysis. The performance of the Service Provider will be measured throughout the contract period via regular monthly reports through to Key Performance Indicators (KPI’s). Liquidated Damages for poor performance will be stringently applied. If other Service Providers are used by NHSBT to undertake tasks to remedy deficiencies in the service provided, NHSBT reserves the right to charge the cleaning Service Provider for all the tasks. As a public service, NHSBT is mindful of cost and is looking for a Service Provider who is able to provide an efficient and cost-effective service.

All Service Provider’s Cleaning and Portering Operatives will be required to undertake appropriate on-site training as required. All Service Provider’s Operatives and their Sub-Contractor Providers working on the contract will require mandatory Patient Safety and Quality (PSQ) Training and site information for Contractors, which must be completed before they start work on site.

Initial training to NHSBT procedures will be provided by Estates & Facilities (E&F), for all new Service Providers Operatives, and it is the Service Providers responsibility to ensure their Sub-Contractor Providers are trained to the same standards as required, throughout the length of the contract and this will be renewed annually.

The Service Provider shall not be limited in their ability to be innovative and to deliver a quality service with demonstrated value for money benefits.

The contract will be for Cleaning and ancillary services as may be defined, which will include reactive and ad hoc tasks.

# National/Regional Main Centre Properties

SOUTH

The South West region comprises:

- Principal Sites – Filton, Oxford and Southampton.

The South-East region comprises:

- Principal Sites – Colindale, Tooting and Cambridge.

There are other minor satellite sites and remote office locations within the regions comprising of Offices, Donor Suites, Warehouses, Stock Holding Units (SHU) and Blood Collection Team Base building locations. (See attached Offer Schedule). Separate costs will need to be identified for all the various sites.

Due to ongoing strategy the Authority may from time to time, within the Contract Term, add or remove properties by instruction in accordance with the Contract – Schedule 9 Change Control Process.  NHSBT would encourage the Contractor to redeploy any staff who may be affected by these changes. The Authority can confirm that they will not be liable or pay any redundancy costs associated with these or any future changes.

# 2.	Definitions

2.1	NHSBT means the Health Authority placing the contract. Health Authority 	means a Health Authority, Special Health Authority or NHS Trusts, as the case may be.

2.2	The contract means the agreement concluded between NHSBT and the Service Provider, including all specifications, plans, drawings and other documents incorporated or referred to therein.

2.3	The Service Provider means the person who by the contract undertakes to supply 	the services to NHSBT as provided for in the contract. The Service Provider also 	includes Sub-Contractor Providers working on behalf of the Service Provider.

2.4	The contract price means the price exclusive of value added tax that is payable to the Service Provider by NHSBT under the contract for the full and proper performance by the Service Provider of its part of the contract.

2.5	The goods mean all goods, materials or articles that the Service Provider is required under the contract to supply in connection with the services.

2.6	The services mean the services that the Service Provider is required to supply under the contract.

2.7	The NHSBT representative means the person appointed by NHSBT and notified in writing to the Service Provider to act as the representative of NHSBT for all purposes connected with the contract, or the authorised representative of such a person.

2.8	Estates & Facilities Manager is NHSBT’s local contact point for the Service Provider to communicate with and has the authority to agree changes and will monitor the Service Provider’s performance. This will be a named person for the purposes of general contract enquiries, but responsibility will be delegated to the Estates & Facilities Manager and their Team at a local level.

2.9	Management Process Description (MPD): a document which is produced within NHSBT to give guidance to Operatives on consistent management standards across any given activity. This will include reference to many associated standard forms which will be used by the Service Provider. The MPD is issued as part of the tender documentation to ensure that the Service Provider has as full and complete understanding of the scope of service and the expectations and working regimes they will be required to comply with during the currency of the contract. The Service Provider will be expected to adhere to the MPD and to offer suggestions for ongoing improvement, refinement and adaptations to the process to contribute towards continuous improvement.

2.10	Cleaning Service shall mean Cleaning and Ancillary Services which will include the traditional role of the Porter within NHSBT. This role covers postal duties, movement of goods and parcels, movement of waste to designated storage areas, limited ‘Handyman’ services, female hygiene provision, front of house support as required etc. as defined in detail by this Specification. All contract Operatives to be multi-skilled and able to carry out Cleaning and Portering duties.

2.11	Personal data has the same meaning as in section 1(3) of the Data Protection Act 1998.

2.12	See Appendix 12 for:

Table 1 – Summary Cleaning Matrix

Table 2 – Area Definitions

Table 3a – Definition of Terms

Table 3b – Definition of Porter / Handyman Services

# 3.	Variation of Conditions – (See attached Terms and Conditions)

All quotations must be provided within a maximum 10 days from receipt of NHSBT request in writing.

# 4.	Scope of Contract

Contract Period

4.1	Subject to the provisions of the ‘terms of offer’, this agreement shall remain in force for a period of five years from the Service Commencement Date with an option to extend for a further two, one-year periods.

4.2	In the event that the Service Provider does not commence the operation of the services on the Service Commencement Date, the Contract Period will nonetheless begin on the Service Commencement Date and NHSBT shall not be obliged to grant any extension of the Contract Period to the Service Provider.

4.3	This Agreement shall commence on the Service Commencement Date and shall continue, subject to these Conditions of Contract, until midnight at the end of the Contract Period.

4.4	It is likely that changes to the delivery of service will occur during the contract period. To ensure further service development or future compliance with new legislation/directives, NHSBT and the Service Provider will work together to co-ordinate action plans, identify resources and, if necessary, detail variations to this agreement.

4.5	The Service Provider shall, during the Contract Period provide, in accordance with the terms of the Agreement such Cleaning services as may be required by NHSBT. The Service Provider shall not deviate from the terms of the Agreement without the written consent of the Estates & Facilities Representative / NHSBT Procurement.

The contract will include the provision of:

4.6	Contract Structure and Aims: The Service Provider is required to provide a structure having the sufficient number of Management and Operatives to fulfil the requirements of the contract.

A named Contract Manager must be in place as a single point of liaison contract lead between the Service Provider and NHSBT.

The Service Provider is to provide an Organogram for the clients review and comment.

4.7	Business Continuity: Contingency plans must be in place to cover resource provision for sickness and redirection of staff to ensure key service areas are adequately covered. An out of hours’ escalation plan will be provided by the Service Provider detailing contingency measures.

4.8	As NHSBT is a designated organisation for dealing with major incidents, there may be occasions during the contract period when the Service Provider will be required to support NHSBT with services above and beyond the normal levels and outside normal working hours. Similarly, there may be occasions when incidents occur at NHSBT premises which put at risk the production of blood or other core business activities which could affect patient lives such as flood, fire, etc.

4.9	The Service Provider is therefore required to provide a ‘calling tree’ contact points which can be contacted outside normal working hours (including Bank Holidays and weekends). If for any reason, the main number is at any time unobtainable, an escalation list of contacts must be included in the contract and regularly checked and updated as necessary. The escalation list must include senior managers within the Service Provider organisation capable of making authoritative decisions and having access to the resource (plant, equipment and labour) capable of responding at an appropriate level.

4.10	Service Provider Operatives: Suitable trained and experienced Site Cleaning / Ancillary Operatives will be provided as a dedicated resource at all principal sites as defined under clause 1.0 above.

4.11	Uniform: The Service Provider shall always act in a professional manner to maintain the image and integrity of the Client organisation. Service Providers Operatives shall wear a uniform which will be supplied by the Service Provider and shall always  be presentable and clean. There is the requirement for the Service Providers Operatives working in the Donor Centres to wear colour contrasting uniform and highlighted in Appendix 1.

4.12	The Service Provider Operatives shall wear appropriate clothing, (lab coat or other which will be provided by NHSBT), in GMP areas as required.

4.13	Communications: Clear and concise verbal and written communication skills to a good standard of English are a key requirement to ensure the success of this service. The Service Provider Operatives must be able to maintain clear and decipherable records and have an organised approach to the daily duties. Correction fluid must not be used at any time. At Supervisor level, basic IT skills will be required. There will be a need for correspondence by email, keeping and maintaining simple electronic and paper records, receiving and closing Helpdesk requests, etc. NHSBT will provide the IT equipment necessary to comply with this.

4.14	General defects: As part of the Estates & Facilities Team, it is expected that the Service Providers Operatives will work in a proactive manner and monitor and log any general building defects or issues observed in the course of their normal duties.

4.15	Security: There is an expectation that the Service Provider 	will exhibit an awareness of security issues around the site and will proactively report any suspicious events immediately. All Service Provider Operatives are always to display ID and security pass clearly and query others who fail to do so.

4.16	Equipment: The Service Provider shall be responsible for maintaining their own equipment, fixtures and fittings and replacing such items at such frequency as to ensure that their provision, availability, efficiency, cleanliness and safety is maintained at all times. New equipment shall be provided at the start of the contract and at no greater than intervals of three years. The Service Provider will produce an Equipment Schedule at the onset of the contract and maintain this through the currency of the contract. The Service Provider shall, at their own cost, ensure that all electrical items shall have a current PAT Certificate.

NHSBT recognise the use of mechanical cleaning in support of an efficient, effective and modern service and the Equipment Schedule will set out the operational benefits of any equipment used on this contract – the equipment must also comply with the requirement to be energy efficient.

4.17	Provisions: The Service Provider shall provide all Operatives equipment, transport, materials, logo'd protective clothing, personal protective equipment (PPE) and consumables for the provision of the service to the Contract Standard.

# 5.	Consumable Products

5.1	All consumable products will be provided by the Service Provider. The list of items (which is not exhaustive and may be subject to change) at Appendix 2 must be supplied.

5.2	Validation is required for all consumable products prior to their use. Changes to consumables must be validated and approved by NHSBT prior to use without exception.

The National Bacteriology Laboratory (NBL) within NHSBT will perform the validation of products to ensure they have been confirmed as effective against bacteria.

The NBL will write a protocol covering the scope of the work required and progress with validation work will be regularly reviewed with any problems or issues identified, which may lead to a delay in completion of the work being reported back.

Once all laboratory work has been completed a full report will be produced, with details of the product and its application recorded on the Validated Disinfectant Datasheet (DAT2254). See Appendix 15.

  - An indicative list over an annual period of consumables purchased prior to the tender submission will be provided as an indication of the level of utilisation of consumables at a selection of sites. These levels are indicative only and it will be the responsibility of the Service Provider to use their experience to ascertain the appropriate charge for the supply of consumables for each site. NHSBT will not consider any variation of cost if the assessment made by the Service Provider at tender stage is found to be incorrect.

NHSBT will only consider a review of costs if there is significant and meaningful change in use or utilisation of any site during the currency of the contract. In these cases, the Service Provider must supply evidence of consumable use in the period before and after the significant change which must be as a result of circumstances caused by NHSBT. The decision of NHSBT whether or not to accept the variation or to change the amount requested will be final.

  - In addition, NHSBT will make the Service Provider aware of any consumables identified as specific to the organisation. A complete and current list of such consumables shall be maintained by the Service Provider, a copy to be made available to NHSBT on request. Replacement consumables shall be ordered as soon as possible, i.e. when such consumables are used on site. A lack of consumables and their appropriate use can impact adversely on NHSBT business.

  - NHSBT will define the standard of consumables and where these are supplied via any associated delivery mechanism / dispenser such as a toilet roll holder, then the dispenser shall also be provided by the service provider to a standard agreed by NHSBT. The dispensers shall remain the property of NHSBT at the end of the contract.

This will be for future additions and replacement, it will be considered that the existing delivery mechanisms are at currently at the standard required.

  - Designated areas are available for the storage of materials and equipment. No other areas may be used for this purpose.

  - The Service Provider is always to keep a minimum stock level of consumables on site. These levels are to be agreed by the Service Provider at the start of the contract. If the stock levels are excessively high causing resultant storage difficulties, then NHSBT reserves the right to require the Service Provider to remove excess materials from the site at the Service Provider’s cost. Cleaner’s Stores must always be kept clean, tidy and well maintained and follow indicated standards and requirements which include but are not limited to:

- The use of shadow boards where appropriate.

- Health & Safety documentation to include RAMS and COSHH Assessments etc.

- Training Records

- Signing in and out sheets

- Management of equipment storage e.g. correct storage of mops

5.8	The Service provider will provide automatic air fresheners in all toilets at the sites below. The installation, maintenance and replenishment of these air fresheners are to be priced within the tender submission.

- Main Centres

- Donor Centres

- Basildon SHU

- Birmingham New Street

- West End Donor Centre and Offices

- Stoke Gifford Offices

5.9	The Service Provider will make provision within the tender cost for all service consumable materials, equipment and tools in accordance with the cleaning and ancillary specification.

5.10	The Service Provider is to manage the areas in which consumables are stored and will ensure these areas are kept in a clean and tidy condition, items that may be required in emergencies must be easily accessible.

# 6.	Computer Aided Facilities Management (CAFM) System

6.1	NHSBT operates Computer Aided Facilities Management (CAFM) system; for notification and recording of all planned and reactive Cleaning and Portering tasks. The Service Provider shall ensure that key Operatives have a basic competency in the use of the CAFM system with training to be provided by NHSBT.

6.2	Cleaning and Ancillary Services are to be carried out to Service and Facilities Group (SFG20) standards. Tasks required in all areas will be stipulated by NHSBT. The frequency of task completion within all areas will be as per the SFG20 task and must be adhered to.

Service Providers are to price against the tasks and frequencies provided by proposing the number of hours necessary to meet the standards required.

For the purpose of this tender, individual building prices to be based on current hours per week.

Except for:

For the purpose of this tender, all Team Base prices to be based on 5 hours per week.

For the purpose of this tender, all Stores prices to be based on 15 hours per week.

For the purpose of this tender, all Donor Centre Only prices to be based on 20 hours per week.

A copy of the current SFG Asset Register is provided at Appendix 17.

During the first 12 months of operation, the Service Provider will assess and review the daily condition of each non GMP area in preparation for proposing adjustments to the frequencies of tasks to provide efficiencies and innovations, that can be applied to provide cost savings whilst maintaining the agreed standards throughout NHSBT portfolios.

On the first anniversary of the contract, the Service Provider will provide NHSBT with this proposal along with justification and clear detail in relation to how and where savings and/or efficiencies are possible.

6.3	Works Requests will comprise of planned, reactive and adhoc tasks.

# 7	Porter / Handyman Services

The Service Provider shall undertake the following activities on a programmed basis in addition to the cleaning service:

- Handling & movement of materials, parcels, furniture and goods, etc.

- Handling and movement of Blood Products/Samples and related items

- Goods receipt / dispatch (Loading Bays)

- Mailroom service

- Laundry handling/collection service

- Handyman service as per Table 3b in Appendix 12

- Waste collection and disposal service

- Room moves & meeting room service

- Ensure beverage/dispensing machines are adequately stocked, clean and in working order

- Other routine tasks as may be required (e.g. Front of House Reception, grounds maintenance such as litter and leaf clearance)

- SOP496 – (Filton) The Receipt of Blood, Components, Samples, Specimens and Other Manufacturing, Testing, Hospital Services and SpS Related Goods.

See Appendix 19

# Service

8.1	The Service Provider shall also deliver a service which is capable of reacting to any ad hoc situations as they arise and respond as requested through the Estates & Facilities Department Service Desk.

8.2	Service Response times will be measured from the time of the request issue by the Estates & Facilities Team to the time at which the Operatives arrives at the place of work specified and is ready and prepared to undertake the task. It will be the responsibility of the Service Provider Operatives to report on the completion of any reactive tasks in the manner prescribed.

8.3	The Service Provider will be expected to consider the scope for the provision of this service at remote sites (Team Bases, etc.) as part of the allocation of the regional resource team. It is recognised by the NHSBT that the resource is based at the main Centres and local agreements will be made post tender in respect of arrangements and cost of travel.

# 9	Specialist Sub-Contractor Providers

NHSBT require the Service Provider to employ specialist Sub-Contractor Providers to carry out specific elements of work. The Service Provider is to have ‘back to back’ contracts with their Sub-Contractor Providers so that the Sub-Contractor Provider is working to the same Specification and performance criteria as the Service Provider. Copies of these contracts must be presented to NHSBT within 2 months of the start of the contract.

The Service Provider may visit all sites at the time of tendering to establish the full extent of the tasks. NHSBT will not accept any claim for lack of errors or omissions in tender submissions.

# 10	Emergency Call Out & On Call Cover

The Service Provider will be expected to provide support in emergency situations when required e.g. to clear up flood water etc.

The emergency response time shall not exceed the stipulated response period from logged phone call to attendance on site. (The response times are as defined in Appendix 3). The Service Provider must ensure, as far as is reasonably practicable, that the appropriately qualified Operatives or Specialist is made available to respond to the initial call.

# 11.	Specification

The Service Provider shall provide Operatives for Cleaning and Ancillary services to meet the specification provided, with the understanding that business levels may change, and adjustments may be required for both increases and decreases in service provision over the contract period.

# 12	Statutory Obligations

The Service Provider shall be responsible for ensuring that all Cleaning and Ancillary Services are recorded on the NHSBT Computer Aided Facilities Management System and compliant with any of the statutes, by-laws or other laws and regulations.

These shall include, but not be limited to, Healthcare Technical Memoranda (HTM’s), NHS Advice Notes, NHS Guidance Notes, Health & Safety legislation encompassing COSHH, Electricity at Work Regulations, LOLER, PUWER and other relevant legislation, as applicable.

In addition, should the Service Provider be of the opinion that any of the installations, systems, equipment, plant or materials in use do not comply with such statutes, by-laws, laws and regulations, the Service Provider shall inform NHSBT and/or NHSBT’s Representative immediately of its views and shall then comply with any instruction or decision given.

- The Service Provider shall be responsible for ensuring that all their employees and Sub-Contractor Providers carry out any work strictly in accordance with Health & Safety, COSHH, Electricity at Work, Asbestos Regulations and all other legislation, by-laws and amendments.

- The Service Provider shall submit a copy of their Health & Safety procedures, risk assessments and method statements before undertaking any activities within a building or its boundary.

- The Service Provider shall provide test certificates for all equipment that is being used prior to use.

# 13	Specialist Cleaning

13.1	Any specialist cleaning shall be undertaken by the Service Provider or their Sub-Contractor Providers.

An example of this is 6 monthly Cold Room Cleaning. This will be done in accordance with Standard Operating Procedure (SOP)3274 (See Appendix 4) and SFG Task CL01-18 Cleaning-Cold Room Deep Cleans.

For Cryovat Rooms See SFG Task CL01-19 Cleaning-Cryovat Rooms.

13.2	Window Cleaning

The management and execution of both internal and external window cleaning element of this contract is the responsibility of the Service Provider. The Service Provider shall fully assess all safety issues associated with this element of the contract and submit his risk assessments and method statements to NHSBT, for information only, before commencing this element of the contract. All Service Provider Operatives must be fully trained and competent.

13.3	Any areas deemed to be high risk shall be omitted from the works until a suitable means of safe and effective cleaning can be identified – any such areas must be highlighted at time of tender.

13.4	Cladding: The Service provider shall include the appropriate cleaning of any cladding which will be required in association with the cleaning of the external face of the windows. The frequency of this clean shall be deemed to correspond with the window clean unless otherwise indicated. The sites where this shall be applicable shall be Colindale and Filton but will exclude Team Bases and remote sites.

13.5	Signage: The Service provider shall include the appropriate cleaning of any external signage which will be required in association with the cleaning of the external face of the windows. The frequency of this clean shall be deemed to correspond with the window clean unless otherwise indicated.

13.6	Garages: The Service provider shall include in their pricing for the high-level cleaning of garages. These are to be reviewed on an annual basis with the Estates & Facilities Manager (EFM) and the representative of the Contractors Management Team. Should there be no requirement to complete the very high level clean the decision is to be recorded in the CAFM system against the appropriate task. The cost associated to this task must be noted and offered back to NHSBT as a credit.

# 14	Mobilisation Period

14.1	NHSBT reserves the right to approve all Operatives working on the contract. Any Service Provider’s Operatives or Sub-Contractor Provider’s Operatives who do not meet NHSBT requirements must be removed from site when requested.

14.2	The list of items below is indicative of the scope of works to be undertaken by the Service Provider for this contract but is not exhaustive:

- Cleaning – mopping, vacuuming, dusting, deep clean

- Cold Room Cleans (specialised cleans)

- Cryogenic Store Cleans

- Window Cleaning

- Cladding Cleaning

- Internal and external signage

- Grounds Maintenance – Leaf clearance, litter clearance, gritting, adhoc snow clearance

- Handyman duties

- Front of house support

- Printer consumables replenishment

- Assisting Maintenance Operatives

- Assisting E&F as requested

- Portering

- Assist with Fire Drills, Evacuations and alarms

- Female Hygiene

- Dust/Barrier Mats

- Sticky Mats

- Dychem Mats

- General Waste handling and movement

- Clinical Waste

- Consumable replenishment – e.g. hand towels, toilet roll, soap etc.

- Furniture movement

- Room Set up

14.3	The Service Provider must access all sites, other than a Main Centre site, through the E&F Office associated with that satellite site as not all remote sites are manned during normal working hours and access is therefore restricted.

14.4	A duration for the Mobilisation Period will be agreed between the parties prior to the Service Commencement Date and shall allow sufficient and reasonable time to enable the Service Provider to set up a contract infrastructure to enable effective delivery of the service from Day One of the contract. In default the Mobilisation period shall be 3 (Three) months.

14.5	The success of contracts of this nature is often related to the manner in which the Service Provider discharges their duty in terms of Mobilisation of the contract. NHSBT therefore recognise the importance of this task and will expect a full Mobilisation Plan to be provided by the Service Provider. The Plan shall contain as a minimum:

A Gantt chart indicating the key measurable milestones.

A nominated manager in the Service Providers organisation who shall be responsible for the Mobilisation.

A list of any Subcontract or Supplier organisations along with evidence that an agreement exists to include back-to-back contract conditions aligning with the prime NHSBT contract requirements.

14.6	The Service Provider is to identify and itemise any cost associated with the contract mobilisation for NHSBT consideration to make payment.  Failure to adequately Mobilise the contract will result in either, any agreed sum being withheld from payment until such time that NHSBT considers that service is meeting reasonable baseline standards or the sum being forfeit and NHSBT will additionally consider the option of termination of contract.

14.7	The Service Provider will make reasonable provision for and retraining any TUPE Operatives, post service commencement to ensure that the requirements and obligations of the new contract are fully understood.

14.8	Demobilisation: on conclusion of the contract the Service Provider shall demobilise the contract in a controlled and managed fashion, providing the full service up until 23:59 hours on the last day of the contract. A demobilisation plan will be produced which will include inventories of consumables, etc., as required by NHSBT. The Service Provider will cooperate fully with the incoming Provider as required to ensure a smooth transition of service.

# 15	Cleaning and Ancillary Tasks

Cleaning and Ancillary Tasks are to be undertaken in line with SFG20 task schedules (See Appendix 5).

# 16	Manufacturer’s Instructions

16.1	The Service Provider shall check and bring to the attention of the NHSBT representative any requirements of the relevant materials manufacturer’s instructions where the cleaning tasks or intervals are different to those set out in the SFG20 schedules.

16.2	In situations where manufacturer’s instructions/recommendations exceed the task frequencies as stated in the tender document, these recommendations shall be brought to the attention of the NHSBT Representative.

# 17	Testing of Portable Appliances

The testing of Service Providers portable appliances shall be carried out at each of the properties as required to comply with Electrical Safety Regulations.

# 18	Plant Shutdowns & Disruption of Services

18.1	Where cleaning activities may be disruptive to NHSBT operational demands, the Service Provider shall be responsible for arranging out of normal hours working. The cost of any out of hours’ work shall be included in the annual lump sum. It is the responsibility of the Service Provider during the tender process to identify these activities, it should be noted that liaison with site E&F Operatives is required as not all sites operate in the same way.

18.2	Due to the sensitivity of inoperability, no cleaning shall take place without prior approval of the E&F Representative responsible for that site or location. The E&F Representative should be provided with prior notice of such shutdowns: RAMS must be provided.

18.3	The Service Provider is advised that NHSBT has specific change control and change management procedures which must be adhered to in effecting change. There are also Management Process Descriptions(MPD) and Standard Operating Procedures(SOP) to control and manage any planned shutdowns or outages for the purposes of cleaning which can impact on NHSBT operations or processes. This is not limited to areas under the control of GMP. Service Operatives will be required to work to defined timelines and provide records as appropriate. Copies of change documentation will be made available to the Service Provider on request.

18.4	Isolation of plant or equipment is not permitted without the agreement of the NHSBT Representative. This will include activities such as the isolation of plant, equipment or air handling units. Any such agreement will take into consideration availability of standby plant and site operational status/requirements and will usually be determined following a change control exercise. This change control will be informed by Method Statement/Risk Assessment and require suitable and sufficient liaison with departments which may be affected by such an isolation.

18.5	No system or equipment outages attributable to inadequate cleaning or operational errors on behalf of the Service Provider or its Sub-Contractor Providers will be accepted. The Service Provider will be held liable for any expenses incurred in these circumstances.

# 19	Records: Overview

19.1	Service Providers records will be required to inform a number of separate audits, which will include audits by NHSBT’s Quality Assurance Department, the MHRA and E&F building inspections. Please note this is indicative and may include other accrediting/auditing authorities as required. The Service Provider will also be expected to schedule and complete regular self-audits, reports of these inspections made available to the E&F representative for the site.

19.2	The Service Provider will be required to complete documentation issued by NHSBT, which will enable certain records to be kept up to date. The Service Provider shall also provide NHSBT with such reports as are required by this specification, including a Monthly Report. is emphasised that these Monthly Reports are important to NHSBT and will be expected to be made available in a timely and regular manner and a minimum of three working days in advance of the scheduled meetings - (see example Appendix 6).

19.3	Contract Management representation at an appropriate level will attend regular monthly meetings to discuss operational performance with the E&F Site Managers.

19.4	A monthly meeting will also be held between the Service Providers Management Representative and the local E&F Team to discuss contract performance and KPI’s.

19.5	A formal quarterly review will take place with the E&F Regional Manager and a member of the Procurement Team.

19.6	An Annual Review will be undertaken between NHSBT representatives and the Service Provider on or about the anniversary of the contract award.

19.7	The Annual Review will include but not be limited to the following section headings:

- Production of overview report

- Office audit

- H&S

- QA

- Complaints

- Performance

- Finance

- Innovation

# 20	Records: Documentation & Drawings

20.1	Completion of Service Record Sheets / contract documentation in the manner prescribed by the NHSBT Management Process Description MPD119 Management of Cleaning Services (see Appendix 7), as included in this contract) is critical to the success of the service delivery. NHSBT attach great importance to accurate and consistent record-keeping and this should be duly noted by the Service Provider.

20.2	All available building documentation, drawings and records in NHSBT’s possession, shall be made freely available to the Service Provider for use in maintaining the property, with the proviso that it remains on site at all times as the property of NHSBT.

20.3	The Service Provider should utilise a Management/Quality system that ensures the efficient and smooth running of the contract together with a full audit trail of all activities.

20.4	The CAFM system will produce a 52-week planner, indicating on a weekly basis for the full Contract Period the task intervals. This will enable all concerned to assess the labour and/or materials requirements of site, identify the tasks to be performed and dates of planned site works/visits. Where these include the attendance of a relevant third party, it will be the responsibility of the Service Provider to arrange their attendance with agreement from NHSBT.

20.5	Site log books shall be up to date and maintained in a suitable agreed location and must be completed by the contract Operatives. The logbook is to include all Specialist Sub-Contractor Provider’s visits and the Service Providers Risk Assessments and COSHH details.

A copy of a typical logbook is available for inspection. Log books will be provided by NHSBT (See Appendix 8).

20.6	The Service Provider will need to be aware of the site’s fire and water hygiene arrangements, and any other relevant records which may be required to ensure NHSBT remains compliant with both Statutory and Good Manufacturing Practice requirements.

20.7	The Service Provider shall be responsible for ensuring all records are completed to the requirements of Good Manufacturing Practice and Good Documentation Practice (GDP) MPD385. All records must be clearly legible and fully describe any actions taken. The Service Provider will also be responsible for the provision, management and correct completion of all site log books.

20.8	Tippex or other correction fluid must not be used to change any records or documentation - All task sheets must be completed using blue or black ink, any amendments must be initialled and dated.

20.9	All documentation will require version/date control.

# 21	Performance monitoring (SLA & KPI’s)

21.1	NHSBT will provide necessary IT/computer equipment for Supervisory Operatives on the relevant sites for the successful operation and management of the contract, giving access to NHSBT’s CAFM system.

21.2	Tasks completed at remote sites must be checked for completion by the Service Providers Contract Management Team in line with the 52-week planner and the job closed on the CAFM system within the priority set for each task.

21.3	NHSBT will undertake site inspections to review the performance of the Service Provider/Contract.

21.4	All monthly reporting is to be in electronic format.

21.5	The Service Level Agreement for responses to Reactive Cleaning calls will be as follows:

| Priority Classification Response Time | Response Time |
| --- | --- |
| 1 | Investigate and make safe within 1 hour of notification by telephone, call or email Restore/repair or provide temporary alternative to E&F within 3 hours of making safe. This priority is used for Emergency call outs where operational conditions may be impacted on. |
| 2 | Investigate and restore/repair or provide temporary alternative to E&F, within 24 hours of notification of telephone call. Health and Safety / Low Risk / Room Equipment – Layout |
| 3 | Investigate and restore/repair or provide temporary alternative to E&F, within 72 hours of notification telephone call. General Service Requests, Departmental Moves. |
| 4 | Investigate and restore/repair or provide temporary alternative to E&F, within one week of notification of telephone call. |
| 5 | Investigate and restore/repair or provide temporary alternative to E&F within 28 days. |

21.6	NHSBT, as part of its normal operating procedures, will undertake performance measuring which includes audits of the properties within the contract These will be carried out at such times as deemed necessary and with or without notice to the Service Provider to ensure satisfactory performance by the Service Provider. Where the Service Provider is given notice of the audits, the Service Provider is to make available their Operatives to co-operate as required for NHSBT’s inspection.

21.7	Tasks are to be completed within 5 working days of the task start date. Any relevant documentation must be provided within 10 working days of completion of the task.

21.8	During each monthly meeting, the cleaning standards will be discussed and a KPI score allocated. See Appendix 9 for the KPI template.

# 22	Use of Service Provider Approved Sub-Contractor Providers

22.1	NHSBT may require, or the Service Provider may choose to employ, Specialist Sub-Contractor Providers to carry out specific elements of work. The Service Provider must have ‘back to back’ contracts with their Sub-Contractor Providers so that the Sub-Contractor Provider is working to the same performance criteria as the Service Provider. This will include but not be limited to the following:

- Window Cleaning

- Cladding Cleaning (where identified)

- Supply of specialist consumables

- Feminine Hygiene

- Dust/Barrier Mat Supply

- Sticky Mat Supply

- Dychem Mat Supply

- Consumable supply – e.g. hand towels, toilet roll, soap etc.

22.2	It is a key criterion of the contract that the Sub-Contractor Providers attending remote sites away from the main centres attend site on the same day as the visiting Service Provider’s Operatives.

22.3	Any Sub-Contractor Provider within this contract, appointed by the Service Provider, is to fully comply with NHSBT requirements in respect of Health & Safety and GMP and GDP.

22.4	A comprehensive list of any proposed subcontracted tasks and Service Providers used must be provided with the tender return. Any changes to the Sub-Contractor Providers must be agreed with NHSBT during the currency of the contract. The Sub-Contractor Providers must not in turn sub-let their tasks without the express agreement of NHSBT.

# 23.	Liaison with Other Bodies – NHSBT Specialist Service Provider & NHS Trusts & Landlords

23.1	The Service Provider must work in partnership with NHSBT when Trust or Landlord permission is required.

# 24.	Equipment and Consumables

24.1	NHSBT will not loan any equipment to the Service Provider and they must provide all equipment required.

24.2	All Service Providers’ equipment and consumables must always be stored in the correct manner.

24.3	Any areas allocated to the Service Provider must be kept clean and tidy and available for inspection at any time.

# 25.	Infection Prevention and Control

25.1	The NHS National Patient Safety Agency (NPSA) issued a guidance document; Safer Practice Note on 12 January 2007, ‘Colour Coding Hospital Cleaning Materials & Equipment’. Whilst it is recognised that this is specific for hospitals, the good guidance engendered is easily transferable to NHSBT and it is expected that the Service Provider will be able to demonstrate compliance with this or an equal and approved system of working. The four categories identified are:

- Toilet Areas

- General Areas

- Food Related Areas

- Patient Areas which would equate to GMP Areas in the NHSBT Estate

# 25.2	Water Safety Management

Cleaning of wash hand basins, sinks, sluices and bucket sinks including tap outlets, showers and water cooler nozzles and drip trays.

It is the service providers’ responsibility to have a safe system of work to ensure that all wash hand basins, sinks, sluices and bucket sinks including tap outlets, showers and water cooler nozzles and drip trays are being cleaned and descaled to the required standards in line with SFG 20 task specifications and Infection Prevention and Control (IPC) guidance.

# 25.3	Colour Coding Scheme

| Red |  | Blue |
| --- | --- | --- |
| Bathrooms, washrooms, showers, toilets, wash hand basins and bathroom floors |  | General areas including wards, departments, offices and basins in public areas |
| Green |  | Yellow |
| Catering departments, ward kitchen areas and patient food service at ward level |  | GMP Areas |

# 26	Exclusions

Exclusions, currently, from the contract are as follows:

- Laboratory work surfaces are not included in this contract.

Wash Hand basins located in laboratory areas are included.

- Kitchen deep cleans including ductwork and extract hoods

- Vending Machines – internally

- Cleaning of -40-degree walk-in cold rooms

- Cleaning of clean rooms (Of any category)

# 27	Contract Management and Client Team

This contract will be administered by the NHSBT Representative Department.

# 28	Working Parties / Steering Groups

To ensure complete integration between the Service Provider and NHSBT, from time to time, suitably experienced members of the Service Provider’s management team shall be expected to attend and contribute to Working Parties / Steering Groups on specific issues related to the strategic and contract performance of NHSBT Cleaning, Portering, Handyman and other activities.

# 29	Instructions to the Service Provider

29.1	It will be the Service Provider’s responsibility to establish if TUPE applies to any of the Operatives working for the current cleaning provider on allocation of contract.

29.2	Where requested by the E&F Representative to attend site for reasons other than scheduled tasks, for example a breakdown or fault that leads to a clean-up being required, the Service Provider shall accept and act upon the verbal request which will be followed by written confirmation or purchase order in due course.

29.3	The Service Provider shall not take instructions from any other NHSBT department.

# 30	Site Visits

30.1	It is the Service Provider’s responsibility to visit all the Main Centres and a representative sample of other sites during the tender period. Specific dates will be agreed with NHSBT to ensure all site visits are accommodated.

30.2	Service Providers should ensure they are aware of the details of the site/demise.

# 31	Contract Variations

31.1	NHSBT may wish to vary the frequency or number of inspections for particular tasks and may add to or remove from the issued asset list items. The contract will allow for NHSBT to make any relevant changes within sites.

NHSBT will apply in writing for these variations: The Service Provider will respond to NHSBT within five working days, the cost adjustments that will be added to the basic price of the Contract.

31.2	All variations to the basic price of the Contract will be charged pro-rata on a monthly basis by the number of complete months that have passed since the last anniversary of the Contract. A variation will only be introduced when the variation procedure has been completed in full.

31.3	The Service Provider shall within the tender return propose a pricing mechanism to detail how variations to assets will be calculated.

31.4	Where new tasks are to be added to the contract, the Service Provider must ensure that the tasks are carried out at the correct frequency.

# 32	Health & Safety

32.1	NHSBT operates in a strict risk-based health and safety environment and in carrying out the contract tasks the Service Provider shall be responsible for, and strictly comply with, all safety, health and welfare measures.

32.2	The Service Provider shall provide as part of the contract Risk Assessments, Method Statements and COSHH data sheets/registers relating for all tasks with due consideration for environmental impact. This will be provided no later than one month from the commencement of the contract and for each site.

All Health & Safety documentation must be kept up to date at all times.

32.3	The Service Provider will ensure that all doors, cupboards giving access to equipment will be kept locked unless they are being used. The Service Provider will carry out periodic inspections, to ensure that all allocated areas are free of waste materials, chemicals and other goods which should not be stored there.

32.4	The Service Provider shall include within the contract sum for the removal and disposal of all redundant equipment and consumable materials in line with current legislation.

32.5	The Provider will ensure that any COSHH related products used on site are controlled with Hazard Data Sheets and associated Risk Assessments made available to the Operatives. A COSHH register is to be kept on site by the Service Provider who is also to provide all details to the Estates & Facilities Representative at the start of the contract and whenever products are changed. If products are changed then it shall be the responsibility of the Service Provider to remove old products off site.

32.6	General Risk Assessments and Method Statements for hazardous tasks must be documented and kept accessible on site, e.g., working at height, etc.

32.7	Training records for Operatives, which must include regular refresher training, shall be documented. It is vital that the training is effectively transmitted to the Service Provider’s Operatives in a clear, concise and understandable fashion.

32.8	Manual Handling forms an inherent element of this contract and appropriate training must be given and evidence of training maintained.

32.9	Personal Protective Equipment (PPE) must be made available and easily accessible, by the Service Provider, as identified by the Risk Assessments. The issue of this equipment must be appropriate and documented. The equipment must be maintained by the Provider, and a routine for replacement identified.

32.10	Accident Reporting: The Service Provider must record any accidents or near misses in the agreed manner and inform NHSBT as soon as reasonably practicable. They must notify the Estates & Facilities Representative immediately of any Health & Safety issues or concerns noted during the course of the daily routine which may affect this service or the wider NHSBT organisation. The accident report shall include details of any risk assessments and proposed action to prevent further incidents of a similar type.

32.11	Blood Spillage: The Service Provider shall ensure that his Operatives are aware of the precautions and actions to be taken in the event of a blood spillage. This will be covered in more detail in the GMP training module associated with this contract but in essence the NHSBT Laboratory Operatives will support the actual clean of the spill.

32.12	Hepatitis B: any Service Provider Operatives, who may in the course of their duties come into contact with blood products, should have the option to receive hepatitis B immunisations – the Service Provider is to provide this service at their cost on a risk assessment basis. Any Service Provider Operatives who do not wish to receive the immunisation, must document this response and this documentation must be retained by the Service Provider.

32.13	Clinical Waste: The Service Provider shall ensure that Operatives are fully trained and aware of the risks relating to handling of clinical waste. The Service Provider shall be obliged to ensure compliance with the NHSBT policy on waste management. NHSBT strongly encourage all those that handle clinical waste to have hepatitis B immunisations.

32.14	Access Equipment: safe means of access will be made available by the Service Provider; podium steps will be used in preference to stepladders or step stools and appropriate checks shall be documented on the condition and suitability of such equipment for use on the contract.

32.15	Wet Floor Signage: Wet floors are one of the most common causes of accidents, slips and trips. The Service Provider must ensure adequate signage is deployed when ‘wet’ cleaning is being undertaken and that signs, which in themselves may cause a hazard, are removed in a timely manner on completion of the operation.

32.16	Polished Surfaces: highly polished surfaces which could constitute a slip hazard should be avoided. This is especially a potential issue after a periodic clean on a vinyl floor and the Estates & Facilities Representative may require over-polished surfaces to be stripped back at the Service Provider’s expense.

32.17	The Service Provider shall comply with all Health and Safety legislation, British and EU Standards, Department of Health guidelines and requirements, Technical Memoranda, Safety Action Bulletins and Hazard Notices. This is to include all current legislation and documents as well as all such future directives.

32.18	The Service Provider will notify NHSBT of the details of any Sub-Contractor in relation to the Feminine Hygiene service; this is to enable the NHSBT Environmental Department to undertake Duty of Care inspections in relation to waste disposal from the sites.

32.19	Vetting: Basic Health & Safety vetting of procedures may be undertaken on behalf of NHSBT by an approved body. All Service Providers working for NHSBT shall have approved accreditation.

32.20	Health, Safety & Environmental Policy: The Service Provider must submit a company Health, Safety & Environmental policy for NHSBT review. The Service Provider must demonstrate how this policy is translated into effective operational service delivery on the NHSBT contract, e.g. chemical usage, etc.

32.21	Energy Efficiency: The Service Provider must demonstrate that equipment and cleaning routines using hot water and utilities are efficient and effective in their use of power and energy. Other measures in support of a robust Sustainability policy such as policies related to turning off lights, etc., must be evidenced.

32.22	Cleaning Products: all products used must be shown to be suitable for use in a GMP / Pharmaceutical environment and shall be free from animal related derivatives or any other constituents which could detrimentally impact the core activity of NHSBT. They must meet NHSBT approval and cannot be used until this is gained. If in doubt, the Service Provider is to check with the Estates & Facilities Representative. Any change in cleaning materials during the contract period must be brought to the attention of NHSBT and approval given for change.

32.23	Safe Systems of Work: The Service Provider will furnish NHSBT with Safe Systems of Work for all activities. Consideration must be included for indirect effects e.g. trailing leads, odours, machinery and pedestrian contact etc.

# 33	Permits to Work

33.1	NHSBT operates a ‘Permit to Work’/ ‘Authority to Work’ system. The Service Provider is to comply with our Permit to Work/Authority to work system for use at the properties within the Service Provider’s area of responsibility.

The permits are to include but not be limited to:

- Restricted Areas

- Confined Spaces

- Roof Access

- GMP environments

33.2	The Service Provider’s Operatives and Sub-Contractor Providers will comply strictly with the conditions imposed by Permits to Work. Hot works will only be allowed with the specific agreement of the NHSBT Representative and where appropriate precautions have been taken to avoid activation of fire alarm systems.

# 34	Fire Safety

34.1	The Service Provider shall ensure that Employees or Sub-Contractor Providers comply with NHSBT Fire Safety Management Plan (FSMP) given in MPD 705 (See Appendix 13).

34.2	All refuse shall be collected from its location and taken to the storage area as soon as is practicable.

34.3	If at any time the Service Provider, their Employees and Sub-Contractor Providers notice anything they consider could be a potential fire risk, it must be reported immediately to E&F Representative.

34.4	The Service Provider shall strictly comply with any regulations which govern the storage of explosive, petrol, batteries or other materials brought on to the site.

34.5	The Service Provider’s Employees and Sub-Contractor Providers must familiarise themselves with the procedures to be followed in the event of a fire alarm being raised on the Site and if required must attend training lectures.

34.6	Service Provider’s Operatives, working permanently on a site, must complete NHSBT Fire Training to ensure awareness of the dangers of fire, the precautionary measures to be taken and the action to be followed in the event of fire.

34.7	Service Providers Operatives may be required to assist with fire safety tasks e.g. fire tests, fire drills and evacuations.

# 35	Induction & Training

35.1	The tenderer shall allow within their tender costs the time and travel for the Employees involved in the Contract to attend NHSBT Patient Safety & Quality (PSQ) inductions in the week prior to contract commencement. All Service Providers and Sub-Contractor Providers must attend PSQ training before working on a NHSBT site. The Service Provider will not be allowed to work on site without this, and training must be refreshed on an annual basis. Records of the date training was issued and the date for its renewal will be held on a NHSBT database, Service Providers will be asked to attend training prior to commencing work if training is not current.

Remote site staff can be trained an appropriate member of the Service Providers Contract Management Team.

35.2	All key Contract Management Staff working on behalf of the Service Provider and related to the contract must attend NHSBT’s ‘Main Centre Tour’ during the first three months of the contract.

35.3	All of the Service Providers Operatives must also be trained in line with the NHSBT Training Matrix (See Appendix 16). Contract Supervisors will be trained directly by NHSBT. The Contract Supervisors can then cascade training to other staff as appropriate. Training records must be maintained for all staff.

It is the Service Providers responsibility to review training on a monthly basis to ensure compliance at all times.

# 36	Information Governance

36.1	The Service Provider and his Operatives shall not disclose any information concerning NHSBT, NHSBT’s donors, visitors or employees to any third party. The nature of this contract allows wide-ranging access to Service Provider Operatives during the working day when sensitive information will be visible on desks, computer screens and audible through conversations and telephone calls. It is vital that all Operatives must understand the necessity for confidentiality. The Service Provider must provide evidence that the requirements for confidentiality are highlighted for all Operatives as part of their induction and on an ongoing basis by way of refresher training.

# 37	Operatives

37.1	The Service Provider will be required to include in their return for the provision of a Site Supervisor, and Site Operatives/Cleaners (with the ability to carry out Porter/Handyman tasks) to be based on all Main Centres.

37.2	The Site Operatives are to be employed as site specific and to work hours as dictated by each Main Centre which may include evening, weekend and Bank Holiday working. When not employed on scheduled tasks, contract Operatives may be employed by the E&F Manager on other appropriate tasks as required.

37.3	It remains an objective of NHSBT to deliver the Service during ‘normal working hours’. This engenders many positive service enhancements:

- Raise the profile of cleaning service

- Allow Customer interaction with Cleaners to resolve any issues at time of activity

- Improve Estates & Facilities management of visible service

- Improve recruitment opportunities for Cleaning Provider

- Improving Working Lives to avoid unsociable working hours

- Daytime Supervision for Cleaning Provider easier to source

- Allows more flexibility and resource available for replenishment of consumables

# 38	Core Hours

38.1	The Core Hours for NHSBT are generally recognised to be between 08:30 and 17:00 hours, Monday to Friday. However, Daytime Cleaning, for the purposes of the pricing of this contract shall be 07:00 to 18:30 hours. This shall apply equally to Main Centres and outstation sites such as Team Bases. It should be noted that some sites where Manufacturing Operations are undertaken, operate ‘as usual’ on weekends, Bank & Public Holidays, etc. See Appendix 18 for Donor Centre operating hours. Cleaning requirements are that the Donor Centre is of an appropriate standard for the day’s operation.

38.2	One of the principles of daytime cleaning is around NHSBT Operatives being available to ‘monitor’ the Cleaning contract but is recognised that some leeway beyond the core hours is necessary to undertake certain cleaning activities. There may, exceptionally, be tasks undertaken outside these hours in agreed circumstances. This definition of ‘Daytime Clean’ may be subject to change dependant on business need and outcomes of business reorganisation.

# 39	Cover

39.1	The Service Provider is to provide adequate sickness, holiday or resignation/dismissal cover. Sickness cover is required within 48 hours of notice if the staff member is not returning to work beforehand to ensure performance criteria is maintained. The Site Operatives must be able to demonstrate effective and full use of their working day and be able to show a proactive approach. If the Site Maintenance Engineer requires assistance the site Operatives are to assist as required by the E&F representative.

39.2	The Site Operatives must also be capable of co-ordinating visits from colleagues and Sub-Contractor Providers.

# 40	Welfare

40.1	The Service Provider’s Employees, Visitors and Sub-Contractor Providers can use the toilets, showers and restaurant while working at NHSBT by arrangement with the E&F Representative. Dirty work clothing will not be allowed in the restaurant at any time. Any abuse of the building’s facilities will result in the person’s withdrawal from site. The Service Provider will then have to make alternative welfare arrangements.

40.2	Food and drink are not permitted in cleaning cupboards at any time.

40.3	While on the premises of NHSBT, the Service Provider shall comply, and shall ensure that its Operatives comply, with the requirements of the Health and Safety at Work Act 1974 and other relevant legislation, including regulations and codes of practice issued hereunder, and with NHSBT’s policies and procedures.

40.4	Should a requirement for staff lockers be identified at the time of mobilisation, this will be discussed and resolved as far as practicable locally.

# 41	Visitors

41.1	All visiting Service Provider’s and/or Sub-Contractor Provider’s Operatives shall report to the E&F Office or agreed Authorised Representative on arrival and departure from the premises. Service Providers must ensure that they sign in as required at NHSBT premises and that E&F are aware of their presence on site.

# 42	Miscellaneous

42.1	The Service Provider shall cause as little interference as possible with other activities on the premises.

42.2	The Service Provider shall instruct their Operatives about fire and water hygiene risks and remind them not to smoke on any NHSBT premises.

42.3	NHSBT acknowledges its responsibilities to the Service Provider and its Operatives under the Health and Safety at Work Act 1974 and COSHH (Control of Substances Hazardous to Health) regulations.

42.4	The Service Provider must satisfy the requirements of the Rehabilitation of Offenders Act 1974.

42.5	The Service Provider will be required to provide NHSBT with a current list of Operatives and their competence to work on equipment and tasks. Certificates of competence for each Operatives member will be required to be presented before the contract commences.

42.6		E&F reserves the right to refuse access to the site for any person with just reason and to remove the Individual, or Sub-Contractor Provider, from the Contract. In this event, the Service Provider shall be obliged to make a replacement with a suitably qualified person or Sub-Contractor Provider meeting with the approval of E&F within 48 hours.

42.7	The Service Provider will be responsible for immediately notifying E&F of any incident which requires the attention of any emergency service. In the event of E&F not being immediately available, the Service Provider shall contact the relevant service without delay and notify local E&F of the incident as soon as practicable. Steps shall be taken to alleviate the effect of the incident to NHSBT without delay. A written report shall be provided within 24 hours to E&F which shall include a statement by each of the Service Provider’s personnel involved detailing the incident and actions taken.

42.8	In the interests of security, all Service Providers’ personnel shall display an identity card or proof of identity, incorporating a recent photograph and will produce it on reasonable demand. NHSBT will also provide security passes for permanent based Operatives and mobile Operatives who are working permanently on the contract. This will allow movement within buildings having access control.

42.9	The Service Provider and their employees will comply with all reasonable security requirements, including searches of bags and packages, which might be imposed. This may also include personal body searches.

42.10	Security at Remote Sites; the Service Provider will advise on the process by which they would ensure any keys or passes issued for remote site access are managed. Any loss of keys must be reported immediately to the local E&F Team and the Service Provider will be liable for the replacement of any keys, locks or associated items which are due to their actions.

42.11	Management of Operatives at Remote Sites; the Service Provider will document their procedures for the management of Operatives engaged at remote sites. This will include provision for supervision and lone working (where this occurs); the Service Provider will also document their regime for backfill and clarify how they will ascertain the Operatives is working to the scheduled hours. Service Provider Operatives at remote sites must be GMP trained.

42.12	The Service Provider shall ensure full compliance with current Rules, Regulations and Edicts relating to Safety of Personnel, Safety of Work Practices and Single Working/Lone working.

42.13	The Service Provider will ensure that its own and Sub-Contractor Provider’s personnel are provided with clean and tidy protective clothing, including safety equipment, overalls and uniform will bear the Service Provider’s name.

42.14	When on site, the Service Provider’s Operatives will comply with NHSBT’s emergency procedures. They will attend at the agreed assembly point on hearing the fire alarm and will assist NHSBT’s Operatives in directing the emergency services on matters such as isolation points etc.

42.15	The Service Provider’s Operatives shall not bring children, animals or others who are not employed by the Service Provider, on to NHSBT properties.

# 43.	Price and payment

43.1	Pricing schedules are included separately and will be required to be costed separately for all sites.

43.2	The tender return will need to include all costs, and be split to show:

- Costs per site

- Hourly Rate Schedules, which include Labour rates for normal working hours and overtime rates and subcontract on-cost, call out rates, etc. will be provided. Travel time is deemed to be included within any call outs.

- Show cost differences to reflect floor coverings (See Appendix 11).

NB: Abortive costs, where relevant and in respect of site visits, shall be agreed with the NHSBT representative. These shall only be chargeable in situations where the Service Provider is not at fault

43.3	The contract price for the services shall be final, inclusive and without prejudice to the generality of the foregoing. It will include all labour charges, travelling, other costs and expenses incurred by the Service Provider unless otherwise stated. Consumables/Materials will be charged at trade prices including all Service Provider’s immediate and cumulative/retrospective discounts plus the Service Provider’s on cost.

43.4	Any invoice shall be rendered on the Service Provider’s own invoice form to NHSBT, clearly marked with NHSBT’s order number to an agreed format.

43.5	NHSBT will pay the contract price to the Service Provider by BACS (Bank Account Clearing System). This will be by monthly instalments in arrears (unless otherwise stated) provided that the invoice specified in condition 24 has been received and approved.

43.6	Additional tasks above the contract price will be paid within one month of NHSBT agreeing the invoices and on the basis, that the tasks are complete and relevant completion certificates have been received.

43.7	When, under the terms of this or any other contract, any sum of money shall be deemed recoverable from, or payable by the Service Provider, the same may be deducted from any sum then due. This may be deducted from the next monthly instalment or from any payment which at any time thereafter may become due to the Service Provider.

| The following shall apply to the Key Performance Indicator measures for the contract. The table indicates the minimum acceptable limits and shall be measured on a ‘calendar month’ basis. |  |
| --- | --- |
| For all GMP/ Critical Areas | KPI 100% |
| Overall Performance | KPI 85% and above |
| Any single instance of failure to meet either of the criteria noted above will result in 25% of the total monthly contract value, for the month in which the failure was noted being withheld until the tasks are completed satisfactorily or the contract performance exceeds the minimum acceptable level. |  |
| Should there be a failure to meet either of the criteria noted above involving consecutive ‘back to back’ failures, the deduction of the full total monthly contract value will be withheld until the tasks are completed satisfactorily or the contract performance exceeds the minimum acceptable level. The value of any non-recoverable tasks will be recovered by NHSBT. |  |

# 44	General Information

44.1	Payment for Scheduled Tasks

The Service Provider will submit monthly invoices for each Main Centre and their associated satellite sites within 10 working days of the end of the month being invoiced. This will be equivalent to 1/12th of the lump sum. NHSBT will make payment within 30 working days. However, payment of the sum in full may be subject to auditing of the provision of the PPM programme, as detailed within the tender documentation and this specification.

44.2	Ad Hoc Tasks

The Service Provider will submit invoices for ad hoc work carried out at each Main Centre, and its associated premises, within 4 weeks of the reactive work being completed. The Service Provider must demonstrate in each case that they have taken full provision of the inclusive elements, where appropriate, of the contract terms and conditions. NHSBT will reject any invoices for reactive and minor tasks that are received over 8 weeks of the completion date.

# 45	Information

45.1	The following information can be viewed during the site visits in the tender period:

- Service Provider monthly report

- H&S policies and procedures

- GMP Induction training 1 to 3 modules

- Relevant MPD’s and SOP’s

- Computer Aided E&F Management Information System

# 46	Assurance Auditing

46.1	The Service Provider will be expected to have Quality Management System ISO 9001 or equivalent.

46.2	NHSBT reserve the right to audit and inspect Assurance Systems to ISO9001, ISO14001 and ISO45001.

# 47	Customer complaints

47.1	It is imperative that the Customer’s perception of the service remains excellent. Any complaints shall be handled quickly and effectively in line with timescales which shall be agreed with the Estates & Facilities Representative. The Service Provider will provide evidence of their company’s written complaints procedures and agree the acceptability of these procedures with NHSBT. The method of close out, Customer feedback and associated ‘root cause analysis’ of any justifiable complaint to ensure that there is no reoccurrence, must be demonstrated clearly and put into practice during the currency of the contract. Repeat occurrences of a similar type of failure on the contract will be viewed by NHSBT as a major failing of contract delivery.

47.2	Service User Unsolicited Complaints / Compliments: there will be an open invitation / opportunity for Service Users to submit written complaints or compliments. These will be submitted to the Estates & Facilities Representative and these will be logged with the Service Provider.

The Service Provider must confirm in writing that he is aware of this intention and agrees to this condition.

Signature:			……………………………………………………………

Designation:			....................................................................…………

For and on Behalf of:	......................................................……………………

Address:			............................................................................……

.............................................................................…...

…………………………………………………………….

……………………………………………………………..

Date:				………………………………………………………………