Call-Off Schedule 20 (Call-Off Specification)

This Schedule sets out the characteristics of the Deliverables that the Supplier will be required to make to the Buyer under this Call-Off Contract

- Introduction

  - The Authority requires Diesel (DIESO MT) and Unleaded Gasoline (ULGAS) to be supplied to kerbside tanks in Mechanical Transport Fuel Installations (MTFIs) throughout the United Kingdom.

- Requirement

  - The Supplier is required to deliver one or both of the following:

DIESO MT.  DIESO MT (NATO Code F-54) is to be supplied to BS EN 590 (latest issue).

ULGAS.  ULGAS (NATO Code F-67) is to be supplied to BS EN 228 (latest issue).

  - Estimated quantities are in Annex A.  The Authority shall not be bound to order any quantities, to receive quantities other than those already demanded, or to pay for quantities other than those accepted by the Demanding Officer provided within the authorised demanders list after call off award.

  - In the event of a substantial additional requirement arising in respect of the product, over and above the estimates, due to changing operational requirements, the Authority shall notify the Supplier.  The Supplier, with the minimum delay necessary but in any event within three (3) working days of notification of the requirement, shall advise the Authority whether they can meet such requirements in full; or to the extent to which they are able to do so. The supplier will then have an additional three (3) days to fulfil the order. This means, in total, six (6) working days to deliver an order from the date the order is raised by the Demanding Officer.

  - When the Supplier has signified an inability to supply any proportion of the requirement, or has not responded to the notification within the required timescales, the Authority shall be free to purchase the fuel elsewhere.

- Specification of Fuel

  - The product to be supplied under this contract shall comply in all respects with the specifications in paragraph 2 of this SOR.

  - In the event of the specification of the fuel being changed during the period of the contract, the supplier shall supply fuel to the new specification by the implementation date published on the latest edition of the associated British Standard fuel specification.  If the Supplier is unable to supply fuel to the required specification, they shall notify the Authority within 2 weeks.  In this case, the Authority will be free to purchase the fuel elsewhere.  The Supplier should, on a “best endeavours” basis, implement any amendment earlier if possible.

  - Any alternative product offered must be approved by the Authority’s Defence Strategic Fuels Authority Technical Team. This approval must be obtained prior to any delivery being made.  Should an alternative product be supplied without prior approval, the Authority has the right to reject the delivery.  All costs associated with the removal and replacement of the unapproved product will be borne by the Supplier.

- Demanding Officer

  - Orders for fuel deliveries shall be made by the relevant Demanding Officer.  A list of Demanding Officers, along with their Unit Identity Number (UIN) Codes will be issued at contract award. The Authority will have the ability to add to the list of locations to be supplied, to add new UINs and Demanding Officers and to amend UINs and Demanding Officers after contract award.

- Ordering Process

  - The Demanding Officer will place orders for fuel directly with the Supplier, giving a minimum of three working days’ notice.

- Submission and Payment of Bills

  - The Authority will assist the Supplier by arranging to complete any necessary documentation to enable recovery of refundable duties, taxes and other similar charges.

  - Invoices shall clearly show the contract number, Unit Identity Number (UIN), fuel uptake in litres, net and total price for the product and precise details of all duties, taxes and other charges.

  - Invoices are to be submitted to the Authority for validation, at the address provided in the contract documents.

  - Payment shall be made within 30 days following receipt by the bill-paying branch, of a valid and correctly submitted invoice.

- Delivery and Measurement of Quantities

  - Deliveries will be into the Authority’s MTFIs detailed in Annex A.  MTFI storage tanks may be either above or below ground.

  - Quantities shall be measured at the time of delivery, and volumes adjusted to a temperature of 15 degrees Celsius.

- Joint Service Safety Regulations for the Storage and Handling of Fuels and Lubricants

  - The Authority shall have the right to verify the quantity of fuel recorded as having been delivered and to check the accuracy of the quantities delivered.  If the Authority does not agree the measurement of the quantities delivered, a further check on the quantities delivered shall be made by a measuring device provided by the Authority.  If the Authority is still not satisfied after such further check, the delivery ticket shall be annotated with such details of any discrepancy.  The complaint is to be sent to the Authority at the DFAP Operations Team multi-user email address, DFAP Operations Team will confirm the complaint in writing to the Supplier’s local representative.

  - The Authority shall have the right to conduct pre-receipt checks in accordance with JSP 317 to confirm quality of the delivery. If the density of the fuel determined pre-receipt is not within +/- 3 Kg/m3 the results reported on the supplier’s documentation, then this may be cause for rejection of the load.

  - Each delivery shall be accompanied by a delivery ticket.  The delivery ticket must be signed by both the Supplier’s and the Authority’s representatives.  One copy shall be retained by the Supplier for their records, another copy shall be left with the Authority’s representative accepting the delivery.  The Supplier shall provide a copy of every delivery note to the DFAP Operations team.  Electronic delivery tickets will be preferable

  - For deliveries of product to delivery locations, it shall be the responsibility of the Authority to ensure that the storage into which the fuel is to be delivered can safely receive the full quantity ordered, and that the connecting hose is properly and securely connected to the fuelling point of the receiving storage facility.  The Authority accepts responsibility for managing any loss, leakage or contamination that may occur from the point at which the Supplier’s hose connects to the Authority’s coupling.

  - The Authority is required to have adequate emergency procedures and to provide immediate assistance to the Supplier or its Supplier in the event of a spill of product upon delivery.  If an escape, spillage or discharge of fuel (hereinafter referred to as a ‘spill’) occurs during a delivery to the Authority, the Authority will promptly take such action as is deemed necessary to remove the spill and mitigate its effects.  Any expenses, damages, costs or other such loss or damage arising from the spill, or pollution of fuel, shall be paid by the party that caused the spill, or other such loss or damage, by negligent act or omission.  If both parties have acted negligently, any expenses or other such loss or damage, shall be divided between the parties in accordance with the respective degree of negligence.

  - The Supplier shall ensure that the delivery hoses and couplings match the receipt line capacity and couplings link points respectively.  If delivery is attempted without the appropriate hoses or couplings, all costs associated with any re delivery of product will be borne by the Supplier.

- Quality and Inspection

  - The Supplier shall be subject to the following Quality Assurance Regulations:

Def Stan 91-66 (latest issue) – The Segregation, Handling and Quality 	    	Assurance of petroleum fuels, lubricants and associated products.

  - The Supplier shall be responsible for ensuring that the products supplied under this contract conform in all respects to the specifications in this SOR.

  - The Authority shall have the right to send a representative to ensure that the Supplier’s Inspection facility is working to the satisfaction of the Authority.  Check samples may be drawn by the Authority’s representative during such visits and the Supplier shall afford the necessary facilities to enable this to be done.

  - If the Supplier provides fuel via a sub-contractor, or an alternative supplier, the Supplier shall accept responsibility for the standard of service and quality of all products supplied and, shall indemnify the Authority against all liability for loss or damage arising from the supply of any product which does not fully meet the contract specification.

  - In the event that any fuel is rejected, it shall be removed by the supplier’s representative at their own expense, immediately after notice of rejection has been given and replaced with an equal quantity of fuel satisfying the specification.  The Supplier shall be liable for any expenses incurred by the Authority in loading, unloading, moving and testing the rejected fuel.  The Supplier shall remove the rejected fuel within a period of five working days from the date of notification or rejection.  The rejected fuel remaining in the Authorities custody shall be at the Supplier’s risk.

  - For any rejected fuel, the Authority shall not be liable in respect of any subsequent loss or damage to the fuel from whatever cause arising.  If the rejected fuel is not removed within five working days, the Authority may, at its discretion, transport such fuel to a suitable place of discharge into the Supplier’s possession.   All expenses thereby incurred shall be the Supplier’s liability.

- Management Information

  - By the eighth calendar day of each month, the Supplier shall supply monthly statistics for the previous month as follows:

- Summary of all deliveries made, broken down by:

- Receiving unit

- Fuel type

- Quantity delivered

- Location of delivery

- Date of delivery

- Discrepancies between delivery and order

- Abbreviations

| Def Stan | Defence Standard |
| --- | --- |
| DE&S | Defence Equipment and Support |
| DFAP | Defence Fuels Acquisition Programme |
| DIO | Defence Infrastructure Organisation |
| HOCS | Head Office and Corporate Services |
| UK StratCom | UK Strategic Command |
| JSP | Joint Service Publication |
| KPI | Key Performance Indicator |
| LDOC | Logistic Delivery Operating Centre |
| MOD | Ministry of Defence |
| MTFI | Mechanical Transport Fuel Installations |
| NATO | North Atlantic Treaty Organisation |
| QA | Quality Assurance |
| SOR | Statement of Requirement |
| UIN | Unit Identity Number |