## list DO NOT USE (hidden)
Add CS2 Address | Add CS2 Tel No.
126 Colmore Row Birmingham B3 3AP | 0121 236 2222
4th Floor Spectrum Building Bond Street Bristol BS1 3LG | 0117 929 0692
26 Alva Street Edinburgh EH2 4PY | 07749 433 002
Office 3.03 3rd Floor Octagon Point 5 Cheapside London EC2V 6AA | 0207 628 0080
Blackfriars House Parsonage Manchester M3 2JA | 0161 834 6610
Campbell Park Pavilion 1300 Silbury Boulevard Milton Keynes MK9 4AD | 01908 502 527
Bridgewater House 4 Queensbridge Northampton NN4 7BF | 01604 603 030

## Version Info (hidden)
NOT FOR ISSUE TO CLIENT - FOR INTERNAL INFORMATION ONLY
Contact: Amanda Lewis - CS2 Npton with queries regarding this document
Internal Version Control
Revision Nr | Date Issued | Description of Revision |  | Prepared by | Checked by
|  | Section | Comment
A | 2019-02-06 | all | reformating of entire document | AJL | JP
|  |  | addition of Version Information Sheet | AJL
|  |  | additional of Project Information Sheet | AJL
B | 2019-03-12 | Front cover | QA check added to Project info tab | AJL
|  |  | automatic completion of surveyor email address | AJL
C | 2019-04-04 | Project Info/ Front Cover | Amending Milton Keyes telephone number | AJL
|  | Design Info tab | adding line borders to Design info tab | AJL
D | 2020-03-16 | project info | updating with automatic email addresses | AJL
|  | front cover | insertion of CS2 logo | AJL

## Project Info (hidden)
NOT FOR ISSUE TO CLIENT
Insert project information below - this will filter through document |  | INSTRUCTIONS FOR COMPLETION
Client Name | Newport Pagnell Town Council | upper and lower case
Project Name and Address | Newport Pagnell Footpaths | upper and lower case
Prepared by | Luke Clifford | insert surveyor name and qualifications - check Signature blocks on Sharepoint if unsure
Post-nominal letters
Position in CS2 | Building Surveyor
LukeClifford
Checked by | Gary Viccars | insert surveyor name and qualifications - check Signature blocks on Sharepoint if unsure
Post-nominal letters | BSc (Hons) MRICS
GaryViccars
QA check by: |  | insert surveyor name
Date of Issue | 2022-03-18 | press 'control' and ';' (semi-colon) key, excel will automatically insert todays date
CS2 reference | 2099913/GV | insert CS2 job reference/ SURVEYOR INITIALS/ secretary initials
Revision reference | - | select from drop down box
CS2 office of issue | Campbell Park Pavilion 1300 Silbury Boulevard Milton Keynes MK9 4AD | select from drop down box
CS2 office Telephone Number | 01908 502 527 | select from drop down box
Surveyor email | lukeclifford@cs2.co.uk | select from drop down box
lukeclifford@cs2.co.uk
garyviccars@cs2.co.uk
Project Type | refurbished area | select from drop down box
Brief Description | The base scheme comprises of repairs to footpaths. | insert a brief description of the scheme. Do not delete the wording "The base scheme comprises". Do not put more information than the box allows.
Base scheme includes | external works | select a combination from demolition, infrastructure, new build construction, refurbishment works, external works
Base date i.e. 1Q2019 |  | insert BCIS base date used to price this document

## Front Cover(new)
Schedule of Works
you can use this picture or a photograph of the premises (no company logos)
please ensure the photograph is no more than 19.6cm wide or 10cm high
prepared for and on behalf of
Newport Pagnell Town Council
for the premises known as
Newport Pagnell Footpaths
Prepared by: | Luke Clifford | CS2 Limited |  | this part will populate itself from details inputed into Project Info tab
Checked by: | Gary Viccars BSc (Hons) MRICS | Campbell Park Pavilion 1300 Silbury Boulevard Milton Keynes MK9 4AD
Date: | 2022-03-18
Our reference: | 2099913/GV
Revision: | -
|  | T: | 01908 502 527
|  | E: | lukeclifford@cs2.co.uk

## Design Information (hidden)
5 | 13.5 | 8 | 54 | column widths - please do not alter as this will throw out the print set up of this worksheet
2099913/GV Newport Pagnell Footpaths
DESIGN INFORMATION |  |  |  | INSTRUCTIONS FOR COMPLETION
1 | Gross Internal Floor Area
| Ground Floor: | 0 | m2 | insert GIA of each floor, add and delte as necessary, change font colour to black
| First Floor: | 0 | m2
| Second Floor: | 0 | m2
| Third Floor: | 0 | m2
| Fourth Floor: | 0 | m2
| Fifth Floor: | 0 | m2
| Total GIA: | 0 | m2 | the total GIA is linked to the Exec Summary and Elemental Summary worksheets, please do not delete this row.
2 | Information Used
This Cost Plan has been prepared from the following design information and will need to be verified based upon further design development, market testing etc.
3 | Drawings
| Consultant's Name |  |  | insert a list of drawings used to complete this Cost Plan, change font colour to black
[insert drawing number and name]
[insert drawing number and name]
[insert drawing number and name]
[insert drawing number and name]
[insert drawing number and name]
4 | Specifications
| Consultant's Name |  |  | insert a list of specifications used to complete this Cost Plan, change font colour to black
[insert drawing number and name]
[insert drawing number and name]
[insert drawing number and name]
[insert drawing number and name]
[insert drawing number and name]

## 0. Preliminaries
5 | 38.5 | 8 | 5 | 10 | 12.5 | column widths - please do not alter as this will throw out the print set up of this worksheet
2099913/GV Newport Pagnell Footpaths
0 | Preliminairies |  |  |  | 0
Ref | Group Element | Qty | Units | Rate | Values
0.1 | Programme
The Contractor shall allow for completing the Works within the Contract period and to work to a programme that has been mutually agreed with the C.A. and Employer. The Contractor shall provide an outline programme in bar chart form once the Contract commencement date has been established and prior to commencing on site.
0.2 | Dimensions
The accuracy of dimensions scaled from drawings and sketches is not guaranteed.
0.3 | Existing Condition
rior to the Works commencing, the Contractor shall agree with the C.A. the existing condition of the property. The Contractor shall allow for undertaking a photographic survey of the area of the Works and forwarding a set of photographs to the C.A.
0.4 | Contractors Work Area
Prior to commencement of the Works, the Contractors work area and means of access shall be agreed with the C.A. and Employer. The Contractor will not be permitted to utilise any other areas unless specific approval is given in writing by the C.A.
0.5 | Water
The Contractor is to allow for making all arrangements where necessary, to supply clean and uncontaminated water for the Works.
0.6 | Lighting & Power
The Contractor is to allow for making all arrangements, where necessary, for a power supply.
0.7 | Messing & Welfare Facilities
The Contractor is to allow for making all arrangements for messing and welfare facilities and regular cleaning for his and the sub-contractors personnel.
0.8 | Good Practice
All aspects of workmanship, materials and plant are to be of a standard appropriate to the Works and in accordance with good practice. They shall comply with the recommendations and quality requirements of the relevant British Standards and Codes of Practice current at the time of execution of the Works, except where varied by the specification or by specific agreement with the C.A.
0.9 | Noise
All compressors, percussion tools and vehicles are to be fitted with effective silencers of a type recommended by the manufacturer. Employees are not to be permitted to use radios or other audio equipment in ways or at times which may cause nuisance.
0.1 | Pollution
Take all reasonable precautions to prevent pollution of the site, the Works and the general environment.
0.11 | Fire
Take all necessary precautions to prevent personal injury, death, and damage to the Works or other property from fire. Burning on site of materials arising from the work will not be permitted.
0.12 | Nuisance
Take all necessary precautions to prevent nuisance from dust, rubbish and other causes.
0.13 | Safety
The Contractors attention is drawn to the requirements of the CDM Regulations 2015, and the Construction (Health, Safety and Welfare) Regulation 1996 as well as all other relevant regulations/statutes. The site shall be kept clean and tidy at all times. Excavations must be adequately shored and protected. Openings shall be securely fenced off and covered over between work times with special care being taken in the case of deep excavations. The regulations for the wearing of safety helmets are to be adhered to.
Cartridge tools shall only be used following written approval from the C.A., and shall only be operated by experienced and certificated personnel. The C.A. shall be at liberty to object to and require the Contractor to remove any person employed on the site who, in the opinion of the C.A., misconduct's himself or fails to comply with provisions with regard to safety.
0.14 | Occupation and Security of Premises
Where the existing building will be occupied and/or used during the Contract, the Works shall be carried out without undue inconvenience and without danger to occupants and users.
The Contractor shall be responsible for ensuring that the safety and security of the property, including its contents, is not adversely affected by the Works.
0.15 | Protections
All types of work and all parts of the Works, including work carried out by others, are to be adequately protected throughout the Contract. Wherever work is of an especially vulnerable nature or is exposed to abnormal risks, special protection shall be provided to ensure that damage does not occur. The existing structure and items that do not form part of the Works shall also be adequately protected by the Contractor who will make good any damage at his own cost.
0.16 | Site Approaches
Approaches to the site including roads, drives and paths, shall be adequately maintained and kept clear of mud and debris.
0.17 | Existing Services
No guarantee is given as to the accuracy of any information provided concerning the presence and location of existing services. The Contractor shall be responsible for locating the position of any services or utilities within the working area and shall protect and maintain them throughout the Works. Should any damage occur, the Contractor shall expedite all remedial measures at his own cost.
0.18 | Defects in Existing Construction
Any defects in the existing construction are to be reported to the C.A. without delay in order that approval may be given to any measures that are required to be taken.
0.19 | Removal of Spoil/Surplus Materials and Final Cleaning
All surplus material, spoil and debris shall be removed from site, on a regular basis, to ensure that the site is maintained in a tidy condition. All affected areas are to be cleaned and left in a tidy condition upon completion.
0.2 | Surface and Ground Water
The Contractor shall allow for maintaining all excavations free of surface and/or ground water.
0.21 | Inspections
The Contractor shall, at all times, notify the C.A. in advance of his intentions with respect to the various elements of the Works.
0.22 | Site Reinstatement
Items that are removed/damaged prior to or during the Works, shall be properly reinstated to fully comply with current good practice. Materials shall be selected and work out so as to ensure a satisfactory match with existing.
Any damage to roads and footpaths caused by site traffic or otherwise must be reinstated to the satisfaction of the Local Authority or private owner. The existing pavement shall be cut back and replaced over a sufficient area so as to fully restore the pavements integrity and in such a manner so as to match existing.
0.23 | Building Regulation and other Statutory Notices
The Contractor shall be responsible for providing notices requesting inspection/approval of the works on site and such notices shall be served in good time.
0.24 | Access
Contractor to provide alternative access where required in agreement with client.
Public to be kept well away from area of works through use of clear signage and boundaries preventing access to areas of work.

## 1. Materials & Workmanship
5 | 38.5 | 8 | 5 | 10 | 12.5 | column widths - please do not alter as this will throw out the print set up of this worksheet
2099913/GV Newport Pagnell Footpaths
1 | Materials & Workmanship |  |  |  | 0
Ref | Group Element | Qty | Units | Rate | Values
1.1 | Demolition
Demolition to be carried out in such a manner and at such times as to cause as little inconvenience as possible to either adjoining owners, occupiers, the public or the Employers. Rubbish is to be sprinkled with water to minimise risk of dust arising and suitable protective measures are to be taken where necessary. All reasonable precautions are to be taken to avoid unnecessary noise and vibrations. The Contractor will follow the recommendations of the British Standard Code of Practice for Noise Control on Construction and Open Sited, BS 5228, Part 1 and Part 2, incorporating any amendments.
The Contractor is to carry out the works of demolition and site clearance in accordance with the recommendations of the British Standard Code of Practice for Demolition, BS 6187, incorporating any amendments.
The Contractor is to comply with all relevant Acts, By-laws, Regulations, Instruments and Codes of Practice relating to demolition and the consequential works, and all other relevant requirements.
All demolition is to be carried out without damage to adjoining properties and if such damage occurs in the carrying out of the works due to the Contractors negligence the Contractor shall make good at his own expense.
1.2 | Excavation
Excavation and demolition to be carried out to the profiles and levels as shown on the drawings provided.
Excess material to be carried off site.
Erect, alter as necessary and subsequently remove all temporary supports, which are required to:- (1) Secure and maintain the profiles of any existing building and excavation work without further movement (2) Ensure the safety of personnel (3) Protect from movement or damage any existing structures and services.
The excavation is to be kept free of water at all times.
Consolidate properly and obtain approval to all bottoms of excavations.
Bottoms of excavations to be covered with a minimum of 50mm Ordinary Portland Cement (prescribe mix) in accordance with BS 8110 : Part 1 : 1985.
1.3 | Concrete
All concrete unless noted otherwise on drawings provided to be Grade C35 concrete (prescribe mix) in accordance with BS 8110 : Part 1 : 1985.
Cement : Ordinary Portland Cement to BS 12
Aggregates to BS 882.
Water used to be clean and uncontaminated.
1.4 | Reinforcement
Hot rolled yield steel bars (Grade 460) to BS 4449.
Mesh reinforcement to BS 4482 and BS 4483 (Grade 460).
Reinforcement to be clean and free from all paint, loose mill scale, loose rust, dirt, oil and grease at the time of placing.
1.5 | Formwork & Concreting
Provide all formwork necessary to produce the required dimensions and finishes.
Ensure safe removal of formwork.
Formwork surfaces in contact with concrete to be clean and well wetted.
Construction joints : lightly roughen entire face to expose course aggregate.
Thoroughly wire brush to remove all loose material. Faces to be clean and damp before fresh concrete is poured against them.
Concrete should not be placed with an initial temperature of less than 5ºC nor should concrete be placed against frozen or frost covered surfaces. Concrete to be compacted thoroughly around reinforcement and into corners of formwork.
Keep all completed surfaces covered for no less than three days.
Carried to Cast Collection
M & W/3
Strike formwork without causing damage to concrete.
1.6 | Filling
Obtain approval to all filling materials selected from excavation.
Spread filling soil in layers not exceeding 150mm thick. Compact and consolidate each layer before spreading next.
DO NOT use frozen material.
No topsoil is to be used in filling.
REINSTATEMENT
All external works, footpaths and vegetation, finishes etc., to be reinstated on completion of the works.
1.7 | WOODWORK & MATERIALS
Full details of the timber to be used shall be submitted to the Engineer. The quality for any purpose shall be approved before any timber is delivered to site. All timber and joinery shall be stored on site under cover, clear of the ground and protected against dampness.
1.8 | Softwood
The softwood timber shall be class C16 to BS 5268, free from evidence of live insect attack and with the grain sloping no more that 1 in 6.
Sawn timbers must generally be of the dimensions stated, but occasional slight variations in accordance with BS 4471, Part 1, will be permitted.
(a) Sapwood, including discoloured sapwood, will not be permitted.
(b) Checks and shakes on the surface not permitted.
(c) Timber plugs or inserts to repair faults not permitted
1.9 | Moisture Content
All sawn softwood shall be air seasoned and if necessary kiln dried to ensure that the moisture content does not exceed 22% of dry weight at the time of erection. (Reduces to 18% for works in existing buildings).
1.1 | Ironmongery
Nails shall comply with BS 1202.
Screws shall comply with BS 1210.
Bolts shall comply with BS 4190, fixing accessories with BS 1494.
Timber connectors shall comply with BS 1579.
1.11 | Woodwork Workmanship
Jointing : The contractor shall be responsible for the sound construction of all components, using the recognised form of joints in the appropriate positions and according to the best traditions of the trade.
Framing : Dimensions shall be checked on the site and the various units shall be prepared and framed up immediately the details are received but not glued or wedged up until required for use. All softwood external joinery or joinery having any external face shall be put together in white lead and the joints properly pinned. Doors, window casements and sashes and door and window frames shall have mortice and tenon joints with projecting horns.
Steel nails or screws for use in external situations shall be sheradised or galvanised.
All sawn softwood shall be preserved against fungal and insect attack by pressure impregnated with ‘Celcure’ or ‘Tanalith’. The timber to be treated shall be of the moisture content specified and the impregnation is to be carried out after all cutting and shaping has been completed and by a sub-contractor approved by the manufacturer of the preservative in strict accordance with their printed instructions.
If any treated timbers are cut on site, the cut portions are to be liberally treated with the selected preservative. The whole of this process is to be carried out in strict accordance with their printed instructions.

## Assumptions (hidden)
5 | 76.5 | column widths - please do not alter as this will throw out the print set up of this worksheet
2099913/GV Newport Pagnell Footpaths
INCLUSIONS, EXCLUSIONS AND ASSUMPTIONS |  | INSTRUCTIONS FOR COMPLETION
1 | Inclusions
| Overheads and profit | The inclusions and exclusions list are the same, please select from each as required and change font colour to black
Utility connections (gas, water, electricity) allowance
Site acquisition fees/ costs, air rights, oversailing, rights to light, or any other third party compensations
Legal, planning, building control, NHBC fees and the like
Time impact of Party Wall Awards and planning consents
VAT
Surveys and investigations (including but not limited to archeological, site, architectural, building condition, monitoring, UXO) and any associated costs
Statutory fee expenditure
BREEAM accreditation
Third party claims or payments
Banking charges on capital lending
Client finance costs and insurance
Any allowance for currency fluctuations
Capital allowance or other incentives/grants
Marketing (media and publications)
Any works outside the boundary as defined on drawings
Monitoring of adjacent buildings and works to existing structures unless specifically identified
Local Authority charges, road closures etc
Compensation payments for road closures
Compensation payments for parking bay suspensions
Section 106, 278, 38 etc fees and bonds
Community Infrastructure Levy (CIL) agreements
Diversion of existing services and drainage other than those stated
Phasing, temporary works and other requirements imposed by third parties
Out of hours working
Allowance for removal and/or disposal of contaminated/deleterious materials
Abnormal ground conditions
External works or infrastructure costs beyond the allowance made
Owner/Landlord loose fittings and furnishings
Tenant loose fittings and furnishings unless specifically identified
Project/design team fees
Other development/project costs
Risk (contingency)
Inflation allowance
2 | Exclusions
The following are excluded, and where applicable need to be covered by other budgets. The list is intended only as a guide and is therefore not exhaustive:
| Overheads and profit | The inclusions and exclusions list are the same, please select from each as required and change font colour to black
Utility connections (gas, water, electricity) allowance
Site acquisition fees/costs, air rights, oversailing, rights to light, or any other third party compensations
Legal, planning, building control, NHBC fees and the like
Time impact of Party Wall Awards and planning consents
VAT
Surveys and investigations (including but not limited to archeological, site, architectural, building condition, monitoring, UXO) and any associated costs
Statutory fee expenditure
BREEAM accreditation
Third party claims or payments
Banking charges on capital lending
Client finance costs and insurance
Any allowance for currency fluctuations
Capital allowance or other incentives/grants
Marketing (media and publications)
Any works outside the boundary as defined on drawings
Monitoring of adjacent buildings and works to existing structures unless specifically identified
Local Authority charges, road closures etc
Compensation payments for road closures
Compensation payments for parking bay suspensions
Section 106, 278, 38 etc fees and bonds
Community Infrastructure Levy (CIL) agreements
Diversion of existing services and drainage other than those stated
Phasing, temporary works and other requirements imposed by third parties
Out of hours working
Allowance for removal and/or disposal of contaminated/deleterious materials
Abnormal ground conditions
External works or infrastructure costs beyond the allowance made
Owner/Landlord loose fittings and furnishings
Tenant loose fittings and furnishings unless specifically identified
Project/design team fees
Other development/project costs
Risk (contingency)
Inflation allowance
3 | Assumptions
Assumed the works will be carried out in a single phase
| Assumed the Contract will be via a single stage traditional/design and build procurement route | delete which route is not applicable
| Works to be procured under a [JCT 2016] Form of Contract | insert Form of Contract cost plan has been based and change font colour to black
Works measured in accordance with the design information listed within the Design Information section of this document
| Location factor (state BCIS location indices) | insert BCIS location indices used, if any and change font colour to black
| other | insert any other assumptions made and change font colour to black

## Flysheet (hidden)
2099913/GV Newport Pagnell Footpaths
Cost Plan Build Up

## 0. Facilitating (hidden)
5 | 38.5 | 8 | 5 | 10 | 12.5 | column widths - please do not alter as this will throw out the print set up of this worksheet
2099913/GV Newport Pagnell Footpaths
0 | Facilitating Works |  |  |  | 0
Ref | Group Element | Qty | Units | Rate | Values
0.1 | Toxic/hazardous/contaminated material treatment
[insert description here or not applicable]
0.2 | Major demolition works
[insert description here or not applicable]
0.3 | Temporary support to adjacent structures
[insert description here or not applicable]
0.4 | Specialist groundworks
[insert description here or not applicable]
0.5 | Temporary diversion works
[insert description here or not applicable]
0.6 | Extraordinary site investigation works
[insert description here or not applicable]

## 2. Burgess Gardens
5 | 38.5 | 8 | 5 | 10 | 12.5 | column widths - please do not alter as this will throw out the print set up of this worksheet
2099913/GV Newport Pagnell Footpaths
2 | Schedule of Works Burgess Gardens |  |  |  | 0
Ref | Group Element | Qty | Units | Rate | Values
2.1 | General
All materials and workmanship is to be in accordance with British Standards, Building Regulations, BBA Agreement Certificates and Local Authority requirements.
The Contractor is to price for each item which follows and the prices shall be fully inclusive of “preliminaries” insurances and other “on costs”, all incidental and associated work including all operations necessary to complete the works whether specifically itemised or not and for all necessary making good, whether mentioned or not.
Provisional sums mentioned will be firmed once the extent of the works are known and will not be replaced by daywork rates.
Contingency sums will be allowed for by the CA and will be used wholly or in part at the discretion of the Engineer, in writing, for unforeseen works only.
The prices noted shall form the basis for adjustment and variation if required.
2.2 | Schedule of Works
2.1 | Burgess Gardens - Refer to drawings 01,02,03,04,06,07 and 200
2.2 | Allow for demolition of approximately 455m and 35m of hoggin/gravel path and tarmac path respectively (width subject to variance TBC on site - assume max 1.5m).
2.3 | Install new footpath in accordance with drawing 200 'new asphalt/tarmac footway detail' with timber edging in accordance with 'timber edging detail' for approximately 490m (in areas where previous footpath has been demolished).
2.4 | Resurface footpath where required, affected area where extents of damage vary across approximately 125m length, damage extent TBC by contractors/others.
2.5 | Allow for installation of tree protection for approximately 400m where shown on relevant drawings in conjunction with reinstatement and resurfacing works.

## 3. Ousebank Gardens
5 | 38.5 | 8 | 5 | 10 | 12.5 | column widths - please do not alter as this will throw out the print set up of this worksheet
2099913/GV Newport Pagnell Footpaths
3 | Schedule of Works Ousebank Gardens |  |  |  | 0
Ref | Group Element | Qty | Units | Rate | Values
3.1 | General
All materials and workmanship is to be in accordance with British Standards, Building Regulations, BBA Agreement Certificates and Local Authority requirements.
The Contractor is to price for each item which follows and the prices shall be fully inclusive of “preliminaries” insurances and other “on costs”, all incidental and associated work including all operations necessary to complete the works whether specifically itemised or not and for all necessary making good, whether mentioned or not.
Provisional sums mentioned will be firmed once the extent of the works are known and will not be replaced by daywork rates.
Contingency sums will be allowed for by the CA and will be used wholly or in part at the discretion of the Engineer, in writing, for unforeseen works only.
The prices noted shall form the basis for adjustment and variation if required.
3.2 | Schedule of Works
3.1 | Ousebank Gardens - Refer to drawings 21,22,23 AND 24
3.2 | Resurface footpath where required, affected area where extents of damage vary approximately 5m, damage extent TBC by contractors/others.

## 4. Riverside Meadow
5 | 38.5 | 8 | 5 | 10 | 12.5 | column widths - please do not alter as this will throw out the print set up of this worksheet
2099913/GV Newport Pagnell Footpaths
4 | Schedule of Works Riverside Meadow |  |  |  | 0
Ref | Group Element | Qty | Units | Rate | Values
4.1 | General
All materials and workmanship is to be in accordance with British Standards, Building Regulations, BBA Agreement Certificates and Local Authority requirements.
The Contractor is to price for each item which follows and the prices shall be fully inclusive of “preliminaries” insurances and other “on costs”, all incidental and associated work including all operations necessary to complete the works whether specifically itemised or not and for all necessary making good, whether mentioned or not.
Provisional sums mentioned will be firmed once the extent of the works are known and will not be replaced by daywork rates.
Contingency sums will be allowed for by the CA and will be used wholly or in part at the discretion of the Engineer, in writing, for unforeseen works only.
The prices noted shall form the basis for adjustment and variation if required.
4.2 | Schedule of Works
4.3 | Riverside Meadow - Refer to drawings 30,31,32,33,34,35,36,37,38,90,91 and 200
4.4 | Allow for demolition of approximately 690m x (width subject to variance TBC on site - assume max 1.5m)
4.5 | Install new footpath in accordance with drawing 200 'new asphalt/tarmac footway detail' with timber edging in accordance with 'timber edging detail' for approximately 690m.
4.6 | Entire steel ramp to be cleaned with pressure washer (allow for 25m length)
4.7 | Entire steel ramp footway to be coated with anti slip paint to prevent slipping.
4.8 | Allow for installation of tree protection for approximately 80m where shown on relevant drawings in conjunction with reinstatement and resurfacing works.

## 5. Lakes Lane
5 | 38.5 | 8 | 5 | 10 | 12.5 | column widths - please do not alter as this will throw out the print set up of this worksheet
2099913/GV Newport Pagnell Footpaths
5 | Schedule of Works Lakes Lane |  |  |  | 0
Ref | Group Element | Qty | Units | Rate | Values
5.1 | General
All materials and workmanship is to be in accordance with British Standards, Building Regulations, BBA Agreement Certificates and Local Authority requirements.
The Contractor is to price for each item which follows and the prices shall be fully inclusive of “preliminaries” insurances and other “on costs”, all incidental and associated work including all operations necessary to complete the works whether specifically itemised or not and for all necessary making good, whether mentioned or not.
Provisional sums mentioned will be firmed once the extent of the works are known and will not be replaced by daywork rates.
Contingency sums will be allowed for by the CA and will be used wholly or in part at the discretion of the Engineer, in writing, for unforeseen works only.
The prices noted shall form the basis for adjustment and variation if required.
5.2 | Schedule of Works
5.3 | Lakes Lane - Refer to drawings 40,41,42,43,43,44,45,46,47,48 and 200
5.4 | Allow for demolition of approximately 610m x (width subject to variance TBC on site - assume max 1.5m)
5.5 | Install new footpath in accordance with drawing 200 'New asphalt/tarmac footway detail' with timber edging in accordance with 'timber edging detail' for approximately 610m x (width subject to variance TBC on site)
5.6 | Resurface footpath where required, affected area where extents of damage vary approximately 315m, damage extent TBC by contractors/others.
5.7 | Allow for installation of tree protection for approximately 200m where shown on relevant drawings in conjunction with reinstatement and resurfacing works.

## 6. Kingfisher Park
5 | 38.5 | 8 | 5 | 10 | 12.5 | column widths - please do not alter as this will throw out the print set up of this worksheet
2099913/GV Newport Pagnell Footpaths
6 | Schedule of Works Kingfisher Park |  |  |  | 0
Ref | Group Element | Qty | Units | Rate | Values
6.1 | General
All materials and workmanship is to be in accordance with British Standards, Building Regulations, BBA Agreement Certificates and Local Authority requirements.
The Contractor is to price for each item which follows and the prices shall be fully inclusive of “preliminaries” insurances and other “on costs”, all incidental and associated work including all operations necessary to complete the works whether specifically itemised or not and for all necessary making good, whether mentioned or not.
Provisional sums mentioned will be firmed once the extent of the works are known and will not be replaced by daywork rates.
Contingency sums will be allowed for by the CA and will be used wholly or in part at the discretion of the Engineer, in writing, for unforeseen works only.
The prices noted shall form the basis for adjustment and variation if required.
6.2 | Schedule of Works
6.3 | Kingfisher Park - Refer to drawings 50,51,52,53,54 and 200
6.4 | Resurface footpath where required, affected area where extents of damage vary across approximately 400m length, damage extent TBC by contractors/others.
6.5 | Allow for installation of tree protection for approximately 80m where shown on relevant drawings in conjunction with reinstatement and resurfacing works.

## 7. Castle Meadow
5 | 38.5 | 8 | 5 | 10 | 12.5 | column widths - please do not alter as this will throw out the print set up of this worksheet
2099913/GV Newport Pagnell Footpaths
7 | External Works |  |  |  | 0
Ref | Group Element | Qty | Units | Rate | Values
7.1 | General
All materials and workmanship is to be in accordance with British Standards, Building Regulations, BBA Agreement Certificates and Local Authority requirements.
The Contractor is to price for each item which follows and the prices shall be fully inclusive of “preliminaries” insurances and other “on costs”, all incidental and associated work including all operations necessary to complete the works whether specifically itemised or not and for all necessary making good, whether mentioned or not.
Provisional sums mentioned will be firmed once the extent of the works are known and will not be replaced by daywork rates.
Contingency sums will be allowed for by the CA and will be used wholly or in part at the discretion of the Engineer, in writing, for unforeseen works only.
The prices noted shall form the basis for adjustment and variation if required.
7.2 | Schedule of Works
7.3 | Castle Meadow - Refer to drawings 60,61,62,63,64,65,66,80,81 and 200
7.4 | Allow for demolition of approximately 460m and 45m of hoggin/gravel path and gravel/hoggin (where concrete spalling present) path respectively (width subject to variance TBC on site - assume max 1.5m).
7.5 | Install new footpath in accordance with drawing 200 'new asphalt/tarmac footway detail' with timber edging in accordance with 'timber edging detail' for approximately 505m (in areas where previous footpath has been demolished).
7.6 | Resurface footpath where required, affected area where extents of damage vary across approximately 105m length, damage extent TBC by contractors/others.
7.7 | Existing timber decking to be cleaned and previous worn finish to entire bridge to be removed (allow for 50m)
7.8 | Provide non-slip decking strips or alternative surfacing where previous finish removed (TBC by client)
7.9 | Allow for installation of tree protection for approximately 160m where shown on relevant drawings in conjunction with reinstatement and resurfacing works.
7 | External Works |  |  |  | 0

## flysheet(3) (hidden)
2099913/GV Newport Pagnell Footpaths
Estimated Cost Total Cashflow Forecast

## 8. Cost Breakdown
5 | 36 | 7 | 15 | 8 | 8 | column widths - please do not alter as this will throw out the print set up of this worksheet
2099913/GV Newport Pagnell Footpaths
Cost Breakdown
Ref | Group Element |  |  |  | Cost
0 |  |  |  |  | 0
1 |  |  |  |  | 0
2 |  |  |  |  | 0
3 |  |  |  |  | 0
4 |  |  |  |  | 0
5 |  |  |  |  | 0
6 |  |  |  |  | 0
7 |  |  |  |  | 0
| Sub-total |  |  |  | 0
11 | On-Costs
Preliminaries
OH&P
| Sub-total |  |  |  | 0
12 | Professional Fees
| Project Manager | 2.4 | % |  | 0
| QS & Contract Administrator | 1.8 | % |  | 0
| Design & CAD services | 0.75 | % |  | 0
| MEP consultant | 1.8 | % |  | 0
| Structural Engineer | 1 | % |  | 0
| Principal Designer | 0.25 | % |  | 0
| Planning Consultant | 0.15 | % |  | 0
| Solicitor (Contract & Warranties) | 1 | Item
| Asbestos R&D survey | 1 | Item
| EPC | 1 | Item
13 | Contingency
| Contingency | 5 | % |  | 0
14 | Inflation
| Inflation allowance - BCIS TPI 328 (1Q 2021) to 361 (2Q 2022) | 10.06 | % |  | 0
| Estimated Project Total (excl VAT) (see note 2) |  |  |  | 0
| Estimated Project Total (incl VAT) (see note 2) |  |  |  | 0
1 | Base date of cost plan: 4Q2021
2 | Value Added Tax (VAT) in relation to buildings is a complex area. Therefore it is recommended that VAT be excluded from order of cost estimates. It is recommended that specialist advice is sought on VAT matters to ensure that the correct rates are applied to the various aspects of a building project.
3 | To be read in conjunction with Inclusions, Exclusions and Assumptions.

## Flysheet(2) (hidden)
2099913/GV Newport Pagnell Footpaths
Area Schedule

## Area Schedule (hidden)
11 | 6 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8.5 | 8 | 8 | 8.5 | 8.5 | column widths - please do not alter as this will throw out the print set up of this worksheet
2099913/GV Newport Pagnell Footpaths
SUMMARY OF FLOOR AREAS | [13 empty] | INSTRUCTIONS FOR COMPLETION
Block A | [13 empty] | this does not necessary need to be included within your cost plan, depends on the size of project
Level | Storey height | Gross Internal Area | [7 empty] | Net Internal Area |  |  | Net:Gross Efficiency
|  | Plant | Storage | WCs | Circ area | Stairs | Lifts | Risers | Total GIA | Office | Resi | Total NIA
|  | m² | m² | m² | m² | m² | m² | m² | m² | m² | m² | m² | %
Ground | 3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
First Floor | 3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Second Floor | 3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Total (m2) | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Total (ft2) | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Block B
Level | Storey ht | Gross Internal Area | [7 empty] | Net Internal Area |  |  | Net:Gross Efficiency
|  | Plant | Storage | WCs | Circ area | Stairs | Lifts | Risers | Total GIA | Office | Resi | Total NIA
|  | m² | m² | m² | m² | m² | m² | m² | m² | m² | m² | m² | %
Ground | 3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
First Floor | 3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Second Floor | 3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Total (m2) | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Total (ft2) | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Block C
Level | Storey ht | Gross Internal Area | [7 empty] | Net Internal Area |  |  | Net:Gross Efficiency
|  | Plant | Storage | WCs | Circ area | Stairs | Lifts | Risers | Total GIA | Office | Resi | Total NIA
|  | m² | m² | m² | m² | m² | m² | m² | m² | m² | m² | m² | %
Ground | 3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
First Floor | 3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Second Floor | 3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Third Floor | 3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Fourth Floor | 3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Seventh Floor | 3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Sixth Floor | 3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Total (m2) | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Total (ft2) | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!