## Drop Codes (hidden)
RoomClassification | IA | QualificationTest
Not Classified | Direct Impact | Yes
Grade A | Indirect Impact | No
Grade B | No Impact | n/a
Grade C
Grade D

## Appendix 1 URS
User Requirement Specification |  |  | CPI Internal Tender Reference & Title:- | 1139 | Framework for the Supply, Installation and Commissioning of Gel Imaging Systems
| The evalution team will consider bidders combined responses below and give a single overall score based on the adjacent rating in column D, of which the total Quality element score of this sheet will equate to value in column G |  |  |  | The total percentage available which will contribute towards the Quality scoring element of this tender is contained within column G, of which the evaluation team will assess in the "Office Use Only" section below at the base of this form | 50%
USER REQUIREMENT |  |  |  |  | Tenderer Response
Requirement codes |  |  |  |  | Guidance: Tenderers must provide responses within the following Columns;
M | Mandatory |  |  |  | 1. Column F - Please provide details of your equipment functionality in relation to CPI requirements specified in column E
O | Optional requirement which may be quoted for and an assessment made by CPI prior to purchase |  |  |  | 2. Column G - Please confirm if your product complies with CPI's functionality requirements specified in Column E, by providing a Yes (Y) or No (N) response
D | Desirable, but not necessary - if this can be supplied. Tenderer should suggest alternative if appropriate
Parameter |  | Requirement |  | Requirement (M/O/D) -see codes | Answer or Details with regards to meeting the Requirement | Complies? (Y/N)
System performance
| Instrument Principle | The instrument should have the capability to image and analyse protein and DNA samples using traditional and stain-free technology |  | M
|  | The instrument should be capable of imaging and analysing gels and western blots |  | M
Technical specifications
| Consumables | List of consumables and reagents required to run instrument should be supplied for future purchase |  | D
| Automation | The system should be fully automated and should be able to be left unattended to carry out analysis runs overnight if required |  | D
| Detection technology | The system should be capable of fluorescence, chemiluminescence and colorimetric gel and blot detection |  | M
Installation & Utilities
| Installation | Installation must be performed by qualifed engineers at CPI Darlington facility |  | M
| Site requirements | A full site requirements guide must be provided as part of the Tender response, including requirements for specialist lifting and manual handling equipment |  | M
| Electrical Power | The system should operate from a standard UK mains supply (240Vac, 50Hz, single phase) |  | M
| Qualifications | Software and hardware IQ/OQ packages must be provided for appropriate equipment |  | O
Software and Connectivity
| Connectivity | Computer Interface (e.g. ethernet, USB etc). Capabilities for interaction with LIMS should be detailed |  | D
Regulatory, Support & Warranties
| CE Marking | The Equipment shall be permanently CE Marked to confirm that it is in accordance with all relevant EU Directives, and a suitable conformance certificate shall be provided |  | M
| Training | Full training should be provided along with access to technical support |  | D
| Warranties | Warranty period should cover at least 12 months from installation |  | M
| Extended warranty | Extended warranty of up to 3 years |  | D
| Service support | On site support within 48 hours of requesting assistance. Please provide details of expected call-out charges. |  | D
| Service support | Details of preventative maintenance programmes required (if any) above Warranty requirements |  | D
Head Office: CPI, Wilton Centre, Wilton, Redcar, Cleveland, TS10 4RF, UNITED KINGDOM
Tel: +44 (0)1642 455 340 Email: info@uk-cpi.com Web: www.uk-cpi.com