Invitation to Tender

Refurbishment of welfare facilities at Gwealgues Farm

REF: GGH 015

1   Background/Introduction

This Tender is for the design, renovation and installation of welfare facilities at Gwealgues Farm to serve as a meeting room for volunteers, changing rooms and toilets. This will enable access onto the farm for volunteers and schools helping to establish a market garden, orchards and nature reserve to benefit the local community.

In addition to this document full details around the tender can be found in the accompanying documentation, including:

Enclosure 1 - Compliancy Matrix

Appendix A - Proposed Floor Plan

This is a request to submit a fixed price quotation (RFQ) for specified building work to complete the internal part of the existing building.

The total budget for the project is £55,000

The purchase of this system is part of a grant funded application process and therefore procurement will be subject to grant approval of the project. We will compare tenders received on a compliance basis only.

- Project Specifications (Design Considerations)

Layout:

  - Changing rooms and toilets for volunteers and visitors to the farm - Approx area of 10-12 m2 per changing room.

  - Kitchen space with a sink and ~2.5m worktop

  - Community group space.  Approx area of 40 m2.  Flexible multi use space

  - Public Toilets to be accessible when the community space is not open, approx. 12 m2.  To include disabled WC, 2 male and 2 female WC’s.

  - Secure Storage room (min 4sqm) to provide storage for tools, overalls, boots and associated equipment.

Materials generally:

  - Materials to be in keeping with the rest of the site proposals, easy clean and hardwearing.

Roof:

  - Ceilings internally – painted plasterboard or other hardwearing surface.

Thermal performance and heating / electrical use:

  - The whole building is to be designed as an unheated space, but with minimum levels of insulation within walls, floor and ceiling to satisfy building regulations for condensation, and to regulate temperatures as far as practical.   Building to be designed to current Building Regulations as a minimum, assuming no permanent heating system.  Supplier to be responsible for all statutory approvals and consents including any SBEM and EPC calculations required.

  - All power to be electrical – ability to connect to renewable technologies such as solar in the future.

  - Megaflo (or approved alternative) immersion heater to supply hot water to kitchen and basins.

- Electrical supply and installation:

  - Contractor / supplier to allow for connection and all associated fittings.

  - Appropriate low maintenance and vandal resistant fittings to be used throughout.

  - New electrical installations to be carried out by an Electrician registered under NIC / EIC, OR Electricians suitably trained and qualified to issue BS 7671 – Design, Installation and Test Certificates for electrical work may also be used.

  - Switches and socket outlets will be provided at suitable heights, to assist people whose reach is limited. All light switches and controls to be located between 750mm and 1200mm above the floor.

  - Energy Efficient fittings to be used throughout.

  - Energy efficient light fittings and switches, 3x PIR sensors, 10x sockets, fused spurs and extractor fans all to be included and fitted

Security and Doors:

  - Supply and 2nd fix carpentry of all exterior and interior doors and associated fittings. Internal doors are to be compliant with building regulations and be plywood flush doors. Key lock on storage room internal door. All external doors to have high quality locks to British Standard - BS3621 (or equivalent), fully finished hardwood XL Joinery security door (or approved alternative).

- Ventilation:

  - Ventilation system to be installed to the changing rooms, WC’s and kitchen area.

  - Extract to be in accordance with Building Regulations minimal standards.

  - Natural ventilation via openable window already exists in the meeting room.

  - Artificial ventilation to all changing and WC rooms.

- Sound Insulation:

  - Sound insulation between spaces for building regulations approval, and for reasonable levels of noise transference between rooms.

- Fire Alarm and Detection:

  - Fire alarm and detection system to be designed and installed in accordance with Building Regulations and British Standards.

- Foul Drainage:

  - Contractor / supplier to allow for all connections to nearest existing drainage and for all associated approvals and consents.

- Surface water drainage:

  - Contractor / supplier to allow for all surface water drainage from building roof, deck and any associated hard standing immediately around the building.

- Internal fittings and finishes:

  - To include all fit out of kitchen including 2.5m solid worktop Minerva (or approved alternative) above 4 units comprising one with just drawers and the others with one shelf, upstands and splashbacks, to be suitable to general community use and fit for purpose.

  - To include WhiteRoc or similar lining of all WC’s.  Toilets are to be Vitreous China, Basins each with single hole for mixer tap. WC and basin fittings all to be by a standard manufacturer, Roca (or approved alternative)  to allow for ease of maintenance and replacement.

  - MFC Toilet cubicle partitions and doors.

  - All fittings to public WC’s to have fully concealed services.

  - Handwash systems to be steel with high vandal resistance.

  - Internally whole building to be decorated throughout in diamond hard white matt emulsion.

  - Floors to be slip resistant high quality Altro (or approved alternative) vinyl flooring suitable for use with outdoor footwear/boots.

  - 6 seater fully finished wooden Picnic benches (or approved alternative).

- Level access and thresholds:

  - All doors and thresholds to comply with Part L of the building regulations and all entrance doors and the approach to the building to be wheelchair accessible.

- Externally:

- 2.34. Site to be left clean and tidy

- Contract / Contract Period

- 2.35. The proposed contract for this project is the JCT Design and Build 2016 and is to include all associated groundworks and services connection. The overall aim would be to have the welfare facilities renovated, installed and handed over to Construct Global Limited by 31/05/2023.

- 2.36. Tenderers are to be responsible for all building regulations approvals and submissions and all associated calculations.  As the building is to be unheated, it is not anticipated that an SBEM calculation is required.  Should heating be required to any/all of the spaces, this may then be a  requirement.

- 2.37. Tenderer to satisfy themselves that services are available and suitable for connection.

# ITT Timetable

The anticipated timetable for submission of the tender and commission milestones are set out below:

| Activity | Date |
| --- | --- |
| A. Date ITT available on Contracts Finder | 13 April 2023 |
| B. Last date for raising queries | 20 April 2023 |
| C. Last date for clarifications to queries | 21 April 2023 |
| D. Deadline to return ITT | 1700: 3 May 2023 |
| E. Evaluation of ITT | 4 May 2023 |
| F. Award of Contract | 5 May 2023 |
| G. Contract complete | - June 2023 |

# 4  Conflicts of Interest

Please provide a statement with regards to a conflict of interest for this procurement through the provision of either:

A Declaration that to your knowledge there is no conflict of interest between your company and the Construct Global Limited that is likely to influence the outcome of this procurement either directly or indirectly through financial, economic or other personal interest which might be perceived to compromise their impartiality and independence in the contexts of this procurement procedure.

Or

A Declaration that there is a likely conflict of interest between your company and Construct Global Limited that is likely to influence the outcome of this procurement either directly or indirectly through financial, economic or other personal interest which might be perceived to compromise their impartiality and independence in the contexts of this procurement procedure, please provide details of this connection.

This will permit Construct Global Limited that in the event of a conflict of interest, appropriate steps are taken to ensure that the evaluation of any submission will be undertaken by an independent and impartial party.

Exclusion

Construct Global Limited shall exclude applicants from participation in this procurement procedure where they have established or are otherwise aware that the applicant, to include administrative, management or supervisory staff that have powers of representation, decision or control of the applicants company, has been the subject of a conviction by final judgment of one of the following reasons:

Participation in a criminal organisation

Corruption

Fraud

Terrorist offences or offences linked to terrorist activities

Money laundering or terrorist financing

Child labour and other forms of trafficking in human beings

# 5   Consortium or sub-contracting

Where a consortium or sub-contracting approach is proposed, all information requested should be given in respect of the proposed prime contractor or consortium leader. Relevant information should also be provided in respect of consortium members or sub-contractors who will play a significant ( greater than 25%) role in the delivery of the services under any ensuing Contract.

# Tender Application Requirements

Please provide paper copies of your application which should include:

- Confirmation that you the supplier are able to meet the requirements outlined in the brief above.

- Details of who to contact in your company in relation to this tender

- Company registration Number and VAT number (if appropriate)

- Confirmation that the tenderer holds current valid insurance policies as set out below and, if successful, supporting documentation will be provided as evidence:

- Employers Liability Insurance with a limit of indemnity of not less than ten million (£10,000,000)

- Public Liability Insurance with a limit of indemnity of not less than one million (£1,000,000).

- Proposal and completed Compliancy Matrix Tender Scoring Criteria

The tender will be scored only on their compliance to the specification set out in section 2 and awarded to the lowest compliant tender.

# Tender Returns

Tenders are to be returned by email.

Latest date to be returned:	As per Section 3

Latest time to be returned:	17:00

Emailed tenders should be sent electronically to chrissieoates@gmail.com with the following message clearly noted in the Subject box; ‘Refurbishment of welfare facilities at Gwealgues Farm Ref. GGH 015”

Tenderers are advised to request an acknowledgement of receipt of their email.

# Clarification

There will not be any negotiations of any of the substantive terms of the Tender Documents.  Only clarification queries will be answered. Any clarification queries arising from the Tender Documents which may have a bearing on the offer should be raised as soon as possible in writing. The deadline for clarification questions is in accordance with the timetable at Section 3. All e-mailed queries should be sent to:-

Name: Christine Oates

E-mail: chrissieoates@gmail.com

No representation by way of explanation or otherwise to persons or corporations tendering or desirous of tendering as to the meaning of the tender, Contract or other Tender Documents or as to any other matter or thing to be done under the proposed contract shall bind us unless such representation is in writing and duly signed by Christine Oates of Construct Global Limited. All such correspondence shall be returned with the Tender Documents and shall form part of the Contract.

Tenderers must provide a single point of contact in their organisation for all contact between the Tenderer and Construct Global Limited.

Responses to any queries will be shared  through Contracts Finder website

# Disclaimer

The issue of this documentation does not commit Construct Global Limited to award any contract pursuant to the bid process or enter into a contractual relationship with any provider of the service.  Nothing in the documentation or in any other communications made between Construct Global Limited or its agents and any other party, or any part thereof, shall be taken as constituting a contract, agreement or representation between Construct Global Limited and any other party (save for a formal award of contract made in writing by or on behalf of Construct Global Limited here).

Bidders must obtain for themselves, at their own responsibility and expense, all information necessary for the preparation of their tender responses.  Information supplied to bidders by  Construct Global Limited  or any information contained in Construct Global Limited’s publications are supplied only for general guidance in the preparation of the tender response.  Bidders must satisfy themselves by their own investigations as to the accuracy of any such information and no responsibility is accepted by Construct Global Limited for any loss or damage of whatever kind and howsoever caused arising from the use by bidders of such information.

Bidders shall be responsible for their own costs and expenses in connection with or arising out of their response. Construct Global Limited reserves the right to vary or change all or any part of the basis of the procedures for the procurement process at any time or not to proceed with the proposed procurement at all.

Cancellation of the procurement process (at any time) under any circumstances will not render  Construct Global Limited liable for any costs or expenses incurred by bidders during the procurement process.

Enclosures:

- Compliancy Matrix

- Appendix A - Proposed Floor Plan