Schedule 7 - GENERAL PREAMBLE TO THE SCHEDULE OF RATES FOR THE FIVE LOTS

- The Schedule of Rates has been prepared NOT to include all work that can be foreseen as being required during the period of the Contract.

- Whenever possible. The work shall be measured and paid for at the rates inserted in the Schedules of Rates.  The value of other works will be agreed with the Engineer where measurement is not considered possible.

- The Contractor shall provide his own depot/accommodation and welfare for the storage of plant and materials and the rate in the Schedule shall be deemed to include all expenses in connection therewith.

- The rates contained in the Schedule of Rates shall be deemed, unless otherwise described, to include for all items required to carry out the work.

- The contents of the specification and relevant British and European Standards and Codes of Practice shall be deemed to have been allowed for the rates and prices contained in the Schedule of Rates.

- The rates in the schedule shall be deemed to include for all the provisions and requirements set out in the Conditions of Contract, Instructions for Tendering, Specification and Addendum to Specification, Drawings, Appendices and Preambles to the Schedule of Rates.

- The rates in the schedule be deemed to include for the completion of all documentation relevant to work tickets/job vouchers, track sheets, invoices, material collection and return notes, as required by the Engineer.

- The rates in the schedule shall be deemed to include for all normal movements and of gangs/teams and transportation costs and setting up time and no additional payment will be made for these items.

- The Contractor shall use only clean wholesome water.  No other source waters are used unless with the prior approval of the Engineer.

- All testing of materials and other work carried out under this contract, as witnessed by the Engineer shall be deemed to be included for, generally within the rates and prices in the Schedule of Rates.  No separate items have been identified for testing.

- The rates in the schedule shall be deemed to include for the provision and placing and all road works sites, display boards including Contractors name, address and telephone number.

- The rates in the schedule shall be deemed to include for complying with the Engineer’s requirements to take every reasonable and practical means to keep noise to a minimum and to indemnify the employer as specified.

- The lowest unit for hourly measured items shall be 0.25 of an hour.

- The Contractor’s rates shall be deemed to include for the provision of a mobile phone for each gang.  He shall also include for the provision and placing of display boards indicating the Contractor’s name, address and telephone number, on all vehicles and every works site.

- Silent operating signals will be used at all times and the contractor will provide an emergency contact number in case of a failure of lights at any time.

- If traffic signals are to be used between the hours of 1800 and 0800 on weekdays or at any time at weekends, approval must be given by the Engineer.

- Wherever possible, the Council must take all practicable measure to provide teams engaged on planned works with record drawing of all utilities plant/apparatus.

- However, the nature of repairs and maintenance works will on occasion not allow sufficient time of practicality for this provision.

- All operatives have been fully trained in the use of cable location equipment and the avoidance of underground services.

- The rates in the schedule are deemed to include for complying with Construction (Design and Management) Regulations 2015 and all necessary documentation.

- The rates in the schedule shall be deemed to be fully inclusive of the following;

  - Provision of experienced competent team members, including CSCS accreditation.

  - Team leaders fully trained in accordance with all current legislation including NRSWA requirements and HAUC specification.

EXCAVATION AND REINSTATEMENT OF ALL ROAD

- The Contractor’s rates shall include for excavating in category 3 and 4 roads (as defined by NRSWA) up to a depth of 1.5m cover and reinstating to NRSWA on completion.  In particular, his rates shall include for;

- Breaking out any road surfacing/construction encountered within 500mm of the original surface.

- Backfilling above pipe surround with compacted granular sub-base type.

- Reinstatement of base and wearing course in accordance with NRSWA.

- Disposal of excavated material to tip.

- The extent and cost of hedge, wall, fence and other such crossings shall be agreed prior to work commencing.

- The rates for excavation in the Schedule of Rates shall be deemed to include for support to sides of excavation, preparation of excavated surfaces, dewatering, backfilling with selected excavated material, removal of surplus excavated material off site, keeping topsoil separate from other excavated material, reinstatement of disturbed area(s) as original surface.

- The commencing surface shall be defined as the natural ground surface in any location except where extra over payment is made to the Contractor for stripping topsoil within the working width, as directed by the Engineer.  In this case, the commencing surface shall be the surface after the topsoil has been stripped.

- The Contractor is required to follow all safety legislation and guidance in force at the time works are undertaken; completing risk assessments, method statements and work permits before any works are commenced.

NUMBER AND TITLES OF LOTS

- Reactive work of any description requiring a 2 hour response to a site in any of the three local authority districts.

- Reactive work of any description requiring a 24 or 48 hour response to a site in any of the three local authority districts.

- Planned works in the public highway.

- Planned work in third party land.

- Technical consultant, including planning application observation regarding surface water disposal.

LOT 1

Reactive work of any description requiring a two hour response to a site in any of the three stated local authority districts.

Definition includes;

- Delivery of filled sandbags

- Delivery and operation of portable water pumps (including portable generator)

- Delivery and operation of mini excavator

- Removal of fallen trees and/or vegetation in a watercourse (subject to dynamic or planned risk assessment)

- Signing and guarding (to required standard) around damaged asset or surcharging point

This is not an exhaustive list.

Pricing Schedule LOT 1

2 hour response (call out)

| No. | Item Description | Unit | Minimum quantity | Rate | Total amount £ & p |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply 2 operatives, vehicle, small tools, mini-excavator (up to 3 ton) to site and operate plant as instructed | Hourly | 4 |  |  |
| 2 | Supply 20 filled sandbags (standard size) to a specified site and deploy bags | 1 | 1 |  |  |
| 3 | Supply 2 qualified operatives with required transport and tools to a specified site for the removal of obstructions in the watercourse (subject to risk assessment) | Hourly | 4 |  |  |
| 4 | Supply 2 operatives and necessary signs and fencing to guard an area of 8m2 in an accessible grassed/cultivated area | 1 | 1 |  |  |
| 5 | Rates for above at weekends and bank holidays: 1 | Hourly |  |  |  |
|  | 2 | 1 |  |  |  |
|  | 3 | Hourly |  |  |  |
|  | 4 | 1 |  |  |  |
| TOTAL |  |  |  |  |  |

LOT 2

Reactive work of any description requiring either a 24 hour or 48 hour attendance to a given site in any of the three stated local authority districts.

Definition includes;

- Delivery and erection of protective signing, guarding or fencing

- Installation of temporary timber shorings, shuttering or framework

- Construction of temporary pipeline (flood diversion) or temporary culvert

- Removal of fallen trees and/or vegetation causing an obstruction in a watercourse (subject to agreed method and risk assessment being provided)

- New forming flood defence bund using imported clay and topsoil.

Pricing Schedule LOT 2

24 and 48 hour response/reactive work

| No. | Item Description | Unit | Minimum quantity | Rate | Total amount £ & p |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply 2 operatives, vehicle, small tools, mini-excavator (up to 3 ton) to site and operate plant as instructed | Hourly | 4 |  |  |
| 2 | Supply 2 qualified operatives with required transport and tools to a specified site for the removal of obstructions in the watercourse (subject to risk assessment) | Hourly | 4 |  |  |
| 3 | Supply 2 operatives and necessary signs and fencing to guard an area of 8m2 in an accessible grassed/cultivated area | 1 | 1 |  |  |
| 4 | Supply necessary labour, materials and equipment to lay an overland 150mm plastic pipe across cultivated grass for a length of 30 mtrs. Item includes the use of 20 filled sandbags | 1 | 1 |  |  |
| 5 | Supply necessary labour, plant and materials (including signs and guards) to excavate out a collapsed culvert in a type 3 or 4 road. Culvert is 8 mtrs long. Lay new 300mm diameter twin wall culvert and reinstate to HAUC specification <1.5 mtrs depth. All excavated material removed from site | 1 | 8 mtrs |  |  |
| 6 | Supply all necessary labour, plant and materials to construct replacement wing walls to culvert inlet. Walls to have new foundation of waterproof concrete and have the following dimensions (10 mtrs x 0.6 x 0.6 mtrs). A=Walls to be built using Class A bricks, with a sand to cement mortar max of 3:1. Walls to be each 4 mtrs x 0.25 x 1.5 mtrs and constructed in a void up to 2 mtrs deep. All excavated soil to be disposed of on site. | 1 |  |  |  |
| 7 | Supply all necessary labour, plant and materials to re-form clay formed bund in farmland. Allow for supplying 48 ton of capping clay and 10 ton of screened topsoil. Breach in bund is 6 mtrs x 1 x 3 mtrs. | 1 |  |  |  |
| TOTAL |  |  |  |  |  |

LOT 3

Planned work in the public highway

Definition includes;

- Laying of new flood relief pipes and culverts

- Replacing collapsed surface water drainage pipes and culverts

- Forming new inspection chambers

- Installing new highway drainage (for flood relief purposes)

- Supply of all required signs and guards

Pricing Schedule LOT 3

| No. | Item Description | Unit | Rate | Total amount £ & p |
| --- | --- | --- | --- | --- |
| 1 | Excavation of trial hole (1 x 1mtr) in the public footpath and reinstatement to HAUC specification <1.5 mtrs depth | M3 |  |  |
| 2 | Excavation of trial hole ( 1 x 1 mtr) in a type 3 or 4 road, with reinstatement to HAUC specification <1.5 mtrs depth | M3 |  |  |
| 3 | Excavate supply and lay 100mm diameter pipe in highway verge.reinstate with 100mm pea shingle bed and surround and excavated material. <24 linear mtrs. | M |  |  |
| 4 | Excavate supply and lay 100mm diameter pipe in bitmac public footpath, with reinstatement to HAUC. <24 linear mtrs | M |  |  |
| 5 | Excavate, supply and lay 100mm diameter pipe in bitmac public footpath, with reinstatement to HAUC. >24 linear mtrs | M |  |  |
| 6 | Form 225mm thick Engineering Class B brick manhole, with a (0.6 wide) D400 frame and cover 1.5 mtrs depth in public footpath | M |  |  |
| 7 | Excavate, supply and lay 225mm diameter pipe in type 3 or 4 highway. Include permanent reinstatement. Up to 1.5 mtrs depth <6 mtrs. | M |  |  |
| 8 | Excavate, supply and lay 225mm diameter pipe in type 3 or 4 highway. Include permanent reinstatement. Up to 1.5 mtrs depth >6 mtrs | M |  |  |
| 9 | Excavate road, supply and lay 450mm concrete pipe (12 mtrs) in type 2 road. Reinstate to HAUC specification (first time permanent reinstatement) | 1 |  |  |
| TOTAL |  |  |  |  |

LOT 4

Planned works in third party land

Definition includes;

- The construction of flood relief pipelines across farm and amenity land

- The construction of flow controls, headwalls, health and safety grills, scour protection and riverbank erosion controls

- Construction of filter drains, swales and ditches to alleviate or resolve flooding issues

- Construction of clay and earth bunds to create attenuation or to control surface water

- Maintenance of watercourses, including de-silting, tree surgery and vegetation removal

LOT 4

| No. | Item Description | Unit | Minimum quantity | Rate | Total amount £ & p |
| --- | --- | --- | --- | --- | --- |
| 1 | Excavation of trial hole in unmade ground, to a depth of 1.5 mtrs, including reinstatement using excavated material | 1 |  |  |  |
| 2 | Excavate supply and lay 100mm diameter pipe in unmade ground, with pea single surround (100mm), to a depth of 1 mtr including reinstatement using excavated materials 6 – 24 mtrs | M |  |  |  |
| 3 | Excavate, supply and lay 300 mm diameter pipe in unmade ground with 100mm pea shingle in surround, to a depth of 1 mtr, including reinstatement using excavated material 6 – 24 mtrs | M |  |  |  |
| 4 | Excavate, supply and lay pre-cast concrete ring soakaway, with D400 frame and cover in unmade ground (2 mtrs depth x 1.2 mtrs wide) on 150mm compacted Type 1 stone baste | 1 |  |  |  |
| 5 | Excavate foundation in flat unmade ground and form concrete foundation (10 mtrs x 0.6 x 0.6mtrs) using waterproof concrete | 1 |  |  |  |
| 6 | Excavate in unmade ground and lay 225 mm diameter perforated pipe in 500mm bed and surround of clean stone (<100mm). Trench lined with geotextile. Length up to 50 mtrs and maximum depth 1 mtr. All excavated material used as backfill or disposed of on site | M |  |  |  |
| 7 | Formation of swale. Strip topsoil to depth of 150mm and store for reuse. Excavate sale in cultivated grass area to a profile of 3 mtrs wide x 450mm x 50 mts. Redress swale using 150mm topsoil and grass seed (34gms per/m2). Immediate access to site of swale | 1 |  |  |  |
| 8 | Day rate for 2 operatives, 8 ton dumper, 8-13 ton tracked excavator (including transportation to and form site in a 50 mile radius) and small tools | 1 |  |  |  |
| TOTAL |  |  |  |  |  |

LOT 5

Technical consultant (planning and design)

All work to be approved by Chartered person before being submitted to the Local Authority

Definition includes;

- Formation of initial comments on planning applications regarding the proposed surface water disposal strategy

- The scrutinising of submitted flood risk assessments

- The design of flood defence work using Auto CAD based on given topographical survey data

- Formation of reports on flood events at specific locations to ascertain cause and to create a list of actions to resolve/alleviate future risk

- Attendance at planning meetings to present view on flood risk and surface water disposal strategies

LOT 5

| No. | Item Description | Unit | Rate |
| --- | --- | --- | --- |
| 1 | Hourly rate for appropriately qualified person to scrutinise a submitted flood risk assessment |  |  |
| 2 | Hourly rate for an appropriately qualified person to form initial comments on a planning application that does not include an FRA |  |  |
| 3 | Hourly rate for a CAD technician to provide designs (including construction details and long sections) for flood defence work. LiDAK and level data will be supplied |  |  |
| 4 | Hourly rate for appropriately qualified person to attend a formal planning meeting (including appeals) at the District Council offices |  |  |
| 5 | Hourly rate for appropriately qualified person to attend a site to investigate a flooding incident and/or to investigate level of risk to a defined location (written report to be produced) |  |  |