## HV
Sub Category | Asset Description | Condition | Asset Notes | Asset Make | Asset Model | Asset Serial Number | Location
HV Protection Relay | Sepam 1 - Green Room | Good |  | Schneider Electric | SEP383 | 8270170
HV Protection Relay | Sepam 10 - T10 | Good |  | Schneider Electric | SEP383 | 8295005
HV Protection Relay | Sepam 11 - T19 | Good |  | Schneider Electric | SEP383 | 8295004
HV Protection Relay | Sepam 12 - T16 | Good |  | Schneider Electric | SEP383 | 8295002
HV Protection Relay | Sepam 13 - Incomer No.1 | Good |  | Schneider Electric | SEP383 | 8290172
HV Protection Relay | Sepam 14 - Bus Section | Good |  | Schneider Electric | SEP383 | 8275023
HV Protection Relay | Sepam 15 - Incomer No.2 | Good |  | Schneider Electric | SEP383 | 8270139
HV Protection Relay | Sepam 16 -T17 | Good |  | Schneider Electric | SEP383 | 8290175
HV Protection Relay | Sepam 17 - T22 | Good |  | Schneider Electric | SEP383 | 8270223
HV Protection Relay | Sepam 18 - T24 | Good |  | Schneider Electric | SEP383 | 8270221
HV Protection Relay | Sepam 19 - T7 | Good |  | Schneider Electric | SEP383 | 8270220
HV Protection Relay | Sepam 2 - Spare No.2 | Good |  | Schneider Electric | SEP383 | 8290173
HV Protection Relay | Sepam 20 - T11 | Good |  | Schneider Electric | SEP383 | 8270144
HV Protection Relay | Sepam 21 - T26 | Good |  | Schneider Electric | SEP383 | 8270171
HV Protection Relay | Sepam 22 - T5 | Good |  | Schneider Electric | SEP383 | 8270145
HV Protection Relay | Sepam 23 - T14 | Good |  | Schneider Electric | SEP383 | 8275021
HV Protection Relay | Sepam 24 T20 | Good |  | Schneider Electric | SEP383 | 8275932
HV Protection Relay | Sepam 25 - Spare N.o3 | Good |  | Schneider Electric | SEP383 | 8270172
HV Protection Relay | Sepam 26 - Spare No.4 | Good |  | Schneider Electric | SEP383 | 8270124
HV Protection Relay | Sepam 13 - Incomer No.3 | Good |  | Schneider Electric | SEP383
HV Protection Relay | Sepam 14 - Bus Section | Good |  | Schneider Electric | SEP383
HV Protection Relay | Sepam 3 - T6 | Good |  | Schneider Electric | SEP383 | 8370092
HV Protection Relay | Sepam 4 - T25 | Good |  | Schneider Electric | SEP383 | 8275020
HV Protection Relay | Sepam 5 - T4 | Good |  | Schneider Electric | SEP383 | 8375075
HV Protection Relay | Sepam 6 - 11kV PFC | Good |  | Schneider Electric | SEP383 | 8270173
HV Protection Relay | Sepam 7 - T21 | Good |  | Schneider Electric | SEP383 | 8395029
HV Protection Relay | Sepam 8 - T13 | Good |  | Schneider Electric | SEP383 | 8375012
HV Protection Relay | Sepam 9 - T15 | Good |  | Schneider Electric | SEP383 | 8270125
HV Distribution Board | DL 11KV Switchboard |  |  | Schneider Electric - GENIE EVO
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - Green Room | Good |  | Schneider Electric - GENIE EVO | VCP-P2 | 100518384
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - Spare 2 | Good |  | Schneider Electric - GENIE EVO | VCP-P2 | 100518386
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - T6 PD1 Services Board | Good |  | Schneider Electric - GENIE EVO | VCP-P2 | 100518388
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - PFC | Good |  | Schneider Electric - GENIE EVO | VCP-P2 | 100518394
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - T21 PD1 Admin | Good |  | Schneider Electric - GENIE EVO | VC2-P2 | 100518396
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker- T25 HPC | Good |  | Schneider Electric - GENIE EVO | VCP-P2 | 100518390
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - T4 MV Brd 1 | Good |  | Schneider Electric - GENIE EVO | VCP-P2 | 100518392
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - T13 Switch Board 1 | Good |  | Schneider Electric - GENIE EVO | VCP-P2 | 100518398
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - T15 PLT RM No.2 Brd 3 | Good |  | Schneider Electric - GENIE EVO | VCP-P2 | 100518400
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - T10 MV Brd 2 | Good |  | Schneider Electric - GENIE EVO | VCP-2 | 100518402
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - T19 NSF | Good |  | Schneider Electric - GENIE EVO | VCP-P2 | 100518404
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - T16 PLT Rm No.2 F Quad | Good |  | Schneider Electric - GENIE EVO | VCP-P2 | 100518406
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - Incomer No.1 | Good |  | Schneider Electric - GENIE EVO | VC12-P6 | 100518408
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - Bus Section | Good |  | Schneider Electric - GENIE EVO | VC120P17S | 100518410
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - Incomer No.2 | Good |  | Schneider Electric - GENIE EVO | VC12-P6 | 100518412
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - T17 PD1 Stores | Good |  | Schneider Electric - GENIE EVO | VCP-P2 | 100518414
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - T22 PD1 Services | Good |  | Schneider Electric - GENIE EVO | VCP-P2 | 100518416
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - T24 NSF | Good |  | Schneider Electric - GENIE EVO | VCP-P2 | 100518418
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - T7 Admin B | Good |  | Schneider Electric - GENIE EVO | VCP-P2 | 100518420
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - T11 MV Brd2 | Good |  | Schneider Electric - GENIE EVO | VCP-P2 | 100518422
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - T26 HPC | Good |  | Schneider Electric - GENIE EVO | VCP-P2 | 100518424
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - T5 MV Brd 1 | Good |  | Schneider Electric - GENIE EVO | VCP-P2 | 100518426
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - T14 PLT Rm No.2 | Good |  | Schneider Electric - GENIE EVO | VCP-P2 | 100518428
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - T20 PLT RM No.2 Dipole | Good |  | Schneider Electric - GENIE EVO | VCP-P2 | 100518431
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - Spare | Good |  | Schneider Electric - GENIE EVO | VCP-P2 | 100518433
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - Spare | Good |  | Schneider Electric | GENIE EVO | 100518435
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - Incomer No.3 | Good |  | Schneider Electric - GENIE EVO | VC12-P6
HV Vacuum Circuit Breaker | Vacuum Circuit Breaker - Bus Section | Good |  | Schneider Electric - GENIE EVO | VC120P17S
HV Ring Main | Ring Main Unit | Good
PF Correction | Power Factor Correction Equipment | Good |  | ABB Power TD Ltd | 1200KVR | 85209201 C1
PF Correction | Power Factor Correction Equipment | Good | 6 * 50 KVAR 415V 420A 50HZ | ABB | A6R56F60RF091Z 300KVAR
Connected in Delta
Discharge resistors fitted
Temp Cat. -25 +40 degrees C
Transformer | Transformer T4 (SRS) | Good |  | BRUSH |  | 64006
Transformer | Transformer T5 (SRS) | Good | Fed from OCB 16 | BRUSH |  | 64005
Manufactured in 1964 by "Brush"
Oil Capacity 302 Gallons
% Impedance 6.25
Total Weight 10570 lbs
Drg No. D6420234
Transformer | Transformer T6 (Services) | Good | Manufactured in 1964 by "Brush" | BRUSH |  | 64007
Oil Capacity 302 Gallons
% Impedance 6.25
Total Weight 10570 lbs
Transformer | Transformer T7 (B Block) | Good | Manufactured in 1964 by "Brush" | BRUSH |  | 64008
Oil Capacity 302 Gallons
% Impedance 6.25
Total Weight 10570 lbs
Transformer | Transformer T13 (Plant Room No.2) | Good | Manufactured in 1967 by "AEI" | AEI |  | W106820-1967
Oil Capacity 600 Gallons
% Impedance 6.3
Total Weight 19050 lbs
Transformer | Transformer T14 (Plant Room No.2) | Good | Manufactured in 1967 by "AEI" | AEI |  | W106821-1967
Oil Capacity 600 Gallons
% Impedance 6.21
Total Weight 19050 lbs
Drg No.
Transformer | Transformer T15 (Plant Room No.2) | Good | Manufactured in 1967 by "AEI" | AEI |  | W106822-1967
Oil Capacity 600 Gallons
% Impedance 6.15
Total Weight 19050 lb
Transformer | Transformer T17 (Stores) | Good | Manufactured in 1968 by "Brush" | BRUSH |  | 71401
Oil Capacity 379 Gallons
% Impedance 6.47
Total Weight 14340 lbs
Transformer | Transformer T19 (Tower) | Good | Manufactured in 1969 by "Brush" | BRUSH |  | 72867
Oil Capacity 636 Gallons
% Impedance 6.15
Total Weight 18602 lbs
Transformer | Transformer T21 (A Block) | Good | Manufactured in 1971 by "Brush" | BRUSH |  | 49885/2
Oil Capacity 222 Gallons
% Impedance 4.63
Total Weight 7800 lbs
Transformer | Transformer T22 (Services) | Good | Manufactured in 1971 by "Brush" | BRUSH |  | 49885/1
Oil Capacity 222 Gallons
% Impedance 4.59
Total Weight 7800 lbs
Transformer | Transformer T24 (Tower Block) | Good | Manufactured in 1976 by "Parson Peebles" | Parson Peebles |  | 1GA1305
Oil Capacity 225 Gallons
% Impedance 6.74
Total Weight 16645 lbs
Transformer | Transformer T10 Feeding C Block | Good | Manufactured in 1975 by "Parsons Peebles" but reconditioned & | Parsons Peebles (DTL) |  | 117GA 1191
installed in 1996.
Oil Capacity 527 Litres
% Impedance 4.72
Total Weight 1930KG
Drg No. Q49C04
Transformer | Transformer T11 Feeding C Block | Good | Manufactured in 1977 by "Parsons Peebles" but reconditioned & | Parsons Peebles (DTL) |  | 59JA 1774
installed in 1996.
Oil Capacity 527 Litres
% Impedance 4.47
Total Weight 1930KG
Drg No. Q49C04
Transformer | Transformer T1 Feeding C Block HPC (HDR) | Good
Transformer | Transformer T2 Feeding C Block HPC (HDR) | Good
Transformer | Transformer T3 Feeding C Block HPC Green Room | Good
Low Voltage Circuit Breaker |  | Good | M.V.BOARD NO.3 ACB S/W 1A | Maker:Schneider Electric |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Distribution Board |  |  | M.V.BOARD NO.3 ACB S/W 1A |  |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Low Voltage Circuit Breaker |  | Good | M.V.BOARD NO.3 ACB S/W 2A | Maker:Schneider Electric |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Distribution Board |  |  | M.V.BOARD NO.3 ACB S/W 2A |  |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Low Voltage Circuit Breaker |  | Good | M.V.BOARD NO.3 ACB S/W 3A | Maker:Schneider Electric |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Distribution Board |  |  | M.V.BOARD NO.3 ACB S/W 3A |  |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Low Voltage Circuit Breaker |  | Good | M.V.BOARD NO.3 ACB S/W 4B | Maker:Schneider Electric |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Distribution Board |  |  | M.V.BOARD NO.3 ACB S/W 4B |  |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Low Voltage Circuit Breaker |  | Good | M.V.BOARD NO.3 ACB S/W 6B | Maker:Schneider Electric |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Distribution Board |  |  | M.V.BOARD NO.3 ACB S/W 6B |  |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Low Voltage Circuit Breaker |  | Good | M.V.BOARD NO.3 ACB S/W 7A | Maker:Schneider Electric |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Distribution Board |  |  | M.V.BOARD NO.3 ACB S/W 7A |  |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Low Voltage Circuit Breaker |  | Good | M.V.BOARD NO.3 ACB S/W 8A | Maker:Schneider Electric |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Distribution Board |  |  | M.V.BOARD NO.3 ACB S/W 8A |  |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Low Voltage Circuit Breaker |  | Good | M.V.BOARD NO.3 ACB S/W 11B | Maker:Schneider Electric |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Distribution Board |  |  | M.V.BOARD NO.3 ACB S/W 11B |  |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Low Voltage Circuit Breaker |  | Good | M.V.BOARD NO.3 ACB S/W 12B | Maker:Schneider Electric |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Distribution Board |  |  | M.V.BOARD NO.3 ACB S/W 12B |  |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Low Voltage Circuit Breaker |  | Good | M.V.BOARD NO.3 ACB S/W 14A | Maker:Schneider Electric |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Distribution Board |  |  | M.V.BOARD NO.3 ACB S/W 14A |  |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Low Voltage Circuit Breaker |  | Good | M.V.BOARD NO.3 ACB S/W 15A | Maker:Schneider Electric |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Distribution Board |  |  | M.V.BOARD NO.3 ACB S/W 15A |  |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Low Voltage Circuit Breaker |  | Good | M.V.BOARD NO.3 ACB S/W 16A | Maker:Schneider Electric |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Distribution Board |  |  | M.V.BOARD NO.3 ACB S/W 16A |  |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Low Voltage Circuit Breaker |  | Good | M.V.BOARD NO.3 ACB S/W 17B | Maker:Schneider Electric |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Distribution Board |  |  | M.V.BOARD NO.3 ACB S/W 17B |  |  |  | 2/DL/Plant Room 2/Ground Floor/General Area
Low Voltage Circuit Breaker |  | Good | M.V BOARD 1 - ACB S/W 1 | Maker: English Electric. Type: 800/5 CT's WITH 3PH O/C & E/F Serial No: EGY7147 0001 A2 Feeding: PD682 SRS Ring Basement. |  | EGY7147 0001 A2 | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Distribution Board |  |  | M.V BOARD 1 - ACB S/W 1 |  |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Low Voltage Circuit Breaker |  | Good | M.V BOARD 1 - ACB S/W 2 | Maker: English Electric. Type: 800/5 CT's WITH 3PH O/C & E/F Serial No: EGY7147 0001 A1 |  | EGY7147 0001 A1 | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Distribution Board |  |  | M.V BOARD 1 - ACB S/W 2 |  |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Low Voltage Circuit Breaker |  | Good | M.V BOARD 1 - ACB S/W 3 | Maker: English Electric M23 Type: 1200/5A CT's WITH 3PH O/C & E/F Feeding: PD1 SRS Storage Ring |  | EGT72731A | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Distribution Board |  |  | M.V BOARD 1 - ACB S/W 3 |  |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Low Voltage Circuit Breaker |  | Good | M.V BOARD 1 - ACB S/W 4 | Maker: English Electric. Type: 1200/5A CT's WITH 3PH O/C & E/F Feeding: PD2 SRS Booster |  | EGT72731AA | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Distribution Board |  |  | M.V BOARD 1 - ACB S/W 4 |  |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Low Voltage Circuit Breaker |  | Good | M.V BOARD 1 - ACB S/W 5 INCOMER FROM T4 | Maker: English Electric. Type: 1500/5A CT's With Restricted E/F |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Distribution Board |  |  | M.V BOARD 1 - ACB S/W 5 INCOMER FROM T4 |  |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Low Voltage Circuit Breaker |  | Good | M.V BOARD 1 - ACB S/W 6 BUS SECTION | Type: English Electric M23 Panel No: EGT7273/1/D ACB No: EGT7273/1/D BS No: BS3659 Rated Volts: 415V Rated Amps: 1600A Frequency: 50HZ Making Capacity: 110.5KA Peak Breaking Capac |  | EGT7273/1/D | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Distribution Board |  |  | M.V BOARD 1 - ACB S/W 6 BUS SECTION |  |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Low Voltage Circuit Breaker |  | Good | M.V BOARD 1 - ACB S/W 7 INCOMER FROM T5 | Maker: English Electric. Type: 1500/5A CT With Restricted E/F |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Distribution Board |  |  | M.V BOARD 1 - ACB S/W 7 INCOMER FROM T5 |  |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Low Voltage Circuit Breaker |  | Good | M.V BOARD 1 - ACB S/W 8 |  |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Distribution Board |  |  | M.V BOARD 1 - ACB S/W 8 |  |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Low Voltage Circuit Breaker |  | Good | M.V BOARD 1 - ACB S/W 9 | Maker: English Electric. Type: 800/5 CT's WITH 3PH O/C & E/F Feeding: PD3 SRS Outer Hall. More Details:- Serial No.EGY 7147'0001 C1 KV 0.415 800 Amp Making Capacity 110.5 KA Peak Breaking Capacity 43.3 Symmetrical KA 31 Equivalent MVA 53.1 Asymmetrica |  | EGY 7147'0001 C1 | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Distribution Board |  |  | M.V BOARD 1 - ACB S/W 9 |  |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Low Voltage Circuit Breaker |  | Good | M.V BOARD 1 - ACB S/W 10 | Maker: English Electric. Type: 800/5 CT's WITH 3PH O/C & E/F Feeding: PD1 SRS Storage Ring. |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Distribution Board |  |  | M.V BOARD 1 - ACB S/W 10 |  |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Low Voltage Circuit Breaker |  | Good | M.V BOARD 1 - ACB S/W 11 | Maker: English Electric. Type: 800/5 CT's WITH 3PH O/C & E/F Feeding: PD6 in Plant Room No.1 |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Distribution Board |  |  | M.V BOARD 1 - ACB S/W 11 |  |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Low Voltage Circuit Breaker |  | Good | M.V BOARD 1 - ACB S/W 12 | Maker: English Electric. Type: 1200/5 CT's WITH 3PH O/C & E/F Feeding: Standby from Plant Room No.2 More Details:- Serial No.EGT 7273'1'1F KV 0.415 1600 Amp Making Capacity 110.5 KA Peak Breaking Capacity 43.3 Symmetrical KA 31 Equivalent MVA 53.1 Asym |  | EGT 7273'1'1F | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Distribution Board |  |  | M.V BOARD 1 - ACB S/W 12 |  |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Low Voltage Circuit Breaker |  | Good | M.V BOARD 1 - ACB S/W 13 | Maker: English Electric. Type: 1200/5 CT's WITH 3PH O/C & E/F Feeding: PD4 SRS Ring Basement. More Details:- Serial No.EGT 72731FF KV 0.415 1600 Amp Making Capacity 110.5 KA Peak Breaking Capacity 43.3 Symmetrical KA 31 Equivalent MVA 53.1 Asymmetrical |  | EGT 72731FF | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Distribution Board |  |  | M.V BOARD 1 - ACB S/W 13 |  |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Low Voltage Circuit Breaker |  | Good | M.V BOARD 2 - ACB S/W 1 (SPARE) | Maker: English Electric. Type: 1200/5 CT's WITH 3PH O/C & E/F More Details:- Serial No.EGT 7272/2 BS 3659 1600 Amp Making Capacity 1100 KA Breaking Capacity 43.3 KA - 3 Sec. Closing Coil 364v 110v Trip |  | EGT 7272/2 | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Distribution Board |  |  | M.V BOARD 2 - ACB S/W 1 (SPARE) |  |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Low Voltage Circuit Breaker |  | Good | M.V BOARD 2 - ACB S/W 2 | Maker: English Electric. Type: 1200/5 CT's WITH 3PH O/C & E/F Feeding: PD452 Right Hand Side (Computer) |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Distribution Board |  |  | M.V BOARD 2 - ACB S/W 2 |  |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Low Voltage Circuit Breaker |  | Good | M.V BOARD 2 - ACB S/W 3 INCOMER FROM T11 | Type: 1200/5 CT's With Restricted E/F Type: English Electric M23 Panel No: EGT7273/2/B ACB No: EGT7273/2/B BS No: BS3659 Rated Volts: 415V Rated Amps: 1600A Frequency: 50HZ Making |  | EGT7273/2/B | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Distribution Board |  |  | M.V BOARD 2 - ACB S/W 3 INCOMER FROM T11 |  |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Low Voltage Circuit Breaker |  | Good | M.V BOARD 2 - ACB S/W 4 BUS SECTION | Type: English Electric M23 Panel No: EGT7273/2/D ACB No: EGT7273/2/D BS No: BS3659 Rated Volts: 415V Rated Amps: 1600A Frequency: 50HZ Making Capacity: 110.5KA Peak Breaking Capac |  | EGT 7273/2D | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Distribution Board |  |  | M.V BOARD 2 - ACB S/W 4 BUS SECTION |  |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Low Voltage Circuit Breaker |  | Good | M.V BOARD 2 - ACB S/W 5 | Maker: English Electric. Type: 1200/5 CT's WITH 3PH O/C & E/F Feeding: PD366 UHV |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Distribution Board |  |  | M.V BOARD 2 - ACB S/W 5 |  |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Low Voltage Circuit Breaker |  | Good | M.V BOARD 2 - ACB S/W 6 | Maker: English Electric. Type: 1200/5 CT's WITH 3PH O/C & E/F Feeding: PD452 Left Hand Side (Computer) |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Distribution Board |  |  | M.V BOARD 2 - ACB S/W 6 |  |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Low Voltage Circuit Breaker |  | Good | M.V BOARD 2 - ACB S/W 7 INCOMER FROM T10 | Maker: English Electric. Type: 1200Amp With Resrticted E/F |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Distribution Board |  |  | M.V BOARD 2 - ACB S/W 7 INCOMER FROM T10 |  |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - MV Brd 1/ MV Brd2
Low Voltage Circuit Breaker |  | Good | M.V - SERVICES BOARD ACB S/W 9 | Maker: English Electric. Type: 800/5 CT's WITH 3PH O/C & E/F Feeding: LTF25 to Boiler House |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrcial Switch Room - Services Board
Distribution Board |  |  | M.V - SERVICES BOARD ACB S/W 9 |  |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrcial Switch Room - Services Board
Low Voltage Circuit Breaker |  | Good | M.V - SERVICES BOARD ACB S/W 10 | Maker: English Electric. Type: 1600Amp With Restricted E/F |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrcial Switch Room - Services Board
Distribution Board |  |  | M.V - SERVICES BOARD ACB S/W 10 |  |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrcial Switch Room - Services Board
Low Voltage Circuit Breaker |  | Good | M.V - SERVICES BOARD ACB S/W 11 | Type: English Electric M23 Panel No: EGS6794/2/C ACB No: EGV64130001 BS No: BS3659 Rated Volts: 415V Rated Amps: 1600A Frequency: 50HZ Making Capacity: 110.5KA Peak Breaking Capac |  | EGV64130001 | 2/DL/Main Electrical Switch Room/Ground Floor/Electrcial Switch Room - Services Board
Distribution Board |  |  | M.V - SERVICES BOARD ACB S/W 11 |  |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrcial Switch Room - Services Board
Low Voltage Circuit Breaker |  | Good | M.V - SERVICES BOARD ACB S/W 12 | Maker: English Electric. Type: 1600Amp With Restricted E/F |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrcial Switch Room - Services Board
Distribution Board |  |  | M.V - SERVICES BOARD ACB S/W 12 |  |  |  | 2/DL/Main Electrical Switch Room/Ground Floor/Electrcial Switch Room - Services Board
Low Voltage Circuit Breaker |  | Good | M.V "ADMIN A BLOCK" ACB S/W 13 INCOMER | Type: 1600Amp With Restricted E/F Type: English Electric M23 Panel No: EGZ0068/0001/A ACB No: EGZ0068/0001/A BS No: BS3659 Rated Volts: 415V Rated Amps: 1600A Frequency: 50HZ Making |  | EGZ0068/0001/A | 2/DL/A Block (Cockcroft Institute Building)/Basement/Electrical Switch Room 1
Distribution Board |  |  | M.V "ADMIN A BLOCK" ACB S/W 13 INCOMER |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Basement/Electrical Switch Room 1
Low Voltage Circuit Breaker |  | Good | M.V "ADMIN A BLOCK" ACB S/W 14 | Type: English Electric M23 Panel No: EBGZ0068/0001/B ACB No: EBGZ0068/0001/B BS No: BS3659 Rated Volts: 415V Rated Amps: 1600A Frequency: 50HZ Making Capacity: 110.5KA Peak Breaki |  | EBGZ0068/0001/B | 2/DL/A Block (Cockcroft Institute Building)/Basement/Electrical Switch Room 1
Distribution Board |  |  | M.V "ADMIN A BLOCK" ACB S/W 14 |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Basement/Electrical Switch Room 1
Low Voltage Circuit Breaker |  | Good | M.V "ADMIN A BLOCK" ACB S/W 15 | Maker: English Electric M23. Type: 1600Amp With Translay |  |  | 2/DL/A Block (Cockcroft Institute Building)/Basement/Electrical Switch Room 1
Distribution Board |  |  | M.V "ADMIN A BLOCK" ACB S/W 15 |  |  |  | 2/DL/A Block (Cockcroft Institute Building)/Basement/Electrical Switch Room 1
Low Voltage Circuit Breaker |  | Good | M.V "ADMIN B BLOCK" ACB S/W 9 | Maker: English Electric M23. Type: 1200Amp With Translay |  |  | 2/DL/B Block/Ground Floor/Electrical Switch Room 8-Adjacent to B15A
Distribution Board |  |  | M.V "ADMIN B BLOCK" ACB S/W 9 |  |  |  | 2/DL/B Block/Ground Floor/Electrical Switch Room 8-Adjacent to B15A
Low Voltage Circuit Breaker |  | Good | M.V "ADMIN B BLOCK" ACB S/W 10 INCOMER | Maker: English Electric. Type: 1600Amp With Restricted E/F |  | EGS6794/3/B | 2/DL/B Block/Ground Floor/Electrical Switch Room 8-Adjacent to B15A
Distribution Board |  |  | M.V "ADMIN B BLOCK" ACB S/W 10 INCOMER |  |  |  | 2/DL/B Block/Ground Floor/Electrical Switch Room 8-Adjacent to B15A
Low Voltage Circuit Breaker |  | Good | M.V - ACB S/W 20 | Maker: GEC/English Electric. Type: 1200Amp With 3PH O/C & E/F Feeding: Recoil Separator Information on ACB base plate:- BGN 98510001 |  |  | 2/DL/Tower Block/Ground Floor/Electrical Switch Room 18
Distribution Board |  |  | M.V - ACB S/W 20 |  |  |  | 2/DL/Tower Block/Ground Floor/Electrical Switch Room 18
Low Voltage Circuit Breaker |  | Good | M.V - ACB S/W 21 | Maker: GEC/English Electric. Type: 800/5 CT's WITH 3PH O/C & E/F Feeding: PD435 Linac |  |  | 2/DL/Tower Block/Ground Floor/Electrical Switch Room 18
Distribution Board |  |  | M.V - ACB S/W 21 |  |  |  | 2/DL/Tower Block/Ground Floor/Electrical Switch Room 18
Low Voltage Circuit Breaker |  | Good | M.V - ACB S/W 23 BUS SECTION |  |  |  | 2/DL/Tower Block/Ground Floor/Electrical Switch Room 18
Distribution Board |  |  | M.V - ACB S/W 23 BUS SECTION |  |  |  | 2/DL/Tower Block/Ground Floor/Electrical Switch Room 18
Low Voltage Circuit Breaker |  | Good | M.V - ACB S/W 24 INCOMER NO.1 FROM T19 | Maker: GEC/English Electric. Type: 3OOOAmp With Restricted E/F |  |  | 2/DL/Tower Block/Ground Floor/Electrical Switch Room 18
Distribution Board |  |  | M.V - ACB S/W 24 INCOMER NO.1 FROM T19 |  |  |  | 2/DL/Tower Block/Ground Floor/Electrical Switch Room 18
Low Voltage Circuit Breaker |  | Good | M.V - ACB S/W 27 INCOMER NO.1 FROM T24 | Maker: GEC/English Electric. Type: 3000Amp With Restricted E/F |  |  | 2/DL/Tower Block/Ground Floor/Electrical Switch Room 18
Distribution Board |  |  | M.V - ACB S/W 27 INCOMER NO.1 FROM T24 |  |  |  | 2/DL/Tower Block/Ground Floor/Electrical Switch Room 18
Low Voltage Circuit Breaker |  | Good | M.V.PD1 ACB S/W 1 (SPARE) | Maker: English Electric. Type: 800/5 CT's WITH 3PH O/C & E/F |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Electrical Plant Room 14
Distribution Board |  |  | M.V.PD1 ACB S/W 1 (SPARE) |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Electrical Plant Room 14
Low Voltage Circuit Breaker |  | Good | M.V.PD1 ACB S/W 2 | Maker: English Electric. Type: 800/5 CT's WITH 3PH O/C & E/F Feeding: Brentford No.1 |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Electrical Plant Room 14
Distribution Board |  |  | M.V.PD1 ACB S/W 2 |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Electrical Plant Room 14
Low Voltage Circuit Breaker |  | Good | M.V.PD1 ACB S/W 3 |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Electrical Plant Room 14
Distribution Board |  |  | M.V.PD1 ACB S/W 3 |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Electrical Plant Room 14
Low Voltage Circuit Breaker |  | Good | M.V.PD1 ACB S/W 4 | Maker: English Electric. Type: 400/5A CT's WITH 3PH O/C & E/F Feeding: PD2 Main Stores |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Electrical Plant Room 14
Distribution Board |  |  | M.V.PD1 ACB S/W 4 |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Electrical Plant Room 14
Low Voltage Circuit Breaker |  | Good | M.V.PD1 ACB S/W 5 | Maker: English Electric. Type: 400/5 CT's WITH 3PH O/C & E/F Feeding: PD284 Stores Building |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Electrical Plant Room 14
Distribution Board |  |  | M.V.PD1 ACB S/W 5 |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Electrical Plant Room 14
Low Voltage Circuit Breaker |  | Good | M.V.PD1 ACB S/W 6 | English Electric |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Electrical Plant Room 14
Distribution Board |  |  | M.V.PD1 ACB S/W 6 |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Electrical Plant Room 14
Low Voltage Circuit Breaker |  | Good | M.V.PD1 ACB S/W 7 (SPARE) | Maker: English Electric. Type: 800/5A CT's WITH 3PH O/C & E/F |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Electrical Plant Room 14
Distribution Board |  |  | M.V.PD1 ACB S/W 7 (SPARE) |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Electrical Plant Room 14
Low Voltage Circuit Breaker |  | Good | M.V.PD1 ACB S/W 8 | Maker: English Electric. Type: 800/5 CT's WITH 3PH O/C & E/F Feeding: PD1A E Block |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Electrical Plant Room 14
Distribution Board |  |  | M.V.PD1 ACB S/W 8 |  |  |  | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Electrical Plant Room 14
Battery Charging Unit |  |  | Battery Tripping Unit |  | Chloride | 56849 | 2/DL/Tower Block/Ground Floor/Electrical Switch Room 18
Battery Charging Unit |  |  | Battery Tripping Unit | More Details: Cells 55YAP9 (1995) | Chloride | 48106 | 2/DL/S Block (Engineering Technology Centre)/Ground Floor/Electrical Plant Room 14
Battery Charging Unit |  |  | Battery Tripping Unit |  | Chloride | G993 | 2/DL/Plant Room 2/Ground Floor/Plant Room
Battery Charging Unit |  |  | Battery Tripping Unit | More Details: Cells 55 YAP17 (1987) | PB Designs Type PCS17-110-012-150 | 15763\5560 | 2/DL/Main Electrical Switch Room/Ground Floor/Electrical Switch Room - 11kV
Battery Charging Unit |  |  | Battery Tripping Unit | DC110V 8AH | Chargetec (Richard Wilson (Dencol) Ltd C400V | C400-248-09 | 2/DL/A Block (Cockcroft Institute Building)/Basement/Electrical Switch Room 1
Battery Charging Unit |  |  | Battery Tripping Unit | DC110V 8AH | Chargetec (Richard Wilson (Dencol) Ltd C400V |  | 2/DL/B Block/Ground Floor/Electrical Switch Room 8-Adjacent to B15A
Battery Charging Unit |  |  | Battery Tripping Unit | DC24V |  |  | 2/DL/C Block/External/Electrical Switch Room (HPC)