## NCC - Reception
xXx | ITT App.5 Doc 3: - Asset List
| ITT Assets: | Air Conditioning
| Site: | Nuns Corner Campus, Grimsby
Service Cost (£)
PPM ID Ref | FUNCTION | Location |  |  | Equipment ID | TYPE/ACCESS | Make | Model | Serial No. | Yr 1 - 2020 - 21 | Yr 2 - 2021 - 22
R1 | EVAPORATOR | Transport help desk | x | x |  | Wall Mounted | FUJITSU | ASY24LBA-W | T001194
R2 | CONDENSER | Transport help desk |  |  |  |  | FUJITSU | AOY24LMAL | T001710
R3 | EVAPORATOR | Learning services / meeting room |  |  |  | Wall Mounted | FUJITSU | ASYG14LECA | E003321
R4 | CONDENSER | Learning services / meeting room |  |  |  |  | FUJITSU | AOYG14LECA | 003503
R5 | EVAPORATOR | Learner Services |  |  |  | Wall Mounted | SAMSUNG | AQV18PSBN | Y3Y5PAEC200164P
R6 | CONDENSER | Learner Services / QUAD AREA |  |  |  |  | SAMSUNG | AQV18PSBX | Y3Y4PAJC200199K
R7 | EVAPORATOR | Learner Services |  |  |  | Wall Mounted | SAMSUNG | AQV18PSBN | Y3Y5PAEC200147M
R8 | CONDENSER | Learner Services / QUAD AREA |  |  |  |  | SAMSUNG | AQV18PSBX | Y3Y4PAJC200156F
R9 | EVAPORATOR | COMMUNICATIONS M2 |  |  |  | Wall Mounted | AIRWELL | STXLM12RC | 2220622278
R10 | EVAPORATOR | COMMUNICATIONS M3 |  |  |  | Wall Mounted | AIRWELL | STXLM12RC | 2220600073
R11 | EVAPORATOR | COMMUNICATIONS M4 |  |  |  | Wall Mounted | AIRWELL | STXLM12RC | 2220600077
R12 | EVAPORATOR | COMMUNICATIONS M9 |  |  |  |  | MITSUBISHI | MS18NV | 50024221
R13 | CONDENSER | COMMUNICATIONS ROOF |  |  |  |  | MITSUBISHI | MU18NV | UNREADABLE
R14 | EVAPORATOR | COMMUNICATIONS M10 |  |  |  | Wall Mounted | AIRWELL | STXLM12RC | 2220600072
R15 | EVAPORATOR | COMMUNICATIONS M12 |  |  |  | Wall Mounted | AIRWELL | STXLM12RC | 2220622279
R16 | EVAPORATOR | COMMUNICATIONS M13 |  |  |  | Wall Mounted
R17 | CONDENSER | ROOF FROM QUAD STAIRS |  |  |  |  | AIRWELL
R18 | EVAPORATOR | COMMUNICATIONS M11 |  |  |  | Wall Mounted | AIRWELL | STXLM12RC | 2220622281
R19 | EVAPORATOR | COMMUNICATIONS M11 |  |  |  |  | AIRWELL | STXLM12RC | 2220520955
R20 | CONDENSER | ROOF FROM QUAD STAIRS |  |  |  |  | AIRWELL | DUO 1212 | 2412990036
R21 | EVAPORATOR | COLLEGE SHOP - Near Office |  |  |  | Ceiling Cassette - >2m | LG | LT-E2460FJ | 211KA000050
R22 | CONDENSER | COLLEGE SHOP - CORRIDOR ROOF |  |  |  |  | LG | LT-E2460FJ | 211KA00131
R23 | EVAPORATOR | COLLEGE SHOP - Costa Coffee |  |  |  | Ceiling Cassette - >2m | LG | LT-E2460FJ | 211KA00147
R24 | CONDENSER | COLLEGE SHOP - CORRIDOR ROOF |  |  |  |  | LG | LT-E2460FJ | 301KA00023
R25 | EVAPORATOR | COLLEGE SHOP - Near Counter |  |  |  | Ceiling Cassette - >2m | LG | LT-E2460FJ | 301KA00023
R26 | CONDENSER | COLLEGE SHOP - CORRIDOR ROOF |  |  |  |  | LG | LT-E2460FJ | 211KA00173
R27 | EVAPORATOR | Hall Extension - HA07 |  |  |  | Ceiling Cassette - >2m
R28 | EVAPORATOR | Hall Extension - HA08 |  |  |  | Ceiling Cassette - >2m
R29 | EVAPORATOR | Hall Extension - HA09 |  |  |  | Ceiling Cassette - >2m
R30 | CONDENSER | TBC

## NCC - A Block
xXx | ITT App.5 Doc 3: - Asset List
| ITT Assets: | Air Conditioning
| Site: | Nuns Corner Campus, Grimsby DN34 5BQ - A Block
Service Cost (£)
PPM ID Ref | FUNCTION | Location |  |  | Equipment ID | TYPE/ACCESS | Make | Model | Serial No. | Yr 1 - 2020 - 21 | Yr 2 - 2021 - 22
A1 | EVAPORATOR | HOSPITALITY - OPEN ACCESS | x | x |  | Ceiling Cassette | LG | LT-E2460FJ | 211KA00139
A2 | CONDENSER | HOSPITALITY - CORRIDOR ROOF |  |  |  |  | LG | LT-E2460FJ | 301KA00033
A3 | EVAPORATOR | 1A07 THERAPIES |  |  |  | Ceiling Cassette | AIRWELL | KXL30 | 2242440151
A4 | CONDENSER | ROOF OUTSIDE 1A05 |  |  |  |  | AIRWELL | GCN30RCT | 2642280453
A5 | EVAPORATOR | 1A07 THERAPIES |  |  |  | Ceiling Cassette | AIRWELL | KXL30 | 2242440150
A6 | CONDENSER | ROOF OUTSIDE 1A05 |  |  |  |  | AIRWELL | GCN30RCT | 2642280454
A7 | EVAPORATOR | THERAPIES 1A05 |  |  |  | Ceiling Cassette | AIRWELL | KXL30 | 2242440148
A8 | CONDENSER | ROOF OUTSIDE 1A05 |  |  |  |  | AIRWELL | GCN30RCT | 2641282622
A9 | EVAPORATOR | THERAPIES 1A05 |  |  |  | Ceiling Cassette | AIRWELL | KXL30 | 2242440147
A10 | CONDENSER | ROOF OUTSIDE 1A05 |  |  |  |  | AIRWELL | GCN30RCT | 2640391072
A11 | EVAPORATOR | 1A33 HAIR SALON |  |  |  | Ceiling Cassette | AIRWELL | KXL45 | 2242443712
A12 | CONDENSER | 1A33 HAIR SALON SUB ROOF |  |  |  |  | AIRWELL | GCN43RCT | 7SP061399
A13 | EVAPORATOR | 1A28 |  |  |  | Ceiling Cassette | FUJITSU | AUY36RLC3 | T003764
A14 | CONDENSER | BLUE CAR PARK |  |  |  |  | FUJITSU | AOY36RCD3L | T002804
A15 | EVAPORATOR | 1A10 |  |  |  | Ceiling Cassette | MITSUBISHI | PLH3GKHV | 31000084
A16 | EVAPORATOR | 1A10 |  |  |  | Ceiling Cassette | MITSUBISHI | PLH3GKHV | 31000105
A17 | CONDENSER | 1A11 |  |  |  |  | MITSUBISHI | PUH6YK23 | UNREADABLE
A18 | EVAPORATOR | 1A01 |  |  |  | Wall Mounted | TOSHIBA | RES18UKP-ES | 32100002
A19 | CONDENSER | GALLERY CORRIDOR ROOF |  |  |  |  | TOSHIBA | RAS18UAES | 23100032
A20 | EVAPORATOR | 1A01 |  |  |  | Wall Mounted | TOSHIBA | RES18UKP-ES | 32100261
A21 | CONDENSER | GALLERY CORRIDOR ROOF |  |  |  |  | TOSHIBA | RAS18UAES | 23100043
A22 | EVAPORATOR | 2A12 |  |  |  | Ceiling Cassette | MITSUBISHI | PLH5GKHV | 50200470
A23 | CONDENSER | ROOF OUTSIDE 1A05 |  |  |  |  | MITSUBISHI | PUH-5YK2-UK | UNREADABLE
A24 | EVAPORATOR | 2A13 |  |  |  | Ceiling Cassette | MITSUBISHI | PLH4GJSB | 50200088
A25 | CONDENSER | ROOF OUTSIDE 1A05 |  |  |  |  | MITSUBISHI | PU-4YJSA | 70100451
A26 | EVAPORATOR | GALLERY |  |  |  | Ceiling Cassette | M.H.I | FDT100VF
A27 | CONDENSER | GALLERY / ROOFTOP |  |  |  |  | M.H.I | FDC100VN
A28 | EVAPORATOR | GALLERY |  |  |  | Ceiling Cassette | M.H.I | FDT100VF
A29 | CONDENSER | GALLERY / ROOFTOP |  |  |  |  | M.H.I | FDC100VN
A30 | EVAPORATOR | 2A02 ONLINE EXAM ROOM |  |  |  | Wall Mounted | SAMSUNG | AQV18PSBN
A31 | CONDENSER | 2A02 / STAFF CAR PARK ROOF |  |  |  |  | SAMSUNG | AQV18PSBX | Y3Y5PABC200392X
A32 | EVAPORATOR | 2A02 ONLINE EXAM OROM |  |  |  | Wall Mounted | SAMSUNG | AQV18PSBN
A33 | CONDENSER | 2A02 / STAFF CAR PARK ROOF |  |  |  |  | SAMSUNG | AQV18PSBX | Y3Y5PABC200403J
A34 | WALK IN FREEZER | GALLERY KITCHEN |  |  |  |  | SEARLE | TG7-5 | 119030
A35 | CONDENSER PLANT | BLUE CAR PARK |  |  |  |  | PRESTCOLD | MAKP15XA338 | 6752116
A36 | WALK IN FRIDGE | GALLERY KITCHEN |  |  |  |  | FRIGABOHN | MRE210 | ERO778
A37 | CONDENSER PLANT | BLUE CAR PARK
A38 | WALK IN FREEZER | GALLERY FOOD STORES |  |  |  |  | SEARLE | TG5-5 | 111087
A39 | CONDENSER PLANT | BLUE CAR PARK |  |  |  |  | L'UNITE HERMET | CAJ2446Z
A40 | WALK IN FRIDGE | GALLERY FOOD STORES |  |  |  |  | SEARLE
A41 | CONDENSER PLANT | BLUE CAR PARK |  |  |  |  | ASPERA | UJ6220Z

## NCC - B Block
xXx
ITT Assets:
| Site: | Nuns Corner Campus, Grimsby DN34 5BQ - B Block
Service Cost (£)
PPM ID Ref | FUNCTION | Location |  |  | Equipment ID | TYPE/ACCESS | Make | Model | Serial No. | Yr 1 - 2020 - 21 | Yr 2 - 2021 - 22
B1 | EVAPORATOR | OB56 exam room |  |  |  | Wall Mounted | FUJITSU | ASY24LBA-W | T001185
B2 | CONDENSER | OB56 exam room |  |  |  |  | FUJITSU | AOY24LMAL | T001707
B3 | EVAPORATOR | OB56 exam room |  |  |  | Wall Mounted | FUJITSU | ASY24LMAL | T001197
B4 | CONDENSER | OB56 exam room |  |  |  |  | FUJITSU | AOY24LMAL | T001709
B5 | EVAPORATOR | 1B54 BAY 3A |  |  |  | Ceiling Cassette | FUJITSU | ARY90ELC3 | T000010
B6 | CONDENSER | BLUE CAR PARK |  |  |  |  | FUJITSU | AOY90EPD3L | T000562
B7 | EVAPORATOR | 1B54 BAY 2A |  |  |  | Ceiling Cassette | FUJITSU | ARY90ELC3 | T000009
B8 | CONDENSER | BLUE CAR PARK |  |  |  |  | FUJITSU | AOY90EPD3L | T000573
B9 | EVAPORATOR | 1B56 |  |  |  | Wall Mounted | FUJITSU | AWYZ24LBC | E005371
B10 | CONDENSER | 1B56 / REFECTORY CAR PARK |  |  |  |  | FUJITSU | AOYZ24LBT | T005487
B11 | CONDENSER | 1B59 computer room |  |  |  |  | FUJITSU | AOY24LMAL | T001711
B12 | EVAPORATOR | 1B60 |  |  |  | Wall Mounted | FUJITSU | AWYZ24LBC | E005374
B13 | CONDENSER | 1B 60 / REFECTORY CAR PARK |  |  |  |  | FUJITSU | AOYZ24LBT | T005479
B14 | EVAPORATOR | 1B57 |  |  |  | Wall Mounted | FUJITSU | AWYZ24LBC | E005384
B15 | CONDENSER | 1B57 / REFECTORY CAR PARK |  |  |  |  | FUJITSU | AOYZ24LBT | T005486
B16 | EVAPORATOR | 1B58 COMPUTER SERVER ROOM |  |  |  | Wall Mounted | FUJITSU | ASYG18LFCA | E019216
B17 | CONDENSER | 1B58 / REFECTORY CAR PARK |  |  |  |  | FUJITSU | AOYG18LFC | E016332
B18 | EVAPORATOR | 1B38 COMPUTER ROOM |  |  |  | Wall Mounted | MITSUBISHI | PKAP4FAL | 27G00955
B19 | CONDENSER | BLUE CAR PARK |  |  |  |  | MITSUBISHI | PUHP4YGAA | 2J001770
B20 | EVAPORATOR | 1B38 COMPUTER ROOM |  |  |  | Wall Mounted | MITSUBISHI | PKAP4FAL | 3XG00019
B21 | CONDENSER | BLUE CAR PARK |  |  |  |  | MITSUBISHI | PUHP4YGAA | 2J001771
B22 | EVAPORATOR | 1B39 COMPUTER ROOM |  |  |  | Wall Mounted | FUJITSU | ASY24 | OBSCURED
B23 | CONDENSER | BLUE CAR PARK |  |  |  |  | FUJITSU | AOY24 | T000303
B24 | EVAPORATOR | 1B39 COMPUTER ROOM |  |  |  | Wall Mounted | FUJITSU | ASY24 | OBSCURED
B25 | CONDENSER | BLUE CAR PARK |  |  |  |  | FUJITSU | AOY24 | T000279
B26 | EVAPORATOR | 1B41 |  |  |  | Ceiling Cassette | IMI | IMAGE120E | 5389831008527
B27 | CONDENSER | BLUE CAR PARK |  |  |  |  | IMI | MHPUE100 | 551934300897
B28 | EVAPORATOR | 1B58 SERVER ROOM |  |  |  | Wall Mounted | FUJITSU | AUY54LUAS | 2002704
B29 | CONDENSER | HUB CAR PARK |  |  |  |  | FUJITSU
B30 | EVAPORATOR | 1B58 SERVER ROOM |  |  |  | Wall Mounted | FUJITSU | ASY30 | OBSCURED
B31 | Condenser | 2B Corridor |  |  |  | Outdoor - Roof | MITSUBISHI
B1 | Evaporator | 2B50 - Main IS Office | x | x |  | Ceiling Cassette Unit 1 | MITSUBISHI
B2 | Evaporator | 2B50 - IS Manager |  |  |  | Ceiling Cassette Unit 2 | MITSUBISHI
B3 | Evaporator | 2B51 |  |  |  | Ceiling Cassette Unit 3 | MITSUBISHI
B4 | Evaporator | 2B52 |  |  |  | Ceiling Cassette Unit 4 | MITSUBISHI
B5 | Evaporator | 2B53 |  |  |  | Ceiling Cassette Unit 5 | MITSUBISHI
B6 | Evaporator | 2B54 |  |  |  | Ceiling Cassette Unit 6 | MITSUBISHI
B7 | Evaporator | 2B55 |  |  |  | Ceiling Cassette Unit 7 | MITSUBISHI
B8 | Evaporator | 2B56 |  |  |  | Ceiling Cassette Unit 8 | MITSUBISHI
B9 | Evaporator | 2B56 |  |  |  | Ceiling Cassette Unit 9 | MITSUBISHI
B10 | Evaporator | 2B57 |  |  |  | Ceiling Cassette Unit 10 | MITSUBISHI
B11 | Evaporator | 2B58 |  |  |  | Ceiling Cassette Unit 11 | MITSUBISHI
B12 | Evaporator | 2B58 |  |  |  | Ceiling Cassette Unit 12 | MITSUBISHI
B13 | Evaporator | 2B58 |  |  |  | Ceiling Cassette Unit 13 | MITSUBISHI
B14 | EVAPORATOR | out side 0B74 at high level |  |  |  | Ceiling Cassette | MITSUBISHI
B15 | CONDENSER | 0B74 |  |  |  | Wall Mounted | MITSUBISHI
B16 | EVAPORATOR | GF outside 1B40 |  |  |  | Ceiling Cassette - >2m | MITSUBISHI
B17 | CONDENSER | 1B40 |  |  |  | Caged | MITSUBISHI | RSA011H036B

## NCC - C Block
xXx | ITT App.5 Doc 3: - Asset List
ITT Assets:
| Site: | Nuns Corner Campus, Grimsby DN34 5BQ - C Block
Service Cost (£)
PPM ID Ref | FUNCTION | Location |  |  | Equipment ID | TYPE/ACCESS | Make | Model | Serial No. | Yr 1 - 2020 - 21 | Yr 2 - 2021 - 22
C1 | CONDENSER |  | x | x |  | C Block Roof - 2nd, 3rd Floor |  |  | A034000082F
C2 | CONDENSER |  |  |  |  | C Block Roof - 3C26
C3 | EVAPORATOR |  |  |  |  | 3C26 |  |  | E038110
C4 | EVAPORATOR | 3C01 |  |  |  |  | TOSHIBA | RAV264KPE | 14680064
C5 | CONDENSER | 2A CORRIDOR ROOF |  |  |  |  | TOSHIBA | RAV264A-PE | 14280021
C6 | EVAPORATOR | HE02 LECTURE THEATRE |  |  |  |  | TOSHIBA | RAV264KPE | 4780036
C7 | CONDENSER | 2A CORRIDOR ROOF |  |  |  |  | TOSHIBA | RAV264A-PE | 4680045
C8 | EVAPORATOR | 3C26 |  |  |  |  | FUJITSU |  | E038110
C9 | CONDENSER | HE CORRIDOR ROOF |  |  |  |  | FUJITSU | AOYS24LDC | E001899

## NCC - Arts Centre
xXx | ITT App.5 Doc 3: - Asset List
ITT Assets:
| Site: | Nuns Corner Campus, Grimsby DN34 5BQ - Arts Centre
Service Cost (£)
PPM ID Ref | FUNCTION | Location |  |  | Equipment ID | TYPE/ACCESS | Make | Model | Serial No. | Yr 1 - 2020 - 21 | Yr 2 - 2021 - 22
Arts 1 | CONDENSER | Arts Roof - Arts Ground Floor | Roof | x |  | Outdoor Unit | MITSUBISHI |  | A09500025
Arts 2 | CONDENSER | Arts Roof - 1st, 2nd, 3rd | Roof |  |  | Outdoor Unit | MITSUBISHI |  | A03400025XF
Arts 3 | CONDENSER | Arts Roof - 1st, 2nd, 3rd | Roof |  |  | Outdoor Unit | MITSUBISHI |  | A03400011XF
Arts 4 | EVAPORATOR | 3rd Floor Lobby | Landing |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 5 | EVAPORATOR | 3rd Floor Lobby | Landing |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 6 | EVAPORATOR | 3rd Floor Lobby | Landing |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 7 | EVAPORATOR | 3rd Floor Lobby | Landing |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 8 | EVAPORATOR | 3rd Floor | 3C09A |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 9 | EVAPORATOR | 3rd Floor | 3C10A |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 10 | EVAPORATOR | 3rd Floor | 3C12A |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 11 | EVAPORATOR | 3rd Floor | 3C20A |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 12 | EVAPORATOR | 3rd Floor | 3C24 |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 13 | EVAPORATOR | 3rd Floor | 3C25 |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 14 | EVAPORATOR | 2nd Floor Lobby | Landing |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 15 | EVAPORATOR | 2nd Floor Lobby | Landing |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 16 | EVAPORATOR | 2nd Floor - Dance Studio | 2C75 |  |  | Ceiling Cassett - Access for Works > 3m | MITSUBISHI
Arts 17 | EVAPORATOR | 2nd Floor | 2C81 |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 18 | EVAPORATOR | 2nd Floor | 2C82 |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 19 | EVAPORATOR | 2nd Floor | 2C83 |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 20 | EVAPORATOR | 2nd Floor | 2C84 |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 21 | EVAPORATOR | 1st Floor Lobby | Landing |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 22 | EVAPORATOR | 1st Floor Lobby | Landing |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 23 | EVAPORATOR | 1st Floor Lobby | Landing |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 24 | EVAPORATOR | 1st Floor Lobby | Landing |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 25 | EVAPORATOR | 1st Floor Lobby | 1C06 |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 26 | EVAPORATOR | Ground floor | Reception |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 27 | EVAPORATOR | Ground Floor | Café |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 28 | EVAPORATOR | Ground Floor Lobby | Landing |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 29 | EVAPORATOR | Ground Floor | 0C01 |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 30 | EVAPORATOR | Ground Floor | 0C02 |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 31 | EVAPORATOR | Ground Floor | 0C04 |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 32 | EVAPORATOR | Ground Floor | 0C05 |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 33 | EVAPORATOR | Ground Floor | 0C05A |  |  | Wall Mounted Unit | MITSUBISHI
Arts 34 | EVAPORATOR | Ground Floor | 0C05B |  |  | Wall Mounted Unit | MITSUBISHI
Arts 35 | EVAPORATOR | Ground Floor | 0C07 |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 36 | EVAPORATOR | Ground Floor | 0C15 |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI
Arts 37 | EVAPORATOR | Ground Floor | 0C16 |  |  | Ceiling Cassett - Access for Works > 2m | MITSUBISHI

## NCC - D Block
xXx | ITT App.5 Doc 3: - Asset List
| ITT Assets: | Air Conditioning
| Site: | Nuns Corner Campus - D Block
Service Cost (£)
PPM ID Ref | FUNCTION | Location |  |  | Equipment ID | TYPE/ACCESS | Make | Model | Serial No. | Yr 1 - 2020 - 21 | Yr 2 - 2021 - 22
D1 | EVAPORATOR | D-BLOCK LIBRARY - 1D04 | x | x |  | Ceiling Cassett - >2m | M.H.I | FDTC22KXE6F | A024007480K
D2 | EVAPORATOR | D-BLOCK LIBRARY - RH 1 |  |  |  | Ceiling Cassett - >2m | M.H.I | FDT140KXE6F
D3 | EVAPORATOR | D-BLOCK LIBRARY - RH 2 |  |  |  | Ceiling Cassett - >2m | M.H.I | FDT140KXE6F
D4 | EVAPORATOR | D-BLOCK LIBRARY - RH 3 |  |  |  | Ceiling Cassett - >2m | M.H.I | FDT140KXE6F
D5 | EVAPORATOR | D-BLOCK LIBRARY - RH 4 |  |  |  | Ceiling Cassett - >2m | M.H.I | FDT56KXE6F
D6 | EVAPORATOR | D-BLOCK LIBARY / 1D05 |  |  |  | Wall Mounted | M.H.I | FDK22KXE6F
D7 | CONDENSER | D-BLOCK /REFECTORY CAR PARK |  |  |  | OUTDOOR UNIT | M.H.I | FDC615KXE6 | U61300452
D8 | EVAPORATOR | D-BLOCK LIBARY / 1D01 |  |  |  | Wall Mounted | M.H.I | FDK56KXE6F
D9 | EVAPORATOR | D-BLOCK LIBARY / 1D01 |  |  |  | Wall Mounted | M.H.I | FDK56KXE6F
D10 | EVAPORATOR | D-BLOCK LIBARY / 1D03 |  |  |  | Wall Mounted | M.H.I | FDK22KXE6F
D11 | EVAPORATOR | D-BLOCK LIBARY / Back Rm 1D03 |  |  |  | Wall Mounted | M.H.I | FDK22KXE6F
D12 | EVAPORATOR | D-BLOCK LIBRARY - LH 1 |  |  |  | Ceiling Cassett - >2m | M.H.I | FDT112KXE6F
D13 | EVAPORATOR | D-BLOCK LIBRARY - LH 2 |  |  |  | Ceiling Cassett - >2m | M.H.I | FDT140KXE6F
D14 | EVAPORATOR | D-BLOCK LIBRARY - LH 3 |  |  |  | Ceiling Cassett - >2m | M.H.I | FDT140KXE6F
D15 | EVAPORATOR | D-BLOCK LIBRARY - LH 4 |  |  |  | Ceiling Cassett - >2m | M.H.I | FDT140KXE6F
D16 | CONDENSER | D-BLOCK /REFECTORY CAR PARK |  |  |  | OUTDOOR UNIT | M.H.I | FDC680KXE6 | U68300952
D17 | EVAPORATOR | D-BLOCK - 2D10 |  |  |  | Wall Mounted | M.H.I | FDT71KXE6F
D18 | EVAPORATOR | D-BLOCK - 2D10 |  |  |  | Wall Mounted | M.H.I | FDK22KXE6F

## NCC - M Block
xXx | ITT App.5 Doc 3: - Asset List
ITT Assets:
| Site: | Nuns Corner Campus, DN34 5BQ - M Block
Service Cost (£)
PPM ID Ref | FUNCTION | Location |  |  | Equipment ID | TYPE/ACCESS | Make | Model | Serial No. | Yr 1 - 2020 - 21 | Yr 2 - 2021 - 22
M1 | EVAPORATOR | 1M 14 - server room | x | x |  |  | FUJITSU | ASY24LBA-W | T001196
M2 | CONDENSER | 1M 14 - server room |  |  |  |  | FUJITSU | AOY24LMAL | T001708
M3 | EVAPORATOR | 1 M14 |  |  |  |  | FUJITSU | ASY24LBA-W | T001198
M4 | CONDENSER | 1 M14 |  |  |  |  | FUJITSU | AOY24LMAL | T001712
| Additional Assets | 2nd Floor | [8 empty] | Installed Sept 2020

## NCC - W Block
xXx | ITT App.5 Doc 3: - Asset List
| ITT Assets: | Air Conditioning
| Site: | Nuns Corner Campus, DN34 5BQ - W Block
Service Cost (£)
PPM ID Ref | FUNCTION | Location |  |  | Equipment ID | TYPE/ACCESS | Make | Model | Serial No. | Yr 1 - 2020 - 21 | Yr 2 - 2021 - 22
W1 | Condenser | Fab and Weld Compound | x | x
W2 | Evaporator | 1W02 |  |  |  | Ceiling Cassette 1
W3 | [5 empty] | Ceiling Cassette 2

## NCC - UCG Roof
xXx | ITT App.5 Doc 3: - Asset List
ITT Assets:
| Site: | Nuns Corner Campus - UCG
Service Cost (£)
PPM ID Ref | FUNCTION | Location |  | Equipment ID | TYPE/ACCESS | MAKE | MODEL | SERIAL | Yr 1 - 2020 - 21 | Yr 2 - 2021 - 22
UCG 1 | CONDENSER | CU 1 /Ground Floor | North Plant |  | Roof Top | Mitsubishi | PURY-EP300 | 02W00114
UCG 2 | CONDENSER | CU 1 - A / Ground Floor | North Plant |  | Roof Top | Mitsubishi | PURY-EP300 | 02W00115
UCG 3 | CONDENSER | CU 3 / 1ST FLOOR | North Plant |  | Roof Top | Mitsubishi | PURY-EP300 | 02W00117
UCG 4 | CONDENSER | CU 3 - A / 1ST FLOOR | North Plant |  | Roof Top | Mitsubishi | PURY-EP300 | 02W00118
UCG 5 | CONDENSER | CU 4 / 2ND FLOOR | North Plant |  | Roof Top | Mitsubishi | PURY-EP300 | 02W00103
UCG 6 | CONDENSER | CU 4 - A / 2ND FLOOR | North Plant |  | Roof Top | Mitsubishi | PURY-EP300 | 02W00093
UCG 7 | CONDENSER | CU 7 / 3RD FLOOR | North Plant |  | Roof Top | Mitsubishi | PURY-EP300 | 02W00022
UCG 8 | CONDENSER | CU 7 - A / 3RD FLOOR | North Plant |  | Roof Top | Mitsubishi | PURY-EP300 | 02W00026
UCG 9 | CONDENSER | CU 8 - 4th Floor | North Plant |  | Roof Top | Mitsubishi | PURY-EP200 | 02W00107
UCG 10 | CONDENSER | CU 8 - A 4th Floor | North Plant |  | Roof Top | Mitsubishi | PURY-EP200 | 02W00292
UCG 11 | CONDENSER | CU 9 / GF COMMS ROOM | North Plant |  | Roof Top | Mitsubishi | PUHZ-RP35V | 02U07305
UCG 12 | CONDENSER | CU 10 / GF COMMS ROOM | North Plant |  | Roof Top | Mitsubishi | PUHZ-RP35V | 02U07308
UCG 13 | CONDENSER | CU 16 - DECOMMISSIONED | North Plant |  | Roof Top | Mitsubishi | PUHY-P300Y | 01W00144
UCG 14 | CONDENSER | CU 2 / First Floor | West Plant |  | Roof Top | Mitsubishi
UCG 15 | CONDENSER | CU2 - A / First Floor | West Plant |  | Roof Top | Mitsubishi
UCG 16 | CONDENSER | CU 2A / First Floor | West Plant |  | Roof Top | Mitsubishi
UCG 17 | CONDENSER | CU2A - A / First Floor | West Plant |  | Roof Top | Mitsubishi
UCG 18 | CONDENSER | WEST PLANT - CU 5 / 2ND FLOOR | West Plant |  | Roof Top | Mitsubishi | PURY-EP300 | 02W00097
UCG 19 | CONDENSER | WEST PLANT - CU 5 - A / 2ND FLOOR | West Plant |  | Roof Top | Mitsubishi | PURY-EP300 | 02W00075
UCG 20 | CONDENSER | WEST PLANT - CU6 / 3RD FLOOR | West Plant |  | Roof Top | Mitsubishi | PURY-EP300 | 02W00095
UCG 21 | CONDENSER | WEST PLANT - CU6 - A / 3RD FLOOR | West Plant |  | Roof Top | Mitsubishi | PURY-EP300 | 02W00016
UCG 22 | CONDENSER | WEST PLANT - CU 11 /3RD FLOOR COMMS | West Plant |  | Roof Top | Mitsubishi | PUHZ-RP50V | 02V08009
UCG 23 | CONDENSER | WEST PLANT - CU 12 /3RD FLOOR COMMS | West Plant |  | Roof Top | Mitsubishi | PUHZ-RP50V | 02V08008
UCG 24 | CONDENSER | WEST PLANT - CU13 / GF CELLAR | West Plant |  | Roof Top | Mitsubishi | CKC20 | 2223570
UCG 25 | CONDENSER | CU 14 | West Plant |  | Roof Top | Mitsubishi | PUHZ-P250H | 02U01395
UCG 26 | CONDENSER | CU 15 | West Plant |  | Roof Top | Mitsubishi | PUHZ-P250H | 02V01391
UCG 27 | EVAPORATOR | AC 14 - AHU 4 / ROOF TOP | West Plant |  | Roof Top | Mitsubishi
UCG 28 | EVAPORATOR | AC15 - AHU 4 /ROOF TOP | West Plant |  | Roof Top | Mitsubishi

## NCC - UCG Ground Floor
xXx | ITT App.5 Doc 3: - Asset List
ITT Assets:
| Site: | Nuns Corner Campus, DN34 5BQ - UCG
Service Cost (£)
PPM ID Ref | FUNCTION | Location |  |  | Equipment ID | TYPE/ACCESS | Make | Model | Serial No. | Yr 1 - 2020 - 21 | Yr 2 - 2021 - 22
UCG 29 | EVAPORATOR | GF - Reception | x | x |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 30 | EVAPORATOR | GF - HE Office |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 31 | EVAPORATOR | GF - HE Managers Office |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 32 | EVAPORATOR | GF/ 0H03 - Vending Machine |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 33 | EVAPORATOR | GF/ 0H04 - Student Union Office |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 34 | EVAPORATOR | GF/ Library - Manager Office |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 35 | EVAPORATOR | GF/ Library - Office |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 36 | EVAPORATOR | GF/ Library - Staff Room |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 37 | EVAPORATOR | GF/ Library - Open Area Entrance |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 38 | EVAPORATOR | GF/ Library - Open Area Centre |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 39 | EVAPORATOR | GF/ Library - Open Area Near Lift |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 40 | EVAPORATOR | GF/ Library - Open Area Near Fire Exit |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 41 | EVAPORATOR | GF/ Library - 0H08D |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 42 | EVAPORATOR | GF/ Library - 0H08C |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 43 | EVAPORATOR | 0H09 - WBL |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 44 | EVAPORATOR | 0H10 - HE Quality |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 45 | EVAPORATOR | 0H10 - HE Quality |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi

## NCC - UCG 1st Floor
xXx | ITT App.5 Doc 3: - Asset List
ITT Assets:
| Site: | Nuns Corner Campus, DN34 5BQ - UCG
Service Cost (£)
PPM ID Ref | FUNCTION | Location |  |  | Equipment ID | TYPE/ACCESS | Make | Model | Serial No. | Yr 1 - 2020 - 21 | Yr 2 - 2021 - 22
UCG 46 | EVAPORATOR | 1H02 | x | x |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 47 | EVAPORATOR | 1H03 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 48 | EVAPORATOR | 1H05 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 49 | EVAPORATOR | 1H06 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 50 | EVAPORATOR | 1H06A |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 51 | EVAPORATOR | 1H07 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 52 | EVAPORATOR | 1H08 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 53 | EVAPORATOR | 1H09 - Unit 1 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 54 | EVAPORATOR | 1H09 - Unit 2 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 55 | EVAPORATOR | 1H09 - Unit 3 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 56 | EVAPORATOR | 1H09 - Corridor |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 57 | EVAPORATOR | 1H11 - Studio |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 58 | EVAPORATOR | 1H11 - Corridor Unit 1 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 59 | EVAPORATOR | 1H11 - Corridor Unit 2 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 60 | EVAPORATOR | 1H12 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 61 | EVAPORATOR | 1H13 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 62 | EVAPORATOR | 1H14 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 63 | EVAPORATOR | 1H15 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 64 | EVAPORATOR | 1H16 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 65 | EVAPORATOR | 1H17A |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 66 | EVAPORATOR | 1H18 - 1st Floor Library Unit 1 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 67 | EVAPORATOR | 1H18 - 1st Floor Library Unit 2 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 68 | EVAPORATOR | 1H18 - 1st Floor Library Unit 3 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 69 | EVAPORATOR | 1H18 - 1st Floor Library Unit 4 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 70 | EVAPORATOR | 1H18 - 1st Floor Library Unit 5 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 71 | EVAPORATOR | 1H18 - 1st Floor Library Unit 6 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 72 | EVAPORATOR | 1H18 - 1st Floor Library Unit 7 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi

## NCC - UCG 2nd Floor
xXx | ITT App.5 Doc 3: - Asset List
ITT Assets:
| Site: | Nuns Corner Campus, DN34 5BQ - UCG
Service Cost (£)
PPM ID Ref | FUNCTION | Location |  |  | Equipment ID | TYPE/ACCESS | Make | Model | Serial No. | Yr 1 - 2020 - 21 | Yr 2 - 2021 - 22
UCG 73 | EVAPORATOR | 2H01 - Front Office | x | x |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 74 | EVAPORATOR | 2H01 - Back Office |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 75 | EVAPORATOR | 2H02 - Unit 1 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 76 | EVAPORATOR | 2H02 - Unit 2 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 77 | EVAPORATOR | 2H - Open Access |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 78 | EVAPORATOR | 2H03 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 79 | EVAPORATOR | 2H04 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 80 | EVAPORATOR | 2H05 - Unit 1 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 81 | EVAPORATOR | 2H05 - Unit 2 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 82 | EVAPORATOR | 2H06 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 83 | EVAPORATOR | 2H07 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 84 | EVAPORATOR | 2H08 - Unit 1 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 85 | EVAPORATOR | 2H08 - Unit 2 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 86 | EVAPORATOR | 2H09 - Unit 1 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 87 | EVAPORATOR | 2H09 - Unit 2 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 88 | EVAPORATOR | 2H10 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 89 | EVAPORATOR | 2H11 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 90 | EVAPORATOR | 2H12 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 91 | EVAPORATOR | 2H13 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 92 | EVAPORATOR | 2H14 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 93 | EVAPORATOR | 2H15 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 94 | EVAPORATOR | 2H16 - Unit 1 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 95 | EVAPORATOR | 2H16 - Unit 2 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 96 | EVAPORATOR | 2H17 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 97 | EVAPORATOR | 2H18 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 98 | EVAPORATOR | 2H18A |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 99 | EVAPORATOR | 2H18B |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 100 | EVAPORATOR | 2H18C |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi

## NCC - UCG 3rd Floor
xXx | ITT App.5 Doc 3: - Asset List
ITT Assets:
| Site: | Nuns Corner Campus, DN34 5BQ - UCG
Service Cost (£)
PPM ID Ref | FUNCTION | Location |  |  | Equipment ID | TYPE/ACCESS | Make | Model | Seial No. | Yr 1 - 2020 - 21 | Yr 2 - 2021 - 22
UCG 101 | EVAPORATOR | 3H01 | x | x |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 102 | EVAPORATOR | 3H02 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 103 | EVAPORATOR | 3H03 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 104 | EVAPORATOR | 3H04 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 105 | EVAPORATOR | 3H - Open Access |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 106 | EVAPORATOR | 3H05 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 107 | EVAPORATOR | 3H06 - Unit 1 Front Office |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 108 | EVAPORATOR | 3H06 - Unit 2 Rear Office |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 109 | EVAPORATOR | 3H07 - Unit 1 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 110 | EVAPORATOR | 3H07 - Unit 2 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 111 | EVAPORATOR | 3H08 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 112 | EVAPORATOR | 3H09 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 113 | EVAPORATOR | 3H10 - Unit 1 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 114 | EVAPORATOR | 3H10 - Unit 2 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 115 | EVAPORATOR | 3H11 - Unit 1 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 116 | EVAPORATOR | 3H11 - Unit 2 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 117 | EVAPORATOR | 3H12 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 118 | EVAPORATOR | 3H13 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 119 | EVAPORATOR | 3H14 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 120 | EVAPORATOR | 3H15 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 121 | EVAPORATOR | 3H16 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 122 | EVAPORATOR | 3H17 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 123 | EVAPORATOR | 3H18 - Unit 1 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 124 | EVAPORATOR | 3H18 - Unit 2 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 125 | EVAPORATOR | 3H19 - Unit 1 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 126 | EVAPORATOR | 3H19 - Unit 2 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 127 | EVAPORATOR | 3H20 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 128 | EVAPORATOR | 3H - Comms Rm |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 129 | EVAPORATOR | 3H21 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 130 | EVAPORATOR | 3H22 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 131 | EVAPORATOR | 3H23 - Unit 1 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 132 | EVAPORATOR | 3H23 - Unit 2 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi

## NCC - UCG 4th Floor
xXx | ITT App.5 Doc 3: - Asset List
ITT Assets:
| Site: | Nuns Corner Campus, DN34 5BQ - UCG
Service Cost (£)
PPM ID Ref | FUNCTION | Location |  |  | Equipment ID | TYPE/ACCESS | Make | Model | Serial No. | Yr 1 - 2020 - 21 | Yr 2 - 2021 - 22
UCG 133 | EVAPORATOR | 4H01 - Unit 1 | x | x |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 134 | EVAPORATOR | 4H01 - Unit 2 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 135 | EVAPORATOR | 4H02 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 136 | EVAPORATOR | 4H03 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 137 | EVAPORATOR | 4H04 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 138 | EVAPORATOR | 4H05 |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi
UCG 139 | EVAPORATOR | 4H - Open Access |  |  |  | ABOVE CEILING UNIT - appropriate access required. | Mitsubishi

## NCC - Sports Centre
xXx | ITT App.5 Doc 3: - Asset List
| ITT Assets: | Air Conditioning
| Site: | Nuns Corner Campus, DN34 5BQ - Sports Centre
Service Cost (£)
PPM ID Ref | FUNCTION | Location |  |  | Equipment ID | TYPE/ACCESS | Make | Model | Serial No. | Yr 1 - 2020 - 21 | Yr 2 - 2021 - 22
SC1 | CONDENSER | Sports Centre Roof - OU7/S6 |  | x |  | Roof | TOSHIBA
SC2 | CONDENSER | Sports Centre Roof - OU3/S3 |  |  |  | Roof | TOSHIBA
SC3 | CONDENSER | Sports Centre Roof - OU6/S6 |  |  |  | Roof | TOSHIBA
SC4 | CONDENSER | Sports Centre Roof - OU1/S1 |  |  |  | Roof | TOSHIBA
SC5 | CONDENSER | Sports Centre Roof - OU5/S5 |  |  |  | Roof | TOSHIBA
SC6 | CONDENSER | Sports Centre Roof - OU4/S4 |  |  |  | Roof | TOSHIBA
SC7 | CONDENSER | Sports Centre Roof - OU2/S2 |  |  |  | Roof | TOSHIBA
SC8 | EVAPORATOR | Ground Floor /Reception - | Outlet 1 |  |  | Ceiling >2m | TOSHIBA
SC9 | EVAPORATOR |  | Outlet 2 |  |  | Ceiling >2m | TOSHIBA
SC10 | EVAPORATOR | Ground Floor/Reception - Office | Outlet 1 |  |  | Ceiling >2m | TOSHIBA
SC11 | EVAPORATOR |  | Outlet 2 |  |  | Ceiling >2m | TOSHIBA
SC12 | EVAPORATOR |  | Outlet 3 |  |  | Ceiling >2m | TOSHIBA
SC13 | EVAPORATOR | Ground Floor/Sports Hall - Corridor | Outlet 1 |  |  | Ceiling >2m | TOSHIBA
SC14 | EVAPORATOR |  | Outlet 2 |  |  | Ceiling >2m | TOSHIBA
SC15 | EVAPORATOR | First Floor/1S01 - Treatment Room | Outlet 1 |  |  | Ceiling >2m | TOSHIBA
SC16 | EVAPORATOR |  | Outlet 2 |  |  | Ceiling >2m | TOSHIBA
SC17 | EVAPORATOR |  | Outlet 3 |  |  | Ceiling >2m | TOSHIBA
SC18 | EVAPORATOR |  | Outlet 4 |  |  | Ceiling >2m | TOSHIBA
SC19 | EVAPORATOR |  | Outlet 5 |  |  | Ceiling >2m | TOSHIBA
SC20 | EVAPORATOR | First Floor/1S03 - Classroom | Outlet 1 |  |  | Ceiling >2m | TOSHIBA
SC21 | EVAPORATOR |  | Outlet 2 |  |  | Ceiling >2m | TOSHIBA
SC22 | EVAPORATOR |  | Outlet 3 |  |  | Ceiling >2m | TOSHIBA
SC23 | EVAPORATOR |  | Outlet 4 |  |  | Ceiling >2m | TOSHIBA
SC24 | EVAPORATOR | First Floor/1S03 - Classroom - Corridor | Outlet 1 |  |  | Ceiling >2m | TOSHIBA
SC25 | EVAPORATOR | First Floor/1S03 - IT Area - Corridor | Outlet 1 |  |  | Ceiling >2m | TOSHIBA
SC26 | EVAPORATOR | First Floor/1S04 - Fitness Suite | Outlet 1 |  |  | Ceiling >2m | TOSHIBA
SC27 | EVAPORATOR |  | Outlet 2 |  |  | Ceiling >2m | TOSHIBA
SC28 | EVAPORATOR |  | Outlet 3 |  |  | Ceiling >2m | TOSHIBA
SC29 | EVAPORATOR |  | Outlet 4 |  |  | Ceiling >2m | TOSHIBA
SC30 | EVAPORATOR |  | Outlet 5 |  |  | Ceiling >2m | TOSHIBA
SC31 | EVAPORATOR |  | Outlet 6 |  |  | Ceiling >2m | TOSHIBA
SC32 | EVAPORATOR |  | Outlet 7 |  |  | Ceiling >2m | TOSHIBA
SC33 | EVAPORATOR |  | Outlet 8 |  |  | Ceiling >2m | TOSHIBA
SC34 | EVAPORATOR |  | Outlet 9 |  |  | Ceiling >2m | TOSHIBA
SC35 | EVAPORATOR |  | Outlet 10 |  |  | Ceiling >2m | TOSHIBA
SC36 | EVAPORATOR |  | Outlet 11 |  |  | Ceiling >2m | TOSHIBA
SC37 | EVAPORATOR |  | Outlet 12 |  |  | Ceiling >2m | TOSHIBA
SC38 | EVAPORATOR |  | Outlet 13 |  |  | Ceiling >2m | TOSHIBA
SC39 | EVAPORATOR |  | Outlet 14 |  |  | Ceiling >2m | TOSHIBA
SC40 | EVAPORATOR |  | Outlet 15 |  |  | Ceiling >2m | TOSHIBA
SC41 | EVAPORATOR |  | Outlet 16 |  |  | Ceiling >2m | TOSHIBA
SC42 | EVAPORATOR | First Floor/1S05 - Dance Studio | Outlet 1 |  |  | Ceiling >2m | TOSHIBA
SC43 | EVAPORATOR |  | Outlet 2 |  |  | Ceiling >2m | TOSHIBA
SC44 | EVAPORATOR |  | Outlet 3 |  |  | Ceiling >2m | TOSHIBA
SC45 | EVAPORATOR |  | Outlet 4 |  |  | Ceiling >2m | TOSHIBA
SC46 | EVAPORATOR |  | Outlet 5 |  |  | Ceiling >2m | TOSHIBA
SC47 | EVAPORATOR |  | Outlet 6 |  |  | Ceiling >2m | TOSHIBA
SC48 | EVAPORATOR |  | Outlet 7 |  |  | Ceiling >2m | TOSHIBA
SC49 | EVAPORATOR |  | Outlet 8 |  |  | Ceiling >2m | TOSHIBA

## WWHo - The Academy Grimsby
xXx | ITT App.5 Doc 3: - Asset List
| ITT Assets: | Air Conditioning
| Site: | The Academy Grimsby
Service Cost (£)
PPM ID Ref | FUNCTION | Location |  |  | Equipment ID | TYPE/ACCESS | Make | Model | Serial No. | Yr 1 - 2020 - 21 | Yr 2 - 2021 - 22
TAG1 | Condenser | Roof | x | x |  |  | FUJITSU | AOY30LE
TAG2 | Condenser | Roof |  |  |  |  | FUJITSU | AOY30LE
TAG3 | Evaporator | Library |  |  |  | Ceiling Cassette | FUJITSU | AUYG30LE
TAG4 | Evaporator | Library |  |  |  | Ceiling Cassette | FUJITSU | AUYG30LE
TAG5 | Condenser | Roof |  |  |  |  | FUJITSU | AOY24LV
TAG6 | Evaporator | Care Classroom |  |  |  | Ceiling Cassette | FUJITSU | AUYG24LV
TAG7 | Condenser | Roof |  |  |  |  | FUJITSU | AOY30LE
TAG8 | Condenser | Roof |  |  |  |  | FUJITSU | A0Y30LE
TAG9 | Evaporator | Science Room |  |  |  |  | FUJITSU | AUYG30LE
TAG10 | Condenser | Roof
TAG11 | Evaporator | Creative Suite |  |  |  | Ceiling Cassette
TAG12 | Condenser | Science Lab Area | External |  |  | Outdoor Unit - Ground Level | LG
TAG13 | Condenser |  |  |  |  | Outdoor Unit - Ground Level | LG
TAG14 | Condenser |  |  |  |  | Outdoor Unit - Ground Level | LG
TAG15 | Condenser |  |  |  |  | Outdoor Unit - Ground Level | LG
TAG16 | Evaporator | Ground Floor | Old Comms Rm |  |  | Ceiling Cassette | Fujitus
TAG17 |  |  | New Science Lab |  |  | Ceiling Cassette
TAG18 |  |  | GF073 |  |  | Ceiling Cassette
TAG19 |  |  | GF072 |  |  | Ceiling Cassette
TAG20 |  |  | Server Room |  |  | Wall Mounted
TAG21 |  | First Floor | New IT |  |  | Ceiling Cassette
TAG22 |  |  | FF018 |  |  | Ceiling Cassette | LG
Possible Additional Assets

## Grimsby Learning Shop
xXx | ITT App.5 Doc 3: - Asset List
ITT Assets:
| Site: | LEARNING CENTRE OSBOURNE STREET, Grimsby DN31 1EU
Service Cost (£)
PPM ID Ref | FUNCTION | Location |  |  | Equipment ID | TYPE/ACCESS | MAKE | MODEL | SERIAL | Yr 1 - 2020 - 21 | Yr 2 - 2021 - 22
GLS1 | EVAPORATOR | UPSTAIRS - Main Teaching Area | x | x |  | Ceiling Cassette | CARRIER | 40GKX028 | 03A0128807
GLS2 | CONDENSER | QUAD ROOF |  |  |  | External unit | CARRIER | 40GKX028 | 03A0128808
GLS3 | EVAPORATOR | UPSTAIRS - Main Teaching Area |  |  |  | Ceiling Cassette | FUJITSU | AUYA36LATU | T000011
GLS4 | CONDENSER | QUAD ROOF |  |  |  | External unit | FUJITSU | AOYA36LATL | T004414
GLS5 | EVAPORATOR | DOWNSTAIRS - Reception |  |  |  | Ceiling Cassette | CARRIER | 38YL028 | 03A0128809
GLS6 | CONDENSER | QUAD ROOF |  |  |  | External unit | CARRIER | 38YLO28 | 05A0137650
GLS7 | EVAPORATOR | DOWNSTAIRS - Front Office |  |  |  | Ceiling Cassette | CARRIER | 40GKX018W | 10AN124323
GLS8 | CONDENSER | QUAD ROOF |  |  |  | External unit | CARRIER | 38YLN | 06AM106504
GLS9 | EVAPORATOR | DOWNSTAIRS - Back Office |  |  |  | Ceiling Cassette | CARRIER | 40GKX018W | 10AN124315
GLS10 | CONDENSER | QUAD ROOF |  |  |  | External unit | CARRIER | 38YLN | 06AM106503
GLS11 | EVAPORATOR | UPSTAIRS - Reception |  |  |  | Ceiling Cassette | LG | LT-D4881FJ | 404KACA00035
GLS12 | CONDENSER | QUAD ROOF |  |  |  | External unit | LG | LT-D4881FJ | 405KAQJ00020
GLS13 | EVAPORATOR | UPSTAIRS - Back classroom |  |  |  | Ceiling Cassette | LG | LT-D4881FJ | 404KALC00016
GLS14 | CONDENSER | QUAD ROOF |  |  |  | External unit | LG | LT-D4881FJ | 405KAGS00071

## Sk. TEC
xXx | ITT App.5 Doc 3: - Asset List
| ITT Assets: | Air Conditioning
| Site: | Sk.TEC - HEATH ROAD - SKEGNESS - PE25 3SY
PPM ID Ref | FUNCTION | Location |  |  | Equipment ID | TYPE/ACCESS | MAKE | MODEL | SERIAL | Service Cost - £ | Notes
Sk1 | EVAPORATOR | C59 CONFERENCE ROOM | x | x |  | Ceiling Cassette - >2m | IMI | IMAGE 600 60E | 0023907 | Redundant Equipment Reference Only No Service Required
Sk2 | CONDENSER | C56 PLANT ROOM |  |  |  | Black Box Recessed Unit | IMI
Sk3 | EVAPORATOR | S19 TRAINING ROOM 5 |  |  |  | Ceiling Cassette - >2m | IMI | IMAGE 600 40E | 0025494
Sk4 | CONDENSER | N39 PLANT ROOM |  |  |  | Black Box Recessed Unit | IMI
Sk5 | EVAPORATOR | W30 |  |  |  | Ceiling Cassette - >2m | IMI | IMAGE 600 40E | 5529936002791
Sk6 | CONDENSER | N39 PLANT ROOM |  |  |  | Black Box Recessed Unit | IMI
Sk7 | EVAPORATOR | S23 TRAINING ROOM 6 |  |  |  | Ceiling Cassette - >2m | IMI | IMAGE 600 60E | 0023906
Sk8 | CONDENSER | N39 PLANT ROOM |  |  |  | Black Box Recessed Unit | IMI
Sk9 | EVAPORATOR | F66 BOARD ROOM (UP STRS) |  |  |  | Ceiling Cassette - >2m | IMI | IMAGE 600 60E | 0029531
Sk10 | CONDENSER | N39 PLANT ROOM |  |  |  | Black Box Recessed Unit | IMI

## Modal
xXx | ITT App.5 Doc 3: - Asset List
| ITT Assets: | Air Conditioning
| Site: | Modal, Immingham
Service Cost (£)
PPM ID Ref | FUNCTION | Location |  |  | Equipment - ID | TYPE/ACCESS | Make | Model | Serial No. | Yr 1 - 2020 - 21 | Yr 2 - 2021 - 22
MD 1 | Condenser | Building A - Control Tower | External |  |  | Outdoor Unit - Ground Level | Mitsubishi |  | 69U10413
MD 2 | Condenser |  |  |  |  | Outdoor Unit - Ground Level | Mitsubishi |  | 69W03028
MD 3 | Condenser |  |  |  |  | Outdoor Unit - Ground Level | Mitsubishi |  | 68W00391
MD 4 | Condenser |  |  |  |  | Outdoor Unit - Ground Level | Mitsubishi |  | 69W00574
MD 5 | Evaporator |  | Ground Floor | GF 01 - Reception Counter |  | Ceiling Cassette | Mitsubishi
MD 6 | Evaporator |  |  | GF 01 - Lobby | Sys. 1 Unit 3 | Ceiling Cassette | Mitsubishi
MD 7 | Evaporator |  |  | GF02 | Sys. 1 Unit 5 | Ceiling Cassette | Mitsubishi
MD 8 | Evaporator |  |  | GF03 | Sys. 1 Unit 6 | Ceiling Cassette | Mitsubishi
MD 9 | Evaporator |  |  | GF 08 | Sys.1 Unit 1 | Wall Mounted | Mitsubishi
MD 10 | Evaporator |  |  | GF 08 | Sys.1 Unit 2 | Wall Mounted | Mitsubishi
MD 11 | Evaporator |  | First Floor | FF03 | Sys. 2 unit 10
MD 12 | Evaporator |  |  | FF04 | Sys. 2 Unit 9
MD 13 | Evaporator |  |  | FF05 | No Access At Audit
MD 14 | Evaporator |  |  | FF06 | Sys. 2 Unit 8
MD 15 | Evaporator |  |  | FF09 | Sys. 2 Unit 11
MD 16 | Evaporator |  |  | FF10 | Sys. 2 Unit 12
MD 17 | Evaporator |  | Second Floor | SF 03 | Sys. 2 Unit 15 | Ceiling Cassette | Mitsubishi
MD 18 | Evaporator |  |  | SF 04 | Sys. 2 Unit 14 | Ceiling Cassette
MD 19 | Evaporator |  |  | SF 05 | Sys. 2 Unit 13 | Ceiling Cassette
MD 20 | Evaporator |  |  | SF 06 |  | Wall Mouted |  |  | 53A06
MD 21 | Evaporator |  |  | SF 07 | Sys. 2 Unit 16 | Ceiling Cassette
MD 22 | Evaporator |  |  | SF 08 | Sys. 2 Unit 18 | Ceiling Cassette
MD 23 | Evaporator |  |  | SF 09 | Sys. 2 Unit 17 | Ceiling Cassette
MD 24 | Condenser | Building B - The Bridge | External |  | System 5 | Outdoor Unit - Ground Level | Mitsubishi
MD 25 | Condenser |  |  |  | System 4 | Outdoor Unit - Ground Level | Mitsubishi
MD 26 | Condenser |  |  |  | Server Room | Outdoor Unit - Ground Level | Mitsubishi
MD 27 | Condenser |  |  |  | Unit 3 | Outdoor Unit - Ground Level | Mitsubishi
MD 28 | Condenser |  |  |  | Unit 4 | Outdoor Unit - Ground Level | Mitsubishi
MD 29 | Condenser |  |  |  | Unit 5 | Outdoor Unit - Ground Level | Mitsubishi
MD 30 | Condenser |  |  |  | Unit 2 | Outdoor Unit - Ground Level | Mitsubishi
MD 31 | Condenser |  |  |  | Unit 1 | Outdoor Unit - Ground Level | Mitsubishi
MD 32 | Evaporator |  | Ground Floor | GF01 - Reception | Sys. 4 Unit 1 | Ceiling Cassette
MD 33 | Evaporator |  |  | GF04 | Sys. 4 Unit 2 | Ceiling Cassette
MD 34 | Evaporator |  |  | GF 07 | Sys. 4 Unit 11 | Ceiling Cassette
MD 35 | Evaporator |  |  | GF 08 | Sys. 4 Unit 3 | Ceiling Cassette
MD 36 | Evaporator |  |  | GF 10 | Sys. 4 Unit 9 | Ceiling Cassette
MD 37 | Evaporator |  |  | GF 11 | Sys. 4 Unit 8 | Ceiling Cassette
MD 38 | Evaporator |  |  | GF 12 | Sys. 4 Unit 5 | Ceiling Cassette
MD 39 | Evaporator |  |  |  | Lossnay Wall Mounted | Wall mounted
MD 40 | Evaporator |  |  | GF 13 | Sys.4 Unit 6 | Ceiling Cassette
MD 41 | Evaporator |  |  | GF 14 | Sys. 4 Unit 4 | Ceiling Cassette
MD 42 | Evaporator |  |  |  | Lossnay | Wall Mounted
MD 43 | Evaporator |  |  |  | Lossnay | Wall Mounted
MD 44 | Evaporator |  | First Floor | FF 24 | Sys. 5 Unit 18 | Ceiling Cassette
MD 45 | Evaporator |  |  | FF23 | Sys. 5 Unit 19 | Ceiling Cassette
MD 46 | Evaporator |  |  | FF 16 - Server Room |  | Wall Mouted
MD 47 | Evaporator |  |  | FF 17 | Sys. 5 Unit 17 | Ceiling Cassette
MD 48 | Evaporator |  |  | FF18 | Sys. 5 Unit 16 | Ceiling Cassette
MD 49 | Evaporator |  |  | FF19 | Sys. 5 Unit 15 | Ceiling Cassette
MD 50 | Evaporator |  |  | Landing | Sys.5 Unit 12 | Ceiling Cassette
MD 51 | Evaporator |  |  |  | Sys.5 Unit 13 | Ceiling Cassette
MD 52 | Evaporator |  |  |  | Sys.5 Unit 14 | Ceiling Cassette
MD 53 | Condenser | Thrive Building | External | Compound |  | Outdoor Unit - Ground Level | Daikin | REY Q18UZY 18 |  |  |  | New Installation - June 2020
MD 54 | Condenser |  |  | Compound |  | Outdoor Unit - Ground Level | MITSUBISHI | PUHZ P200YEA3 | 0B00341
MD 55 | Condenser |  |  | Compound |  | Outdoor Unit - Ground Level | MITSUBISHI | PUHZ P200YEA3 | 0B00300
MD 56 | Evaporator |  | Ground Floor | Central Zone Unit 1 |  | Ceiling Cassette | Daikin
MD 57 | Evaporator |  |  | Central Zone Unit 2 |  | Ceiling Cassette | Daikin
MD 58 | Evaporator |  |  | Central Zone Unit 3 |  | Ceiling Cassette | Daikin
MD 59 | Evaporator |  |  | Central Zone Unit 4 |  | Ceiling Cassette | Daikin
MD 60 | Evaporator |  |  | Welfare Room Unit 1 |  | Ceiling Cassette | Daikin
MD 61 | Evaporator |  |  | Welfare Room Unit 2 |  | Ceiling Cassette | Daikin
MD 62 | Evaporator |  |  | Board Room Unit 1 |  | Ceiling Cassette | Daikin

## Sc. TEC - Filey Road
xXx | ITT App.5 Doc 3: - Asset List
| ITT Assets: | Air Conditioning
| Site: | Sc.TEC - Filey Road
Service Cost (£)
PPM ID Ref | FUNCTION | Location |  |  | Equipment Ref: | TYPE/ACCESS | Make | Model | Serial No. | Yr 1 - 2020 - 21 | Yr 2 - 2021 - 22
FR 1 | EVAPORATOR | Worsley | Ground Floor | 0W07 Side wall | GR2/1 | Wall Mounted | Toshiba | RAV-SM562KRT-E | 2500087
FR 2 | EVAPORATOR |  |  | 0W07 Twin split | GR2/2 | Wall Mounted | Toshiba | RAV-SM562KRT-E | 2500083
FR 3 | CONDENSER |  |  | Outside Room N/W corner | GR2 | Outdoor Unit | Toshiba | RAV-SM1103AT-E | 440004
FR 4 | EVAPORATOR |  |  | 0W19 |  | Ceiling Cassett - Access for Works > 2m | Fujistu
FR 5 | CONDENSER |  |  | 0W19 Quad | Plant 11 | Outdoor Unit | Fujistu | AOY-45LJBYL | T 001615
FR 6 | EVAPORATOR |  |  | 0W Cyber IT |  | Ceiling Cassett - Access for Works > 2m | Daikin
FR 7 | CONDENSER |  |  | Worsley Quad (Cyber IT) |  | Outdoor Unit | Daikin | RZASG100M7V1B | 3012649
FR 8 | EVAPORATOR |  |  | 0W Digital Arts Studio |  | Ceiling Cassett - Twin Units | Daikin
FR 9 | CONDENSER |  |  | Worsley Quad (Dig Arts) |  | Outdoor Unit | Daikin | RZASG125M7V1B | 3005950
FR 10 | EVAPORATOR | Worsley | 1st Floor | 1W04 Side Wall | 18B | Wall Mounted | Toshiba | RAV-SM562KRT-E | 25000062
FR 11 | EVAPORATOR |  |  | 1W04 Twin split | 18A | Wall Mounted | Toshiba | RAV-SM562KRT-E | 25000076
FR 12 | CONDENSER |  |  | Worsley Quad (1W04) | FF1 | Outdoor Unit | Toshiba | RAV-SM1103AT-E | 00440002
FR 13 | EVAPORATOR |  |  | 1W05 Side Wall | 17A | Wall Mounted | Toshiba | RAV-SM562KRT-E | 25000060
FR 14 | EVAPORATOR |  |  | 1W06 Twin split | 17B | Wall Mounted | Toshiba | RAV-SM562KRT-E | 24000174
FR 15 | CONDENSER |  |  | Worsley Quad (1W05&6) | FF2 | Outdoor Unit | Toshiba | RAV-SM1103AT-E | 00440003
FR 16 | EVAPORATOR |  |  | 1W10(Server Room) Side wall | Unit 13 | Wall Mounted | Mitsubishi | PCA-RP140GA | 85A00377
FR 17 | CONDENSER |  |  | Outside S/W Corner | Plant 13 | Outdoor Unit | Mitsubishi | PUHZ-P140 VH | 8A00181
FR 18 | EVAPORATOR |  |  | 1W10(Server Room) Side wall | Unit 1 | Wall Mounted | Fujistu | ASY-30AGA-W | T002935
FR 19 | CONDENSER |  |  | Outside S/W Corner |  | Outdoor Unit | Fujistu | AOY-30ABAL | T003916
FR 20 | EVAPORATOR |  |  | 1W10(Server Room) Side wall | Unit 5 | Wall Mounted | Fujistu | ASY-30ASC-1 | 000746
FR 21 | CONDENSER |  |  | Outside S/W Corner | Plant 5 | Outdoor Unit | Fujistu | AOY-30ABAL | T001922
FR 22 | EVAPORATOR |  |  | 1W15 Side Wall |  | Wall Mounted | Mitsubishi | SRK63ZR-S | 837502811BE
FR 23 | CONDENSER |  |  | Outside West Wall(1W15) |  | Outdoor Unit | Mitsubishi | SRC63ZR-S | 877604697BE
FR 24 | EVAPORATOR |  |  | 1W15 Side Wall |  | Wall Mounted | Mitsubishi | SRK63ZR-S | 837502784BE
FR 25 | CONDENSER |  |  | Outside West Wall(1W15) |  | Outdoor Unit | Mitsubishi | SRC63ZR-S | 877604696BE
FR 26 | EVAPORATOR | Main Building | Ground Floor | 0M21 Side Wall |  | Wall Mounted | Toshiba | MMK-AP0072H | 02200474
FR 27 | EVAPORATOR |  |  | 0M22 Side Wall |  | Wall Mounted | Toshiba | MMK-AP0072H | 022300477
FR 28 | CONDENSER |  |  | Flat Roof(0M12-0M23) |  | Outdoor Unit | Toshiba | MMY-MAP0802FT8-E | 00370055
FR 29 | EVAPORATOR | Main Building | 1st Floor | 1M13(Server Room)Side Wall |  | Wall Mounted | Fujistu | ASYA24LCC | E023933
FR 30 | CONDENSER |  |  | Quad (Boiler House)(1M13) |  | Outdoor Unit | Fujistu
FR 31 | EVAPORATOR |  |  | 1M33 |  | Ceiling Cassett - Access for Works > 2m | Daikin
FR 32 | EVAPORATOR |  |  | 1M33 |  | Ceiling Cassett - Access for Works > 2m | Daikin
FR 33 | EVAPORATOR |  |  | 1M33 |  | Ceiling Cassett - Access for Works > 2m | Daikin
FR 34 | EVAPORATOR |  |  | 1M33 |  | Ceiling Cassett - Access for Works > 2m | Daikin
FR 35 | EVAPORATOR |  |  | 1M33 |  | Ceiling Cassett - Access for Works > 2m | Daikin
FR 36 | CONDENSER |  |  | Flat Roof(1M33) |  | Outdoor Unit | Daikin | REYQ12U7Y1B | 2002477
FR 37 | CONDENSER | Main Building | 2nd Floor | Flat Roof(2M38) |  | Outdoor Unit | Mitsubishi | PUHZ-P250YHA3 | 9ZU00785

## YCC - LED
xXx | ITT App.5 Doc 3: - Asset List
ITT Assets:
| Site: | Sc.TEC - LADY EDITH'S DRIVE, Scarborough YO12 5RN
PPM ID Ref | FUNCTION | Location |  |  | Equipment ID | TYPE/ACCESS | MAKE | MODEL | SERIAL | Service Cost Per Visit (£)
LED 1 | EVAPORATOR | SPORTS HALL FITNESS SUITE | X | X |  | Cassette - Above 2m | DAIKIN | FHYCP6OB7V1 | 4409135 | Site Closed - For Reference Only
LED 2 | EVAPORATOR | SPORTS HALL FITNESS SUITE |  |  |  | Cassette - Above 2m | DAIKIN | FHYCP6OB7V1 | 4409209
LED 3 | CONDENSER | EXTERNAL SOUTH WALL OF SPORTSHALL |  |  |  |  | DAIKIN | RP125L7W1 | 2405174
LED 4 | EVAPORATOR | NETWORKS M11 |  |  |  |  | LG | LB-H2460RH | 212KA00074
LED 5 | CONDENSER | ROOF ABOVE M26 |  |  |  |  | LG | LB-H2460RH | 301KA00014
LED 6 | EVAPORATOR | 001 SERVER ROOM |  |  |  |  | MITSUBISHI | FDT71V | C71100571PK
LED 7 | CONDENSER | ROOF ABOVE M01 |  |  |  |  | MITSUBISHI | FDC71VN | K71101546AF
LED 8 | EVAPORATOR | 001 SERVER ROOM |  |  |  |  | LG | UT24NFB | 602KAZK00493
LED 9 | CONDENSER | ROOF ABOVE M01 |  |  |  |  | LG | UV24VEC | 701KAM201075
LED 10 | EVAPORATOR | CATERING STORES COLD ROOM |  |  |  |  | FRIGIDAIRE | FS-4OLA | 7E10005
LED 11 | CONDENSER | ROOF ABOVE CATERING STORES |  |  |  |  | ELECTROLUX | CS22TN3M

## ERC - Hull
xXx | ITT App.5 Doc 3: - Asset List
| ITT Assets: | Air Conditioning
| Site: | ERC - Hull - St.James
Service Cost (£)
PPM ID Ref | FUNCTION | Location |  |  | Equipment ID | TYPE/ACCESS | Make | Model | Serial No. | Yr 1 - 2020 - 21 | Yr 2 - 2021 - 22
St.J1 | Evaporator | JG10 | x | x |  | Wall Mounted | Darel
St.J2 | Evaporator | JF7 |  |  |  | Wall Mounted | Fujitsu
St.J3 | Evaporator | JF7 |  |  |  | Wall Mounted | Fujitsu
St.J4 | Evaporator | Server Room |  |  |  | Wall Mounted | Mitsubishi
St.J5 | Condenser 1 | Ground floor - rear passage |  |  |  | Pigeons present. Waist height | Fujitsu
St.J6 | Condenser 2 | Ground floor - rear passage |  |  |  | Pigeons present. Waist height | Fujitsu
St.J7 | Condenser 3 | Ground floor - rear passage |  |  |  | Pigeons present. Waist height | Fujitsu
St.J8 | Condenser/Inverter | Ground Floor Courtyard |  |  |  | Outdoor Unit Access above 8ft | Mitsubishi

## ERC - Bev. Flem
xXx | ITT App.5 Doc 3: - Asset List
ITT Assets:
| Site: | ERC - Bev. Flemingate
Service Cost (£)
PPM ID Ref | FUNCTION | Location |  |  | Equipment ID | TYPE/ACCESS | Make | Model | Serial No. | Yr 1 - 2020 - 21 | Yr 2 - 2021 - 22
FL 1 | Evaporator | Ground Floor | BG23 | x | ACU 1-00 | Ceiling cassette- room height | Daiken
FL 2 | Evaporator | Ground Floor | BG22 |  | ACU 1-01 | Ceiling cassette- room height | Daiken
FL 3 | Evaporator | Ground Floor | BG14 |  | ACU 1-02 | Ceiling cassette- room height | Daiken
FL 4 | Evaporator | Ground Floor | BG5 |  | ACU 1-05 | Ceiling cassette- room height | Daiken
FL 5 | Evaporator | Ground Floor | BG4 |  | ACU 1-06 | Ceiling cassette- room height | Daiken
FL 6 | Evaporator | Ground Floor | BG3 |  | ACU 1-07 | Ceiling cassette- room height | Daiken
FL 7 | Evaporator | Ground Floor | BG2 |  | ACU 1-03 | Ceiling cassette- room height | Daiken
FL 8 | Evaporator | Ground Floor | BG1 |  | ACU 1-04 | Ceiling cassette- room height | Daiken
FL 9 | Evaporator | Ground Floor | BG50 |  | ACU 1-08 | Ceiling cassette- room height | Daiken
FL 10 | Evaporator | Ground Floor |  |  | ACU 1-09 | Ceiling cassette- room height | Daiken
FL 11 | Evaporator | Ground Floor |  |  | ACU 1-10 | Ceiling cassette- room height | Daiken
FL 12 | Evaporator | Ground Floor |  |  | ACU 1-11 | Ceiling cassette- room height | Daiken
FL 13 | Evaporator | Ground Floor | BG48 |  | ACU 1-12 | Ceiling cassette- room height | Daiken
FL 14 | Evaporator | Ground Floor |  |  | ACU 1-13 | Ceiling cassette- room height | Daiken
FL 15 | Evaporator | Ground Floor | BG38 |  | ACU 1-14 | Ceiling cassette- room height | Daiken
FL 16 | Evaporator | Ground Floor |  |  | ACU 1-15 | Ceiling cassette- room height | Daiken
FL 17 | Evaporator | First Floor | BF33 |  | ACU 2-00 | Ceiling cassette- room height | Daiken
FL 18 | Evaporator | First Floor | BF36 |  | ACU 2-01 | Ceiling cassette- room height | Daiken
FL 19 | Evaporator | First Floor |  |  | ACU 2-02 | Ceiling cassette- room height | Daiken
FL 20 | Evaporator | First Floor | BF37 |  | ACU 2-03 | Ceiling cassette- room height | Daiken
FL 21 | Evaporator | First Floor |  |  | ACU 2-04 | Ceiling cassette- room height | Daiken
FL 22 | Evaporator | First Floor |  |  | ACU 2-05 | Ceiling cassette- room height | Daiken
FL 23 | Evaporator | First Floor |  |  | ACU 2-10 | Ceiling cassette- room height | Daiken
FL 24 | Evaporator | First Floor |  |  | ACU 2-11 | Ceiling cassette- room height | Daiken
FL 25 | Evaporator | First Floor | BF30 |  | ACU 2-06 | Ceiling cassette- room height | Daiken
FL 26 | Evaporator | First Floor | BF29 |  | ACU 2-07 | Ceiling cassette- room height | Daiken
FL 27 | Evaporator | First Floor | BF28 |  | ACU 2-08 | Ceiling cassette- room height | Daiken
FL 28 | Evaporator | First Floor | FF - |  | ACU 2-09 | Ceiling cassette- room height | Daiken
FL 29 | Evaporator | First Floor | BF1 |  | ACU 2-12M | Ceiling cassette- room height | Daiken
FL 30 | Evaporator | First Floor |  |  | ACU 2-12S | Ceiling cassette- room height | Daiken
FL 31 | Evaporator | First Floor | BF2 |  | ACU 2-13 | Ceiling cassette- room height | Daiken
FL 32 | Evaporator | First Floor | BF6 |  | ACU 2-15 | Ceiling cassette- room height | Daiken
FL 33 | Evaporator | First Floor | BF7 |  | ACU 3-00 | Ceiling cassette- room height | Daiken
FL 34 | Evaporator | First Floor | BF8 |  | ACU 3-01 | Ceiling cassette- room height | Daiken
FL 35 | Evaporator | First Floor | BF9 |  | ACU 3-02 | Ceiling cassette- room height | Daiken
FL 36 | Evaporator | First Floor | BF10 |  | ACU 3-03 | Ceiling cassette- room height | Daiken
FL 37 | Evaporator | First Floor | BF12 |  | ACU 3-05 | Ceiling cassette- room height | Daiken
FL 38 | Evaporator | First Floor | BF13 |  | ACU 3-04 | Ceiling cassette- room height | Daiken
FL 39 | Evaporator | First Floor | BF23 |  | ACU 3-06 | Ceiling cassette- room height | Daiken
FL 40 | Evaporator | First Floor | BF18 |  | ACU 3-07 | Ceiling cassette- room height | Daiken
FL 41 | Evaporator | First Floor | BF24 |  | ACU 3-08 | Ceiling cassette- room height | Daiken
FL 42 | Evaporator | First Floor |  |  | ACU 3-09 | Ceiling cassette- room height | Daiken
FL 43 | Evaporator | First Floor |  |  | ACU 3-13 | Ceiling cassette- room height | Daiken
FL 44 | Evaporator | First Floor | BF19 |  | ACU 3-10 | Ceiling cassette- room height | Daiken
FL 45 | Evaporator | First Floor | BF20 |  | ACU 3-11 | Ceiling cassette- room height | Daiken
FL 46 | Evaporator | First Floor | BF21 |  | ACU 3-12 | Ceiling cassette- room height | Daiken
FL 47 | Evaporator | Second Floor | BS27 |  | ACU 1-03 | Ceiling cassette- room height | Daiken
FL 48 | Evaporator | Second Floor |  |  | ACU 1-02 | Ceiling cassette- room height | Daiken
FL 49 | Evaporator | Second Floor | BS28 |  | ACU 1-04 | Ceiling cassette- room height | Daiken
FL 50 | Evaporator | Second Floor | BS30 |  | ACU 1-05 | Ceiling cassette- room height | Daiken
FL 51 | Evaporator | Second Floor | BS24 |  | ACU 1-01 | Ceiling cassette- room height | Daiken
FL 52 | Evaporator | Second Floor | BS34 |  | ACU 1-06 | Ceiling cassette- room height | Daiken
FL 53 | Evaporator | Second Floor | BS23 |  | ACU 1-00 | Ceiling cassette- room height | Daiken
FL 54 | Evaporator | Second Floor | BS35 |  | ACU 1-07 | Ceiling cassette- room height | Daiken
FL 55 | Evaporator | Second Floor | BS1 |  | ACU 1-09M | Ceiling cassette- room height | Daiken
FL 56 | Evaporator | Second Floor |  |  | ACU 1-09S | Ceiling cassette- room height | Daiken
FL 57 | Evaporator | Second Floor | BS5 |  | ACU 1-10 | Ceiling cassette- room height | Daiken
FL 58 | Evaporator | Second Floor | BS6 |  | ACU 1-11 | Ceiling cassette- room height | Daiken
FL 59 | Evaporator | Second Floor | BS7 |  | ACU 1-12 | Ceiling cassette- room height | Daiken
FL 60 | Evaporator | Second Floor | BS15 |  | ACU 1-13 | Wall Mounted | Daiken
FL 61 | Evaporator | Second Floor | BS16 |  | ACU 1-15S | Ceiling cassette- room height | Daiken
FL 62 | Evaporator | Second Floor |  |  | ACU 1-15M | Ceiling cassette- room height | Daiken
FL 63 | Evaporator | Second Floor | BS18 |  | ACU 2-00 | Ceiling cassette- room height | Daiken
FL 64 | Evaporator | Third Floor | BT10 |  | ACU 1-06 | Ceiling cassette- room height | Daiken
FL 65 | Evaporator | Third Floor | BT30 |  | ACU 1-09 | Ceiling cassette- room height | Daiken
FL 66 | Evaporator | Third Floor | BT2 |  | ACU 1-10 | Ceiling cassette- room height | Daiken
FL 67 | Evaporator | Third Floor | BT10 |  | ACU 1-11 | Ceiling cassette- room height | Daiken
FL 68 | Evaporator | Third Floor | BT30 |  | ACU 1-12 | Ceiling cassette- room height | Daiken
FL 69 | Evaporator | Third Floor | BT29 |  | ACU 1-13 | Ceiling cassette- room height | Daiken
FL 70 | Evaporator | Third Floor | BT28 |  | ACU 1-14 | Ceiling cassette- room height | Daiken
FL 71 | Evaporator | Third Floor | BT27 |  | ACU 2-07 | Ceiling cassette- room height | Daiken
FL 72 | Evaporator | Third Floor | BT26 |  | ACU 1-15 | Ceiling cassette- room height | Daiken
FL 73 | Evaporator | Third Floor | BT25 |  | ACU 2-00 | Ceiling cassette- room height | Daiken
FL 74 | Evaporator | Third Floor | BT23 |  | ACU 2-01 | Ceiling cassette- room height | Daiken
FL 75 | Evaporator | Third Floor | BT22 |  | ACU 2-02 | Ceiling cassette- room height | Daiken
FL 76 | Evaporator | Third Floor | BT20 |  | ACU 2-03 | Ceiling cassette- room height | Daiken
FL 77 | Evaporator | Third Floor | BT21 |  | ACU 2-04 | Ceiling cassette- room height | Daiken
FL 78 | Evaporator | Third Floor | BT19 |  | ACU 1-00 | Ceiling cassette- room height | Daiken
FL 79 | Evaporator | Third Floor | BT18 |  | ACU 1-01 | Ceiling cassette- room height | Daiken
FL 80 | Evaporator | Third Floor | BT17 |  | ACU 1-02 | Ceiling cassette- room height | Daiken
FL 81 | Evaporator | Third Floor | BT15 |  | ACU 1-03 | Ceiling cassette- room height | Daiken
FL 82 | Evaporator | Third Floor | BT14 |  | ACU 1-04 | Ceiling cassette- room height | Daiken
FL 83 | Evaporator | Third Floor | BT13 |  | ACU 2-05 | Ceiling cassette- room height | Daiken
FL 84 | Evaporator | Third Floor |  |  | ACU 2-06 | Ceiling cassette- room height | Daiken
FL 85 | Evaporator | Third Floor | BT11 |  | ACU 1-05 | Ceiling cassette- room height | Daiken
FL 86 | Condensors / Inverters x 12 | Roof | Roof |  |  | Mansafe | Daikin | VRV IV

## ERC - Bev. Priory
xXx | ITT App.5 Doc 3: - Asset List
| ITT Assets: | Air Conditioning
| Site: | ERC - Beverley - Priory
Service Cost (£)
PPM ID Ref | FUNCTION | Location |  |  | Equipment ID | TYPE/ACCESS | MAKE | MODEL | SERIAL | Yr 1 - 2020 - 21 | Yr 2 - 2021 - 22
Pr 1 | Evaporator | Server room | Ground floor | x |  | Wall Mounted - locked room | Mitsubishi |  | 815303674
Pr 2 | Evaporator | Engineering | Ground floor |  |  | Wall mounted | Mitsubishi |  | 1005246
Pr 3 | Evaporator | Engineering | Ground floor |  |  | Wall mounted | Mitsubishi |  | 1005338
Pr 4 | Evaporator | Staff room | 1st Floor |  |  | Ceiling mounted | Daikin |  | S6
Pr 5 | Condensor | Outside passage |  |  |  | Wall mounted - ground level | Daikin
Pr 6 | Condensor | Outside passage |  |  |  | Wall mounted - above 1m | Mitsubishi
Pr 7 | Condensor | Outside passage |  |  |  | Wall mounted - above 1m | Mitsubishi
Pr 8 | Condensor | Outside passage |  |  |  | Wall mounted - above 1m | Mitsubishi

## ERC - Brid.
xXx | ITT App.5 Doc 3: - Asset List
ITT Assets:
| Site: | ERC - Bridlington - St. Marys
Service Cost (£)
PPM ID Ref | FUNCTION | Location |  |  | Equipment ID | TYPE/ACCESS | Make | Model | Serial No. | Yr 1 - 2020 - 21 | Yr 2 - 2021 - 22 | Note
St.M 1 | Evaporator | Ground Floor | G63 | x |  | Ceiling - room height | Mitsubishi
St.M 2 | Evaporator | Ground Floor | G64 |  |  | Ceiling - room height | Mitsubishi
St.M 3 | Evaporator | Ground Floor | Directorate suite |  |  | Ceiling - room height | Mitsubishi
St.M 4 | Evaporator | Ground Floor | Directorate suite |  |  | Ceiling - room height | Mitsubishi
St.M 5 | Evaporator | Ground Floor | Directorate suite |  |  | Ceiling - room height | Mitsubishi
St.M 6 | Evaporator | Ground Floor | Directorate suite |  |  | Ceiling - room height | Mitsubishi
St.M 7 | Evaporator | Ground Floor | G55 |  |  | Ceiling - room height | Mitsubishi
St.M 8 | Evaporator | Ground Floor | G54 |  |  | Ceiling - room height | Mitsubishi
St.M 9 | Evaporator | Ground Floor | G53 |  |  | Ceiling - room height | Mitsubishi
St.M 10 | Evaporator | Ground Floor | G52 |  |  | Ceiling - room height | Mitsubishi
St.M 11 | Evaporator | Ground Floor | Guidance offices |  |  | Ceiling - room height | Mitsubishi
St.M 12 | Evaporator | Ground Floor | Guidance offices |  |  | Ceiling - room height | Mitsubishi
St.M 13 | Evaporator | Ground Floor | Guidance offices |  |  | Ceiling - room height | Mitsubishi
St.M 14 | Evaporator | Ground Floor | Guidance offices |  |  | Ceiling - room height | Mitsubishi
St.M 15 | Evaporator | Ground Floor | Guidance offices |  |  | Ceiling - room height | Mitsubishi
St.M 16 | Evaporator | Ground Floor | G40 |  |  | Ceiling - room height | Mitsubishi
St.M 17 | Evaporator | Ground Floor | Refectory |  |  | Ceiling - room height | Mitsubishi
St.M 18 | Evaporator | Ground Floor | Refectory |  |  | Ceiling - room height | Mitsubishi
St.M 19 | Evaporator | Ground Floor | Refectory |  |  | Ceiling - room height | Mitsubishi
St.M 20 | Evaporator | Ground Floor | Facilities office |  |  | Ceiling - room height | Mitsubishi
St.M 21 | Evaporator | Ground Floor | G04 |  |  | Ceiling - room height | Mitsubishi
St.M 22 | Evaporator | Ground Floor | Atrium |  |  | Ceiling - no higher than 2m | Mitsubishi
St.M 23 | Evaporator | Ground Floor | Atrium |  |  | Ceiling - no higher than 2m | Mitsubishi
St.M 24 | Evaporator | Ground Floor | Atrium |  |  | Ceiling - no higher than 2m | Mitsubishi
St.M 25 | Evaporator | Ground Floor | Reception |  |  | Ceiling - no higher than 2m | Mitsubishi
St.M 26 | Evaporator | Ground Floor | Reception |  |  | Ceiling - no higher than 2m | Mitsubishi
St.M 27 | Evaporator | Ground Floor | LRC |  |  | Ceiling - room height | Mitsubishi
St.M 28 | Evaporator | Ground Floor | LRC |  |  | Ceiling - room height | Mitsubishi
St.M 29 | Evaporator | Ground Floor | LRC |  |  | Ceiling - room height | Mitsubishi
St.M 30 | Evaporator | Ground Floor | LRC |  |  | Ceiling - room height | Mitsubishi
St.M 31 | Evaporator | Ground Floor | LRC |  |  | Ceiling - room height | Mitsubishi
St.M 32 | Evaporator | Ground Floor | LRC |  |  | Ceiling - room height | Mitsubishi
St.M 33 | Evaporator | Ground Floor | G65 |  |  | Ceiling - room height | Mitsubishi
St.M 34 | Evaporator | Ground Floor | G64 |  |  | Ceiling - room height | Mitsubishi
St.M 35 | Evaporator | First Floor | Staff room 3 (next to F15) |  |  | Ceiling - room height | Mitsubishi
St.M 36 | Evaporator | First Floor | F51 |  |  | Ceiling - room height | Mitsubishi
St.M 37 | Evaporator | First Floor | F52 |  |  | Ceiling - room height | Mitsubishi
St.M 38 | Evaporator | First Floor | F55 |  |  | Ceiling - room height | Mitsubishi
St.M 39 | Evaporator | First Floor | F55 |  |  | Ceiling - room height | Mitsubishi
St.M 40 | Evaporator | First Floor | F55 |  |  | Ceiling - room height | Mitsubishi
St.M 41 | Evaporator | First Floor | F56 |  |  | Ceiling - room height | Mitsubishi
St.M 42 | Evaporator | First Floor | F02 |  |  | Ceiling - room height | Mitsubishi
St.M 43 | Evaporator | First Floor | F04 |  |  | Ceiling - room height | Mitsubishi
St.M 44 | Evaporator | First Floor | F05 |  |  | Ceiling - room height | Mitsubishi
St.M 45 | Evaporator | First Floor | F06 |  |  | Ceiling - room height | Mitsubishi
St.M 46 | Evaporator | First Floor | F07 |  |  | Ceiling - room height | Mitsubishi
St.M 47 | Evaporator | First Floor | STAFF ROOM 1 (next to F51) |  |  | Ceiling - room height | Mitsubishi
St.M 48 | Evaporator | First Floor | F13 |  |  | Ceiling - room height | Mitsubishi
St.M 49 | Evaporator | First Floor | F15 |  |  | Ceiling - room height | Mitsubishi
St.M 50 | Evaporator | First Floor | F21 |  |  | Ceiling - room height | Mitsubishi
St.M 51 | Evaporator | First Floor | F22 |  |  | Ceiling - room height | Mitsubishi
St.M 52 | Evaporator | First Floor | F23 |  |  | Ceiling - room height | Mitsubishi
St.M 53 | Evaporator | First Floor | F24 |  |  | Ceiling - room height | Mitsubishi
St.M 54 | Evaporator | First Floor | F26 |  |  | Ceiling - room height | Mitsubishi
St.M 55 | Evaporator | First Floor | IT OFFICE |  |  | Ceiling - room height | Mitsubishi
St.M 56 | Evaporator | First Floor | F32 |  |  | Ceiling - room height | Mitsubishi
St.M 57 | Evaporator | First Floor | F34 |  |  | Ceiling - room height | Mitsubishi
St.M 58 | Evaporator | First Floor | F34 |  |  | Ceiling - room height | Mitsubishi
St.M 59 | Evaporator | First Floor | F36 |  |  | Ceiling - room height | Mitsubishi
St.M 60 | Evaporator | First Floor | F42 |  |  | Ceiling - room height | Mitsubishi
St.M 61 | Evaporator | First Floor | F45 |  |  | Ceiling - room height | Mitsubishi
St.M 62 | Evaporator | First Floor | F46 |  |  | Ceiling - room height | Mitsubishi
St.M 63 | Evaporator | First Floor | F47 |  |  | Ceiling - room height | Mitsubishi
St.M 64 | Evaporator | First Floor | F48 |  |  | Ceiling - room height | Mitsubishi
St.M 65 | Evaporator | First Floor | F43 |  |  | Wall mounted - under 2m | Mitsubishi
St.M 66 | Evaporator | First Floor | F44 |  |  | Wall mounted - under 2m | Mitsubishi
St.M 67 | Evaporator | First Floor | F16 |  |  | Wall mounted - under 2m | Mitsubishi
St.M 68 | Evaporator | First Floor | F17 |  |  | Wall mounted - under 2m | Mitsubishi
St.M 69 | Evaporator | First Floor | F18 |  |  | Wall mounted - under 2m | Mitsubishi
St.M 70 | Evaporator | First Floor | STAFF ROOM 2 (next to F32) |  |  | Wall mounted - under 2m | Mitsubishi
St.M 71 | Condensor | Roof | Roof area |  |  | Roof area - Mansafe | Mitsubishi | PURY-P400YHM |  |  |  | Two of the 400 units make up 1 system which covers the first floor. One of the condensors requires repair / replacement however if 1 needs replacing, both need replacing.
St.M 72 | Condensor | Roof | Roof area |  |  | Roof area - Mansafe | Mitsubishi | PURY-P400YHM
St.M 73 | Condensor | Roof | Roof area |  |  | Roof area - Mansafe | Mitsubishi | PURY-P400YHM
St.M 74 | Condensor | Roof | Roof area |  |  | Roof area - Mansafe | Mitsubishi | PURY-P400YHM
St.M 75 | Condensor | Roof | Roof area |  |  | Roof area - Mansafe | Mitsubishi Condenser | PUHZ-RP100VHA3
St.M 76 | Condensor | Roof | Roof area |  |  | Roof area - Mansafe | Mitsubishi Condenser | PQRY-P500YSGM-A

## Pricing Summary
Site | Cost - Y1 | Cost - Y2
NCC
TAG
GLS
Modal
Sc.TEC
ERC