APPENDIX A

ACTIVITY SCHEDULE

PRICING SCHEDULE – Annual Costs (page 1of 3)

Please provide total firm price (excluding VAT) for Tritium analysis.

The price shall include all analysis, storage, disposal, administrative, reporting costs and transport to the designated sites.

| Service | Number required per Annum (a) | Rate (£) (b) | Total Cost per Annum (£) (a)x(b) |
| --- | --- | --- | --- |
| Provision of all appropriate sampling equipment and consumables per annum | Item |  |  |
| Preventative and Emergency maintenance of sampling equipment including replacement of faulty parts and all consumables, per annum | Item |  |  |
| Weekly inspection of air samplers | 52 |  |  |
| Routine maintenance to the existing boreholes | Item |  |  |
| Collection of airborne dust samples from stations JA, JB, JC and JD for gamma ray spectrometry | 16 |  |  |
| Collection of rainwater samples (including dry deposit) from stations JA, JB, JC and JD for gamma ray spectrometry | 16 |  |  |
| Collection of rainwater samples from stations JA, JB, JC and JD for tritium analysis | 16 |  |  |
| Collection of groundwater samples from stations JA, JB, JC and JD for gamma ray spectrometry | 16 |  |  |
| Collection of groundwater samples from stations JA, JB, JC and JD for tritium analysis | 16 |  |  |
| Collection of groundwater samples from stations JA, JB, JC and JD for 45Ca analysis | 16 |  |  |
| Collection of soil samples from stations JA, JB, JC and JD for gamma ray spectrometry | 4 |  |  |
| Collection of river water samples from the Down Stream station for gamma ray spectrometry | 4 |  |  |
| carried forward |  |  |  |

Pricing Schedule A – Annual Costs (page 2 of 3)

| Service | Number required per Annum (a) | Rate (£) (b) | Total Cost per Annum (£) (a)x(b) |
| --- | --- | --- | --- |
| brought forward |  |  |  |
| Collection of river water samples from Up Stream and Down Stream stations for tritium analysis | 24 |  |  |
| Collection of river water samples from the Down Stream station for 45Ca analysis | 4 |  |  |
| Preparation and analysis of airborne dust samples from stations JA, JB, JC and JD with gamma ray spectrometry | 16 |  |  |
| Preparation and analysis of rainwater samples (including dry deposit) from stations JA, JB, JC and JD with gamma ray spectrometry | 16 |  |  |
| Preparation and analysis of rainwater samples from stations JA, JB, JC and JD for tritium | 16 |  |  |
| Preparation and analysis of groundwater samples from stations JA, JB, JC and JD with gamma ray spectrometry | 16 |  |  |
| Preparation and analysis of groundwater samples from stations JA, JB, JC and JD for tritium | 16 |  |  |
| Preparation and analysis of groundwater samples from stations JA, JB, JC and JD for 45Ca | 16 |  |  |
| Preparation and analysis of soil samples from stations JA, JB, JC and JD with gamma ray spectrometry | 4 |  |  |
| Preparation and analysis of river water samples from the Down Stream station with gamma ray spectrometry | 4 |  |  |
| Preparation and analysis of river water samples from the Up Stream and Down Stream stations for tritium | 24 |  |  |
| Preparation and analysis of river water samples from the Down Stream station for 45Ca | 4 |  |  |
|  | carried forward |  |  |

Pricing Schedule A – Annual Costs (page 3 of 3)

| Service | Number required per Annum (a) | Rate (£) (b) | Total Cost per Annum (£) (a)x(b) |
| --- | --- | --- | --- |
| brought forward |  |  |  |
| Other costs (Tenderers to insert) |  |  |  |
| Total to Pricing Schedule A |  |  |  |

COMPENSATION EVENT PRICING

Staff Schedule

The Consultant lists the costs actually incurred (but including overheads and profit) of all people likely to be involved in carrying out any additional works (compensation events) that might arise. The Employer reserves the right to require the Supplier to demonstrate that the rates are based upon costs actually incurred.

The Project Manager’s certification is required for all hours claimed.

|  | Grade or description of person undertaking work | Hourly cost (normal hours) | Hourly Cost (Overtime) |
| --- | --- | --- | --- |
| 1 | Account Manager | £ | £ |
| 2 | Lead Technical Consultant | £ | £ |
| 3 | Junior Technical Consultant | £ | £ |
| 4 | Quality Assurance Manager | £ | £ |
| 5 | Commercial Manager | £ | £ |
| etc | Others (e.g Environmental Manager) please specify |  |  |

APPENDIX B

METHOD STATEMENT/ACCURACY LEVELS

1.  The Consultant submits with his tender an Outline Method Statement for the Works, indicating the proposed sequence of operation and general methodology to cover tasks A, B and C as detailed in the specification.

2.   The Consultant shall confirm their method of collection and analysis of samples and level of accuracy

which can be attributed to the results using their proposed methodology. The minimum accuracy levels

accepted is highlighted in section 4 of the specification.

3.   The Consultant shall confirm details of all major items of equipment he proposes to use to provide the

Works and/or to gather samples.

APPENDIX B (Continued)

The Consultant provides details of 2 reference contracts undertaken recently (if possible) where the technical requirements and contract size are similar to this requirement.

| CONTRACT 1 | CONTRACT 2 |
| --- | --- |
| Customers name and address: Contact Name and ‘phone number or e-mail address: | Customer name and address: Contact Name and ‘phone number or e-mail address: |
| Description of work identifying similarities with the Service Information: | Description of work identifying similarities with the Service Information: |
| Contract value (approx): | Contract value (approx): |
| Contract start date and duration: | Contract start date and duration: |

APPENDIX C

KEY PERSONNEL

1. The Consultant names key personnel proposed for the contract: Key people include: Consultant’s project manager. Name……………………………………… Lead Consultant(s). Name........................................................ Junior Consultant(s). Name……………………………………… Commercial Manager. Name………………………………………. Quality Assurance Manager. Name………………………………………. Please expand/delete as required. 2. The Consultant provides a separate summary paragraph for each of the key people highlighting their relevant experience and qualifications to carry out this task. 3. The Consultant provides individual training records as endorsements that those involved in the analysis are qualified to carry out the task.

APPENDIX D

INSURANCE

The Consultant attaches certificates in respect of the insurance policies required under section 8 of the Contract Data Part One

APPENDIX E

QUALITY ASSURANCE

1) If the Consultant holds a certification for a recognised quality management system eg UKAS, BS/EN/ISO 9001, or equivalent, he attaches it. 2) If the Consultant does not hold such certification he provides details of his quality management system and a quality management policy statement signed by his Managing Director/CEO or equivalent. 3) The Consultant attaches an Outline Quality Plan for the works stating name of their management representative responsible for ensuring that the quality system is established, implemented and maintained which complies with them.

APPENDIX F

SAFETY POLCY AND ENVIRONMENT

1. The Consultant provides details of how he operates a formal safety system (e.g. safety audits, COSHH assessments, etc) 2. The Consultant provides details of his company’s safety performance over the last 3 years in terms of number of staff employed, man-days lost due to work-related accidents and fatal accidents. 3. If the Consultant has been prosecuted for Health & Safety or Environment incidents in the last 3 years, he gives details and identifies the actions that he has taken to address the root causes. 4. The Consultant provides details of the safety training provided to his employees including arrangements for identifying training needs and monitoring the effectiveness of training provided 5. The Consultant provides a copy of current certificates ie (Environmental Certificate eg: ISO14001) to show accreditations with associated scopes that cover environmental aspects.

APPENDIX G

CONSULTANTS CONTRACT ORGANISATION

1. The Consultant describes below or attaches an organisation structure chart showing his proposed staffing organisation for the contract, including any sub-contract staff (who should be clearly identified as such), their relationships and lines of communication including interfaces with the Employer.

The organisation structure must identify all of the key people named in Appendix C.

2. The Consultant details all proposed subcontract arrangements and the type and estimated proportion of the total work that each of them would represent:

Sub-Contractor Name	Services			       Proportion

of total work

.................................             …………………….                    ...........................

.................................             …………………….		   ..........................

.................................              ……………………		   ...........................

Where it is estimated that any proposed sub-consultant provides more than 10% of the total work, then

the Consultant attaches details of the qualifications and experience of the sub-consultant and details of

the Consultants relationship with them. Similar details may be provided in respect of other proposed sub-

consultants at the Consultants discretion.

APPENDIX H

OUTLINE MOBILISATION PLAN

The Consultant provides with the tender, information on the outline mobilisation plan. The outline mobilisation plan identifies all staff integration, training, documentation and acceptance requirements for the Contractor's staff to be in place by the possession date. The outline mobilisation plan also identifies the handover of services and functions carried out under existing sub-contracts

APPENDIX I

DEPARTURES AND ASSUMPTIONS

The Consultant details below any aspects of the Invitation to Tender documentation including the Technical Specification to which he proposes amendment (‘departures’). The Consultant also identifies any assumptions made in the preparation of his tender submission (and should note point 4. of the Notes for Tenderers in this respect). If no departures or assumptions are proposed the Consultant states ‘none’

APPENDIX J

DECLARATION OF NO CONFLICT OF INTEREST

I,  ________________________________________________(insert your full name)

of  __________________________________________(insert your Company name)

hereby declare that the following:

NAME 	TITLE	COMPANY

were involved in the preparation of our bid for Tender Ref: T/JE03317

I further declare that no representative of the Company was involved with or influenced any person associated with the preparation of the tender invitation.

SIGNED:	.............................................................................................

In the capacity

of (eg Director):      .............................................................................................

For and On

Behalf of:	...............................................................................................

Date:		                 ...............................................................................................

(Any false statement could jeopardise future opportunities to work for the Employer)

Appendix K

DECLARATION OF NO MATERIAL CHANGE IN CIRCUMSTANCE

I, ______________________________________________________, (insert your full name) of ______________________________________________ (insert your Company name) signed in the capacity of either Managing Director or Company Secretary (Delete as applicable) hereby declare that as of this date, ______________ (insert date) the information submitted within this tender is true and correct.  Additionally, I shall immediately inform the Authority in the event that there is or could be any material change to this information during the tender process.

- Items which would be considered a material change include but are not limited to:

- Management buy out

- Re-structuring

- Re-financing

- Profit warnings

- Loss of any accreditation or the rescinding of any licences or approvals

- Prosecution

- Trade Union disputes or industrial action

- A change to any declaration to be made under this tender

- A change to information which forms part of any declared formal tender assessment criteria

- A change to any information on which either your Company or the Authority might later rely

- If you are in any doubt whether a change is material you should disclose the details.

Failure to advise the Authority of any material change may lead to the tender being disqualified. The Authority acknowledges that certain information may be covered by legislation i.e. The Financial Services Act, in which case the full information must be disclosed to the Authority at the earliest possible time not to infringe the relevant legislation.

Any false statement could jeopardise future opportunities to work for the Authority.

Signature....................................................................

Date...............................................

CG25 (November 2009)