SMC 1.2.1 ASSET LIST STATIC AND HYDROMIST HOSE REELS

| Building | Location | Type | Serial Number | Number |
| --- | --- | --- | --- | --- |
| A1 Block | 1’s Landing | MHRU2 | MH2 4411E | FHR 001 |
| A1 Block | 2’s Landing | MHRU2 | MH2 4412E | FHR 002 |
| A1 Block | 3’s Landing | MHRU2 | MH2 4197D | FHR 003 |
| A2 Block | 1’s Landing | MHRU2 | MH2 4193D | FHR 004 |
| A2 Block | 2’s Landing | MHRU2 | MH2 4199D | FHR 005 |
| A2 Block | 3’s Landing | MHRU2 | MH2 4201D | FHR 006 |
| A3 Block | 1’s Landing | MHRU2 | MH2 4200D | FHR 007 |
| A3 Block | 2’s Landing | MHRU2 | MH2 4398E | FHR 008 |
| A3 Block | 3’s Landing | MHRU2 | MH2 4210B | FHR 009 |
| A4 Block | 1’s Landing | MHRU2 | MH2 4206D | FHR 010 |
| A4 Block | 2’s Landing | MHRU2 | MH2 4202D | FHR 011 |
| A4 Block | 3’s Landing | MHRU2 | MH2 4198D | FHR 012 |
| A Block | Corridor | Static Norsen 19mm Auto Reel | N/A | FHR 013 |
| B1 Block | 1’s Landing | MHRU2 | MH2 4418E | FHR 014 |
| B1 Block | 2’s Landing | MHRU2 | MH2 4400E | FHR 015 |
| B1 Block | 3’s Landing | MHRU2 | MH2 4397E | FHR 016 |
| B2 Block | 1’s Landing | MHRU2 | MH2 4203D | FHR 017 |
| B2 Block | 2’s Landing | MHRU2 | MH2 4413E | FHR 018 |
| B2 Block | 3’s Landing | MHRU2 | MH2 4408E | FHR 019 |
| B3 Block | 1’s Landing | MHRU2 | MH2 4401E | FHR 020 |
| B3 Block | 2’s Landing | MHRU2 | MH2 4402E | FHR 021 |
| B3 Block | 3’s Landing | MHRU2 | MH2 4205D | FHR 022 |
| B4 Block | 1’s Landing | MHRU2 | MH2 4407E | FHR 023 |
| B4 Block | 2’s Landing | MHRU2 | MH2 4414E | FHR 024 |
| B4 Block | 3’s Landing | MHRU2 | MH2 4409E | FHR 025 |
| B Block | Corridor | Static Norsen 19mm Auto Reel | N/A | FHR 026 |
| C Block | Corridor | Static Norsen 19mm Auto Reel | N/A | FHR 027 |
| C Block | 1’s Landing | MHRU2 | MH2 4489F | FHR 028 |
| C Block | 2’s Landing | MHRU2 | MH2 4432E | FHR 029 |
| C Block | 3’s Landing | MHRU2 | MH2 4404E | FHR 030 |
| D Block | 1’s Landing | MHRU2 | MH2 4393E | FHR 031 |
| D Block | 2’s Landing | MHRU2 | MH2 4417E | FHR 032 |
| D Block | 3’s Landing | MHRU2 | MH2 4396E | FHR 033 |
| D Block | Corridor | Static Norsen 19mm Auto Reel | N/A | FHR 034 |
| Prisoner Services | E1, YPU & E2 Phoenix Entrance Area | MHRU2 | MH2 4208D | FHR 035 |
| Safer Custody | Corridor | Static Norsen 19mm Auto Reel | N/A | FHR 036 |
| Admissions | Corridor | Static Norsen 19mm Auto Reel | N/A | FHR 037 |
| Safer Custody | 1’s Landing | MHRU2 | WH 13 13 3166 | FHR 038 |
| Prisoner Services | G1 Entrance Area | Static Norsen 19mm Auto Reel | N/A | FHR 039 |
| Prisoner Services | G1 Unit | MHRU2 | MH2 4204D | FHR 040 |
| Prisoner Services | G1 Corridor | Static Norsen 19mm Auto Reel | N/A | FHR 041 |
| Prisoner Services | G1 Corridor | Static Norsen 19mm Auto Reel | N/A | FHR 042 |
| Industries | Outside Industries 4 | Static Norsen 19mm Auto Reel | N/A | FHR 043 |
| Industries | Outside Industries Stores | Static Norsen 19mm Auto Reel | N/A | FHR 044 |
| Visits | Main Visits | Static Norsen 19mm Auto Reel | N/A | FHR 045 |
| Admin | Admin | Static Norsen 19mm Auto Reel | N/A | FHR 046 |
| T1 Block | 1’s Landing | HRC ST35 | WM 13 11 2175 | FHR 047 |
| T1 Block | 2’s Landing | HRC ST35 | WM 13 11 2174 | FHR 048 |
| T1 Block | 3’s Landing | HRC ST35 | WM 13 11 2183 | FHR 049 |
| T2 Block | 1’s Landing | HRC ST35 | WM 13 11 2190 | FHR 050 |
| T2 Block | 2’s Landing | HRC ST35 | WM 13 11 2192 | FHR 051 |
| T2 Block | 3’s Landing | HRC ST35 | WM 13 11 2191 | FHR 052 |
| T3 Block | 1’s Landing | HRC ST35 | WM 13 11 2188 | FHR 053 |
| T3 Block | 2’s Landing | HRC ST35 | WM 13 11 2189 | FHR 054 |
| T3 Block | 3’s Landing | HRC ST35 | WM 13 11 2186 | FHR 055 |
| T4 Block | 1’s Landing | HRC ST35 | WM 13 11 2184 | FHR 056 |
| T4 Block | 2’s Landing | HRC ST35 | WM 13 11 2179 | FHR 057 |
| T4 Block | 3’s Landing | HRC ST35 | WM 13 11 2178 | FHR 058 |
| T Block Corridor | 1’s Landing | HRC ST35 | WM 13 11 2195 | FHR 059 |
| T Block Corridor | 2’s Landing | HRC ST35 | WM 13 11 2181 | FHR 060 |
| T Block Corridor | 2’s Landing | HRC ST35 | WM 13 11 2176 | FHR 061 |
| T5 Block | 4’s Landing | HRC ST35 | WM 13 11 2193 | FHR 062 |
| T5 Block | 4’s Landing | HRC ST35 | WM 13 11 2182 | FHR 063 |
| T5 Block | 3’s Landing | HRC ST35 | WM 13 11 2173 | FHR 064 |
| T5 Block | 3’s Landing | HRC ST35 | WM 13 11 2194 | FHR 065 |
| T5 Block | 2’s Landing | HRC ST35 | WM 13 11 2185 | FHR 066 |
| T5 Block | 2’s Landing | HRC ST35 | WM 13 11 2180 | FHR 067 |
| T5 Block | 1’s Landing | HRC ST35 | WM 13 11 2187 | FHR 068 |
| T6 Block | 1’s Landing | HRC ST35 | WM 13 11 2177 | FHR 069 |
| X1 Block | 1’s Landing | HRC/WP | WM SP 02 3104 | FHR 070 |
| X1 Block | 2’s Landing | HRC/WP | WM SP 02 3102 | FHR 071 |
| X1 Block | 3’s Landing | HRC/WP | WM SP 02 3105 | FHR 072 |
| X2 Block | 1’s Landing | HRC/WP | WM SP 02 3106 | FHR 073 |
| X2 Block | 2’s Landing | HRC/WP | WM SP 02 3098 | FHR 074 |
| X2 Block | 3’s Landing | HRC/WP | WM SP 02 3099 | FHR 075 |
| X3 Block | 1’s Landing | HRC/WP | WM SP 02 3101 | FHR 076 |
| X3 Block | 2’s Landing | HRC/WP | WM SP 02 3103 | FHR 077 |
| X3 Block | 3’s Landing | HRC/WP | wM SP 02 3100 | FHR 078 |
| Stores | Ground Floor Front | Static Norsen 19mm Auto Ree | N/A | FHR 079 |
| Stores | Ground Floor Rear | Static Norsen 19mm Auto Ree | N/A | FHR 080 |
| Stores | Mezzanine Rear | Static Norsen 19mm Auto Ree | N/A | FHR 081 |
| VP Visits waiting | Ground Floor | Static Norsen 19mm Auto Ree | N/A | FHR 082 |
| Amenities 1st Floor, photocopier. | Ground Floor | Static Norsen 19mm Auto Reel | N/A | FHR 083 |
| Entrance to Well being Office, Prisoner Services | Ground Floor | Static Norsen 19mm Auto Reel | N/A | FHR 084 |

SMC 1.2.2 Service schedule in line with manufacturer’s instructions is carried out with monthly inspections undertaken by a competent person

X - Ref to fire officers folder for monthly inspection reports