[image: image1.jpg]



[image: image2.png].
AWARD SCH.

e
l FOUNDATION





COLWICH PARISH COUNCIL

Specification for the development of a footpath linking

Great Haywood Memorial Hall car park and

Hazeldene House Surgery car park
 Main Road, Great Haywood.
Including the supply, installation and associated works.
Clerk
Colwich Parish Council

Parish Centre
St Marys Road
Little Haywood
ST18 0TX
Date: 9th December 2019

Specification for Link Footpath, Great Haywood  

Preliminaries

1.  
Contract Period
The date for the commencement of the contract will be negotiable but all works must be complete by May 2020 at the latest with tenders received by close 24th January 2020 ahead of consideration at Full Council on 6th February 2020.
2.
Contractor’s Site Visit

2.1
It will be the responsibility of the contractor to visit the site before tendering and acquaint himself with the difficulties, which may be encountered, as no subsequent claim will be allowed for alleged lack of knowledge of such conditions.

2.2
The contractor will be required to undertake researches and shall be responsible for establishing precise location of all services, including soakaways, within the vicinity of the works. The contractor shall be deemed to have allowed for locating, protecting, maintaining, upholding and reinstating any damage caused to existing gas, water and waste pipes, electricity and telephone cables, drains and the like during the execution of the Works. The Contractor shall return those areas of the site not being developed to their condition prior to commencement of the Works.
3.
Equipment Storage

The contractor will be totally responsible for the secure storage of all plant and equipment supplied during the execution of the works including fencing. It should be noted that the Council is unable to provide any facilities for storage.

4.
Price


The tendered price shall be all-inclusive involving all necessary equipment, materials, site works, ground contouring and reinstatement costs. The Council reserves the right to amend the proposal and layout of the site to comply with budget restraints and planning requirements.

5.
Independent Inspection


It will be necessary to include a certified ROSPA post-installation inspection from a suitably certified registered inspector for the site, the site will not be adopted by the Council until this inspection has been completed and any findings rectified. The inspection should take into consideration the complete site including access, fencing, gates and surfacing and incorporate a risk assessment.

6.
Retention

A 5% retention on the total contract cost will be held for 12 months to ensure complete satisfaction of the works.

7
Contract

7.1
The accepted tenderer will be required to enter into a Form of Contract issued by the Joint Contracts Tribunal and known as the Agreement for Minor Building Works 1980 and incorporating any amendments.

7.2
The contract will be executed as a deed.

7.3
A copy of the said Form of Contract is available for inspection at the Parish Centre and the contractor shall be deemed to have tendered with full knowledge of the said conditions.

8
Possession of Sites

8.1
Possession of the site will be given to the contractor at a mutually agreed time following the signing of the contract and in discussion with the Great Haywood Memorial Hall and Hazeldene House Surgery.
8.2

The contractor is to limit his operations to the minimum area possible and is to allow for taking all necessary precautions to prevent damage to the existing structures, fencing, grounds etc, and to ensure his operations do not constitute a hazard.

8.3

The Contractor will ensure that the site is secured whilst works are in progress. The Council is unable to provide security for the site or facilitate the ongoing maintenance of security fencing and the contractor will be expected to respond immediately to complaints/concerns relating to the health and safety of the site.

9
Programme

The contractor will be required to provide a copy of his programme of work, detailing when the work is to be carried and when it is to be completed by.

10
Name Boards

The contractor will only be permitted to erect a single signboard indicating his name and address, the Council’s name and address, and the scope of the work, all not to exceed 2m x 1m in size. It will be for the contractor to obtain the necessary planning permission for such sign.

11
Health and Safety

The contractor will comply with all the Health & Safety requirements as they relate to his work and the sites he works on.

12
Services

The Contractors attention is drawn to the fact that they must establish the full extent of all possible services to the site and must consult the appropriate service bodies (electricity, gas, water etc.) as the Council will accept no responsibility for any damage to services.

13
Project
13.1
The Council has obtained a 2-metre wide strip of land linking the two car parks and all works must be retained within this area so not to disturb local households. 

13.2
The scope of the project is to create a stepped footpath linking the two carparks as our survey indicates the Great Haywood Memorial Hall carpark is some 2.5 metres higher than the Hazeldene House Surgery carpark. The attached structural engineer’s drawings refer.
13.3
The quote should include supply and installation, including all necessary groundworks and reinstatements, of:

The footpath and associated steps to join these two carparks with the only changes of height being through fixed steps as detailed. The Council is open to suggestions as to the most appropriate surface for the path and steps.

Supply and installation of a retaining wall between the footpath and number 1 Hazeldene, Main Road, Great Haywood.
The footpath should be gated at both ends so as to prevent its use outside of surgery hours.

The footpath should include the supply and installation of solar powered motion sensitive low-level lights.
14
Reinstatement 


The tender sum should allow for the following works for site reinstatement 

· Excavate all inert materials from site and dispose of to an approved licensed tip and licensed contractor.

· Supply good quality top soil to infill all excavated areas

· Consolidate soil and rake level with existing ground

· Produce suitably cultivated soil conditions to allow sowing of amenity grass seed.

· Sow grass seed at a rate of 17 grams per square metre evenly over the total area prior to a final luting of topsoil.

15
The Clerk to Colwich Parish Council, Councillors and its appointed Architect/Consulting Engineer will inspect the reinstatement works on completion. The sites will not be adopted by the Council until these inspections have been completed and any findings rectified.
16 
General Summary
Please complete the table below and provide descriptions of each item including costs for supply, installation and surfacing. This section must be returned and will be used in evaluating your submission. Ensure the total sum is carried forward to the FORM OF TENDER
	Item
	Description
	Qty
	Cost
	TOTAL

	
	
	
	Supply
	Install
	IAS
	

	Preliminaries

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	Footpath/Steps

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	Retaining wall

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	Gates and Lights

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	Ancillary Items

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	Ground works

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	Reinstatement

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	Contingency

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	TOTAL CARRIED TO FORM OF TENDER
	
	
	
	
	


FORM OF TENDER

We certify that this is a bone fide Tender, intended to be competitive, and that we have not fixed or adjusted the amount of the Tender in accordance with any other person, body or association.

Authorisation

Signed:
……………………………………………………….

Name (Print):
……………………………………………………….

Title:
……………………………………………………….

For and on behalf of:
……………………………………………………….

Full address, including postal code, to which all circumstances relating to this Tender should be despatched:


……………………………………………………….


……………………………………………………….


……………………………………………………….


……………………………………………………….
Telephone number:
……………………………………………………….

Total cost:
£………………………………………………(Gross)


£…………………………………………………(Net)

You should provide the following alongside your tender:

Company details (including legal status)

Details and copy of insurance cover

Financial information (e.g. recent accounts)

Relevant experience and references

Health and Safety policy

Quality assurance policy

Environmental management policy

Equal opportunities policy

Membership of relevant professional associations[image: image3.png].
AWARD SCH.

e
l FOUNDATION





