Invitation to Quote (ITQ) – HH/2021/01

I am the Facilities Manager responsible for the Environment Agency’s head office, a modern four storey building located in the centre of Bristol, with a pre-pandemic capacity of 850 employees.

We are approaching the end of our current potable water contract and I am keen to replace our existing system on a like for like basis where possible; though I would consider all options for dispensing potable water to our kitchenette areas.

The building is fitted with a rented potable water system, which supplies nine kitchenette areas with chilled and hot water.  We also have a single bottling tap which dispenses chilled water.

All taps are fed from a single chiller in the basement level, with hot water provided by a heater below each outlet.

Any system must:

- Be WRAS approved

- Provide chilled water from main supply

- Provide hot water suitable for making tea, coffee and other hot drinks from main supply

- Not rely on existing infrastructure; which will be removed at the end of the contract

- Provide DDA compliant access to hot and cold water

Any future contract must:

- Include all equipment required to provide hot and cold water to point of use

- Include installation

- Include regular periodical planned maintenance

- Include unlimited callout and maintenance in response to failures

- Include all replacement filters and sanitation procedures

The contract itself is likely to cover a three year period, with an option to extend for a further two years.

This letter, and the system requirements, is being advertised on Contracts Finder.  As a central government building, a success factor is value for money for the organisation and the taxpayer; the overall and through life costings for the complete system must be as cost-effective as possible.

Another key factor will be the systems through life carbon footprint.  As an organisation, we are committed to reduce our carbon footprint to Net Zero – any system must demonstrate a similar commitment and support our efforts.

If you are interested in tendering for this contract, I would appreciate a quote breaking down the full cost of the system over the five year life of the agreement no later than 1600hrs on the 02 July 2021.

I appreciate that all requirements cannot be captured in this initial request, so I am more than happy to arrange a telephone call to discuss our needs with you, as well organise a site visit so you can fully understand the building.  I look forward to speaking to you or one of your representatives soon.