Invitation to Quote

Invitation to Quote (ITQ) on behalf of UK Research and Innovation – STFC

Subject: 3D Portable Laser Tracker

Sourcing Reference Number: RE19273

Table of Contents

Section		Content

1			About UK Shared Business Services Ltd.

2			About the Contracting Authority

3			Working with the Contracting Authority.

4			Specification

5			Evaluation model

6			Evaluation questionnaire

7			General Information

Section 1 – About UK Shared Business Services

### Putting the business into shared services

### UK Shared Business Services Ltd (UK SBS) brings a commercial attitude to the public sector; helping our Contracting Authorities improve efficiency, generate savings and modernise.

### It is our vision to become the leading service provider for the Contracting Authorities of shared business services in the UK public sector, continuously reducing cost and improving quality of business services for Government and the public sector.

Our broad range of expert services is shared by our Contracting Authorities. This allows Contracting Authorities the freedom to focus resources on core activities; innovating and transforming their own organisations.

Core services include Procurement, Finance, Grants Admissions, Human Resources, Payroll, ISS, and Property Asset Management all underpinned by our Service Delivery and Contact Centre teams.

UK SBS is a people rather than task focused business. It’s what makes us different to the traditional transactional shared services centre. What is more, being a not-for-profit organisation owned by the Department for Business, Energy & Industrial Strategy (BEIS), UK SBS’ goals are aligned with the public sector and delivering best value for the UK taxpayer.

UK Shared Business Services Ltd changed its name from RCUK Shared Services Centre Ltd in March 2013.

Our Customers

Growing from a foundation of supporting the Research Councils, 2012/13 saw Business, Energy and Industrial Strategy (BEIS) transition their procurement to UK SBS and Crown Commercial Services (CCS – previously Government Procurement Service) agree a Memorandum of Understanding with UK SBS to deliver two major procurement categories (construction and research) across Government.

UK SBS currently manages £700m expenditure for its Contracting Authorities.

Our Contracting Authorities who have access to our services and Contracts are detailed here.

Privacy Statement

At UK Shared Business Services (UK SBS) we recognise and understand that your privacy is extremely important, and we want you to know exactly what kind of information we collect about you and how we use it.

This privacy notice link below details what you can expect from UK SBS when we collect your personal information.

- We will keep your data safe and private.

- We will not sell your data to anyone.

- We will only share your data with those you give us permission to share with and only for legitimate service delivery reasons.

https://www.uksbs.co.uk/use/pages/privacy.aspx

For details on how the Contracting Authority protect and process your personal data please follow the link below:

https://www.ukri.org/privacy-notice/

Section 2 – About the Contracting Authority

UK Research and Innovation

Operating across the whole of the UK and with a combined budget of more than £6 billion, UK Research and Innovation represents the largest reform of the research and innovation funding landscape in the last 50 years.

As an independent non-departmental public body UK Research and Innovation brings together the seven Research Councils (AHRC, BBSRC, EPSRC, ESRC, MRC, NERC, STFC) plus Innovate UK and a new organisation, Research England.

UK Research and Innovation ensures the UK maintains its world-leading position in research and innovation. This is done by creating the best environment for research and innovation to flourish.

For more information, please visit: www.ukri.org

Section 3 - Working with the Contracting Authority.

In this section you will find details of your Procurement contact point and the timescales relating to this opportunity.

| Section 3 – Contact details |  |  |  |
| --- | --- | --- | --- |
|  | Contracting Authority Name and address | UK Research and Innovation Polaris House Swindon SN2 1FL |
|  | Buyer name | Tim Johnston |
|  | Buyer contact details | research.tenders@uksbs.co.uk |
|  | Estimated value of the Opportunity | £120,000 excluding VAT |
|  | Process for the submission of clarifications and Bids | All correspondence shall be submitted within the Messaging Centre of the e-sourcing. Guidance Notes to support the use of Delta eSourcing is available here. Please note submission of a Bid to any email address including the Buyer will result in the Bid not being considered. |

| Section 3 - Timescales |  |  |
| --- | --- | --- |
|  | Date of Issue of Contract Advert on Contracts Finder | Thursday 31st October 2019 Location: Contracts Finder |
|  | Latest date / time ITQ clarification questions shall be received through Delta eSourcing messaging system | Thursday 7th November 2019 14:00 |
|  | Latest date / time ITQ clarification answers should be sent to all Bidders by the Buyer through Delta eSourcing Portal | Monday 11th November 2019 14:00 |
|  | Latest date and time ITQ Bid shall be submitted through Delta eSourcing | Friday 15th November 2019 14:00 |
|  | Anticipated notification date of successful and unsuccessful Bids | Tuesday 26th November 2019 14:00 |
|  | Anticipated Contract Award date | Monday 2nd December 2019 |
|  | Anticipated Contract Start date | Thursday 5th December 2019 |
|  | Anticipated Contract End date | Friday 20th December 2024 |
|  | Bid Validity Period | 60 Days |

Section 4 – Specification

| Item Description |  |
| --- | --- |
| - Introduction, key features and capabilities The ISIS Survey & Alignment team are seeking to replace and upgrade their current Laser Tracker. The equipment will be used in a variety of locations across RAL and therefore needs to be portable (less than 25kg) and to be capable of being transported and deployed by one person, often within physically restricted or confined areas. The equipment should be capable of use ‘out of the box’ with minimal set-up times. The equipment must have the option to use and be controlled remotely through either Wi-fi and/or Bluetooth connections. The equipment may be used in areas contaminated with dirt, dust or liquids, a minimum IP54 rating is therefore required. The Tracker must have the ability to reliably and accurately follow and measure to a moving target, working within large volume areas of up to 160m Ø. The Instrument must be capable of being aligned to gravity. The ability to remotely view, control and capture the trackers field of view is also required. Minimum angular accuracy of ± 15 μm + 6 μm/m Minimum distance accuracy of ± 15 μm Minimum accuracy to a reflector of ± 15 μm + 6 μm/m Equipment will be serviced/calibrated as per the OEM’s recommendations however at least once a year. To maximise availability of the equipment, it is expected that the tracker will be collected, recalibrated, serviced and returned within a 2 week period. The equipment should be compatible for use with existing Hexagon/Leica and FARO equipment and accessories. |  |
| Software | Equipment will be required to operate with software Spatial Analyzer. |
| Service Maintenance and Support (including whole life support) | Must include a 5 years servicing and calibration plan, as per the OEM’s recommendations and at least yearly. Invoiced annually. |
| User and Service Manuals | Must provide a physical and/or electronic user and service manual/s. |
| Power Requirements | Must be capable of operating from both rechargeable batteries and from mains supply. System should be able to operate for a minimum of 6 hour on battery charge. |
| Relevant Standards | Calibration Certificate to be supplied, showing compliance with manufacturer stated specification. |
| Warranty | Minimum 24 month warranty for parts and labour. |
| Portability | Weight of the unit will not exceed 25kg. |
| Delivery location and date | Must be delivered to: ISIS Accelerator Division, Rutherford Appleton Laboratory, Harwell Campus Didcot, OX11 0QX. Delivery by the 20th December 2019. |
| Terms and Conditions Bidders are to note that any requested modifications to the Contracting Authority Terms and Conditions on the grounds of statutory and legal matters only, shall be raised as a formal clarification during the permitted clarification period. |  |

Section 5 – Evaluation model

The evaluation model below shall be used for this ITQ, which will be determined to two decimal places.

Where a question is ‘for information only’ it will not be scored.

The evaluation team may comprise staff from UK SBS and the Contracting Authority and any specific external stakeholders the Contracting Authority deems required.

The evaluation and if required team may comprise staff from UK SBS and the Contracting Authority and any specific external stakeholders the Contracting Authority deems required. After evaluation and if required moderation scores will be finalised by performing a calculation to identify (at question level) the mean average of all evaluators (Example – a question is scored by three evaluators and judged as scoring 5, 5 and 6. These scores will be added together and divided by the number of evaluators to produce the final score of 5.33 (5+5+6 =16÷3 = 5.33)

| Pass / Fail criteria |  |  |  |
| --- | --- | --- | --- |
| Questionnaire | Q No. | Question subject |
| Commercial | SEL1.2 | Employment breaches/ Equality |
| Commercial | SEL1.3 | Compliance to Section 54 of the Modern Slavery Act |
| Commercial | FOI1.1 | Freedom of Information |
| Commercial | AW1.1 | Form of Bid |
| Commercial | AW1.3 | Certificate of Bona Fide Bid |
| Commercial | AW3.1 | Validation check |
| Commercial | AW4.1 | Compliance to the Contract Terms |
| Commercial | AW4.2 | Changes to the Contract Terms |
| Price | AW5.1 | Firm and Fixed Price |
| Quality | AW6.1 | Compliance to the Specification |
| Quality | AW6.2 | Variable Bids |
| Quality | PROJ1.4 | Confirmation of delivery |
|  | In the event of a Bidder failing to meet the requirements of a Mandatory pass / fail criteria, the Contracting Authority reserves the right to disqualify the Bidder and not consider evaluation of any of the Award stage scoring methodology or Mandatory pass / fail criteria. |  |

| Scoring criteria |  |  |  |
| --- | --- | --- | --- |
| #### Evaluation Justification Statement In consideration of this particular requirement the Contracting Authority has decided to evaluate Potential Providers by adopting the weightings/scoring mechanism detailed within this ITQ. The Contracting Authority considers these weightings to be in line with existing best practice for a requirement of this type. |  |  |  |
| Questionnaire | Q No. | Question subject | Maximum Marks |
| Price | AW5.2 | Price | 80% |
| Quality | PROJ1.2 | System Accuracy | 10% |
| Quality | PROJ1.2 | System Weight | 10% |

Evaluation of criteria

Price elements will be judged on the following criteria.

The lowest price for a response which meets the pass criteria shall score 100. All other bids shall be scored on a pro rata basis in relation to the lowest price. The score is then subject to a multiplier to reflect the percentage value of the price criterion. For example - Bid 1 £100,000 scores 100. Bid 2 £120,000 differential of £20,000 or 20% remove 20% from price scores 80 Bid 3 £150,000 differential £50,000 remove 50% from price scores 50. Bid 4 £175,000 differential £75,000 remove 75% from price scores 25. Bid 5 £200,000 differential £100,000 remove 100% from price scores 0. Bid 6 £300,000 differential £200,000 remove 100% from price scores 0. Where the scoring criterion is worth 50% then the 0-100 score achieved will be multiplied by 50. In the example if a supplier scores 80 from the available 100 points this will equate to 40% by using the following calculation: Score/Total Points multiplied by 50 (80/100 x 50 = 40) The lowest score possible is 0 even if the price submitted is more than 100% greater than the lowest price.

Section 6 – Evaluation questionnaire

Bidders should note that the evaluation questionnaire is located within the e-sourcing questionnaire.

Guidance on completion of the questionnaire is available at http://www.uksbs.co.uk/services/procure/Pages/supplier.aspx

PLEASE NOTE THE QUESTIONS ARE NOT NUMBERED SEQUENTIALLY

Section 7 – General Information

What makes a good bid – some simple do’s

DO:

7.1	Do comply with Procurement document instructions. Failure to do so may lead to disqualification.

7.2	Do provide the Bid on time, and in the required format.  Remember that the date/time given for a response is the last date that it can be accepted; we are legally bound to disqualify late submissions. Responses received after the date indicated in the ITQ shall not be considered by the Contracting Authority, unless the Bidder can justify that the reason for the delay, is solely attributable to the Contracting Authority

7.3	Do ensure you have read all the training materials to utilise e-sourcing tool prior to responding to this Bid. If you send your Bid by email or post it will be rejected.

7.4	Do use Microsoft Word, PowerPoint Excel 97-03 or compatible formats, or PDF unless agreed in writing by the Buyer. If you use another file format without our written permission, we may reject your Bid.

7.5	Do ensure you utilise the Delta eSourcing messaging system to raise any clarifications to our ITQ. You should note that we will release the answer to the question to all Bidders and where we suspect the question contains confidential information, we may modify the content of the question to protect the anonymity of the Bidder or their proposed solution

7.6 	Do answer the question, it is not enough simply to cross-reference to a ‘policy’, web page or another part of your Bid, the evaluation team have limited time to assess bids and if they can’t find the answer, they can’t score it.

7.7	Do consider who the Contracting Authority is and what they want – a generic answer does not necessarily meet every Contracting Authority’s needs.

7.8	Do reference your documents correctly, specifically where supporting documentation is requested e.g. referencing the question/s they apply to.

7.9	Do provide clear, concise and ideally generic contact details; telephone numbers, e-mails and fax details.

7.10	Do complete all questions in the questionnaire or we may reject your Bid.

7.11    Do ensure that the Response and any documents accompanying it are in the English

Language, the Contracting Authority reserve the right to disqualify any full or part

responses that are not in English.

7.12	Do check and recheck your Bid before dispatch.

What makes a good bid – some simple do not’s

DO NOT

7.13	Do not cut and paste from a previous document and forget to change the previous details such as the previous buyer’s name.

7.14	Do not attach ‘glossy’ brochures that have not been requested, they will not be read unless we have asked for them.  Only send what has been requested and only send supplementary information if we have offered the opportunity so to do.

7.15	Do not share the Procurement documents, they are confidential and should not be shared with anyone without the Buyers written permission.

7.16	Do not seek to influence the procurement process by requesting meetings or contacting UK SBS or the Contracting Authority to discuss your Bid. If your Bid requires clarification the Buyer will contact you. All information secured outside of formal Buyer communications shall have no Legal standing or worth and should not be relied upon.

7.17	Do not contact any UK SBS staff or the Contracting Authority staff without the Buyers written permission or we may reject your Bid.

7.18	Do not collude to fix or adjust the price or withdraw your Bid with another Party as we will reject your Bid.

7.19	Do not offer UK SBS or the Contracting Authority staff any inducement or we will reject your Bid.

7.20	Do not seek changes to the Bid after responses have been submitted and the deadline for Bids to be submitted has passed.

7.21	Do not cross reference answers to external websites or other parts of your Bid, the cross references and website links will not be considered.

7.22	Do not exceed word counts, the additional words will not be considered.

7.23	Do not make your Bid conditional on acceptance of your own Terms of Contract, as your Bid will be rejected.

7.24     Do not unless explicitly requested by the Contracting Authority either in the procurement documents or via a formal clarification from the Contracting Authority send your response by any way other than via e-sourcing tool. Responses received by any other method than requested will not be considered for the opportunity.

Some additional guidance notes

7.25	All enquiries with respect to access to the e-sourcing tool and problems with functionality within the tool must be submitted to Delta eSourcing, Telephone 0845 270 7050

7.26	Bidders will be specifically advised where attachments are permissible to support a question response within the e-sourcing tool.   Where they are not permissible any attachments submitted will not be considered as part of the evaluation process.

7.27	Question numbering is not sequential and all questions which require submission are included in the Section 6 Evaluation Questionnaire.

7.28	Any Contract offered may not guarantee any volume of work or any exclusivity of supply.

7.29 	We do not guarantee to award any Contract as a result of this procurement

7.30 	All documents issued or received in relation to this procurement shall be the property of the Contracting Authority / UKSBS.

7.31	 We can amend any part of the procurement documents at any time prior to the latest date / time Bids shall be submitted through the Delta eSourcing Portal.

7.32	If you are a Consortium you must provide details of the Consortiums structure.

7.33	Bidders will be expected to comply with the Freedom of Information Act 2000, or your Bid will be rejected.

7.34	Bidders should note the Government’s transparency agenda requires your Bid and any Contract entered into to be published on a designated, publicly searchable web site.  By submitting a response to this ITQ Bidders are agreeing that their Bid and Contract may be made public

7.35	Your bid will be valid for 60 days or your Bid will be rejected.

7.36	Bidders may only amend the contract terms during the clarification period only, only if you can demonstrate there is a legal or statutory reason why you cannot accept them.  If you request changes to the Contract terms without such grounds and the Contracting Authority fail to accept your legal or statutory reason is reasonably justified, we may reject your Bid.

7.37	We will let you know the outcome of your Bid evaluation and where requested will provide a written debrief of the relative strengths and weaknesses of your Bid.

7.38 	If you fail mandatory pass / fail criteria we will reject your Bid.

7.39	Bidders are required to use IE8, IE9, Chrome or Firefox in order to access the functionality of the Delta eSourcing Portal.

7.40	Bidders should note that if they are successful with their proposal the Contracting Authority reserves the right to ask additional compliancy checks prior to the award of any Contract.  In the event of a Bidder failing to meet one of the compliancy checks the Contracting Authority may decline to proceed with the award of the Contract to the successful Bidder.

7.41	All timescales are set using a 24-hour clock and are based on British Summer Time or Greenwich Mean Time, depending on which applies at the point when Date and Time Bids shall be submitted through the Delta eSourcing Portal.

7.42	All Central Government Departments and their Executive Agencies and Non-Departmental Public Bodies are subject to control and reporting within Government. In particular, they report to the Cabinet Office and HM Treasury for all expenditure. Further, the Cabinet Office has a cross-Government role delivering overall Government policy on public procurement - including ensuring value for money and related aspects of good procurement practice.

For these purposes, the Contracting Authority may disclose within Government any of the Bidders documentation/information (including any that the Bidder considers to be confidential and/or commercially sensitive such as specific bid information) submitted by the Bidder to the Contracting Authority during this Procurement. The information will not be disclosed outside Government. Bidders taking part in this ITQ consent to these terms as part of the competition process.

7.43	The Government introduced its new Government Security Classifications (GSC) classification scheme on the 2nd April 2014 to replace the current Government Protective Marking System (GPMS). A key aspect of this is the reduction in the number of security classifications used.  All Bidders are encouraged to make themselves aware of the changes and identify any potential impacts in their Bid, as the protective marking and applicable protection of any material passed to, or generated by, you during the procurement process or pursuant to any Contract awarded to you as a result of this tender process will be subject to the new GSC. The link below to the Gov.uk website provides information on the new GSC:

https://www.gov.uk/government/publications/government-security-classifications

The Contracting Authority reserves the right to amend any security related term or condition of the draft contract accompanying this ITQ to reflect any changes introduced by the GSC. In particular where this ITQ is accompanied by any instructions on safeguarding classified information (e.g. a Security Aspects Letter) as a result of any changes stemming from the new GSC, whether in respect of the applicable protective marking scheme, specific protective markings given, the aspects to which any protective marking applies or otherwise. This may relate to the instructions on safeguarding classified information (e.g. a Security Aspects Letter) as they apply to the procurement as they apply to the procurement process and/or any contracts awarded to you as a result of the procurement process.

USEFUL INFORMATION LINKS

- Contracts Finder

- Equalities Act introduction

- Bribery Act introduction

- Freedom of information Act