## MCA Beer - SoW
MCA - Beer
Coastguard Station Extension
Activity Schedule- Tender Stage
ACTIVITY SCHEDULE
Item No. | Item | Firm Cost (£) Excluding VAT | Notes
NOTE ON TENDERING / PRICING OF SCHEDULE OF WORKS: Contractors are to provide costs against each item and not provide lump sums for sections or combine costs for multiple items and reference 'included' for items. Any lack of itemised costs will be returned to the contractor and individual costs will be requested and may jeopardise the submitted tender return. Please do not add or omit information on this schedule or change the format of this pricing document in anyway. The schedule is set up with auto-sums which will automatically collate all of the section costs and these calculations are not to be deleted or amended in anyway.
0 | GENERALLY
0.01 | This Schedule of Work is to be read in conjunction with the relevant section of the Preliminaries and Specification clauses that form part of these tender documents. No variation/additional claim will be considered for any items not priced for in this schedule but which appear as specified in the specification / materials and workmanship section.
0.02 | This schedule is not measured in accordance with NRM2 and shall be taken as requiring all works and materials to those specified including such making good and opening up as would be required to complete the specification clauses.
0.03 | All items marked as ‘Provisional’ are to be allowed for in the Contractors overall submitted cost, including all attendance and BWIC; however these items of works are not guaranteed, and are only to be undertaken subject to written confirmation by the PM.
0.04 | Site storage to be contractor provided within the means of the space provided for welfare and compound. All materials and waste are to be removed from site by the contractor prior to practical completion. Allow for all skips and storage containers as necessary, including all licenses for their location. The client or PM will take no responsibility for any materials, plant or equipment stored or left on site.
0.05 | No WC facilities will be available and contractors are to make all allowances for these as necessary. A location on site is to be allocated for contractor's welfare facilities, exact location to be agreed with the client and PM.
0.06 | All public footpaths, highways and fire escape routes as part of the site and property are to be kept clear of all obstructions and debris at all times. All access and scaffolding should not obstruct the above at any time.
0.07 | Allow for supply of temporary fire fighting facilities, first aid equipment including hard hats, site notices and PPE generally to comply with HSE regulations.
0.08 | Allow for all standard insurances during the course of the works.
0.09 | Allow for safe working access for high level works. Include for access hoists, MEWPs, tower scaffolds and scaffolds as deemed necessary. Allow for anchor points and fall arrest systems and edge protections systems if required. Access methods are to be a issued as part of the tender.
0.1 | The contractor is expected to keep the site and welfare areas as clean, tidy and safe as is necessary throughout the works. Waste should not be stored on site for longer than is necessary.
0.11 | All works are intended to be undertaken within normal working hours and no claims for out of hours working, without prior approval from the PM, will be accepted and subject to any imposed planning conditions.
0.12 | Allow for site and contracts manager to be available at each agreed site progress meeting with the PM & Client. Allow to provide basic provision of tables and chairs for progress meetings.
0.13 | Where materials are specified by Manufacturer’s name, a full set of the Manufacturer’s instructions are to be retained on site and it is the Principal Contractor’s responsibility to ensure that these are strictly observed at all times. Bring to the attention of the PM any discrepancy between the specification, or any instructions that are contrary to the Manufacturer’s recommendations.
0.14 | The Principal Contractor must also bring to the attention of the manufacturer/material supplier immediately any discrepancy between the materials supplied, the manufacturer’s literature or site conditions.
0.15 | Allow for maintaining a full time working site manager on-site for the full duration of the works to effectively programme labour and resources and receive instructions from the PM, in full accordance with the Contract Data/Works Information.
0.16 | The working areas are to be designated by full PPE at all times and in all areas as documented in the Construction Health and Safety file. The site manager will enforce this requirement. Any operative not wearing full PPE will be removed from site, on issue of a contract instruction, and will not be permitted to return. There will be no exceptions to this rule.
0.17 | The works are not required to have distinct phasing.
0.18 | The Principal Contractor is advised that the works will be carried out under the Construction (Design and Management) Regulations 2015 and shall make all necessary allowances as required under the said regulations to carry out the duties of 'Principal Contractor' for the specified works.
0.19 | It is to be noted that the Certificate of Completion will not be issued by the PM until the Principal Designer has confirmed receipt of a satisfactorily completed Health & Safety File from the ‘Principal Contractor’.
0.2 | Allow for all overheads, profit and preliminaries associated with undertaking the works.
QUALITY OF DESIGN AND WORKMANSHIP
0.21 | All works should be completed with reasonable skill and care, fit for purpose and in accordance with current British Standards, industry best practice and relevant Regulations for each work element.
0.22 | All mechanical and electrical items required herein are to be reviewed and designed in detail by a suitably qualified mechanical and electrical consulting engineer. Contractor to provide details of the M&E designers within tender return.
0.23 | All electrical work is to be undertaken by an NICEIC or equivalently accredited electrical engineer.
0.24 | All Fire and Security systems to be designed and installed by a NACOSS approved engineer.
CONTRACT
0.25 | The works will be undertaken in accordance with the NEC3 Short Form of contract.
GENERAL SPECIFICATION
0.26 | All items referenced within the specification are to include all sundry items required to fully complete their installation to the standards referenced herein.
0.27 | All items are to be installed in accordance with manufacture's guidelines.
0.28 | All disturbed surfaces must be made good and as a minimum must be returned to it's previous condition or improved. Photos must be taken prior to disturbance so the previous condition can be reviewed against the making good.
0.29 | All items are to include any associated builders work in connections where relevant.
0.3 | All waste / arising from the works are to be disposed of by the contractor in accordance with relevant regulations.
0.31 | Allow for all necessary works and accessories to complete all items listed within the specification.
0.32 | Contract to provide appropriate fire stopping in accordance with building regulations where relevant.
HEALTH AND SAFETY
0.33 | The works will be undertaken under the full remit of the CDM Regulations 2015. At this stage we do not anticipate that the project will be notifiable.
HANDOVER
0.34 | The Contractor is to provide a Handover File and O&M for the property, including copies of all Electrical Safety Test Certificates, maintenance/servicing information, building control certification and copies of drainage tests as may be applicable. Completion of the project and release of retention and certification will not be granted until the aforementioned has been provided.
MAIN WORKS
1 | PRELIMINARIES
1.01 | Provide, erect and maintain all necessary scaffolding to enable the safe undertaking of the works. Scaffolding should be designed and in accordance with BS EN 12811 Code of Practice for access and working scaffolds, and special scaffold structure in steel and in compliance with The Work at Height Regulations 2005.
1.02 | Allow for site security fencing or similar to secure site against intrusion.
1.03 | Allow for contractor welfare setup.
1.04 | Allow for contractor's additional preliminaries. Please detail.
1.05 | Allow for site waste removal and controlled disposal.
1.06 | Allow for protection of floor, wall and ceiling finishes adjacent to the works for the duration and make good on completion.
| Sub-total - Preliminaries | 0
2 | ENABLING WORKS
2.01 | Existing foundation depths of neighbouring properties to be established prior to any demolition or construction works.
2.02 | Remove the existing RWG's as given on drawings.
2.03 | Supply and fix temporary polythene rainwater goods for duration of construction phase.
2.04 | Remove any existing wall mounted conduit, external light fittings & ventilation ducting coverings. Refix at suitable time towards end of construction.
2.05 | Disconnect existing sanitaryware plumbing.
| Sub-total - Enabling Works | 0
3 | DEMOLITION WORKS
3.01 | To locations illustrated on plan 70050786-BEER10, remove existing external doors and frames.
3.02 | To locations illustrated on plan 70050786-BEER10, remove extension walls and flat roof structure.
3.03 | Redundant drainage runs and inspection chamber/gully removed or reduced to avoid clash with new floor slab depth.
3.04 | To locations illustrated on plan 70050786-BEER10, remove existing window.
3.05 | Remove existing sanitary goods and existing pipework.
3.06 | Temporary propping to be installed to support the roof prior to removal of the rear wall of the garage.
| Sub-total - Demolition Works | 0
4 | INTERNAL JOINERY
INTERNAL TIMBER STUDWORK WALLS - GROUND FLOOR
4.01 | Supply and fix new timber studwork walls using 75x50mm CLS timber.
4.02 | Supply and fix one layer of 12.5mm Gyproc Wallboard (or similar approved) either side of studwork. Joints are to be staggered and taped. Inclusive of fixings.
4.03 | 18mm plywood pattress to be supplied and fixed in parition wall behind sanitaryware that requires additional support.
INTERNAL DOORS
4.04 | Supply and fix one standard plywood flush door to WC and store. Door ironmongery/accessories to be included.
ARCHITRAVES
4.05 | Allow to supply and fix square edged architraves to new doors to match existing. Ensure they are securely fixed in place and sealed back to the plasterboard prior to decoration. Ensure all joints are finished to a good standard. Corners are to be mitre joints.
SKIRTING
4.06 | Supply and fix skirting boards to new internal timber studwork walls. Skirting to match existing. Ensure these are securely fixed in place and sealed back to the plasterboard prior to decoration. Ensure all joints are finished to a good quality. Corners are to be mitre joints.
| Sub-total - Internal Joinery | 0
6 | CEILINGS
6.01 | New extension ceilings to be supplied and fixed with 12.5mm plasterboard. Taped and jointed seamless finish. Fixings at a maximum of 150mm centres and to be annular ring shank clout head plasterboard nails.
| Sub-total - Ceilings | 0
7 | FLOORING
GENERALLY
7.01 | Prepare all floor areas for receiving new floor finishes.
7.02 | Chrome transition strips to be supplied and fixed where differing floor materials join.
GROUND FLOOR
7.03 | Flowfast Quartz Colour (Wet Area) Grey 704 to be supplied and fixed to existing and new garage floor area. Approved sub-contractor required to apply.
ROOF VOID
7.04 | Construction of new roof floor: supply and fix 220x50mm C24 timber joists at 600mm centres inclusive of fixings.
7.05 | Supply and fix Knauf Earthwool 44 insulation to the depth of ceiling joists and laid between.
WC
7.06 | Supply and fix Polysafe Safety flooring – Polysafe Hydro – Woodland Grey H4770 w/r 9120 to WC floor area. To be installed with 150mm coved upstand to perimeters.
STORE
7.07 | Flowfast Quartz Colour (Wet Area) Grey 704 to be supplied and fixed to new store floor area. Approved sub-contractor required to apply.
| Sub-total - Flooring | 0
8 | DECORATIONS
INTERNAL MASONRY WALLS
8.01 | Stop, rubdown and prepare new internal wall faces to receive paint decoration.
8.02 | New internal fair faced block work to be painted with two coats of Sandtex Ultra Smooth Masonry Paint (or similar approved (supplied)) in a colour to match existing. Coverage across walls from floor level to ceiling.
INTERNAL TIMBER STUDWORK WALLS
8.03 | Prepare new internal studwork walls to receive paint decoration.
8.04 | Apply to walls a mistcoat followed by two coats of Dulux Eggshell Emulsion (or similar approved (supplied)) in Magnolia. High standard of finish is required and the finish shall be smooth and blemish free.
CEILINGS
8.05 | Prepare new ceilings to receive paint decoration.
8.06 | Apply to ceiling a mistcoat followed by two coats of Dulux Eggshell Emulsion (or similar approved (supplied)) in a colour to match existing. High standard of finish is required and the finish shall be smooth and blemish free.
INTERNAL DOORS
8.07 | Doors to have a painted finish. One primer coat, two undercoats and one Dulux gloss oil paint coat (or similar approved (supplied)). Colour to match existing office door.
SKIRTING
8.08 | Stop, rubdown and prepare new skirting boards to receive paint decoration.
8.09 | Apply one primer coat and two coats of white Dulux Gloss (or similar approved (supplied)).
ARCHITRAVE
8.1 | Stop, rubdown and prepare new skirting boards to receive paint decoration.
8.11 | Apply one primer coat and two coats of white Dulux Gloss (or similar approved (supplied)).
| Sub-total - Decorations | 0
9 | SANITARY GOODS
WC
9.01 | Supply and fix a soil manifold and associated pipework connections for waste drainage from new WC and sink.
9.02 | Supply and fix one Armitage Shanks Carlton WC Pack or similar approved. Include all necessary cisterns, toilet seats, pipework etc. installed in accordance with the manufacturer’s recommendations and requirements.
9.03 | Supply and fix one Armitage Shanks Portman 21 40cm basin or similar approved. 2 tapholes with overflow and chainstay hole. (S2317)
9.04 | Supply and fix hot and cold Armitage Shanks Sandringham Self Closing Pillar Taps or similar approved. Include all necessary pipework etc.
9.05 | Supply and fix basin plug and chainstay.
9.06 | Supply and fix all necessary connections for the drainage and plumbing installations from the WC and basin, tested on completion.
9.07 | Supply and fix Metro Bevel Edged tiles, laid on long edge in brickwork pattern as a splashback surround to the WC sink. Allow for all adhesive and grout required to achieve. Grout to be grey in colour.
9.08 | Supply and fix fixed Orion Toilet Roll Holder - Chrome or similar approved.
9.09 | Supply and fix paper and towel dispenser.
| Sub-total - Sanitary Goods | 0
10 | MECHANICAL AND ELECTRICAL INSTALLATIONS
GENERALLY
10.01 | All electrical works and installations to be undertaken by an NICEIC Approved Contractor to the current Regulations.
10.02 | All conduit to be chased in unless specified in dado or 20mm steel conduit, which is to be surface mounted.
10.03 | Where applicable, design to be undertaken in accordance with CIBSE requirements.
10.04 | All installations to be certified.
MECHANICAL INSTALLATION
10.05 | Cold and hot water installations applicable to the WC sanitaryware.
10.06 | Supply and fix a wall mounted Manrose MG100T bathroom extractor fan with timer 240V white in WC through external rear wall.
ELECTRICAL INSTALLATION
10.07 | Preliminaries
10.08 | Supply and fix a singular LAP Amazon LED Bathroom Ceiling Light White 1200LM 16W or similar approved within WC.
10.09 | Supply and fix a singular LED 24 Watt Round Surface Mounted Ceiling Light or similar approved within store.
10.1 | Supply and fix a LAP Twin 4ft LED Batten White 43W or similar approved to new garage ceiling area. Light tubes to be fitted. Light to be installed on the same circuit as existing garage lighting.
10.11 | Supply and fix one MK white surface mounted screwed lighting plate switch or similar approved for WC light and for store light.
10.12 | Supply and fix a 13A switched fused spur white for WC extractor fan.
10.13 | Supply and fix an external LED bulkhead wall mounted light to rear elevation of extension with movement detection.
10.14 | Inspection, Testing and Certification
10.15 | Construction Record Drawing and Operation & Maintenance Manuals
10.16 | Any Other Items not Mentioned Above (Please Specify).
| Sub-Total - Mechanical and Electrical Services | 0
11 | EXTERNAL
Excavations
11.01 | Excavations for extension as detailed on NBS Specification and drawings.
External Areas
11.02 | Make good hard paved areas and establish falls around extension as per NBS Specification and drawings.
External Walls
11.03 | New external wall construction as detailed on NBS Specification and drawings.
11.04 | Proprietary cement gauged render to all new external blockwork faces with bell cast render stop beads.
11.05 | Render to be painted to match existing.
Roofs
11.06 | Removal of existing roof tiles
11.07 | Construction of timber pitched roof as per NBS Specification and drawings.
11.08 | Supply and fix roof tiles to match existing. Proposals to be put forward by contractor.
11.09 | Supply and fix white uPVC fascia as per NBS Specification and drawings.
11.1 | Supply and fix GRP valley flashing suitable for chosen roof tile. Inclusive of all fixings and valley boards.
Rainwater Goods
11.11 | Supply and fix Black uPVC RWGs. 112mm half round gutter system with 68mm round downpipe. All support and jointing brackets and fixings to be included.
Drainage
11.12 | Supply and fix ACO Hexdrain Plastic Channel Drain A15 (or similar approved) to rear of new extension as detailed on the drawings.
11.13 | Supply and fix above and below ground drainage as per NBS Specification and drawings.
11.14 | Supply and fix below ground concrete lintel saw cut to suit angled pipe opening. 150mm minimum bearing on surrounding masonry.
| Sub-Total - External | 0
12 | GENERALLY UPON COMPLETION
12.01 | On completion of the electrical works, undertake NICEIC electrical test of all new installations demonstrating that the new installations are compliant
12.02 | Upon completion of all works, Contractor to clear away all builders’ materials and wash down all glazing, vacuum clean carpets mop and leave the building in a state ready for occupation. Clean/polish all retained fixtures and fittings. Any damaged areas within the building to be made good prior to completion.
12.03 | Upon completion, contractor to provide copies of the operation and maintenance manual within lever arch file as well as all necessary test certificates and left with the client. All documentation to be provided in electronic format.
| Sub-Total - Generally Upon Completion | 0
13 | CONTINGENCY | 0
COLLECTION
0 | General | 0
1 | Preliminaries | 0
2 | Enabling Works | 0
3 | Demolition Works | 0
4 | Internal Partitions/Walls | 0
5 | Internal Joinery | 0
6 | Ceilings | 0
7 | Flooring | 0
8 | Decorations | 0
9 | Sanitary Goods | 0
10 | Mechanical and Electrical Installations | 0
11 | External | 0
12 | Generally Upon Completion | 0
13 | Contingency | 0
| TENDER TOAL | 0