- LDNPA Design Principles and Concepts

- LDNPA Standards and materials

- LDNPA Style Guide

  - Trail Surfacing

  - Gates and Fences

  - Drainage

- Health and Safety

LDNPA Design Principles and concepts

Route will be designed as predominately hard surfaced, accessible path.  Design considerations are:

- Safety – access / egress points to and from highway

- Alignment – follow the landscape and use natural lines to blend in

- Structures – bridges / ramps, fit with surroundings.

- Surfacing – suitable for horses, cycles, push chairs and mobility scooters

- Drainage – surface water - as appropriate for ground conditions

- Access furniture, gates – ease of use, bridleway width

- Way marking and signage – easy to follow, appropriate warning signage.

- Materials – local province for stone

- Disturbance – Minimise and mitigate by:

  - Restoration and rebuilding the route on existing infrastructure.

  - Creating new build sections through areas of lowest ecological value

  - Retain historic features.

Standards and materials

Construction standards and materials will conform to the relevant British Standard or Eurocode.

Stone is to be non-calcareous and of a local geological provenance for the area.  Stone must come from quarries at either Bowness Knott or Ghyll Scaur Millom.

Timber is to be sustainably sourced, hard or softwood as appropriate and treated.  Graded as appropriate for end use.

Steels and fabrication to be supplied and undertaken by appropriately certified companies.

Recycled materials:

- Road plainings, scalping and other recycled stone products are not considered appropriate.

- Recycled plastic products may be used in geogrid.

Style Guide -

- Trail surfacing

| Aggregate Path |  |
| --- | --- |
| Open country – fields / lanes, new build and restoration | Examples – Cycleway / Bridleway (fencing type indicative only - specified seperately) |

| Root Protection Path |  |
| --- | --- |
| Woodland areas | Root protection path – under construction (top) and finished (bottom) |

- Gates and fences

| Two way bridle gate | One way bridle gate | Field gate |
| --- | --- | --- |

| Post and wire fence (plain) | Stock Netting – Single top wire (plain) |
| --- | --- |
| Fences to be strained seperately from gates and stiles. | Variations: - Double top wire and single running wire at ground level - Barbed top wire |

- Culverts / low and overland flow

| Culverts – twin wall plastic pipe with headwalls | Culvert with headwalls in turf lined ditch |
| --- | --- |
| © SNH Upland Paths Handbook | Culverts will be single pipe only. |

Health and Safety Requirments

The contractor will be required to comply with the following Health and Safety standards:

LDNPA Contractor Health and Safety Code of Practice V1 (Annex 11)

Compliance with CDM Regulation 2015

The contractor will be expected to produce the following Health and Safety documentation:

Pre-Construction Information

Construction Phase Health and safety Plan

Risk Assessments and Method Statements

Health and Safety File