Environment Agency Request for Quotation

Ref:	SC160016

Title:	Field-based engineering assessment of timber groyne performance

Section 1

Who is the Environment Agency?

We are an Executive Non-departmental Public Body responsible to the Secretary of State for Environment, Food and Rural Affairs. Our principal aims are to protect and improve the environment, and to promote sustainable development.

Further information on our responsibilities, Corporate Plan and how we are structured can be found on our Website.

https://www.gov.uk/government/organisations/environment-agency/about

What do we spend our money on?

We are a major procurer of goods and services within the UK, spending circa £600M per annum, our major spend areas are:

- Flood and Coastal Risk Management (design, construction and maintenance)

- ICT and Telecommunications

- Vehicles and Plant

- Environmental Consultancy and Monitoring

- Temporary Staff and Contractors

- Facilities Management, Energy and Utilities

- Flood Management and Water Related Services

What do we need from our suppliers?

Suppliers are vital in supporting the delivery of our corporate plan.  We aim to support the economy and society whilst delivering more environmental outcomes for every pound we spend. In many areas we are leading the way on environmental and technical developments. It is our role to ensure that suppliers clearly understand our corporate aims and objectives and know that we are committed to delivering the best value most sustainable solutions, taking into account the whole life cost of our procurement decisions.  We promote diversity and equality and treat all of our suppliers fairly.

Our procurement strategy may be of interest to you as a potential supplier. It sets out our priorities and key commitments in a range of areas such as delivering our corporate plan, Government policy, supplier management and sustainable procurement:

https://www.gov.uk/government/organisations/environment-agency/about/procurement#procurement-strategy

Government changes and collaboration

Since 1 April 2013, the Environment Agency is no longer responsible for delivering the environmental priorities of Wales. This is now the remit of Natural Resources Wales (NRW).Further information can be found here:

http://naturalresources.wales/splash?orig=/

By bidding for this requirement, you may also be approached by other members of the Defra network, NRW or other government departments that are specifically named in the tender document.

Further information

For further information and to see our commitments to Diversity and Equality, please visit our website.

https://www.gov.uk/government/organisations/environment-agency/about/procurement

https://www.gov.uk/government/organisations/environment-agency/about/equality-and-diversity

Also, are you up to date on environmental legislation? See links below for further information.

Waste and Environmental Impact - https://www.gov.uk/browse/business/waste-environment

Environmental Regulations - https://www.gov.uk/browse/business/waste-environment/environmental-regulations’

Section 2

The Customer

Summary

This commission is part of a project to develop new guidance for the design and management of ‘small footprint’ coastal groyne structures. The project is being managed and funded by the Joint Environment Agency/Defra Flood and Coastal Risk Management R&D Programme. The objective of this commission is to is to collect engineering performance and deterioration data as groynes are removed and replaced as part of on-going coastal risk management projects, synthesise these and provide information to the project team who are developing the new guidance. Note the contract for the development of the new guidance is still to be let.

## Contract Length

It is anticipated that this contract will be awarded to one supplier for a period of 6 months to end no later than 23 February 2018. Prices will remain fixed for the duration of the contract award period. We may at our sole discretion extend this contract to include related or further work. Any extension shall be agreed in advance of any work commencing and may be subject to further competition. Any amendment to contract prices for the extensions are to be by negotiation.

The Environment Agency Conditions of Contract for Services shall apply to this contract.

This contract shall be managed on behalf of the Agency by Owen Tarrant (Senior Specialist – Research) owen.tarrant@environment-agency.gov.uk

## Contact Details and Timeline

Owen Tarrant will be your contact for any questions linked to the content of the quote pack or the process. Please submit any questions by email and note that both the question and the response will be circulated to all tenderers.

Questions should be submitted by email to: owen.tarrant@environment-agency.gov.uk

Key elements of the process have been reviewed. Anticipated dates for planned activities are below:

| Activity | Due Date |
| --- | --- |
| Supplier responses for Request for Quote | 16.00 - 04/08/2017 |
| Evaluation of Request for Quote submissions | 25/08/2017 |
| Award of contract | 11/09/2017 |
| Project/Contract end date | 23/02/2018 |

It should be noted that these timescales and activities may be subject to change.

Section 3

## Evaluation Criteria

We will award this contract in line with the most economically advantageous tender (MEAT) as set out in the following award criteria:

- Price – 60%

- Quality – 40%

The following quality criteria are weighted in accordance with the importance and relevance attached to each one.

Method – 60 including:

- Technical appreciation

- Programme showing key milestone and project outputs

- Full consideration of Safety Health and the Environment,

- Approach to innovation

- Risk and issue management

Staff and experience – 40 including:

- Team with relevant engineering experience of timber coastal groyne design construction and maintenance

- Senior project manager with authority to manage and commit resources to successfully deliver the outcomes in the scope/works

- Team structure has appropriately experienced and qualified staff to undertake the work, with sufficient supervision and review.

The criteria listed above will be assessed on a 0 to 10 basis and will reflect the following judgements:

| Rating of Response The tenderer provides a response which in the opinion of the evaluators is: | Score |
| --- | --- |
| Excellent: Addresses all of the requirements and provides a response with relevant supporting information which does not contain any weaknesses, giving the Agency complete confidence that the requirements will be met. | 10 |
| Very Good: Addresses all of the requirements and provides a response with relevant supporting information, which contains very minor weaknesses, giving the Agency high confidence that the requirements will be met. | 8 |
| Good: Addresses all of the requirements and provides a response with relevant supporting information, which contains minor weaknesses, giving the Agency reasonable confidence that the requirements will be met. | 6 |
| Satisfactory: Substantially addresses the requirements and provides a response with relevant supporting information which may contain moderate weaknesses, but gives the Agency some confidence that the requirements will be met. | 4 |
| Weak: Partially addresses the requirements, or provides supporting information that is of limited relevance or contains significant weaknesses, and therefore gives the Agency low confidence that the requirements will be met. | 2 |
| Nil: No response or provides a response that gives the Agency no confidence that the requirements will be met. | 0 |

Section 4

Information to be returned

Please note, the following information requested must be provided. Incomplete tender submissions may be discounted.

Please complete and return the following information:

- completed Pricing Schedule (Appendix A);

- completed Prior Rights Schedule (Appendix B);

- confirmation that terms and conditions are accepted (Appendix C. Please note that the terms cannot be amended later).

- details of the personnel you are proposing to carry out the service, including CV’s of your key personnel;

- details of proposed methodology

- details of the range of engineering data that should be collected and why

- detail your recent experience of carrying out similar contracts

- programme

- consideration of key project risks and issue and their mitigation

Section 5

Specification

# Background to Requirement

There are over 880,000 properties in England and Wales within 100m of MHW, 265,000 of these are along the open coast. Groyned beaches are associated with 50,000 properties (19%) of these. It can be said therefore that groynes form a significant element of the coastal protection around the coast of the UK. Investment costs associated with the construction, maintenance and decommissioning of groynes are equally as significant for instance recently commissioned work as Dawlish Warren which will see major repairs to just 3 of the existing 17 groynes will cost in excess of £380k.

Groyne management practices have evolved as research and practical experience have developed, for instance construction using novel materials or with the use of lesser known tropical hardwoods (SC070083, Assessment of Lesser Known Hardwood Timber Species for Use in Marine and Freshwater Construction and SC010053, Engineering Materials in Flood and Coastal Defences). Recognising this, the Environment Agency, SCOPAC (Standing Conference on Problems Associated with the Coastline) and CIRIA (Construction Industry Research and Information Association) have identified the need for updating the existing  guidance on the management of, small footprint groynes e.g., timber groynes. The document would replace CIRIA’s existing groyne manual (CIRIA R119, 1990) which is now 25 year old.

As part of this updating process the project team will place a greater emphasis on the provision of practical guidance to support routine and periodic maintenance and will provide important information on the associated improvements in engineering performance (including costs and benefits) of sustainable materials.

The objective of this commission is to ensure we take the opportunity over the next 6months to collect important engineering performance and deterioration data as groynes are removed and replaced as part of on-going coastal risk management projects. Collection of these data and their interpretation will provide important information which will feed in to the new guidance being delivered by CIRIA and its partners.

# Specific Objectives

Our understanding of how the engineering performance (e.g., strength and resistance to marine borers and decay) of timber groyne changes through time is limited. This knowledge gap results in an over-reliance on a few species of timber where these important performance characteristics are known. In turn, this risks over exploitation of these species and drives market price as supply is limited.

An important opportunity is available with a number of coastal risk management projects around the UK that will involve the removal of old timber groynes to address this issue. Locations where groyne removal is taking place or is due to take place include and is not limited to:

- Bournemouth

- Dawlish

- Withernsea

- Cleethorpes

- Gorleston

- Walmer

The removal of groynes as part of these project represents an unprecedented opportunity to collect field data on actual performance that can be used to develop new/validate existing performance characteristics, deterioration and whole-life cost curves for groynes to aid asset management planning and scheme appraisal. Such data will also help point toward effective maintenance techniques.

The outcome of this work will result the efficient management of timber groynes in the UK using the widest possible range of suitable species. The work will aid in the robust appraisal of the benefit and costs of timber groynes over their whole-life as well as help to identify the most effective and efficient maintenance regimes.

With this commission the Consultant shall:

- Develop an appropriate proforma in consultation with the Employer for the collection of field study data.

- Collate available field data on engineering performance from at least six coastal risk management projects that involve groyne removal. Field data will include, but not be limited to, photographic evidence, condition logs and measurements of degradation (mechanical, biological and chemical). These sites will be selected in consultation with the Employer and will be representative of both locations across England and Wales and construction techniques and materials.

- Interpret these field data to develop information that describes the important processes of deterioration and the effectiveness  or not of the remedial/maintenance techniques that have been employed by the asset owners to slow or stop these deterioration processes

- Validate existing timber groyne deterioration curves and develop new ones that might be required.

- Develop new whole-life cost curves which cover design, build maintenance, refurbishment and decommission over the typical life.

- Report findings in a technical report and provide all field data in suitable project record (including digital/ electronic where possible). The Consultant must also provide training (minimum two hours) in the use of the digital storage method. This can be delivered via a Webinar if appropriate.

- Provide storage of timber (if required) for future testing of timber tensile strength and degradation

- Provide data and information to the consultant project team contracted to produce the new  CIRIA guide (please assume that this will require two face to face meetings, and two teleconference calls of 2 hours)

### Deliverable and Timescales

| Task No. | Deliverable | Responsible party | Format / Compatibility Requirements | Date of completion, end: |
| --- | --- | --- | --- | --- |
| 1 | Project inception report – detailing, scope, programme of site visits, agreed set of information to be collected, risk & issue register and H&S management plan. | Consultant | Word | Sep 2017 |
| 2 | Field visits report – collated proformas with summary interpretation | Consultant | Word and PowerPoint presentation | Nov 2018 |
| 3 | Technical report – detailing review of management techniques, deterioration curves and suggested new curves | Consultant | Word and PowerPoint presentation | Jan 2018 |
| 4 | Digital storage methods for photos logs etc. | Consultant | tbc | Jan 2018 |
| 5 | Monthly progress reports | Consultant | Template to be provided | Monthly throughout programme |

### Skills of Personnel Required

- The consult will demonstrate a sound understanding of coastal timber groyne engineering – design, maintenance and management

- Strong track record of the organisation and management of field data collection

- Excellent Communication skills (written and verbal)

- Ability to work collaboratively and share knowledge quickly and effectively

- Health and safety (SHE) experience

Section 6

Contract Management

This contract shall be managed on behalf of the Agency by ….Owen Tarrant (owen.tarrant@environment-agency.gov.uk)

All communications will be directed through the Environment Agency project manager. Fortnight planning/progress teleconference will be held. Progress and project finances will be reported on the 15th of every month.

We will raise purchase orders to cover the cost of the services and will issue to the awarded supplier following contract award.

An invoice schedule will be developed and agreed linked to the project deliverable/milestones outlined above.

Before the invoice is issued, a fee note must be emailed in advance to the contract manager for approval. All invoices must quote the purchase order number in order to be processed. A file copy invoice must be provided to the contract manager, on request. The timescale for payment of invoices will be up to 30 days after we have received a valid invoice.

Section 7

Sustainability Considerations

We are committed to continually improving our sustainability performance. The Environment Agency has set itself tough objectives as a clear commitment and contribution to sustainable development throughout England. The Agency recognises that this can only be achieved through commitment from all sectors of society and it is intent on raising awareness amongst industry and commerce.

Contractors must adopt a sound proactive environmental approach, designed to minimise harm to the environment.

Environmental criteria should be considered as part of your tender submission with credit given for innovation. Factors to be considered could include areas such as:

    - Paper use: All documents and reports prepared by consultants and contractors are produced wherever possible on recycled paper containing at least 100% post consumer waste and printed double sided.

    - Travel: use of public transport, reduce face to face meetings by using email and videoconferencing. Meetings to be held in locations to minimise travel and close to public transport links.

    - Packaging: should be kept to a minimum. Re-use and disposal issues must be considered.

    - Efficient Energy and Water Use.

    - Disposal of Waste: Whilst on site the contractor is responsible for the disposal of their own waste and can only use client facilities with express permission from the on site facilities officer.

    - Whilst on site, contractors should comply with the local environmental policy statement which will be made available to you in advance or on arrival.

Diversity and Equal Opportunities

We are committed to promoting equality and diversity in all we do and valuing the diversity of our workforce, customers and communities.  As a public body, we publish regular information about what our equality objectives are and how we’re meeting them.

https://www.gov.uk/government/organisations/environment-agency/about/equality-and-diversity

Health and Safety

Contractors will be responsible for making sure all required health and safety aspects including risk assessments are undertaken and required management measures are in place to protect worker exposure. This includes management of all partners, consortium members and subcontractors.

IEM2020:

## Sustainability Objectives

As the Environment Agency, our overarching aim is to protect and improve the environment for people and wildlife. Over the last 10 years we have achieved significant reductions in our environmental impacts that occur through our everyday operations. This included a 40% reduction in our carbon emissions and a 37% reduction in the number of miles we travel. This year we have launched our new Internal Environmental Management strategy to take us through to 2020, building on these successes and widening our ambition.

Supply chain

Our 2020 approach will have a very strong emphasis on the indirect impacts of our supply chain.

Our supply chain accounts for over 70% of our total environmental impacts.

Working with our supply chain we want to be world class in the area of environmental management. The environmental impacts of our work and that delivered by and through our supply chain must be reduced; environmental risks must be effectively managed and opportunities for enhancements investigated.

As an organisation, our environmental management system (EMS) is accredited to ISO14001 and EMAS standards. Our procurement activities form part of this system; driving environmental performance improvements across the value chain.

## Section 8

### Additional Information

### Copyright and confidentiality

Unless otherwise indicated, the copyright in all of the documentation belongs to the Environment Agency, and the documentation is to be returned to us with your tender. The contents of the documentation must be held in confidence by you and not disclosed to any third party other than is strictly necessary for the purposes of submitting your quote. You must also ensure that a similar obligation of confidentiality is placed upon any third party to whom you may need to disclose any of the documentation for the purposes of the tender.

### Accuracy of documentation

You should check all documentation; should any part be found to be missing or unclear you should immediately contact us at the address given in the covering letter. No liability will be accepted by the Environment Agency for any omission or errors in the documentation which could have been identified by you.

### Amendments to documentation

Prior to the date for return of tenders, we may clarify, amend or add to the documentation. A copy of each instruction will be issued to every Tenderer and shall form part of the documentation. No amendment shall be made to the documentation unless it is the subject of an instruction. The Tenderer shall promptly acknowledge receipt of such instructions.

### Alternative Offers

Alternative offers may be considered if they constitute a fully priced alternative and are submitted in addition to a quotation complying with the requirements of the Invitation to Quote Documents. If, for any reason you wish to submit an alternative offer without a fully compliant tender please contact us in accordance with the details in the covering letter.

## Continuity of personnel

The Contractor shall employ sufficient staff to ensure that the Services are provided at all times and in all respects to the Project Standard. It shall be the duty of the Contractor to ensure that a sufficient reserve of staff is available to ensure project delivery in the event of staff holidays, sickness or voluntary absence

The Environment Agency will be notified immediately of any changes to personnel associated with the project. The Contractor will ensure that every effort is made to replace outgoing staff with personnel of equal calibre and expertise. All new members of staff undertaking work for the Project will need to be agreed by the Environment Agency prior to commencement.

At all times, the Contractor shall only employ in the execution and superintendence of the Contract persons who are suitable and appropriately skilled and experienced.

## Intellectual property rights

All results, including material and tools produced, developed or paid for under this contract shall be the property of the Environment Agency.

## References

The Environment Agency may request recent and relevant references prior to the award of the project.

Contract award

This Request for Quote is issued in good faith but we reserve the right not to award any or all of this work.

### DATA PROTECTION ACT ADDENDUM TO SPECIFICATION

## Protection of personal data

In order to comply with the Data Protection Act 1998 the Contractor must agree to the following:

- You must only process the personal data in strict accordance with instructions from the Environment Agency.

- You must ensure that all the personal data that we disclose to you or you collect on our behalf under this agreement are kept confidential.

- You must take reasonable steps to ensure the reliability of employees who have access to personal data.

- Only employees who may be required to assist in meeting the obligations under this agreement may have access to the personal data.

- Any disclosure of personal data must be made in confidence and extend only so far as that which is specifically necessary for the purposes of this agreement.

- You must ensure that there are appropriate security measures in place to safeguard against any unauthorised access or unlawful processing or accidental loss, destruction or damage or disclosure of the personal data.

- On termination of this agreement, for whatever reason, the personal data must be returned to us promptly and safely, together with all copies in your possession or control.

# APPENDIX A - PRICING SCHEDULE

ALL COSTS QUOTED MUST BE EXCLUSIVE OF VAT

All costs must be quoted on this schedule. Any costs not detailed will not be paid.

Staff Costs

Please detail the day rates of your proposed personnel in the table below.

(Please also advise how many hours you constitute a working day)

Please detail your task costs in the table below.

| Cost Proposal (To be completed by Supplier) |  |  |  |
| --- | --- | --- | --- |
| Tasks | Hourly Rate | No of Hours | Cost |
| ##### Total Staff Costs |  |  |  |
| Expenses (please detail type, i.e. travel etc) |  |  |  |
| Discounts applied (please detail) |  |  |  |
| Total Overall Cost |  |  |  |

Other costs

Please state any other costs that will need to be taken into consideration.

| DESCRIPTION | COST £ |
| --- | --- |
| 1. Other costs (please detail) |  |
| 2. Other costs (please detail) |  |
| 3. Other costs (please detail) |  |
| TOTAL |  |

Discounts, rebates and reductions

Please detail below any discounts, rebates and other reductions you are prepared to offer and the basis of those incentives

| DESCRIPTION | AMOUNT £ |
| --- | --- |
| TOTAL |  |

Total Overall Cost

Please detail the total fixed cost for the project

| ITEM | TOTAL AMOUNT £ |
| --- | --- |
| Staff Costs |  |
| Other Costs |  |
| Discounts/reductions |  |
| TOTAL Overall Cost |  |

The following limits will be applicable to all claims for travel and subsistence under this contract:

- Travel by rail: standard class should be used at all times

- Travel by car: 45 pence/mile

Hotel bookings should be made through the Environment Agency’s corporate travel contract. Details of this contract are available from the Corporate Contracting Team.

When making reservations you should state that you are a contractor working on Environment Agency business.

Hotel charges must not exceed a maximum limit per night bed and breakfast (VAT included) of: £140 in London; £100 in Bristol; £90 in Warrington; £85 in Reading; £75 in Aberdeen, Birmingham, Belfast, Cardiff, Coventry, Edinburgh, Glasgow, Harlow, Leeds, Manchester, Middlesbrough, Newcastle, Oxford, Portsmouth, Sheffield and York; and £70 in all other destinations. Please note that these hotel ceiling rates are subject to change throughout the life of the contract.

Expenditure on dinner during an overnight stay must not exceed a maximum limit of £25, including a drink.

Receipts for all rail travel, hotel and food expenses will be required as proof of expenditure and will be reimbursed at cost. No profit or additional cost shall be applied by the contractor to such personal expenses.

APPENDIX B - PRIOR RIGHTS SCHEDULE

Details of Prior Rights held by the Parties (To be updated as Rights are introduced during the period of the Contract)

Prior Rights owned or lawfully used by a Party, whether under licence or otherwise, which it introduces to the Project for the purposes of fulfilling its obligations under the Contract

Held by the Environment Agency

| Name and description of Prior Rights | Extent of proposed use in the Project | Proprietary owner of the Prior Rights |
| --- | --- | --- |

Held by the Contractor

| Name and description of Prior Rights | Extent of proposed use in the Project | Proprietary owner of the Prior Rights |
| --- | --- | --- |

Explanation of Contractor's Prior Rights
All Intellectual Property Rights owned by or lawfully used by the Contractor, whether under licence or otherwise before the date of this Contract. It can also mean any invention and know how or other intellectual property (whether or not patentable) owned by one of the parties prior to the commencement of the Project, or devised or discovered by one of them only in the course of other projects during the Project period and not arising directly from the Project.

APPENDIX C – ACCEPTANCE OF TERMS AND CONDITIONS

I/We accept in full the terms and conditions named in Section 2 and appended to this Request for Quote document.

Company 	____________________________________________________

Name

Signature	____________________________________________________

Print Name	____________________________________________________

Position	____________________________________________________

Date		____________________________________________________