## Sheet1
15 WASDALE CLOSE, PADIHAM, BB12 8NJ
Please note that the numbers in the left hand column relate to the specification where applicable. The specification should be used for guidance purposes, any similar or equal alternative will be considered. Any variation from the specification should be discussed with the technical officer on site unless otherwise stated in the schedule of works.
Contractors are advised to visit the site prior to submitting their price. Visits to be arranged with the Technical Officer.
Contractors are required to supply a break-down of their price on the following sheet. Prices will not be accepted without a break-down.
Contractors are required to arrange for water mains to be connected with the necessary utility companies.
Please note that penalty clauses are now in place to prevent the contact running over the allocated time.
The properties are to be scaffolded front and back with suitably spaced lifts, fully boarded with necessary handrails, toe boards and access points. Where scaffolding is deemed to be unsafe or inappropriate for the required use, work will be stopped until the scaffolding is made safe at the expense of the main contractor.
Means of escape windows are to be fitted as shown on the drawings.
Contractors are advise to allow for thorough cleaning of the property on completion. If a suitable standard of cleaning is not achieved, an independent cleaning contractor will be appointed by the client at the main contractors expense
Contactors are advised that the project will be carried out under a JCT MINOR WORKS contract 2007 and as such liquidated damages are in place.
Item Number | Description | Estimated Cost
| ROOF | £
Carefully remove all tiles, the existing battens and dispose of accordingly. Felt the roof using a high performance breather membrane roofing underlay secured with stainless steel staples or large headed galvanised clout nails. Re-fix pressure impregnated softwood tile / tile battens. Re-tile with a flat, smooth tile and ridge tiles; the same as the adjoining property. Scaffold must be erected to both sides of the roof and conform to all current health and safety standards.
Extend the dormer window as per drawings (near to the gable) and replace existing roof in rubber.Clad the dormer in upvc, colour white. Replace the windows using UPVC frames with a 'black' effect externally but white internally
1.1.4 | Block up any gaps in the fire stop wall in the loft where necessary.
Clad facias and sofits in upvc, colour to be agreed with Technical Officer.
1.1.5 | Remove the existing gutters and replace using a PVC equivalent with a matching profile with neighbouring property. Allow for additional rain water pipe(s), fixing brackets etc. where necessary.
FRONT ELEVATION
3.1.5.1 | Render the front elevation using K-rend (colour to match adjoining property).
Remove the existing lounge window, create a bay window (same as adjoining property). Block and insulation at the bottom.
2.1.5 | Replace the windows using UPVC frames with a 'black' effect externally but white internally. Allow for window linings. Fit escape windows to the first floor with suitable restrictors (that do not require a key to override).
GABLE
2.1.5 | Reposition the first floor window, as per drawings and fit a UPVC window frame with a 'black' effect externally but white internally. Allow for window linings.
2.1.6.1 | Fit a new Composite door & casing with multi-point locking with 'black' effect finish externally but white internally (allow for linings). Style to be agreed with the Technical Officer.
3.1.5.1 | Render the gable elevation using K-rend (colour to match adjoining property).
Take off the concrete canopy over the door and replace with a plastic moulded canopy in black, as illustrated on the drawings.
2.1.7 | Renew all waste pipes to the property using black UPVC pipes. Allow for all necessary clips / fittings, i.e. rodding eyes etc.
REAR ELEVATION
2.1.6.1 | As per drawings, create a new door opening at the rear and fit a new Composite door & casing with multi-point locking with 'black' effect finish externally but white internally (allow for linings).
Build steps from the path upto the new rear door. Fit a handrail if necessary.
2.1.5 | Render the rear elevation using K-rend (colour to match adjoining property).
2.1.7 | Renew all soil / waste pipes to the property using black UPVC pipes. Allow for all necessary clips / fittings, i.e. rodding eyes etc.
2.1.5 | Replace existing dormer roof in rubber.Clad the dormer in upvc, colour white. Replace the windows using UPVC frames with a 'black' effect externally but white internally. Fit escape windows to the first floor with suitable restrictors (that do not require a key to override).
FRONT, REAR GARDENS & SIDE PATH ETC.
Remove / clear all rubbish, debris and vegetation etc. and cart away. Rotivate and scrape the garden surface to clear any trees, roots, brambles etc. top soil as necessary and turf.
Check if the water main to the property has been replaced and report back to the Technical Officer.
Check drains are to building standards and not blocked; clear if necessary and ensure water drains freely.
Power wash the paths.
Replace the boundary fencing to the rear with concret posts, base section and featherboard fence panels.
Power wash the concrete posts and concrete bases to the front and then fit featherboard panels. Only replace the concrete posts if necessary.
GENERAL INTERNAL WORKS
Property to be re-configured, as per drawings.
4.0.0 | REMOVAL / DISPOSAL
4.0.2 | Plaster from all walls throughout the property.
4.0.2 | Redundant plumbing throughout the property.
4.0.3 | Redundant electrics throughout the property.
4.0.4 | Previous insulation material
4.1.1 | DPC
Provide a DPC to all ground floor walls (ALLOW FOR WATERPROOF RENDER / TANKING UP TO 1200MM BEFORE DRY LINING).
4.1.2 | Provide a full new electrical installation to the property. Allow for extractor fans to the kitchens, ground floor wc and bathroom, hard wired heat, smoke detectors and Carbon Monoxide Detector where shown on the drawings. Allow for 1 security light with PIR sensor at the rear and one on the gable, separate switchs within the property. All necessary certification to be provided on completion. Wire the electricat point for a washing machine so that it is not located under the sink and has a spur over the worktop (so it can be easily isolated). Fit down lights on the ground floor and standard pendants on the first floor.
On completion fit LED light bulbs to all rooms.
4.1.3 | Supply and fit a basic hard wired alarm system consisting of a minimum of key pad control, 2 X PIR's, door sensors to the front and rear doors and bell box to the external wall.
Install a TV aerial, with an internal cable and connection point in the lounge alcove (to the front elevation).
4.1.4 | Provide a new hot and cold water supply to the kitchen, ground floor wc & bathroom.
4.1.4 | Provide a new heating system allowing for a minimum of 1 radiator to each room and room thermostat (see spec for boiler; should have a minimum 5 year guarantee.). See drawing for location of boiler and radiators.
4.1.8 | Render all walls with a scratch coat render prior to dry lining. Allow for waterproofing / salt resisting additives.
4.2.3 | All walls and ceilings are to be skimmed to a smooth finish.
4.2.7 / 4.2.8 | Replace the skirting's, architraves and plinth blocks throughout the property in wood.
4.2.9 | Fit new doors throughout the property complete with door furniture.
4.3.0 | Provide door stops to all doors opening against internal walls.
4.3.7 | Decorate all walls and ceilings using brilliant white matt emulsion.
Woodwork to be finished with white gloss.
Construct a new meter cupboard in the entrance hall with suitable catches and door handles.
GROUND FLOOR WC
Re-configure the ground floor as per drawings to create a ground floor WC.
Plumb for and install a WC and wash hand basin and fittings.
GROUND FLOOR FRONT
4.1.8 / 4.1.9.4 / 4.2.3 | Dry-line the walls using insulated plasterboard (Thermaline Super 50mm) to the external walls, soundbloc boards to the party-wall and regular 12.5mm plasterboard to the internal walls. Skim to a smooth finish. Allow for the replacement / alteration of the window linings and sill boards as necessary.
4.2.1 / 4.2.3 | Board the ceiling and skim to smooth finish.
Remove the gas fire (and back boiler) and make good the opening.
4.2.7 / 4.2.8 | Replace all skirting and architraves (in wood).
4.3.0 | Fit a door stop.
KITCHEN
Re-configure the kitchen, as per drawings.
4.1.8 / 4.1.9.4 / 4.2.3 | Dry-line the walls using insulated plasterboard (Thermaline Super 50mm) to the external walls, soundblock boards to the party wall and regular 12.5mm plasterboard to the internal walls. Skim to a smooth finish. Allow for the replacement / alteration of the window linings and sill boards as necessary.
4.3.4 | Fit new kitchen units as shown on the drawing. Units to be 'Greenwich Gloss Dove Grey' with brushed steel handles and white worktop'.
Allow for built in electric cooker and gas hob.
4.3.5 | Tile between the work surfaces and wall cupboards and behind the cooker position tile the area from the worktop to the extractor hood, seal tiles to worktop. Ensure all walls are sealed with 'Poly-bond' prior to applying adhesive. Allow for white brick effect tiles.
Install plumbing for washing machine (power point not to be located under the sink and isolate via a spur above the worktop).
Fit a re-circulating hood over the hob and extractor fan in the rear elevation as shown on the drawings (operated from a switch over the worktop).
4.2.9 | Fit a new internal doors and casings to the under stairs cupboard, storage cupboard and to the entrance hall.
4.2.7 / 4.2.8 | Replace all skirting and architraves (In wood).
UNDER STAIRS CUPBOARD & STORAGE CUPBOARD (Off kitchen)
4.1.9.1 / 4.2.1 / 4.2.3 | Plasterboard under the stairs and walls using 12.5mm boards to internal walls and soundbloc boards to the party-walls; fire boards underneath the stairs / ceiling and skim to a smooth finish.
4.2.7 / 4.2.8 | Replace all skirting and architraves.
FIRST FLOOR
Re-configure the first floor to create a new bathroom / shower room; as per drawings.
STAIRS & FIRST FLOOR LANDING
4.1.9.1 / 4.2.1 / 4.2.3 | Plasterboard the walls using 12.5mm boards to internal walls and soundbloc boards to the party-wall; skim to a smooth finish.
4.3.1 | Handrail to be fixed at an appropriate height of between 900mm -1000mm above the step nosing's.
4.3.2 / 4.3.3 | Fit a new loft hatch (not directly at the top of the stairs) and linings. Install a minimum of 400mm of mineral wool insulation to the loft space.
FRONT BEDROOM
4.1.8 / 4.1.9.4 / 4.2.3 | Dry-line the walls using insulated plasterboard (Thermaline Super 50mm) to the external walls, soundbloc boards to the party-walls and regular 12.5mm plasterboard to the internal walls. Skim to a smooth finish. Allow for the replacement / alteration of the window linings and sill boards as necessary.
Plasterboard the partition between the bathroom and bedroom. Allow for installing sound insulation quilt between studs.
Use insulation boards on the dorma window ceiling and walls (150mm kingspan) and skin to a smooth finish.
Check the condition of the floor joists and boards and if any issues report the findings to the council Technical Officer.
4.2.9 | Fit a new internal door and casings.
4.2.7 / 4.2.8 | Replace all skirting and architraves.
4.3.0 | Fit door stop.
REAR BEDROOMS
4.1.8 / 4.1.9.4 / 4.2.3 | Dry-line the walls using insulated plasterboard (Thermaline Super 50mm) to the external walls, soundbloc boards to the party-walls and regular 12.5mm plasterboard to the internal walls. Skim to a smooth finish. Allow for the replacement / alteration of the window linings and sill boards as necessary.
Plasterboard the partition between the bathroom and bedroom. Allow for installing sound insulation quilt between studs.
Use insulation boards on the dorma window ceiling and walls (150mm kingspan) and skim to a smooth finish.
4.2.9 | Fit new internal doors and casings.
4.2.7 / 4.2.8 | Replace all skirting and architraves.
Check the condition of the floor joists and boards and if any issues report the findings to the council Technical Officer.
4.3.0 | Fit door stops.
BATHROOM
4.1.8 / 4.2.3 | Dry-line the walls using insulated plasterboard (Thermaline Super 50mm) to the external walls and regular 12.5mm plasterboard to the internal walls. Skim to a smooth finish.
Plasterboard the partitions between the bathroom and bedrooms. Allow for installing sound insulation quilt between studs.
4.2.3 | Plasterboard the ceiling using 12.5mm plasterboard. Skim to smooth finish
4.2.4 | Replace the floorboards where / if necessary
4.1.4.1 | Install a new WC, wash hand basin and shower cubical (walk in if possible), as shown on the drawings.
4.1.4.2 | Install a thermostatic mixer shower.
4.1.5 | Fit a glass shower screen.
4.3.6 | Tile all bathroom walls.
4.2.6 | If the original floor boards are retained, cover with 6mm plywood in preparation for vinyl floor covering.
4.2.9 | Fit a new internal door, with privacy lock (opening out onto the landing) and casings.
Fit door architraves.
Fit an extractor fan, vented to the outside, to come on with the light and have a 15 min overrun.
COMPLETION
Ensure all floorboards are securely fixed after being lifted.
Thoroughly clean the property before final handover.
Provide a completion pack containing the correct documentation for Gas / Electric / DPC and Window installations.
Return all keys from sub-contractors.