CIVIC CENTRE, ARNOT HILL PARK, ARNOLD, NOTTINGHAM NG5 6LU

Asset Management

Tender Return Document For

Demolition of existing planter and extending paved area at Eagle Square, Arnold

To be Returned by

12 Noon on 27th September 2017

#### NAME OF TENDERER

CONTENTS

1	Preamble

2	Conditions of Tender

3	Collusive Tendering Certificate

4	Form of tender

5	Preliminaries and Conditions of Contract

6	Works Information

7	Tender Return & Site Information

8	Works Activity Schedule

1 - PREAMBLE

1	GENERAL REQUIREMENTS

Tenders are invited for the demolition of an existing raised brick planter and replacement with an extended paved area, making good of brickwork and provision of street furniture. The successful contractor will be responsible for carrying out these works, liaising closely with the Contract Manager, Mr John Evens.

The Council’s detailed requirements are defined in the Specification and Schedules.

2	BACKGROUND

The site covers an area of land partly owned by Gedling Borough Council and partly forming part of the public Highway detailed in the following drawings and schedules. The scheme is to remove the majority of the existing brick planter and replace it with an open paved area, provision of street furniture and adapting a small section of the planter.

The works must be completed by the 17th of November to enable the Arnold Christmas light switch on.

The areas are open to the public and available for inspection at any time.

3	FREEDOM OF INFORMATION

Information in relation to this tender may be made available on demand in accordance with the requirements of the Freedom of Information Act 2000.

Tenderers should state if any of the information supplied by them is confidential or commercially sensitive or should not be disclosed in response to a request for information under the Act.  Tenderers should state why they consider the information to be confidential or commercially sensitive.

This will not guarantee that the information will not be disclosed but will be examined in the light of the exemptions provided in the Act.

2 – CONDITIONS OF TENDER

1	GENERAL REQUIREMENTS

1.1	Tenders are invited for the described works in Gedling Borough. The Council’s detailed requirements are defined in the Specification, Works Activity Schedule and drawings annexed.

1.2	Tenders must be submitted in accordance with the following instructions.  Any Tenders that do not comply may be rejected.

2	FORM OF TENDER AND ACCOMPANYING PAPERS

2.1	Tenders must be submitted on the Form of Tender, which must be duly completed and accompanied by:

2.1.1	The Preliminaries and Conditions of Contract and Collusive Tendering Certificate duly completed in all respects;

2.1.2	The Tenderer’s written response to any Supporting Information required by the Council will be taken into account in the evaluation of competing tenders and which, if approved, will be binding but will not detract from the Specification nor Preliminaries and Conditions of Contract; and

2.1.3	A statement of the names and private addresses of all partners within the partnership (if a partnership) or relevant details of the Company (if a company).

2.2	If you wish to receive an electronic copy of this document, please email a request reference number RS01 to melvyn.cryer@gedling.gov.uk and a Microsoft Word or Excel file attachment will be sent by email reply.

3	SIGNATURE OF FORM OF TENDER

3.1	The Form of Tender must be signed:

3.1.1	where the Tenderer is an individual, by that individual;

3.1.2	where the Tenderer is a partnership, by two duly authorised partners;

3.1.3	where the Tenderer is a limited company, by a director duly authorised for such purposes.

4	REJECTION OF FORM OF TENDER

4.1	Any Form of Tender submitted by a Tenderer in respect of which the Tenderer:

4.1.1	fixes and adjusts prices and rates shown in its Form of Tender by or in accordance with any agreement or arrangements with any other person or by reference to any other Form of Tender or communicates to any person other than the Officer mentioned in this tender the amount or approximate amount of the prices and rates shown in its Form of Tender except where such disclosure is made in confidence, in order to obtain quotations necessary for the preparation of the Form of Tender or for the purposes of financing or insurance; or

4.1.2	enters into any agreement with any other person that such other person shall refrain from submitting a Form of Tender or shall limit or restrict the prices to be shown by any other Tenderer in its Form of Tender; or

4.1.3	offers or agrees to pay or does pay or give any sum of money, inducement or valuable consideration directly or indirectly to any person for doing or having or causing or having caused to be done in relation to any other Tenderer or any other person’s proposed Form of Tender any act or omission; or

4.1.4	in connection with the award of the Contract commits an offence under the Bribery Act 2010 or gives any fee or reward the receipt of which is an offence under Sub-Section (2) of Section 117 of the Local Government Act 1972; or

4.1.5	has directly or indirectly canvassed any member or official of the Council concerning the acceptance of any Form of Tender or who has directly or indirectly obtained or attempted to obtain information from any such member of official concerning any other Tenderer or Form of Tender submitted by any other Tenderer;

shall be rejected by the Council provided always that such non-acceptance or rejection shall be without prejudice to any other civil remedies available to the Council or any criminal liability which such conduct by a Tenderer may attract.

5	NON-CONSIDERATION OF FORM OF TENDER

5.1	The Council may in its absolute discretion refrain from considering any Form of Tender if:

5.1.1	it is not in accordance with the Form and Conditions of Tender;

5.1.2	the Tenderer makes or attempts to make any variation or alteration to the terms of the Form of Tender, the Conditions or the Specification except where a variation or alteration is invited or permitted in accordance with the terms of all or any of the Form of Tender, the Conditions and the Specification; or

5.1.3	the Tenderer does not provide all the information required by the Council.

6	INFORMATION, COSTS AND EXPENSES

The Tenderer is responsible for obtaining all information necessary for the preparation of its Form of Tender and all costs expenses and liabilities incurred by the Tenderer in connection with the preparation and submission of the Form of Tender shall be borne by the Tenderer.

7	SUBMISSION OF FORM OF TENDER

7.1	The Form of Tender and Collusive Tendering Certificate must be duly completed and submitted with the Tender Return Financial Summary, Supporting Information (if required) and annexes duly completed to:

Director for Organisational Development and Democratic Services

Gedling Borough Council

Civic Centre

Arnot Hill Park

Arnold

Nottingham. NG5 6LU

by no later than noon on 27th September 2017

7.2	Any form of Tender submitted after such time will not be considered for acceptance.

7.3	The envelope or package should bear the following words in the top left hand corner:

Tender for paving works at Eagle Square, Arnold

Due by 12 noon on 27th September 2017

Tender for paving works at Eagle Square, Arnold

Due by noon on 27th September 2017

Director for Organisational Development and Democratic Services

Gedling Borough Council

Civic Centre

Arnot Hill Park

Arnold

Nottingham. NG5 6LU

stamp

7.4	You may seek clarification on any of the points contained in the tender documents, by contacting the named person, at any time prior to the closing date of the tenders.

7.5	When returning the tender please ensure that:

- the envelope does not bear any name or mark indicating the identity of the sender (this includes for example, franked mail, Post Office labels detailing the sender, courier service labels or a signature across the seal of the envelope)

- the envelope is not accompanied by other documentation which identifies the tenderer

- all documentation is properly completed and enclosed with your tender

- the time by which the tender must be returned is noted

- If returning tenders personally please allow time to cope with traffic, accidents, parking problems, lift unavailability, busy reception areas or any other delays).

- if returning tenders by post, that the chosen method will guarantee delivery before the specified deadline

7.6	Tenders returned other than in the normal course of post will only be accepted during normal office hours i.e. Monday – Thursday 8.30a.m. – 5.00p.m. and Friday 8.30a.m. – 4.30p.m. (excluding bank holidays)

### 7.7	No tender will be considered which is late - for whatever reason.

7.8	A tender will be rejected if the envelope bears any name or mark indicating the identity of the sender. Please note that this includes for example, franked mail, Post Office labels detailing the sender, courier service labels or a signature across the seal of the envelope.

### N.B. We do not open any tenders until after the deadline has expired, therefore there is no penalty for returning a tender early!

7.9	All Tenderers shall keep their respective Forms of Tender valid and open for acceptance by the Council until the expiry of 90 days from the last date for the receipt of tenders.

8	RESEARCH AND INVESTIGATION

8.1	The Tenderer will be deemed for all purposes connected with the Form of Tender and the Contract to have carried out all researches, investigations and enquiries which can reasonably be carried out and to have satisfied itself as to the nature, extent, and character of the requirements of the Contract (in the context of and as it is described in the Specification), the extent of the materials and equipment which may be required and any other matter which may affect its Form of Tender.  The Tenderer shall have no claim whatsoever against the Council in respect of such matters and in particular (but without limitation) neither the Council shall make any payments to the Tenderer save as expressly provided for in the Contract and (save to the extent set out in the Contract) no compensation or remuneration shall otherwise be payable by any Council to the Tenderer in respect of the scope of the Contract being different from that envisaged by the Tenderer or otherwise.  Information given in respect of current orders is given as a guide and the Council makes no warranty and accepts no liability as to the actual value or volume of orders to be placed with the Contractor.

9	FURTHER INFORMATION AND QUERIES

9.1	At any time prior to six days before the date for receipt of Tenders the Tenderer may by written communication to the Council request any information or raise any query in connection with the Form of Tender, the Conditions, Specification or the Schedule of Rates and any such correspondence should be addressed to:

Melvyn Cryer

Gedling Borough Council

Civic Centre

Arnot Hill Park

Arnold

Nottingham

NG56LU

Tel	0115 9013767

Email melvyn.cryer@gedling.gov.uk

9.2	In the event that the Tenderer has difficulty in complying with any specific provision thereof or wishes to propose any amendment thereto it should provide all information and evidence in writing concerning such difficulty or amendment as the Council may require.  The Council may at its discretion consider the difficulty or amendment and may issue general guidance or waive or amend the relevant provision but in any case without prejudice to all or any other provisions of the Form of Tender, the Conditions or the Specification or any rights or powers of the Council hereunder.  No such waiver or amendment shall be binding unless made in writing and signed by the Council Solicitor and Monitoring Officer on behalf of the Borough Council.

10	ACCEPTANCE, EVALUATION OF TENDERS & VARIANT BIDS

10.1	Checking and Acceptance of Tenders

10.1.1	An initial examination will be made to establish the completeness of submitted tenders.  The Council reserves the right to disqualify any tender submission which is incomplete.

10.1.2	Tenderers should satisfy themselves of the accuracy of all fees, rates and prices quoted, since Tenderers will be required to hold these or withdraw their Tender in the event of errors being identified after the submission of Tenders.

10.1.3	If a Tenderer fails to provide fully for the requirements of the Specification in the Tender it must either:

(i)	absorb the costs of meeting the full requirements of the Specification within its tendered price; or

- withdraw its Tender.

10.2 	Where in the best interest of the Gedling Borough Council variant bids may be accepted.

10.3	Evaluation of Tenders

10.3.1	Evaluation of tenders shall be based on price, providing that all health & safety and mandatory timeframes are met.

10.3.2	The Council reserves the right to disqualify any bid that fails to meet the essential requirements of the Specification

10.3.3	The Council reserves the right not to award the Contract to the lowest or any Tenderer, reserving also the right to accept the same in whole or in part.

10.4	Any acceptance of a Tender by the Council shall be in writing. Upon acceptance the Contract shall thereby be constituted and become binding on both parties notwithstanding which the Tenderer shall, upon request of the Council, forthwith execute a formal contract in the form set out at Part 5 of the Tender documentation.

11	PERFORMANCE BONDS

11.1	In view of the fact that the Contract is estimated not to exceed £100,000 in value or amount and is for the execution of works or for the supply of goods or materials by a particular date or series of dates the Council has decided that it will not require security for its due performance.

12	CONFIDENTIALITY

12.1	The Form of Tender, the Preliminaries and Conditions of Contract and the Specification and all other documentation or information issued by the Council relating to the Tender shall be treated by the Tenderer as private and confidential for use only in connection with the Tender and any resulting contract and shall not be disclosed in whole or in part to any third party without the prior written consent of the Council.

12.2	The documents which constitute the Contract and all copies thereof are and shall remain the property of the Council (whether or not the Council shall have charged a fee for the supply of such documents) and must not be copied or reproduced in whole or in part and must be returned to the Council upon demand.

13	TENDERER’S WARRANTIES

13.1	In submitting a Tender the Tenderer warrants and represents that:

13.1.1	it has not done any of the acts or matters referred to in Condition 4 above and has complied in all respects with these Conditions of Tender;

13.1.2	all information, representations and other matters of fact communicated (whether in writing or otherwise) to the Council by the Tenderer or its employees in connection with or arising out of the Form of Tender are true, complete and accurate in all respects;

13.1.3	it had made its own investigations and research, and has satisfied itself in respect of all matters relating to the Tender, the Specification and the Preliminaries and Conditions of Contract and that it has not submitted the Tender and will not have entered into the Contract in reliance upon any information, representations or assumptions (whether made orally, in writing or otherwise) which may have been made by the Council;

13.1.4	it has full power and authority to enter into the Contract and will if requested produce evidence of such to the Council; and

13.1.5	it is of sound financial standing and the Tenderer and its partners, officers and employees are not aware of any circumstances (other than such circumstances as may be disclosed in the accounts or other financial statements of the Tenderer which may adversely affect such financial standing in the future;

14	WORDS AND EXPRESSIONS

14.1	Words defined in the Preliminaries and Conditions of Contract shall have the same meaning in the Form of Tender, the Conditions of Tender and the Specification.

3 - COLLUSIVE TENDERING CERTIFICATE

I / We declare that:

1.	This is a bona fide tender, intended to be competitive, and that I/we have not fixed or adjusted the amount of the tender by or in accordance with any agreement or arrangement with any other person.

2.	I / We have not done and I / we undertake that I / we will not do at any time before the hour and date specified for the return of this tender any of the following acts:

a	communicating to a person other than the person calling for those tenders the amount or approximate amount of the proposed tender except where disclosure, in confidence, of the approximate amount of the tender was necessary to obtain premium quotations required for the preparation of the tender.

b	entering into any agreement or arrangement with any other persons that they shall refrain from tendering or as to the amount of any tender to be submitted.

c	offering or paying or giving or agreeing to pay or give any sum of money or valuable consideration directly or indirectly to any person for doing or having done or causing or having caused to be done in relation to any other tender or proposed tender for the said work any act or thing of the sort described above. We acknowledge that if we, or anyone who acts on our behalf behaves improperly or commits an offence under the Bribery Act 2010, the Council may cancel the contract and recover all costs and losses.

In this certificate, the word ‘person’ includes any persons or any body or associated, corporate or unincorporated, and ‘any agreement or arrangement’ includes any such transaction, formal or informal, and whether legally binding or not.

Dated this ……………………………day of ……………………………..20…….

Signature …………………………………………………………………………..

For and on behalf of ………………………………………………………………

(Name of firm or Company)

Status of signatory…………………………………………………………………

(e.g. Partner or Director)

Note: Refusal to give this declaration and undertaking means that your tender will not be considered.

4 - FORM OF TENDER

To Gedling Borough Council

Having examined carefully and understood the, Conditions of Tender, Preliminaries and Conditions of Contract, the Specification and all other documentation issued by the Council in connection with the surfacing works.

We	 …………………………………………………………………………………………

of	…………………………………………………………………………………………

……………….…………………………………………………………………………………

hereby offer to carry out the works subject to the terms and conditions set out in such Conditions of Tender, Preliminaries and Conditions of Contract, Specification and other documents (if any) at the prices and rates contained in the Activity Schedule and Tender Return Financial Summary.

We understand you are not bound to accept the lowest or any tender you may receive and you will not pay any expenses incurred by us in connection with the preparation and submission of this tender.

Unless and until a formal Contract is prepared and executed this Tender together with your written acceptance thereof shall constitute a binding Contract between us.

Signature 		………………………………………………………

(Duly authorised agent of the Tenderer)

Position Held 		………………………………………………………

Name and Address of Tenderer  ……………………………………………………

……………………………………………………

……………………………………………………

Dated					……………………………………………………

It must clearly be shown whether the Tenderer is a Limited Company, Statutory Corporation, Partnership, or Single Individual, trading in their own or another name, and also if the person signing is not the actual Tenderer, the capacity in which they sign or are employed.

5 – PRELIMINARIES AND CONDITIONS OF CONTRACT

NEC3 ENGINEERING AND CONSTRUCTION CONTRACT OPTION A PRICED CONTRACT WITH ACTIVITY SCHEDULE

Tenderers should note that the Contract is a NEC3 Priced Contract with activity schedule. Please complete the Works Activity Schedule with the individual cost for each of the principal activities.

Amendments:

The Form of Contract will incorporate amendments as listed below.

CONTRACT DATA

Part one – Data provided by the Employer

|  |  | Completion of the data in full, according to the Options chosen, is essential to create a complete contract. |
| --- | --- | --- |
| Statements given in all contracts |  |  |
| 1 General |  | - The conditions of contract are the core clauses and the clauses for main Option A, dispute resolution Option W1 and secondary Options X13,X16 of the NEC3 Engineering and Construction Contract April 2013. - The works are The demolition of an existing raised brick planter and replacement with an extended paved area, making good of brickwork and provision of street furniture. - The Employer is Name Gedling Borough Council . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Address The Civic Centre Arnot Hill Park, Arnold, Nottinghamshire, NG5 6LU . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . - The Project Manager is Name. Mr. Melvyn Cryer . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Address. As Above. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . - The Supervisor is Name. Mr. John Evens . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Address As Above. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . - The Adjudicator Will be appointed using nec-adjudicators.org for any particular dispute as required . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . - The Works Information includes parts 1 – 5 in section 6 of this document and the associated designers pre-construction information, the drawings and the works activity schedule. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . - The Site Information is in Designers Pre Construction Information document 10032/4 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . - The boundaries of the site are shown on drawing 10032_0102 Existing layout plan. . . . . . . . . . . . - The language of this contract is English. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . - The law of the contract is the law of England and Wales subject to the jurisdiction of the courts of England and Wales. - The period for reply is 2 weeks. - The Adjudicator nominating body is nec-adjudicators.org - The tribunal is arbitration - The following matters will be included in the Risk Register Public safety on adjoining Public Highway Damage to adjoining private property. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 3 Time |  | - The starting date is to be agreed on letting of contract, anticipated start date of 04/10/2017. - The end date will be 17/11/2017 - The access dates are Part of the Site 1. Site available at any time |
|  |  | - The Contractor submits revised programmes at intervals no longer than 2 weeks. |
| 4 Testing and Defects |  | - The defects date is 52 weeks after Completion of the whole of the works. - The defect correction period is 3 weeks except that - The defect correction period for any planting is 26 weeks |
| 5 Payment |  | - The currency of this contract is the pound sterling. - The assessment interval is 3 weeks. - The interest rate is 2.5. % per annum (not less than 2) above the . . . . . . rate of the Bank of England. |
| 6 Compensation events |  | - .The place where weather is to be recorded is Met Office weather datum Nottingham - The weather measurements to be recorded for each calendar month are - the cumulative rainfall (mm) - the number of days with rainfall more than 5 mm - the number of days with minimum air temperature less than 0 degrees Celsius - the number of days with snow lying at 09.00. hours GMT - The weather measurements are supplied by Met office - The weather data are the records of past weather measurements for each calendar month which were recorded at Nottingham. and which are available from The Met Office . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| 8 Risks and insurance |  | - The minimum limit of indemnity for insurance in respect of loss of or damage to property (except the works, Plant and Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) caused by activity in connection with this contract for any one event is .£5000000 ( five million) - The minimum limit of indemnity for insurance in respect of death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract for any one event is £10,000,000 (Ten Million). |
| Optional statements |  | If the tribunal is arbitration - The arbitration procedure is the latest version of the Institution of Civil Engineers arbitration procedure in force when the Arbitrator is appointed - The place where arbitration is to be held is to be agreed between the parties at time of any arbitration. - The person or organisation who will choose an arbitrator - if the Parties cannot agree a choice or - if the arbitration procedure does not state who selects an arbitrator is nec-adjudicators.org |
|  |  | If Option X13 is used - Not required. If Option X16 is used - The retention free amount is Nil %. - The retention percentage is 5 %. |

Part two – Data provided by the Contractor

|  |  | Completion of the data in full, according to the Options chosen, is essential to create a complete contract. |
| --- | --- | --- |
| Statements given in all contracts |  | - The Contractor is Name . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Address . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . - The direct fee percentage is. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . %. - The subcontracted fee percentage is . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . %. - The working areas are the Site and . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . - The key people are (1) Name . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Job . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Responsibilities . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Qualifications . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Experience . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . (2) Name . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Job . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Responsibilities . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Qualifications . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Experience . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . - The following matters will be included in the Risk Register . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| Optional statements |  | If the Contractor is to provide Works Information for his design - The Works Information for the Contractor’s design is in . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . If a programme is to be identified in the Contract Data - The programme identified in the Contract Data is. . . . . . . . . . . . . . . . . . . . . . If the Contractor is to decide the completion date for the whole of the works - The completion date for the whole of the works is. . . . . . . . . . . . . . . . . . . . . . If Option Y(UK)1 is used - The project bank is . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . - named suppliers are . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
|  |  | - The activity schedule is . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . - The tendered total of the Prices is. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |
| Data for the Shorter Schedule of Cost Components |  | - The percentage for people overheads is . . . . . . . . . . . . . . . . . . . . . . . . . . . . %. - The published list of Equipment is the last edition of the list published by . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . - The percentage for adjustment for Equipment in the published list is . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . % (state plus or minus). - The rates for other Equipment are Equipment size or capacity rate . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . - The hourly rates for Defined Cost of design outside the Working Areas are category of employee hourly rate . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . - The percentage for design overheads is . . . . . . . . . . . . . . . . . . . . . . . . . . . %. - The categories of design employees whose travelling expenses to and from the Working Areas are included in Defined Cost are . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |

Additional contract clauses

INDUCEMENTS

1.	The Contractor shall not, and shall procure that its employees, agents, consultants and any sub-contractor shall not, in connection with this Contract commit a Prohibited Act.

2.	The Contractor warrants, represents and undertakes that it is not  aware of any financial or other advantage being given to any person  working for or engaged by the Council, or that an agreement has  been reached to that effect, in connection with the execution of this  Contract.

3.	The Contractor shall if requested, provide the Council with any reasonable assistance to enable the Council to perform any activity required by any relevant government or agency in any relevant jurisdiction for the purpose of compliance with the Bribery Act 2010.

4.	If any breach of clause H7.1 is suspected or known, the Contractor must notify the Council immediately. If the Contractor  notifies the Council that it suspects or knows that there may be a  breach of paragraph 1 of this clause, the Contractor must respond promptly to the  Council's enquiries, co-operate with any investigation, and allow the Council to audit books, records and any other relevant documentation.  This obligation shall continue for 7 years following the expiry or termination of this Contract.

5.	Where the Contractor (including its employees, agents,  consultants, any sub-contractor or anyone acting on its behalf (in all  cases whether or not acting with the Contractor's knowledge))  engages in conduct prohibited by paragraphs 1 and 2 to this clause  in relation to  this or any other contract with the Council, the Council has the right to terminate the Contract with immediate effect.

6.	In determining whether to exercise the right of termination under paragraph 5 of this clause , the Council shall give all due consideration, where it considers it appropriate, to action other than termination of this Contract.

7.	Any notice of termination under paragraph 5 of this clause must specify:

7.1 the nature of the Prohibited Act;

7.2 the identity of the party whom the Council believes has committed the Prohibited Act; and

7.3 the date on which this Contract will terminate.

8.	The decision of the Council shall be final and conclusive in any dispute, difference or question arising in respect of:

8.1 the interpretation of this clause;

.	8.2 the right of the Council under this clause to terminate this Contract; and

.	8.3 the amount or value of any such gift, consideration or commission.

9.	Any termination under paragraph 5 of this clause will be without prejudice to  any right or remedy which has already accrued or subsequently accrues to the Council, this includes but is not limited to the right to recover from the Contractor the amount of any loss suffered by the Council resulting from the termination, including the cost reasonably incurred by the Council of making other arrangements for the provision of the Services and any additional expenditure incurred by the Council throughout the remainder of the Contract Period.

10.	For the purposes of this clause, the following constitute Prohibited Acts:

10.1 to directly or indirectly offer, promise or give any person working for or engaged by the Council a financial or other advantage to:

(i) induce that person to perform improperly a relevant function or activity; or

(ii) reward that person for improper performance of a relevant function or activity;

10.2 to directly or indirectly request, agree to receive or accept any financial or other advantage as an inducement or a reward for improper performance of a relevant function or activity in connection with this Contract;

10.3 committing any offence:

(i) under the Bribery Act;

(ii) under legislation creating offences concerning fraudulent acts;

(iii) at common law concerning fraudulent acts relating to this Contract or any other contract with the Council; or

(iv) defrauding, attempting to defraud or conspiring to defraud the Council.

ASSIGNMENTS

The Principal Contractor shall be prohibited from transferring or assigning directly or indirectly, to any person or persons whatever, any portion of this Contract without the written permission of the Council. Sub-letting of any part(s) of the Work, except to the extent permitted in writing by a Corporate Director for the Council, shall be prohibited.

PRELIMINARIES AND GENERAL CONDITIONS - continued

1	GENERAL

The Contractor is to read and note the requirements within this section, to consider the financial implications of each item, and to include within the Tender for compliance.

2	DESCRIPTION OF THE WORKS

This document incorporates sections entitled Details of the Site, Specification of the Works.

3	CONTRACT DRAWINGS

The drawings to be read in conjunction with this Tender document are:

The Designers Pre Contract Information Document 10032_04_GBC_ArnoldPerfArea_Civils_PCI

And drawings:

10032_0102_GBC Arnold Front Street Existing Layout Plan

10032_0105_GBC_ArnoldFrontSt_Proposed_Detailed_Design_RevB

10032_0106_GBC_ArnoldFrontSt_Proposed_Construction_Details

4.	ACTIVITY SCHEDULE

Tenderers are to submit an activity schedule with their tenders this will be a document headed ‘activity schedule’ and will comprise a list of activities with an amount entered against  each activity this amount is the amount due to the contractor on completion of each activity unless it is included in a group. If groups of activities are required to be identified on the schedule, payment for each group becomes due when the activities in that group are completed.

Activity descriptions must be clear and complete so that the works included in each can be identified and the completion of each activity easily recognised.

Note also the requirement of clause 31.4 of the conditions of contract about the relationship between the activity schedule and the programme.

The following principal activities must be included in the schedule.

See Works Activity Schedule Document which should be priced accordingly: 10032_03_GBC_ArnoldPerfArea_Civils_Tender_ActScheduleOnly Works Activity Schedule

Health and Safety

The Tenderer will read and return a signed copy of the attached ‘Health and Safety Rules and Conditions for Contractors’ and undertake to comply with their requirements.

The Tenderer will complete and include with the submission the enclosed Contractor Questionnaire.

Should these completed documents not be returned with the tender submission the

tender will be rejected.

CDM

For the purposes of the CDM regulations the following roles are designated

Client – Gedling Borough Council

Principal Designer – Gedling Borough Council/ Alliance consulting

Designer - Gedling Borough Council and the Principal Contractor

Principal Contractor – Successful tenderer

Contractors and sub-contractors – any other operatives or contractors brought onto site by the Principal Contractor.

6 – WORKS INFORMATION

1 DESCRIPTION OF THE WORKS

The works are:-

Demolition of existing raised Planter.

Provide and lay paving to match existing

Provide and install street furniture

See detailed description in the Works Activity Schedule. 10032_03_GBC_ArnoldPerfArea_Civils_Tender_ActScheduleOnly Works Activity Schedule

2 DRAWINGS.

See Designers Pre Contract Information Document 10032_04_GBC_ArnoldPerfArea_Civils_PCI

And drawings:

10032_0102_GBC Arnold Front Street Existing Layout Plan

10032_0105_GBC_ArnoldFrontSt_Proposed_Detailed_Design_RevB

10032_0106_GBC_ArnoldFrontSt_Proposed_Construction_Details

3 SPECIFICATIONS.

The Specification that will be used for the construction of this project will be Specification for Highway Works (SHW) published by Her Majesty’s stationary office together with the relevant information from the 6C’s Design guide as accessed via the link below:

https://resources.leicestershire.gov.uk/environmnet-and-planning/planning/the-6cs-design-guide

4 CONSTRAINTS ON HOW THE CONTRACTOR PROVIDES THE WORKS.

All on street signage will be provided in accordance with Chapter 8 of the Road Signs manual for highways works.

The works must be completes and the site cleared by the 17th November

All on site operatives and supervisors must have the necessary qualification and experience to carry out works on the Public Highway.

5 SITE INFORMATION

See Designers Pre Contract Information Document 10032_04_GBC_ArnoldPerfArea_Civils_PCI

7 – TENDER RETURN & SITE INFORMATION

Instructions to Contractors

Maintaining Roads and Property in a Clean Condition

The Contractor shall take all precautions to prevent any dirt, dust or foreign matter

(including water) to be deposited upon or fall upon any, access road, footpath

The Contractor shall be responsible for, and shall remove at his own expense, any

such dirt, dust, matter or water deposited at the end of every working day.

In addition, upon receipt of the instructions, the Contractor shall immediately remove

any such materials. And clean the access road, footpath etc.to the satisfaction of the Council.

ENTRY INTO SITE

Before the start of works on site the Contractor MUST formally arrange access with a representative of the Council and complete site induction in respect of these works.

SAFEGUARDING THE PUBLIC

All on site signage and barriers shall be provided to Chapter 8 of the Road Signs Manual for highways works.

SECURITY

Contractors will ensure that all items of their plant, tools and equipment are properly

marked and/or coloured to ensure ready identification, and are securely kept when not

in use.

Notes for pricing

- The prices and rates to be inserted in the works activity schedule are to be the fully inclusive value of the work described under the several items including all costs and expenses which may be required, in and for the construction of the work described, together with all general risk, liabilities and obligations set forth or implied in the documents on which the price is based.

b)	A price or rate is to be entered against each item in the return.  Items against which no price is entered will be considered as covered by the other prices.

c)	General directions and descriptions of work and materials given in the Specification are not necessarily repeated in the schedule.  Reference is to be made to the Specification and/or drawings for this information.

d) 	Items 8 & 15 are optional and may not be taken up.