NATIONAL ARMY MUSEUM

ROYAL HOSPITAL ROAD

CHELSEA

LONDON SW3 4HT						9 February 2023

TENDER FOR THE PROVISION OF TWO NEW CLIMATE CONTROLLED DISPLAY CASES FOR the Army at Home permanent Gallery AND, miniclima works to the existing cases

Brief, Tender and SPECIFICATION

| CONTENTS |  | Page |
| --- | --- | --- |
| The Client |  | 2 |
| The National Army Museum (NAM) Project Board |  | 2 |
| the NAM -BackgrounD |  | 2 |
| ScOPE OF WORKS |  | 2 |
| CASE SPECIFICATION AND REQUIREMENTS FOR NEW CASES |  | 3 |
| EXISTING CASES WITH MINICLIMAS THAT NEED TO BE RE-CONNECTED |  | 4 |
| Out OF SCOPE |  | 5 |
| Access |  | 6 |
| Programme |  | 6 |
| Information for Tenderers |  | 6 |
| Contract Award Criteria |  | 8 |
| Enquiries |  | 7 |
| Financial Tenders |  | 7 |
| Tendering Costs |  | 8 |
| Insurances |  | 8 |
| Defects in Maintenance Period |  | 8 |
| Health and Safety |  | 8 |
| Security |  | 9 |
| General |  | 9 |
| Annexes |  |  |
| Annex A: FORM OF TENDER |  | 10 |
| Annex B: CERTIFICATE OF BONA-FIDE TENDER |  | 12 |
| Annex C: CONTRACTOR QUALIFICATION QUESTIONNAIRE |  | 13 |
| Annex D: HEALTH AND SAFETY QUESTIONNAIRE |  | 20 |
| Annex E TEMPLATE FOR PRICING |  | 24 |
| ANNEX F - 1 – PLB DESIGN DRAWINGS FOR TWO NEW CASES |  | Separate issue |
| ANNEX - 2 -SAMPLE SPECIFICATION FOR THE EXISTING CASES AND MINICLIMAS |  | Separate Issue |

The Client

The Client is the Council and Director of the National Army Museum, Royal Hospital Road, Chelsea, London, SW3 4HT.

The National Army Museum (NAM) Project Board

The NAM Project Board will include:

Ms Jane Holmes

Mr Mike O’Connor

Mrs Terri Dendy

Mr Joshua Seymour

Mr Matt Thomas

Mr Chris Cogswell – PLB design

a member of the Museum’s Finance Team

The NAM (National Army Museum) - Background

The NAM, a Body incorporated by Royal Charter (1960), is the British Army's own Museum.  It is the only museum in the United Kingdom to tell the Story of Our Army as a whole from its inception to today's military operations in Iraq, Afghanistan and elsewhere.  It commemorates the contribution of soldiers, male and female, who have served in Our Army.  By using examples from the past, the NAM inspires the present generation of soldiers to understand that they are the inheritors of a rich tradition of bravery, service and professionalism.

- Scope of Work

NAM are creating a new permanent gallery called ‘Army at Home’ which tells how our Army helped to unify and forge the identity of our nation and its work on home soil, from ceremonial duties, through humanitarian assistance to preventing terrorism on our shores.  The Scope of Work includes:

- Provision of two new climate controlled display cases as outlined in Annex F-1 PLB design drawings under separate cover.  These should be read in conjunction with the specification for new display cases outlined in this brief under the heading ‘Case specification and performance requirements for new display cases’.

- The reconnection Museum issue miniclimas type EBC10 and EBC11/12 into 5 existing cases.  These cases have been manufactured by Bruns and information is contained in Annex F -2 which is issued under separate cover.

- Retrofit 12no existing Bruns cases and supply and install new miniclimas.  Note: miniclimas are to have minimum two-year warranty – refer to Annex F under separate cover and point 6 in this brief.  Fitting of new seals to cases.

Note: As both the new and the old cases fit within the substrate of the new walls and build structures.  The Museum will be appointing a main building contractor in May 2023 and it is crucial that there is a strong interface between the main build contractor and the successful tendered for the display case manufacturer.

- Case Specification and Performance Requirements for New Cases

All materials used in the construction, finishing and internal fittings of display cases must meet the general performance and aesthetic requirements.  All materials within the display volume must be certified as inert by the British Museum Standards.  Testing certificates will be sought.

Construction details

- Constructed from 12mm laminated anti bandit, low reflect glass optiwhite, with at least 2 lamination interlayers.  Glass must comply with safety standards BS 5544.  Carcasses of cases to be steel with dress panels to be 18mm ZMDF with dacrylate varnish and water based emulsion, sprayed finish, colour to be confirmed.  All steelwork and frames to be RAL coated RAL 9010 Reinweis semi gloss.  The construction must ensure the cases are physically robust, rigid both in themselves and rigidly supported.  They must provide adequate physical protection for the contents – i.e. they must be secure, structurally stable and capable of withstanding accidental knocks without endangering the contents or the public.

- Steel base plate must be fixed in between the services plinth located under each showcase and the showcase enclosure area.  This is to be weld sealed only.  Cases to be securely anchored, including stability even when the doors are open.

- Hinged doors fitted to cases must be able to open to 90deg and be able to be opened by one individual.  Doors must contain an adjustable mechanism to ensure they close securely without relying in any way on the security locking system.  Doors must close on to continuous seals without gaps thus preventing items being inserted into the case and maintaining climatic conditions.

- Closing/sealing the doors should not stress or damage the case components or the glass.

- Cases are to be fitted with two Abloy barrel locks ref CL291 per sash, one at the top and one at the bottom.  Locks to be mounted in cabinet frame and not in the door.  Locks for the new cases in Appendix 1 will be unique, and not previously issued.  The showcase manufacturer will supply all locks and will hand over all with Abloy authentication of keys.  Other than the mastering of these locks, no other mastering of locks will be required.  The Museum is to be provided with two sets of keys for each case.

- Cases must be capable of being connected to the Museum’s security alarm system.  The Supplier will be responsible for supplying and fitting showcase sash contacts.

- Miniclimas and lights to be easily accessible for regular maintenance – access panel with budget lock.

- The lighting system needs to be LED lights capable of being dimmed as low as 30 degrees and individually positioned.  In addition, lightbars are required at the sides of the cases and all lights must be compatible to be controlled via the DMX/Pharos system as installed at the Museum, details will be provided to the successful tenderer.  The manufacturer should denote how many lights are within each case and their dimming range.  Lights to be warm 3000K.

- Fine adjustment to the leveling of the case should be possible with integral leveling adjusters.

Conservation Requirements

- Conservation requirements include vapour tight with 0.1 air changes per 24 hours.  Showcases should provide stable micro-climates for the objects using passive means of environmental control.  Unless otherwise stated in this Specification, the level should be maintained at a fixed point within the range 50%, with fluctuations not exceeding 5%. Showcases rated 2 should provide stable micro-climates for the objects to achieve target levels of temperature.  This level should be set at 17-21°C unless otherwise stated in this Specification.

- The majority of objects that will be on display are environmentally sensitive, it is essential that showcases are capable of maintaining a consistent internal environment in terms of relative humidity.  Seals must be of the highest quality, have proven long life, and be continuous and with no gaps at the corners.  Seals are to be fitted to the perimeter of the opening panels.  The width of this seal should not exceed 6mm between sashes and must be compressed upon sash closure.  If any gaps are present, these could jeopardise the in-case controlled environmental conditions.  The quality of the fine detail at junctions and connections of surfaces will be crucial, as will be the quality of seals and adhesives.  Brush seals are not acceptable - Ethoxysilicone should be used to reduce air exchange.  Air exchange rates must be tested and certified for compliance by the Building Services Research and Information Association (BSRIA) using air pressurisation and tracer gas concentration decay tests before cases can be accepted and paid for at practical completion.

- The cases should be fitted with new calibrated miniclimas.

Due to the high-profile nature of the material on display and the prestige of the National Army Museum, the detail and design of the showcases must be of the highest quality throughout.  Materials, techniques and finishes must be selected in a manner appropriate to their use and careful craftsmanship employed to achieve the finest quality of finish and performance.

Drawings supplied by the Exhibition Designer are intended to describe the final appearance, operation and performance of the showcases rather than their complete construction.  The design team look to the experience and knowledge of the showcase manufacturer to guide the full detail design process, although sign off remains with NAM.

Major detailing elements which may significantly change the appearance and specified performance MUST be identified in advance of the showcase tender submission.  In addition, should the showcase manufacturer be unable to meet the specifications or design intent this MUST be highlighted within their tender submission.  If there are no problems highlighted iin the tender it shall be deemed that the showcase manufacturer can meet all of the design and specification intentions. The placement of the order shall be made in this understanding.

Electrical supplies for the following will be brought to the location of each showcase by NAM appointed electricians as part of the build tender; power, security systems and DMX cabling.

The extent of the works includes supply of the cases, installation on site and maintenance manual provision and staff handover training.

- Existing Cases with Miniclimas that need to be re-connected

The new gallery utilises existing display cases manufactured by Bruns.  Five of these cases have existing EBC10,EBC11/12 miniclimas that need to be installed and reconnected to the cases.  Refer to the drawings for these cases in Annex F-2.  They are a combination of wall based and desk top cases as outlined in the following table:

Bruns Display Cases that have existing Miniclimas that need reconnecting:

| Case 2.4 sho 6 | Existing miniclima to reconnect – wall based case | Miniclima EBC10 |
| --- | --- | --- |
| Case 2.1 sho1 | Existing mini clima needs reconnecting – wall based case | Miniclima EBC10 |
| Case 3.1 sho 1 | Existing miniclima needs reconnecting – wall based case | Miniclima EBC11 |
| Case 1.3 sho 1 | Existing miniclima needs reconnecting – wall based case | Miniclima EBC11 |
| 1.9 sho 2 | Existing miniclima needs reconnecting – wall based case | Miniclima EBC11 |

Existing Bruns Cases that require retro fitting with Miniclimas

There are twelve Bruns cases that need to be retro fitted with Miniclimas to ensure the correct conditions.  The table below indicates the requirement.  New miniclimas are to be provided for these cases with minimum two-year warranty.  Annex F - 2 the drawings of these cases is provided separate cover.

| Case 1.5 sho 1 | Wall based case | Needs a miniclima retro fitted |
| --- | --- | --- |
| Case 2.5 sho 4 | Wall based case | Needs a miniclima retro fitted |
| Case 2.2. sho 1 | Wall based case | Needs a miniclima retro fitted |
| Case 2.5 sho 8 | Wall based case | Needs a miniclima retro fitted |
| Case 2.4 sho 3 | Wall based case | Needs a miniclima retro fitted |
| 3.2 sho 1 | Desk top case | Needs a miniclima retro fitted |
| 3.2 sho 3 | Desk top case | Needs a miniclima retro fitted |
| 2.4 sho 2 | Wall case | Needs a miniclima retro fitted |
| 4.3 sho 2 | Desk top case | Needs a miniclima retro fitted |
| 1.7 sho1 | Wall based case | Needs a miniclima retro fitted |
| 2.5. show 5 | Wall based case | Needs a miniclima retro fitted |
| 1.6 sho 1 | Wall based case | Needs a miniclima retro fitted |

- Out of Scope

Tenderers to note that this package does not include the installation of brackets and mounts for specific objects or the production and installation of graphics to be installed inside the cases.

Alarms and DMX lighting system to be fitted by NAM contractors.

- Access

Access to the Chelsea site is by arrangement only, it is essential that note is taken of any arrangements for entry.  Site visits will obviously be required prior to any tender submission and these can be arranged by contacting:

Ms Jane Holmes – Head of Exhibitions jholmes@nam.ac.uk  0207 881 2494

The names of personnel visiting the site and the registration number of vehicles must be supplied in advance of coming to site.  Parking is by arrangement and must not assumed.  Any vehicles including delivery vehicles, not pre-approved, will be denied entry and the Museum will not be responsible for any costs of re-arrangements.

Typically, the working hours will be 0800am-17:00hrs pm daily.  There will be no weekend working unless specifically agreed by the Client.  If weekend working is required, a minimum of one working week notice is required to be given. Materials need to be brought into the exhibition space prior to 9.30am. There is no goods lift.

- The Programme

| Tender Invitation issued | 10 February 2023 |
| --- | --- |
| Intention to tender submitted | 20 February 2023 |
| Tender submission to NAM | 10 March 2023 |
| Successful contractor appointed | 13 March 2023 |
| Proposed dates on site | June 2023 TBC |

Information for Tenderers

Tender Process

The process to be followed will be in accordance with the NAM Financial Procedures Manual in that it will be a sealed bid process.

The NAM will not necessarily award to the lowest price tenderer.  NAM reserves the right to appoint the contractor who has interpreted the brief fully and provides value for money.

Tender Return

All electronic tender documents/electronic media are to be addressed to tenders@nam.ac.uk and annotated with “TENDER DOCUMENTS NOT TO BE OPENED BEFORE 10th March 2023 at 10am

On no account are the tender documents to be passed to the requesting department before the tender board date, any documents sent in breach of this may at the discretion of the Board exclude the tender submission.

Tender “hard” copies shall be submitted to:

Secretariat

National Army Museum

Royal Hospital Road

Chelsea, London SW3 4HT

Tenders are to remain open for acceptance for a period of 90 days.

Tender shall comprise of 2 x hard copies and 1 x electronic (PDF format) following:

  - Financial Tender;

  - The Completed Form of Tender (Annex A);

  - Certificate of Bona-Fide Tender (Annex B);

  - Contractor Qualification Questionnaire (Annex C);

  - Health and Safety Questionnaire (Annex D);

  - Completed Template for Pricing (Annex E)

  - Design Drawings for two new cases (Annex F - 1 – under separate cover)

  - Case Specification for existing cases (Annex F - 2 – under separate cover)

  - Any other information that is required to clarify the tender.

- Enquiries

The Head of Exhibitions: Jane Holmes – jholmes@nam.ac.uk  (for scheduling & site visits)

- Financial Tender

The Museum has set aside a budget cost for this work at approx. £65,000.

The Fee is to include all expenses.  This will include printing costs, travel costs, accommodation, disbursements, visuals, and all other expenses and costs required in the provision of the Services.  The fee should exclude VAT.

Instalment payments

NAM suggests a payment schedule of 30% at the start of the project, 20% mid-way through the project and 45% at the end of the project.  5% will be retained for 6 months.

Information required to accompany the Tender

- Completed Form of Tender & Certificate of Bona-Fide Tender (Annex A & B). The forms must should be signed by the Tenderer or, in the case of a Company, by the Secretary or other authorised person

Completed Contractor Qualification and Health and Safety and Template for Pricing questionnaires (Annex C, D & E)

Relevant Experience

Tenderers are to provide details of relevant experience.  For each project, include a description of the project, your role, client, budget and project dates

Tenderers Project Team

List the proposed personnel working on this project and provide the CVs for any supervisory role personnel.

Resource Plan & Availability of Personnel

- Advise the resource plan for the proposed personnel.

- Advise how quickly the contractor could begin work if appointed.

Practice Approach

Outline your approach to ensure that the installation is completed within budget and timescale.

References

Tenderers are to provide details of three recent contracts that are relevant to this project including the name and contact details of the clients’ representatives who could be approached for references.

- Contract Award Criteria

The Museum nominated members of the Project Board will oversee the tender process with other nominated individuals as required.

Tenders will be assessed on the following criteria:

Fee 50%

Qualifications and Experience 10%

Project Team and Resourcing including timings of installation 30%

Approach 10%

- Tendering Costs

The Client will not be responsible for or pay for any costs or expenses that are incurred by any tendering contractor in preparing and submitting their tender.

- Insurances

The minimum amounts insured in respect of employers and public liability shall be £10M for any one occurrence or series of occurrences arising out of one event.

- Defects in Maintenance Period

The contractor is to provide at handover certification that the cases comply with all relevant legislation, are fit for use and operational.  The contractor is to provide all documentation relating to the installation with recommendations for servicing and maintenance.

- Health and Safety

Contractor must provide all Method Statements, Risk Assessments, and COSHH Information Data Sheets prior to commencing works.

Contractor is to ensure that all works are made safe by the end of each working shift and the area is left in a clean and tidy condition to the satisfaction of the Client.

Contractor is to ensure that all items of the Museum are adequately protected from dust or damage during the works.

- Security

The contractor is to ensure that all employees and sub-contractors to be employed on the site are security cleared by the Client prior to the work commencing.  The vetting by the Client will entail the contractor ensuring that all employees and sub-contractors complete and return the National Identification Service form for clearance by New Scotland Yard.  The Client reserves the right to prohibit entry of any employee as a result of the NIS enquiry.

- General

- Contractor is responsible for confirming the dimensions on any drawings issued.

- The contractor will be allocated access routes to and from the installation site and allowed access to toilet facilities which must be kept clean at the contractor’s expense at all times.  This is to prevent possible accidents or conflict with staff, contractors or visiting public. All contractors’ personnel must book in and out of the Museum on each shift.

- Allow for the provision of skips for the removal of rubbish from site.

- All rubbish rubble should be removed out of the Museum premises before the end of each shift and deposited in skips.  Where there is a possibility that the rubbish could be blown by wind then the contractor is responsible for ensuring that the rubbish is suitably covered.

- Allow for the removal of any hazardous material or controlled waste from site and include for provision of copies of any disposal certificates to the Client.

- Allow for the provision of “As Built” drawings and samples.

- The tender price must be itemized as indicated in the sections above to allow ease of cost comparison for individual sections of the works. The Client will agree on the employment of any sub-contractors prior to the works commencing.  The tender price should also include the cost of a site supervisor.

- An area can be allocated in the Museum car park for on-site storage or a skip for disposal if required.  If the contractor chooses to store materials on-site then they are responsible for the security of all those materials.

- You should be aware the NAM is subject to the Freedom of Information Act 2000 and is required to comply with any requests submitted.

- ANNEXES

Attached to this specification are copies of Annexes that must be complied with for any tender submission

- Annex A – Form of Tender

- Annex B – Certificate of Bona-Fide Tender

- Annex C – Contractor Qualification Questionnaire

- Annex D – Health and Safety Questionnaire

- Annex E – Template for Pricing

- Annex F – Design Drawings (under separate cover)

ANNEx A – Form of Tender

Tender for: 	Army at Home Display Case Tender

To: 		The Council and Director of the National Army Museum

Sirs,

I/We the undersigned, having examined the enclosed tender documents and Appendices, do hereby offer to execute and complete in accordance with the said documents the works described therein:

For the sum as listed in the attached document:

Tenderer Reference:  Army at Home Display Case Tender

I/We hereby affirm our agreement to enter into a contract with the Council of the National Army Museum for the due performance of the Works in the form described by the above said documents.

I/We have completed the Certificate of Bona-Fide Tender included in this document

I/We understand that the Trustees are not bound to accept the lowest or any tender which may be received nor or responsible for any cost incurred in the preparation of any tender

I/We declare that this offer is to remain open for acceptance for a period of thirty days from the date fixed for the receipt of tenders

Signed: ____________________________________________________

In the capacity of

Duly authorised to sign the tender on behalf of:

Date:

ANNEX B – CERTIFICATE OF BONA-FIDE TENDER

Tender for: Army at Home Display Case Tender

I/We certify that this is a bona-fide tender and that I/we have not fixed or adjusted the amount thereof by or under in accordance with any agreement or arrangement with any other person.

I/We also certify that I/We have not done and I/We undertake that I/we will not do at any time any of the following acts:

  - Communicate to a person other than the person calling for these tenders the amount or approximate amount of the proposed tender except where the disclosure, in confidence, of such amount(s) was necessary to obtain insurance premium quotations required for the preparation of the tender.

  - Enter into any agreement or arrangement with any other person that he shall refrain from tendering or as to the amount of any tender to be submitted;

  - Offer or pay or give or agree to pay or give any sum of money or valuable consideration directly or indirectly to any person for doing or having done or causing or have caused to be done in relation to any other tender or proposed tender for the said work any act or thing of the sort described above.

In this certificate the word “person” includes any person and any body, association, corporate or un-incorporated; and “any agreement” includes such transaction, formal or informal, and whether legally binding or not.

Signed: ____________________________________________________

In the capacity of

Duly authorised to sign the tender on behalf of:

Date:

ANNEx C: - CONTRACTOR QUALIFICATION QUESTIONNAIRE

    - Please answer all questions and sign the declaration at end of the questionnaire.

    - If there is insufficient space for your response, please attach and sign any additional pages.

    - Please answer the questions specifically for your business NOT for the group if you are part of a group of companies.

    - Please note the term business refers to: Sole proprietor, partnership, limited liability partnership, incorporated company, co-operative, or voluntary organisation as appropriate.

This document is confidential, and all information provided will be for the purpose of supplier management only and kept solely within the National Army Museum.  The information supplied by the contractor / supplier will be used to assess the contractor’s fitness for any work being tendered.

Supply of this document to an applicant does not imply or guarantee that the recipient will be awarded works on a project.

A	ADMINISTRATIVE INFORMATION

A1 Trading Name of Business

A2 Registered Name of Business (if different from A1)

A3 How long has the business been trading?

A4 Main address for correspondence

A5 Registered Office address (if different from above)

A6 Name of person applying on behalf of the business.

A7 Position or title in the business of the person named in A6

A8 Telephone Number of the person named in A6

A9 Facsimile Number of the person named in A6

A10 E-Mail address of the person named in A6

A11 Is the business a sole trader, partnership, private limited company, public limited company, limited liability partnership, co-operative, voluntary organisation or other? (Please specify)

A12 Please provide the business’ VAT Registration Number

A13 If applicable, please state the number and date, and provide a copy of the Certificate of Incorporation or Registration (and Change of Name) under the Companies Acts or Industrial and Provident Societies Acts in the UK or the professional or trade register of the EU member state in which the company is established.

Applicable/Not applicable:

Certificate Number:

Date:

A14 Is the business part of a group?

Yes/No:

A15 If part of a group, please describe the group structure, (please provide an organisation chart if appropriate) and give names of the other Divisions or Subsidiary Companies in the Group.

Attached/Not Attached:

B	BUSINESS PROBITY

B1 a) Being a company, no resolution has been passed or Order of the Court made for the company’s winding up otherwise than for the purposes of bona fide reconstruction or amalgamation, or receiver, or manager, or administrator on behalf of a creditor appointed in respect of the company’s business or any part thereof, or is not the subject or proceedings for any of the above procedures, or is not the subject of similar procedures under the law of any other state.

Not applicable / confirmed / not confirmed:

Details:

b) Being an individual, you are not bankrupt, you have not had a receiving order or administration order made against you, or made a composition or arrangement or trust deed with or for the benefit of your creditors, or made any conveyance or assignment for sequestration of your estate or appear to be unable to pay or to have no reasonable prospect of being able to pay a debt within the meaning of the Insolvency Act or any similar procedure under the law of any EU member state.

Not applicable / confirmed / not confirmed:

Details:

B2 Please confirm that no Directors, Partners, Associates or the Company Secretary have been involved in any company, which has been liquidated or gone into receivership.

Confirmed / not confirmed:

Details:

B3 Please confirm that none of the Directors, Partners, Associates or the Company Secretary has been convicted of a criminal offence relating to the conduct of their business or profession.

Confirmed / not confirmed:

Details:

B4 Please confirm that neither the company nor any of the Directors, Partners, Associates or Company Secretary has committed an act of grave misconduct in the course of their business or profession.

Confirmed / not confirmed:

Details:

B5 List the full names of every Director, Partner, Associate and the Company Secretary and indicate their title.

Attached / Not Attached:

B6 Please confirm that all obligations relating to the payment of taxes under the law of any part of the United Kingdom or the EU member state in which the company is established have been fulfilled.

Confirmed / not confirmed:

Details:

B7 Please confirm that all obligations relating to the payment of social security contributions under the law of any part of the United Kingdom or EU member state in which the company is established have been fulfilled.

Confirmed / not confirmed:

Details:

B8 Please confirm that you understand that serious misrepresentation in the provision of information will be grounds for disqualification from the tender process.

Confirmed / not confirmed:

C	ECONOMIC AND FINANCIAL STANDING

C1 If the business is a member of a group of companies, please give the name and address of the ultimate holding company.

C2 Would the ultimate holding company be prepared to guarantee your contract performance as its subsidiary?

Yes / No:

C3 Please state the name and title of the person in the business responsible for financial matters:

C4 Please confirm that we may obtain references from your bankers and provide their name and address:

Confirmed / not confirmed:

Details:

C5 Have you been trading for three years or more? If yes, please attach copies of your audited Accounts for the past two years, to include:

- Balance sheet

- Profit and Loss Account

- Full notes to the Accounts

- Director’s Report

- Auditor’s Report

- Statement of Turnover in respect of the services to be provided under this contract.

NB: Where no accounts are audited, signed copies of the Partnerships accountant should be submitted.

Details attached – Yes / No:

C6 If the Accounts you are submitting are for a year ended more than 10 months, ago, Please confirm that the business is still trading and provide a statement of turnover since the last set of published accounts:

Not applicable / applicable:

Details attached – Yes / No:

C7 Has your business ever had a contract terminated for breach under the terms of the contract? (If yes, please provide details)

Not applicable / applicable:

Details attached – Yes / No:

C10 Has your business ever had a contract not renewed for failure to perform to the terms of the contract? (If yes, please provide details)

Not applicable / applicable:

Details attached – Yes / No:

C11 Please give the Name of the Insurer, Policy Number, extent of cover, Expiry date and provide a copy of your Employer’s Liability Insurance Policy or other evidence that you have such insurance.

C12 Please give the Name of the Insurer, Policy Number, extent of cover, Expiry date and provide a copy of your Public / Product Liability (Third Party) Insurance Policy or other evidence that you have such insurance.

C13 Please give the Name of the Insurer, Policy Number, extent of cover, Expiry date and provide a copy of your Professional Indemnity Insurance Policy or other evidence that you have such insurance

D	COMPLIANCE WITH EQUAL OPPORTUNITIES LEGISLATION

D1 Is it your policy as an employer to comply with your statutory obligations under the Race Relations Act 1976, the Sex Discrimination Acts 1975 and, 1986, and the Disability Discrimination Act 1995 (or similar legislation of the EU member state in which applicant is established) and, accordingly, your practice not to treat one group of people less favourably than others because of their sex, colour, race, nationality or ethnic origins or disability in relation to decisions to recruit, train or promote employees?

Yes/No:

D2 In the last three years has any finding of unlawful racial, sexual or, disabilities discrimination been made against your organisation by any court or Employment tribunal?

Yes/No:

D3 In the last three years, has your organisation been the subject of formal investigation by the Commission for Racial Equality, Equal Opportunities Commission, Disability Rights Commission or other equalities body (or similar organisation in an EU member state) on grounds of alleged unlawful discrimination?

Yes/No:

D4 If yes, what steps did you take in consequence of that finding?

D5 Is your policy on equal opportunities set out:

a) in instructions to those concerned with recruitment, training and promotion?

Yes/No:

b) in documents available to employees, recognised trade unions or other representative groups of employees?

Yes/No:

c) in recruitment advertisement or other literature?

Yes/No:

d) in service delivery guidance notes/procedures or your quality manual?

Yes/No:

E	MODERN SLAVERY ACT COMPLIANCE

E1 In performing its obligations under the agreement, the Supplier shall and shall ensure that each of its subcontractors shall:

- Comply with all applicable laws, statutes, regulations in force from time to time including but not limited to the Modern Slavery Act 2015; and

- Take reasonable steps to ensure that there is no modern slavery or human trafficking in the Suppliers or subcontractors supply chains or in any part of their business.

- The Supplier represents and warrants that neither the Supplier nor any of its officers, employees or other persons associated with it has been convicted of any offence involving slavery and human trafficking; and having made reasonable enquiries, to the best of its knowledge, has been or is the subject of any investigation, inquiry or enforcement proceedings by any governmental, administrative or regulatory body regarding any offence or alleged offence of or in connection with slavery and human trafficking.

- The Supplier shall implement due diligence procedures for its own suppliers, subcontractors and other participants to ensure that there is no slavery or human trafficking in its supply chains.

- If the Museum agrees that the Supplier may subcontract its obligations, the Supplier shall implement an appropriate system of due diligence designed to ensure the subcontractor complies with the principles of the Modern Slavery Act 2015 and that the subcontractor shall take reasonable steps to ensure that there is no modern slavery or human trafficking in the subcontractors supply chains or in any part of its business

- The Supplier shall notify the Museum as soon as it becomes aware of any actual or suspected slavery or human trafficking in a supply chain which has a connection with this Agreement.

F	SUPPLIER STATEMENT

We certify that the information supplied is accurate to the best of our knowledge and that we accept the conditions and undertakings requested in the assessment. We understand that false information could result in our exclusion from the Tender process or the Approved Suppliers List at any time, even after initial inclusion. We also understand that it is a criminal offence to give or offer any gift or consideration whatsoever as an inducement or reward to any servant of a public body and that any such action will empower such body to cancel any contract currently in force and will result in exclusion from the Tender and / or the Approved Suppliers List.

Signed by: _____________________________________________________

Name: (in BLOCK LETTERS) ______________________________________

Title: _________________________________________________________

Date: _________________________________________________________

for and on behalf of: _____________________________________________

This form should be signed by a Director, Partner or other authorised signatory of the organization and returned as part of the Tender Response

ANNEX D: - HEALTH AND SAFETY QUESTIONNAIRE

1.	COMPANY DETAILS

Registered Office:

Main contact office (if different):

Contact Telephone numbers:

Contact email address:

Total number of employees:

Does your Company have a health and safety policy statement?

If yes, please attach a copy to this questionnaire.

2.	ORGANISATION FOR HEALTH AND SAFETY

Does your Company have a Director/Senior Manager who is responsible for health and safety? If yes, please give their details.

Name:

Contact telephone number/s:

Contact email:

Does your Company have a Health and Safety Manager/ Advisor? If yes, please give their details.

Name:

Contact telephone number/s:

Contact email:

If your Company’s Health and Safety Manager/Advisor is a Consultant then please provide their company’s full details.

Company name:

Business address:

Main Switchboard number:

Does your Company maintain written health and safety procedures?  If yes, please provide information concerning your procedures for the following:

• Training

• Providing health and safety information to employees

• Health and safety committees

• Testing of equipment

• Risk assessment

• Supervision

How does your organisation keep up to date with changes in health and safety?

3.	INCIDENTS/ ENFORCEMENT ACTION

Please provide information showing the number and nature of RIDDOR reported incidents over the last 3 years.

How are accidents/ incidents reported and investigated within your Company?

How are near misses reported and investigated?

Has any Enforcement Authority (HSE or Local Authority) served an improvement or prohibition notice on your Company within the last 3 years?

If so, please provide details.

Has your Company been prosecuted for health and safety offences within the last 3 years? If so, please provide details.

4.	RISK ASSESSMENT

Has your Company completed risk assessments for this type of work? If so, please provide examples of assessments.

Who is responsible for carrying out risk assessments on your work activities?

Please provide examples of method statements for this type of work.

5.	WORK ON SITE

When working for the National Army Museum, will you use any sub-contractors? If so, how do you ensure that sub contractors will be suitable?

Who will be responsible for supervision on the site?

How do you intend to monitor the work of your employees, including sub-contractors, while they are working on our site?

If you intend to use any hazardous substances, have risk assessments been carried out? If so, please provide details:

How do you ensure that equipment brought onto site will be safe?

How will you ensure that any waste is suitably controlled and disposed?

6	 OTHER INFORMATION

Please provide the names, addressees and contact telephone numbers for 3 references for organisations where you have carried out similar work

Reference 1:

Name:

Address:

Telephone Number/s:

Reference 2:

Name:

Address:

Telephone Number/s:

Reference 3:

Name:

Address:

Telephone Number/s:

Annex E E – Pricing Schedule

| Element | Price |
| --- | --- |
| Two new display cases – design, production, transport to site and installation on site | £ |
| Training and commissioning on site | £ |
| Re-connection of existing Bruns cases | £ |
| Retro fitting of Bruns cases |  |
| Provision of new miniclimas & connection | £ |
| prelims | £ |

The above Pricing Schedule, should be in conjunction with the drawings in Annex F - 1 and Annex - 2 issued under separate cover.