## Pricing Document
PRICING DOCUMENT
Item | Description | Units | Unit Price (£) | Quantity | Total Price (£)
COSTS
Please outline below ALL costs associated with the provision of services and works as outlined in the accompanying Specification
PRELIMINARIES - Where applicable
| 9.1 Plant Tools and vehicles | Item |  | 1 | 0
| 9.2 Scaffolding | Item |  | 1 | 0
| 9.3 Site Administration and Security | Item |  | 1 | 0
| 9.4 Transport of Work people | Item |  | 1 | 0
| 9.5 Protecting the works from inclement weather | Item |  | 1 | 0
| 9.6 Water for the works | Item |  | 1 | 0
| 9.7 Lighting and temporary power for the works | Item |  | 1 | 0
| 9.8 Temporary roads, hard standings, crossings and similar items. | Item |  | 1 | 0
| 9.9 Temporary accommodation for use of the Contractor | Item |  | 1 | 0
| 9.10 Temporary telephones for the use of the Contractor | Item |  | 1 | 0
| 9.11 Traffic regulations | Item |  | 1 | 0
| 9.12 Safety and welfare of workpeople | Item |  | 1 | 0
| 9.13 Disbursements arising from the employment of workpeople | Item |  | 1 | 0
| 9.14 Maintenance of public and private roads | Item |  | 1 | 0
| 9.15 Removing rubbish | Item |  | 1 | 0
| 9.16 Drying the works | Item |  | 1 | 0
| 9.17 Temporary fencing, hoardings, screens, fans, planked footways, guardrails, gantries, etc | Item |  | 1 | 0
| 9.18 Control of noise, pollution and all other statutory obligations. | Item |  | 1 | 0
| CDM and operation and maintenance manuals | Item |  | 1 | 0
PART 2 MECHANICAL & ELECTRICAL ENGINEERING SERVICES - PARTICULAR SPECIFICATION
2.1 NEW CONDENSING BOILERS AND ANCILLARY EQUIPMENT
(Specification Section 2.1) | Boiler: Supply, installation including ancillary works and commissioning of Stratton mk3 40kW Stainless Steel Wall Hung Condensing Boiler (AA082635) | Nr |  | 2 | 0
(Specification Section 2.1) | Header Kit: Supply, installation including ancillary works and commissioning of frame and Header Kit DN50 2 wide (232860) | Nr |  | 1 | 0
(Specification Section 2.1) | Gas Header: Supply, installation including ancillary works and commissioning of Gas Header (Included within DN50 F&H kit) | Nr |  | 1 | 0
(Specification Section 2.1) | Separation: Supply, installation including ancillary works and commissioning of DN50 150KW Plate Heat Exchanger Kit (232890) | Nr |  | 1 | 0 | 2
(Specification Section 2.1) | Pump : Supply, installation including ancillary works and commissioning of UPMXXL Pump Kit (232884) | Nr |  | 2 | 0
(Specification Section 2.1) | Decommisioning works (in line with specification) | Item |  | 1 | 0
2.2 NEW VARIABLE SPEED PUMPS FOR HEATING & COOLING CIRCUITS | [5 empty] | 1
(Specification Section 2.2) | Supply, installation including ancillary works and commissioning of new pair of variable speed pumps on the heating and cooling circuits | Nr |  | 2 | 0
2.2.1 HEATING PUMPS
(Specification Section 2.2.1) | Supply, installation including ancillary works and commissioning of new pumps P1/P2 shall be Grundfos Magna 3 50-120F (or equivalent to match technical specification) | Nr |  | 2 | 0
(Specification Section 2.2 and 2.2.1) | Decommisioning works (in line with specification) | Item |  | 1 | 0
2.2.2 COOLING PUMPS
(Specification Section 2.2.2) | Supply,installation including ancillary works and commissioning new Grundfos TP3D 65-180 (or equivalent to match technical specification). Pumps shall be set to operate as duty / standby as dictated by the BMS. | Nr |  | 2 | 0
(Specification Section 2.2.2) | Decommisioning works (in line with specification) | Item |  | 1 | 0
2.3 NEW PRESSURISATION UNITS FOR HEATING AND COOLING CIRCUITS
(Specification Section 2.3) | Supply, installation and commissioning 2 new pressurisation units shall be installed (one for each circuit). The new units shall be Mikrofill 3 compact units (or equivalent to match technical specification) . | Nr |  | 2 | 0
(Specification Section 2.3) | Decommisioning works (in line with specification) | Item |  | 1 | 0
2.4 REVISED VENTILATION SYSTEM
2.4.1 - Painting & Archive Store Ventilation
(Specification Section 2.4.1) | Supply, installation including ancillary works and commissioning of new fan unit shall be a Nu Aire Boxer Unit with integral heating and cooling coil. Model ref ESBH2-2-LC (or equivalent to match technical specification). | Nr |  | 1 | 0
(Specification Section 2.4.1) | Decommisioning works (in line with specification) | Item |  | 1 | 0
2.4.2 AIR HANDLING UNITS AHU1 & AHU2 MODIFICATIONS
(Specification Section 2.4.2) | Supply, installation including ancillary works and commissioning of shall supply and fit Belimo LM230A-S damper actuators to the intake, mixing and exhaust dampers (or equivalent to match technical specification). | Nr |  | 1 | 0
(Specification Section 2.4.2) | Decommisioning works (in line with specification) | Item |  | 1 | 0
2.5 PORT VALVE CONTROL
(Specification Section 2.5) | Modification of existing pipe circuit and recommissioning by isolating the double regulating valve (DRV) on the centre port, isolating the flow to include supply and fit pressure switches to the heating and cooling index runs and associated fittings / controls (as per tender drawings) | Item |  | 1 | 0
2.6 NEW DEHUMIDIFIERS TO ASSIST WITH CONTROLLING ENVIRONMENTAL CONDITIONS
(Specification Section 2.6) | Supply, installation including ancillary works and commissioning of new dehumidifiers to serve the gallery and plant spaces dehumidifiers shall be Dantherm CDP units (or equivalent to match technical specification) suited to museums & galleries. Working with the gallery staff the dehumidifiers shall be wall mounted in suitable locations as shown on the drawings. | Nr |  | 1 | 0
(Specification Section 2.6) | Decommisioning works (in line with specification) | Item |  | 1 | 0
2.7 NEW BUILDING MANAGEMENT SYSTEM
(Specification Section 2.7) | Supply, installation including ancillary works and commissioning to upgraded to a Schneider Eco Struxure Controller (Smart X) - (or equivalent to match technical specification). The existing wiring and infrastructure will largely stay the same with minor alterations where necessary to support the new boilers, pumps and ventilation equipment. | Nr |  | 1 | 0
(Specification Section 2.7) | Decommisioning works (in line with specification) | Item |  | 1 | 0
Other costs (to be inserted and stated by Supplier):
| Please indicate any additional one off or ongoing costs and charges not covered in the previous sections of this schedule. This would include sub contracted elements where relevant. IMPORTANT: In completing any costs in this section please ensure sums / quantities are entered. Payment for other costs not identified as part of the tender submission will not be considered by the Council | Please state below (as appropriate)
0
0
0
0
[5 empty] | 0 | Please state (as appropriate)
TOTAL |  |  |  |  | 0
DAY WORK RATES (For information purposes)
| ITEMS |  | Unit
| Skilled Electrician/Plumber |  | Per hour |  |  | per hour
| Non Skilled Labour |  | Per hour |  |  | ................. | per hour
| Based on Monday to Friday 0800 to 1800 |  | Per hour
Percentage addition to above rates for:
| Weekend working |  | %
| Percentage uplift on materials used on dayworks |  | %
Please Note
The worksheet has been formulated in such a way that by entering unit costs will auto format the totals into the overall grand total
To be read in conjunction with the associated Specification and ITT documents
Supplier to input price into relevant Unit Price Box for each year (noting not all tasks are required each year)
Supplier to note that there will not be any inflationary / indexationary increases during the term of the commission, and as such prices reflected in this Schedule are to be made with that taken into account
Instructions
Please enter unit costs for associated described item in the Purple. Costs to be entered in Unit Price (£) columns where those costs apply.