Clarifications

| No. | Date | Question | Response |
| --- | --- | --- | --- |
| 1 | 23/02/24 | Are we plastering existing walls where we are blocking up door way? | Heading “PARTITIONING & DOORS” NOTES States the following, “All partitioning is to be achieve 30min fire protection and be finished with plasterboard to both sides and prepared ready for decoration to include skirting and architrave as needed” item 3 states the following. Allow to supply and infill removed doors & linings finished with plasterboard and fully prepared leaving ready for decoration including skirting. You need to allow for all works to existing and new walls leaving ready for decoration, which includes but not limited to Plastering , Drywall, filling etc. |
| 2 | 23/02/24 | Is there a lift internally we can use out of hours? | The lift is available out of hours, but please note that the lift is a passenger lift and not goods lift. It is not designed to carry goods, materials or equipment. |
| 3 | 23/02/24 | You have said in the spec/scope of works to allow an AHU to have a duty of 6m3s. This is to serve the 2nd & 3rd Floors but to have provision to serve the two other floors in the future. The only problem is the duty for the 2nd & 3rd Floors is 6m3s so how can we have a provision to serve the other floors in the future? | Submit you price based on the specification provided on Contract Finder from S2 Group. If you have any questions or quires please contact them direct. |
| 4 | 23/02/24 | Its stated that a Q Mark accredited installer in order to obtain a Gold plug, could we use IFC certification which is third party accredited the same as the BM Trada Q-Mark scheme, we can issue Third Party certification for the installs – but the doors would not come with a gold plug. Is this okay? | Feel free to submit your tender based on this proposal. However please provide all details to demonstrate that the college is getting the same high standard with your tender return. |