New Polara I Room (1N029) and moving path of Polara I from 1N009

The destination room for Polara I is 3 meters away from the current Polara I Room. The new Polara I room dimensions are 4.3 x 3.62 m and ceiling height 3.07 m. The moving path has two double-doors. The door width is 1.40 m (1.46 m if door frames removed) and door height is 2.65 m. The entrance of new Polara Room is 1.16 m width and height 2.71 m. The path is at the same floor level and with a ceiling height of 2.71 m. The diagram of the Polara Room and moving path is attached.

3.0m

3.62m

Ceiling 3.07 m

Ceiling 4.0 m

Ceiling 2.71 m

Old Polara I Room

New Polara I Room

4.32m

Ceiling 2.71 m

2.65 m (H)

1.4 -> 1.46 m (W)

1.16 m

EM Suite I

EM Room

EM Room

EM Prep Area

EM Room