SUPPLY & INSTALLATION OF

PLAY and ANCILLARY EQUIPMENT AT

# DOORSTEP GREEN TEEN AREA, THREE LEGGED CROSS

Inclusions

- Instructions to Tenderers

- Form of Tender

- Anti-Collusion Certificate

- Contract Agreement

- Conditions of Contract

- Specifications

- Bill of Quantities

GENERAL QUERIES CONTACT

Mrs. V.J.Bright Town Clerk Email: verwoodtc@btconnect.com Telephone 01202 820880 Mobile 07935 994825

# TENDER FOR THE SUPPLY & INSTALLATION OF PLAY and ANCILLARY EQUIPMENT AT DOORSTEP GREEN TEEN AREA

Table of Contents

TENDER FOR THE SUPPLY & INSTALLATION OF PLAY and ANCILLARY EQUIPMENT AT DOORSTEP GREEN TEEN AREA	2

INTRODUCTION AND SCOPE OF WORKS	4

INSTRUCTIONS TO CONTRACTORS	5

THE SUPPLY & INSTALLATION OF PLAY and ANCILLARY EQUIPMENT AT DOORSTEP GREEN AREA	7

FORM OF TENDER	7

ANTI-COLLUSION CERTIFICATE	8

CONTRACT AGREEMENT FOR THE SUPPLY & INSTALLATION OF TEEN EQUIPMENT AT DOORSTEP GREEN TEEN  AREA	9

CONDITIONS OF CONTRACT	10

1.	DEFINITIONS & INTERPRETATIONS	10

2.	HEALTH, SAFETY AND WELFARE	10

3.	VARIATION OF CONTRACT	11

4.	THE CLIENT OFFICER	11

5.	CONTRACT PERIOD	11

6.	PERFORMANCE OF SERVICES	11

7.	CERTIFICATE OF PRACTICAL COMPLETION AND DEFECTS LIABILITY	12

8.	VALUE ADDED TAX	12

9.	ASSIGNMENT AND SUB-LETTING	12

10.	AGENCY	13

11.	LIABILITY OF CONTRACTORS	14

12.	INSURANCE	15

13.	BRIBERY AND CORRUPTION	16

14.	GRATUITIES	16

15.	LIABILITY OF COUNCIL	16

16.	UNSATISFACTORY EMPLOYEES	17

17.	TERMINATION	17

18.	FAILURE & DEFAULT IN PERFORMANCE - LIQUIDATED DAMAGES	18

19.	ARBITRATION	20

20.	BRITISH OR EU STANDARDS	20

21.	OBSERVANCE OF STATUTORY REQUIREMENTS	20

22.	STAMP DUTY AND LEGAL FEES	20

23.	DEFAULT BY CONTRACTOR	20

24.	INSPECTION OF SITE, EXTENT AND NATURE OF SERVICES	20

25.	INSPECTION & ACCESS	21

26.	OPERATIONS	21

27.	ADVERTISING	21

28.	NUISANCE	21

29.	TIMING	22

30.	CLAIMS	22

31.	POST INSTALLATION AND MAINTENANCE	22

32.	SITE ACCESS	22

SPECIFICATION PRELIMINARIES	23

1.	GENERAL	23

2.	WORKING HOURS	23

3.	RISK ASSESSMENTS	24

4.	CONTRACTOR'S REPRESENTATIVE	24

5.	CUSTOMER CARE	24

6.	CLIENT’S REPRESENTATIVE	24

7.	PLAY VALUE	25

GENERAL DESCRIPTION OF WORKS	26

1.	GENERAL WORKS	26

SPECIFICATION	28

1.	INTRODUCTION	28

2.	PRELIMINARIES	28

3.	REMOVAL AND REPLACEMENT OF CHILDREN’S PLAY AREA	29

4	LITTER PICKING AND DEBRIS REMOVAL	29

5	AFTER CARE & MAINTENANCE	30

BILL OF QUANTITIES	31

# INTRODUCTION AND SCOPE OF WORKS

Doorstep Green is an open space on which there is a fenced teen area within the site on Verwood Road Three Legged Cross. The area is fenced and gated and is in a lovely setting with many trees around the area. There is a pathway next to the teen area.

Verwood Town Council wishes to remove the existing equipment and safer surfacing replacing this teen area.  In addition to this the site does suffer from poor drainage with water pooling around the current equipment so provision will be required to eliminate this.

Access to all areas of the site for the purpose of providing these works and facilities is restricted and can only be taken via Furzelands Road through the Three Legged Cross Recreation Ground.  There is an access gate from Verwood Road, investigation will have to be made which would be the better access.  The Council is open to proposals for the replacement of the Teen Area.  Its choice of contractor will be influenced by both the quality and price of the proposals which it receives. The Town Council are responsible for other areas and are looking for different and exciting equipment.

Because of the nature of the site and constraints of the site access the Contractor will be responsible for the whole of the works described.

ALL WORKS MUST BE COMPLETED BY 31ST MARCH 2020

# INSTRUCTIONS TO CONTRACTORS

- Contractors should ensure that any explanatory or descriptive matter included with their Tender does not constitute a qualification to the requirements and Terms and Conditions as stated in the enquiry documents.

- Contractors must submit offers for the whole of the works. Tenders submitted for separate sections only or Tenders, which are incomplete, will not be considered.

- The Contractor's particular attention is drawn to the fact that the Tender price must include for all costs associated with labour, including the cost of any incentives necessary to attract and retain sufficient labour on site to meet the requirements of the programme. The submission of a Tender shall be deemed to be an undertaking that the Tender price includes for the above.

- Contractors are required to keep Tenders Valid for acceptance for a period of 90 days from the closing date for receipt of tenders.

- All tenders should be sent to

Mrs.Val Bright FILCM

Town Clerk

Verwood Town Council

28 Vicarage Road

Verwood BH31 6HU

so as to arrive no later than: -  FRIDAY 6TH SEPTEMBER 2019

- Tenders must be accompanied by:

A Certificate that the Tenderer has not engaged in Collusive Tendering;

A Certificate that the Tenderer has not canvassed any Member or Officer of the Council;

- Should there be any clarification required by the Contractors as to the meaning of any possible ambiguity or discrepancies in any of the Tender documents, the Contractor must set forth his request in writing.

- Contractor must make arrangements with the Client Officer to visit the site to ascertain all relevant conditions and means of access and to thoroughly acquaint themselves with the extent and nature of the proposed works and will be deemed to have done so prior to submitting the Tender, failure to do so may render the Tender unacceptable.

- The Contractor shall be deemed to have satisfied himself before submitting his Tender as to the correctness and sufficiency of the rates and prices stated by him in the Bills Of Quantity which shall (insofar as is otherwise provided in the Contract) cover all his obligations under the Contract.

- No claim by the Contractor for additional payment shall be allowed on the grounds of any misunderstanding or misrepresentation due to lack of knowledge of the conditions regulations or requirements for performing the Services.

- All prices for materials and labour and any other charges whatsoever shall be quoted in pounds or decimal parts of a pound to two decimal places.

- Plans of the Authority accompany the Tender documents for the assistance of Contractors and show the site and extent of the Contract works, where necessary do so.

- Contractors are advised that the submission has the appropriate equipment specified.  These items of equipment may be substituted for alternative items that meet or exceed the criteria of the specified items.  If the Contractor is to change any equipment, he must qualify for which item of equipment such a change shall take place and provide full specifications, installation and maintenance instructions.

- Contractors are advised that the contract must be completed as soon as possible within a programme agreed with the Client Officer.

# THE SUPPLY & INSTALLATION OF TEEN EQUIPMENT AT DOORSTEP GREEN  TEEN AREA

# FORM OF TENDER

To:	VERWOOD TOWN COUNCIL

LADIES AND GENTLEMEN,

I/We the undersigned hereby offer to execute and complete all works to be carried out in accordance with the attached Specification and in compliance with the attached Conditions of Contract for the TENDER SUM specified below, or such other sums as may be ascertained in accordance with the said

Conditions of Agreement and the attached Tender documents.

Grand Total = £……………………………………………………………………… (Excluding VAT).

Unless and until a formal agreement is prepared and executed, the tender, together with your written acceptance thereof, shall constitute a binding Agreement between us.

We understand you are not bound to accept any tender you may receive, and you will not pay any expenses incurred by us in connection with the preparation and submission of this tender.

Signature:

Full Name of Company:

Name (in full):

Designation:

Address:

Telephone No:

Fax No:

Date:

NOTE:

THIS FORM OF TENDER DULY COMPLETED AND SIGNED BY THE AUTHORISED PERSON TOGETHER WITH THE OTHER INFORMATION SPECIFIED MUST BE RETURNED TO VERWOOD TOWN COUNCIL, NO LATER THAN THE TIME AND DATE STATED IN THE INVITATION TO TENDER IN AN UNMARKED ENVELOPE/ PARCEL USING THE ‘ENVELOPE’ PROVIDED.

# ANTI-COLLUSION CERTIFICATE

In recognition of the principle that the essence of selective tendering is that the Council shall receive bona fide competitive tenders from all those tendering WE CERTIFY THAT:-

1.	The tender submitted herewith is a bona fide tender intended to be competitive.

2.	We have not fixed or adjusted the amount of the tender under or in accordance with any agreement or arrangement with any other person.

3.	We have not done and we undertake that we will not do at any time before the time specified for the return of the tenders any of the following acts:-

i)	communicating to a person other than the person calling for these tenders the amount or approximate amount of the proposed tender (except where the disclosure, in confidence, of the approximate amount of the tender was essential to obtain insurance premium quotations required for the preparation of the tender):

ii)	entering into any agreement with any other person that he shall refrain from tendering or as to the amount of any tender to be submitted; and

iii)	offering or paying or giving or agreeing to give any sum of money or valuable consideration directly or indirectly to any person for doing or having done or causing or having caused to be done in relation to any other tender or proposed tender any act or thing of the sort described above.

In this certificate

- "Person" includes any person and anybody or association corporate or unincorporated.

- "Any agreement or arrangement" includes any transaction of the sort described above, formal or informal and whether legally binding or not.

DATED this 	            		      	   day of   		                  2019.

SIGNED (as tenderer)

duly authorised to sign

for and on behalf of ………………………………………………………………………..

If a supplier/tenderer of any goods/services is to his/her knowledge related to any member of or the holder of any office under the Council, he/she and the person to whom he/she is related shall disclose the relationship in writing to the Town Clerk.  A person who fails so to do shall be disqualified for such contract and, if engaged, the contract may be withdrawn without further notice.  The Town Clerk shall report to the Council or to the appropriate Committee any such disclosure.

Canvassing of members or of any Committee, directly or indirectly, for any work/service under the Council shall disqualify the supplier/tenderer.  The Town Clerk shall make known the purport of this sub-paragraph to every supplier/tenderer.

A member of the Council shall not solicit for any person any work under the Council or recommend any person for such work; but, nevertheless, a member may give a written testimonial of a supplier’s ability, experience or character for submission to the Council.’

# CONTRACT AGREEMENT FOR THE SUPPLY & INSTALLATION OF EQUIPMENT AT DOORSTEP GREEN TEEN  AREA

THIS AGREEMENT is made the      day of                BETWEEN VERWOOD TOWN COUNCIL Town Council Offices, 28 Vicarage Road, Verwood Dorset BH31 6DR (hereinafter called “the Employer”) of the one part                                                                             and  whose registered office is situated at                                                                           													 (hereinafter called “the Contractor”) of the other part.

WHEREAS THE Employer has accepted the Quotation of the Contractor to undertake the refurbishment of the teen  area within the VERWOOD TOWN COUNCIL estate commencing on the                                 					2019 until the

IT IS HEREBY AGREED as follows:-

- In this Agreement words and expressions shall have the same meanings as are assigned to them in the Contract Documents hereinafter referred to

- The following Contract Documents shall be deemed to form and be read and construed as part of this Agreement:

- the Tender

- the Conditions of Contract.

- the Contract Preliminaries;

- the Specification and Appendices;

- Drawings

- Bill of Quantities;

- Pre Tender Health & Safety Plan;

- In consideration of the payments to be made by the Employer to the Contractor as hereinafter mentioned the Contractor hereby covenants with the Employer to carry out the services within the Verwood Town Council conformity in all respects with the provisions of the Contract Documents and to the satisfaction of the Employer.

- The Employer hereby covenants to pay the Contractor in consideration of the performance of the Services the Contract Sum at the time and in the manner prescribed by the Contracts Documents.

IN WITNESS whereof the Employer and the Contractor have put their signature to be hereunto affixed the day and year first before written

REPRESENTATIVE

VERWOOD TOWN COUNCIL

was hereunto affixed in the presence of:

Town Clerk: Mrs.V.J.Bright FILCM

Signature:………………………………………………………………..

Date………………………………………………………………………..

REPRESENTATIVE

of …………………………………………………………

was hereunto affixed in the presence of:-

Authorised Signatory Name…………………………………………………………

Director Signature:……………………………………………………………………

Date……………………………………………………………………………………...

# CONDITIONS OF CONTRACT

## DEFINITIONS & INTERPRETATIONS

In this Contract, save where the context otherwise requires, the following expressions shall have the meanings hereby assigned to them:

| Commencement Date | means | the date from which the Contractor will be required to commence to provide the services, as notified by the Client Officer or such other date as may be agreed. |
| --- | --- | --- |
| Conditions | means | these conditions, any supplementary conditions and any modification thereof. |
| Contract | means | any formal Contract document entered into between the Contractor and the Council and includes the documents incorporated therein and forming part thereof |
| Contractor | means | the person, persons or company whose tender is accepted by the Council and includes the Contractor's personal representative and successors. |
| Client Officer | means | Town Clerk for the time being of the Council or any person duly authorised by him in writing to act on his behalf. |
| Council | means | the Council of the Verwood Town or any successor Authority |
| Materials | means | any goods. |
| Services | means | the services to be undertaken by the Contractor as described in the Tender documents or any of them. |
| Tender Documents | means | the tender and accompanying documents relating thereto. |

## 2.	HEALTH, SAFETY AND WELFARE

The Contractor in performing the services covered by the contract, so as to ensure the Health, Safety and Welfare of the contractors staff, employees of the Council and all other persons including members of the public shall comply with: -

All duties and responsibilities placed upon him by the Health and Safety at Work Act 1974 and all   subsidiary legislation especially with regard to the use of unqualified operatives, facilities for workmen, and the protection of motorists and pedestrians. The Contractor must allow for this in his rates.

All other relevant Acts of Parliament, Statutory Instruments, regulations etc.

All revisions, modifications, and amendments to Acts of Parliament, Statutory Instruments, regulations etc.

All relevant Codes of Practice, British or EEC equivalent standards, EU Directives etc. and modifications, amendments and revisions thereto.

If in the opinion of the Client Officer the Contractor's method of working is such as to present a risk of serious personal injury to the employees of the Contractor, employees of the Council or any other person the Client Officer shall issue a notice that the unsafe method working practice is to be remedied within a period of time that he considers reasonable having regard to all the circumstances.  If the Contractor fails to remedy the unsafe working practice within the time stated in the notice the Client Officer will have the power to suspend the performance of all or part of the Services until the time as he considers the Contractor will adopt safe working practices.  Any such suspension will be entirely at the Contractors own expense.

## 3.	VARIATION OF CONTRACT

(a)	Without prejudice to any other of the conditions hereof no omission from, addition to or variation of the Contract shall be valid or of any effect unless it is issued in writing and signed by the Client Officer.

(b)	Save for an omission, addition or variation issued pursuant to paragraph (a) any provision inconsistent with the Conditions contained in any other document or in any oral agreement is to be void and of no effect.

(c)	If any variation to the contract is issued and where the work has been previously quoted for in the Bill of Quantities, that rate shall then be used.

## 4.	THE CLIENT OFFICER

The functions, rights and powers conferred by this Contract upon the Council shall be exercised by the Client Officer.  The Contractor shall in no circumstances question the existence or extent of the Authority of any person authorised by the Client Officer to act on his behalf.

## 5.	CONTRACT PERIOD

- This initial contract shall extend for a period of 5 weeks (or that period specified in the Schedule/Appendix to the Form of Tender) and shall not be terminated by either party within that period save in accordance with these conditions. The contractor shall be expected to undertake this contract within the timescale following commitment by the contractor in writing that they can meet the deadline as specified, unless otherwise agreed in writing by the Client Officer.

(b)	The contractor is advised that they will be paid for the installation work with an interim payment of 5% being held over to cover the maintenance period.

(c)	All work shall be completed on site to ensure that all invoices are submitted to this authority by the agreed date.

## 6.	PERFORMANCE OF SERVICES

(a)	During the Contract Period the Contractor shall perform the Services (and any modification thereof authorised under the Conditions) in a manner totally consistent with the tender and the terms and conditions of the Contract and to the entire satisfaction of the Client Officer.

(b)	The Contractor shall at all times perform such Services in accordance with a written daily Programme of Work which shall be submitted to the Client Officer prior to commencement of any work (and any modifications thereof authorised under the Conditions).

(c)	The Contractor is to be aware that the maintenance period for the contract is 12 months, starting from the completion/adoption date of the site by Verwood Town Council.

## 7.	CERTIFICATE OF PRACTICAL COMPLETION AND DEFECTS LIABILITY

(a)	The Client Officer shall issue to the Contractor, a Certificate of Practical Completion to identify that all works have been undertaken.  The Client Officer will then arrange for a Post Installation inspection to be carried out before hand over of the site to the Council.

(b)	On the production of a successfully completed Post Installation Report identifying that all works have been undertaken in accordance with all relevant standards and specification, the Contractor shall be invited to submit his invoice for payment.

(c)	Should the Contractor be required to rectify any defects then he should be aware that no payment will be made until the Client Officer is satisfied that all works have been completed to the contract specification.

(d)	The Contractor shall make any payment due to this Authority as a result of his failure to undertake the works within the given time period unless previously agreed in writing with the Client Officer.

## 8.	VALUE ADDED TAX

(a)	On receipt of the Certificates of Practical Completion the Client Officer shall inspect the site and if the work has been undertaken satisfactorily and approved by the Post Installation Report, the Contractor shall be advised that he may issue a V.A.T. invoice for those works, which shall be paid within 28 days of the date of receipt of the invoice

## 9.	ASSIGNMENT AND SUB-LETTING

The Contractors shall not: -

(a)	Assign any part of the work or undertakings, or any part thereof or any benefit in or under the contract without the written consent of the Client Officer, such consent not to be unreasonably withheld.

(b)	The Authority shall be entitled to assign the benefit of the contract or any part thereof and shall give written notice of any assignment to the Contractor.

(c)	The Contractor shall not sublet the whole of the Contract or any part thereof except where such subletting may be customary to the trade concerned.  Any subletting will be notified to the Client Officer within five (5) working days.

(d)	Where the Authority has consented to the placing of sub-contracts, copies of each sub-contract shall be sent by the Contractor to the Authority within five (5) working days.

(e)	The Contractor acknowledges and agrees that by way of illustration only and without restricting or fettering the Authority’s right to withhold its consent on reasonable grounds it shall be reasonable for the Authority to withhold its consent where the sub-contracting of any element of the provision of the Services would be contrary to law or contrary to public or government policy or contrary to public morality and decency or which it is not in the national interest.  If with the Authority’s consent the Contractor sub-contracts the provision of any element of the Services, every act or omission of the sub-contractor shall for the purposes of the Contract deemed to be the act or omission of the Contractor and the Contractor shall be liable to the Authority thereafter as if such act or omission had been committed or omitted by the Contractor itself.

(f)	Where the contractor enters into a sub-contract with a supplier or contractor for the purpose of performing the Agreement, it shall cause a term to be included in such a sub-contract which requires payment to be made of undisputed sums by the Contractor to the sub-contractor within a specified period not exceeding 30 days from the receipt of a valid invoice, as defined by the sub-contract requirements.

## 10.	AGENCY

In carrying out the Services the Contractor shall be acting as Principal and not as the Agent of the Council.

Accordingly:

- The Contractor shall not (and shall not procure that its employees, servants or agents do not) say or do anything that might lead any other person to believe that the Contractor is acting as the Agent of the Authority; and

- Nothing in this Contract shall impose any liability on the Authority in respect of any liability incurred by the Contractor to any other person but this shall not be taken to exclude or limit any liability of the Authority to the Contractor that may arise by virtue of either a breach of the Contract or by negligence on the part of the Authority, the Authority’s employees, servants or agents.

- The Contractor has not and shall not hold himself out as having the power to make, vary, discharge or waive any Byelaw or regulation of any kind.

- The Contractor shall not hold itself out as being authorised to enter into any contract on behalf of the Council to the performance, variation, release or discharge of any obligation to a third party.  The employees of the Contractor shall not hold themselves to be and shall not be held out by the Contractor as being servants or agents of the Council.

## 11.	LIABILITY OF CONTRACTORS

- The Contractor shall fully and promptly indemnify the Council against any liability to any person or property whatsoever arising out of or connected with the performance of the Services or any act or omission of any employee of the Contractor howsoever such liability may arise.

- The Contractor shall fully and promptly indemnify the Council in respect of any damage caused to any land, building or chattel in the ownership, occupation or possession of the Council by any employee or agent of the Contractor (whether such damage is caused by negligence or in any other way whatsoever).

- The Contractor shall fully and promptly indemnify the Council and all persons concerned in respect of any personal injury caused to any employee of the Council by any employee or agent of the Contractor (whether such injury be caused by negligence or in any other way whatsoever).

- The Contractor shall be responsible at all times during the contract period for the security of the boundaries to all residential and commercial property that abut the site and is affected by the nature of these works and in doing so shall therefore ensure that all boundaries remain intact either through the use of appropriate temporary security fencing or through the completion of each section of new boundary fencing at any given time.

- The Contractor shall be solely responsible for liaising with residents and neighbouring properties over the works and working with them to minimise the risk of damage to property, vegetation and ensuring the security of the individual premises.

- The Contractor shall at all times notify residents affected by the work of their progress and especially inform individual properties in writing, with a copy of each notification to be given to the Client Officer, identifying:-

- the Contractor’s contact details

- when their boundary fence will be removed

- how long they will be without a permanent boundary

- how long it will take to install the new fence

- The Contractor shall be solely responsible for ensuring that any waste material deposited on the public highway (public footpath) is removed immediately leaving no residue that could cause a hazard or risk.

## 12.	INSURANCE

- The Contractor’s attention is draw to the insurance details set out below:-

| Minimum Amount of Public Liability Insurance | £10,000,000 for any one incident, (total unlimited) |
| --- | --- |
| Minimum Amount of Employers Liability Insurance | £10,000,000 for any one incident, (total unlimited) |
| Time of Completion (Unless otherwise agreed in writing) | 6 weeks – 31st March 2020 |
| Liquidated Damages for Delay | £250.00 per day |
| Period of Maintenance | 12 months |
| Minimum amount of Interim Certificates | £5,000.00 |
| Time within which payment to be made after receipt of Statement | 28 days |

- The Contractor shall at all times maintain in force such policies of insurance with reputable insurers or underwriters as shall fully insure and indemnify the Contractor against liability;

- to the Council and to any employee of the Council;

- to the employees of the Contractor;

- to any other persons

for the sum of at least £10 million for each occurrence.  Total number of occurrences unlimited.

- The Contractor shall prior to the commencement of the Contract, and at such other times as the Client Officer may require, supply the Client Officer with copies of all insurance policies, cover notes, premium receipt and other documents necessary to comply with sub clause (a) of this Clause.

- The Client Officer shall be entitled to notify the Contractor in writing that in the opinion of the Client Officer any such policy of insurance does not affect sufficient cover to comply with the Conditions and to require the Contractor to effect such insurance as will so comply.  Upon receipt of such notice, the Contractor shall forthwith procure and effect such insurance as the Client Officer shall require.

- The Contractor will ensure that where it receives notification of any potential insurance claim, it shall deal with the matter directly and/or refer the matter to the contractor's insurers within a period of 28 days from the receipt of notification of the potential claim and ensure that each claim is progressed and resolved with due diligence.

## 13.	BRIBERY AND CORRUPTION

The Council shall be entitled to terminate the Contract forthwith and to recover from the Contractor the amount of any loss resulting from such termination, if:

- the Contractor shall have offered or given or agreed to give to any person any gift or consideration of any kind as inducement or reward for doing or forbearing to do;

or

- for having done or forborne to do any action in relation to the Contract or any other Contract with the Council; or the like acts shall have been done by any person employed by him or acting on his behalf (whether with or without the knowledge of the Contractor);

or

- in relation to any Contract with the Council the Contractor or person employed by him or acting on his behalf shall:-

- have committed any offence under the Prevention of Corruption Acts 1989 to 1916;

or

- have given any fee or reward the receipt of which is an offence under Section 117(2) of the Local Government Act 1972.

## 14.	GRATUITIES

The Contractor shall not, whether by himself or by any person employed by him to perform the Services, solicit any gratuity or tip or any other form of moneymaking or reward, collection or charge for any of the Services other than bona fide charges approved by the Council.

## 15.	LIABILITY OF COUNCIL

To the extent permitted by the Unfair Contracts Terms Act 1977 the Council shall not be liable for any loss or damage whether caused by the negligence of the Council, its servants or agent in any way whatsoever and the Council shall in no circumstances be liable to the Contractor for any loss of profit, business or production or any similar loss or damage whether direct, indirect or consequential however caused.  The Council in no way warrants the truth or accuracy of any representations which may have been made to the Contractor and the Contractor acknowledges that he did not rely upon any representation made by or on behalf of the Council when entering into this Contract.

## 16.	UNSATISFACTORY EMPLOYEES

If, with reasonable justification, the Authority gives the Contractor notice that any person is not to become involved in or is to be removed from involvement with the performance of the Contract, the Contractor shall take all reasonable steps to comply with such notice and if required by the Authority the Contractor shall replace any such person removed under this condition with another suitably qualified person and procure that any pass issued to the person removed is surrendered.

## 17.	TERMINATION

(a)	If the Contractor shall have offered, or given, or agreed to give to any person any gift, or consideration of any kind as an inducement or reward for doing, or forbearing to do, or having done or forborne to do any action in relation to the obtaining of the Contract, or any other Contract with the Authority, or for showing or forbearing to show favour, or disfavour, to any person in relation to the Contract, or any other Contract with the Authority, or if the like acts shall have been done by any person employed by the Contractor, or acting on the Contractor's behalf (whether with or without the knowledge of the Contractor), or if in relation to the Contract, or any other contract with the Authority, the Contractor or any person employed by the Contractor, or acting on the Contractor's behalf, shall have committed any offence under the Prevention of Corruption Acts 1889 to 1916 or shall have given any fee or reward to any officer of the Authority, which shall have been exacted or accepted by such officer by virtue of his office or employment and is otherwise than such officer's proper remuneration, the Authority shall be entitled to terminate the Contract and to recover from the Contractor the amount of any loss resulting from such termination.

(b)	If the Contractor: -

(i)	Commits a breach of any of his obligations under the Contract;

(ii)	becomes bankrupt, or makes a composition or arrangement with his creditors, or has a proposal in respect of his company for the voluntary arrangements for a composition of debts, or scheme or arrangement approved in accordance with the Insolvency Act 1986;

(iii)	has a winding-up order made, or (except for the purposes of amalgamation or reconstruction) a resolution for voluntary winding-up passed;

(iv)	has a provisional liquidator, receiver, or manager of his business or undertaking duly appointed;

(v)	has an administrative receiver, as defined in the Insolvency Act 1986, appointed;

(vi)	has possession taken, by or on behalf of the holders of any debentures secured by a floating charge, of any property comprised in, or subject to, the floating charge;

(vii)	is in circumstances which entitle the court or a creditor to appoint, or have appointed, a receiver, a manager, or administrative receiver, or which entitle the court to make a winding-up order;

then in any such circumstances the Authority may, without prejudice to any accrued rights or remedies under the Contract, terminate the Contractor's employment under the Contract by notice in writing having immediate effect.

(c)	If the Contractor's employment is terminated as provided in Condition 17(b), the Authority shall:-

(i)	cease to be under any obligation to make further payment until the costs, loss and/or damage resulting from or arising out of the termination of the Contractor's employment shall have been calculated and provided such calculation shows a sum or sums due to the Contractor;

(ii)	be entitled to repossess any of its materials, clothing, equipment, vehicles or other goods loaned or hired to the Contractor and to exercise a lien over any of the materials, clothing, equipment, vehicles or other goods belonging to the Contractor for any sum due hereunder or otherwise from the Contractor to the Authority;

(iii)	be entitled to employ and pay other persons to provide and complete provision of the works or any part thereof and to use all such Contractor's materials, clothing, equipment, vehicles or other goods for the purposes thereof;

(iv)	be entitled to deduct from any sum or sums which would but for Condition 17(c)(i) have been due from the Authority to the Contractor under this Contract or any other contract or be entitled to recover the same from the Contractor as a debt, any loss or damage to the Authority resulting from or arising out of the termination of the Contractor's employment.  Such loss or damage shall include the reasonable cost to the Authority of the time spent by its officers in terminating the Contractor's employment and in making alternative arrangements for the provision of the works or any part thereof;

(v)	when the total costs, loss and/or damage resulting from or arising out of the termination of the Contractor's employment has been calculated and deducted so far as practicable from any sums which would but for Condition 17(c) (i) have been due to the Contractor, any balance shown as due to the Authority shall be recoverable as a debt, or alternatively, the Authority shall pay to the Contractor any balance shown as due to the Contractor.

(d)	The rights of the Authority under Condition 17 are in addition to and without prejudice to any other rights the Authority may have whether against the Contractor directly or pursuant to any guarantee, indemnity or bond.

## 18.	FAILURE & DEFAULT IN PERFORMANCE - LIQUIDATED DAMAGES

(a)	If the Contractor shall fail to perform any of the works in accordance with the Conditions Specifications or any of the schedules then the Authority shall be entitled to take such action as the Client Officer may consider necessary to ensure that the works are completed or Items are available for use by the Authority, including the hire of a substitute Item or return of the Item to the Contractor for remedial works at Contractor’s own expense.

(b)	In such circumstances all the costs incurred by the Authority shall be recovered by the Authority from the Contractor in accordance with Condition 17(c) (iv).

(c)	All deductions payable by the Contractor to the Authority pursuant to this Condition shall be paid as Liquidated Damages and not as a penalty.

(d)	Contractors must adhere to the details of Liquidated Damages as identified in Clause 12 above.

## 19.	ARBITRATION

(a)	All unresolved disputes between the parties arising out of or connected with this Contract or the performance of the Services by the Contractor shall be referred to an Arbitrator to be agreed upon by the parties or in default of such agreement to be nominated by the President of the Institute of Arbitrators or a person appointed by him.

(b)	Any award or decision of such Arbitrator shall be final and binding on the parties hereto.

## 20.	BRITISH OR EU STANDARDS

Where an appropriate British or EU Standard Specification, British or EU Standard Code of Practice issued by the British Standards Institution or its European equivalent is current all goods used or supplied and all workmanship shall be in accordance with that Standard, unless otherwise stated.

## 21.	OBSERVANCE OF STATUTORY REQUIREMENTS

The Contractor shall comply with all statutory and other provisions to be observed and performed in connection with the Services provided under the Contract and shall indemnify the Authority accordingly.

## 22.	STAMP DUTY AND LEGAL FEES

Each party shall bear their own legal and other fees in relation to the preparation and submission of the Tender documents and any formal Contract documents arising there from.

## 23.	DEFAULT BY CONTRACTOR

If the Contractor, for whatever reason, fails to provide or perform the Services in whole or in part completely in accordance with the terms of the Contract, then without prejudice to any other remedy contained herein the Authority may by its own or other workmen provide and perform such Services or part thereof in which the Contractor has made default. The costs and charges incurred by the Authority in so doing shall be paid by the Contractor to the Authority on demand or may be deducted by the Authority from any monies due or which may become due to the Contractor.

## 24.	INSPECTION OF SITE, EXTENT AND NATURE OF SERVICES

(a)	The Contractor shall be deemed to have fully acquainted himself with all conditions likely to affect the execution of the Works and have visited the site to satisfy himself with the nature and extent of services to be undertaken as detailed in the Contract Documents and as to the nature of access and all matters likely to affect the execution of the Service.

(b)	In the event of adverse weather conditions preventing the performance of the Services the Contractor with the prior consent of the Client Officer may modify his method of working.

(c)	In submitting his Tender the Contractor will have been deemed to understand the nature of the Works and included within his tender sum for performing the Works in adverse weather conditions or such other conditions for periods within the Contract Period.

(d)	The Contractor shall not be entitled to make any claims in any respect regarding the contract through lack of knowledge or understanding of the specified works. Any costs or losses incurred during the preliminary investigations and Tender preparation shall be borne by the Contractor alone.

## 25.	INSPECTION & ACCESS

The Contractor shall at all times during the Contract Period allow the Client Officer and his staff, the Authority's Internal Auditor or such person as may be nominated from time to time by the Client Officer access to all locations for the purpose of inspecting: -

- Work being performed pursuant to the contract.

- Records or documents in the possession of the Contractor in connection with the performance of such work.

## 26.	OPERATIONS

- The contract shall be priced on a unit base, this shall be either price per item of equipment or area as indicated in the schedules dependent upon the site in question.

- The Client Officer shall identify in the case of a default situation arising, which of the above units shall apply this is not negotiable.

## 27.	ADVERTISING

Advertising in any form on or about the works is prohibited. The Council reserves the right to remove any advertising material erected, distributed or employed on or around the works by the Contractor.  This condition does not extend to normal sign painting on the Contractor's vehicles.

## 28.	NUISANCE

The Contractor shall take all necessary measures to minimise nuisance to occupiers of property adjoining the works and shall comply with any reasonable instructions given by the Council in this respect.

## 29.	TIMING

The Contractor shall undertake all operations in a timely manner to ensure the completion of the works by the deadline stated in the Contract documentation or at the earliest practical date thereafter.

## 30.	CLAIMS

- No claims will be accepted on the grounds of failure to identify all the requirements of the contract. The Contractor shall be deemed to be fully aware of all aspects of the work required, areas to be treated and timescale involved. This Authority will not accept any claims over and above the agreed estimates unless made with the written approval of the Client Officer.

- The Council is unable to provide storage facilities for the Contractor during the contract period; it is therefore the Contractors responsibility to take such measures as to the provision of any materials or equipment on site. The Council will take no responsibility for any vandalism or theft, which might occur as a result of materials or equipment being stored therein. The Contractor shall be held responsible for any damage, which might occur as a result of any such storage of materials or equipment.

## POST INSTALLATION AND MAINTENANCE

  - On the satisfactory completion of all site operations the Contractor shall provide for and give to the Client Officer, a complete set of maintenance instructions and tools for the individual items of play equipment.

  - The Contractor shall on submission of his invoice, provide Guarantee Certificates covering the life of the guarantee periods identified in the Tender Documents.

  - Final payment of the Contractor's invoice shall be made on the provision of a Post Installation Inspection Certificate from an approved RPII Inspector. This certificate will identify that all works have been completed to the current British and European Standards and our specification.

## SITE ACCESS

- Vehicle access to the teen area site (proposed under this contract) will be permitted either via  Furzelands Road, Three Legged Cross or Verwood Road.

- The open space in which one of the access are sited is known as Three Legged Cross Recreation Ground.

# SUPPLY & INSTALLATION OF TEEN EQUIPMENT AT DOORSTEP GREEN TEEN AREA

# SPECIFICATION PRELIMINARIES

## GENERAL

- Verwood Town Council requires the supply and installation of steel play equipment at this site to provide the greatest play experience and value, catering for children 12 years plus ensuring:

  - Equipment  installed to ensure the health and safety of the user’s dependent upon their age.

  - Access to all items is DDA compliant.

- All Contractors shall provide the Authorising Officer with details of all necessary safer surfacing requirements for their play equipment in order that all works will comply when finished, with all relevant and current British and European Standards and recommendations.

- All the existing surfaces are to be removed and replaced with wet pour safer surfacing  to be undertaken to comply the relevant British and European Standards

- All works when finished must comply with the current British and European Standards and recommendations and any relevant legislation.

- Risk Assessments and Method Statements (RAMS) showing how the Contractor proposes to undertake the works in question, for Client Officer approval, shall accompany the priced up Bills of Quantity.

## 2.	WORKING HOURS

- The working day shall be between the hours of 7.30am to 6.00pm Monday to Friday.

- The Contractor shall identify in the Method Statements his normal weekly and daily work times on which his tender is based.

- No weekend or overtime working shall be permitted without the previous written authorisation from the Client Officer.

## RISK ASSESSMENTS

- The Contractor shall provide copies of his risk assessment forms relating to his working practices of his employees operating on and covering the nature of this contract.

- The Contractor shall fully acquaint themselves of the nature of this contract and provide a full risk assessment of how they will maintain the integrity of property boundaries around the site.

## CONTRACTOR'S REPRESENTATIVE

  - During the contract period the Contractor shall have a representative who can be contacted at all times by the Client Officer to answer any queries that might arise.

  - The Contractors representative shall have delegated administrative powers from the Contractor in relation to the effective running and management of this contract and as such will be supplied by the Contractor with a mobile telephone which must be switched on during the working day, the telephone number to be supplied to the Client Officer.

  - Should the Contractor employ more than one gang on the contract he shall be expected to provide a working mobile telephone for each gang when working on site, and provide the Client Officer with their contact numbers.

## CUSTOMER CARE

- During the contract period the Contractor shall be expected to adhere to the Council's Customer Care Policy, copies of which shall be provided upon award of the contract.

## CLIENT’S REPRESENTATIVE

  - The Client may appoint a representative to undertake duties and carry responsibilities on its behalf.  The Client will, if appropriate, notify the contractor of a representative having been appointed and set out the extent of the representative’s powers and authority.

## PLAY VALUE

(a)	THE PRIMARY OBJECTIVE OF THIS WORK IS TO INCREASE AND ENHANCE THE PLAY VALUE OF THIS FACILITY TO GIVE THE MAXIMUM BENEFIT FOR ALL USERS, WITHIN THE COUNCILS BUDGET PROVISION.

# GENERAL DESCRIPTION OF WORKS

## GENERAL WORKS

- The Contractor shall work in accordance with the Risk Assessments and Method Statements.  The Contractor shall work to ensure the safety of the public at large and take all reasonable steps to secure the site and exclude the public from accessing the site during the contract period.

- The Contractors attention is drawn to the Liability of the Contractors, Clause 11 in the Conditions of Contract.

- Where the work is in areas to which the general public has access the Contractor shall take every precaution necessary to ensure their safety e.g. by providing staff to restrict and/or redirect them and by erecting barriers and displaying signs as necessary.  The Contractor must as far as is reasonably practical ensure that the public is excluded from the area of operations.  The means by which the Contractor achieves this must be at his/her discretion, and he/she will be held responsible should they not be effective.

- On completion of the works the Contractor shall remove all wood, equipment and other materials etc. to leave the site clean and tidy to the satisfaction of the Client Officer.

- The Contractor shall take care to avoid damaging any structures or fittings; other trees, shrubs and plants; grass or other surfaces at the site of the works and on neighbouring property.  If any damage occurs the Contractor shall carry out full reinstatement to the satisfaction of the Client Officer (and in accordance with the standards outlined in Specification Preliminaries Clause 1) or alternatively satisfy the Client Officer that adequate compensation has been paid to the owner concerned, in accordance with the Conditions of Contract and at the Contractor's expense.

- The Contractor shall ensure that no spillage or dumping of any fuel, oil or other material takes place on or near the site.

- If the Contractor encounters any points of doubt or difficulty during the course of the works especially with regard to damage or points not covered by the Contract, the Contractor shall clear the matter with the Client Officer before proceeding with the works. The Contractor shall not make any agreements or arrangements with unauthorised persons.

- The Contractor shall be deemed to have taken into account any surrounding hazards when submitting his tender. The Contractor shall be responsible for any costs incurred in the disconnection and reconnection of overland power lines and telephone cables or underground services, and also for arranging with the Authorities concerned for the working and safety of such apparatus.

- If any of the work necessitates entry onto any adjoining land, the Contractor shall make the necessary arrangements for access, subject to the agreement of the client with the land owners concerned.  The Contractor shall not leave any wood, materials or equipment on adjoining land without permission from the landowner to do so. Any damage to adjoining property must be properly repaired, at the Contractor's expense. The Contractor is not to allow any of his workmen to wander about the area of the Works or to trespass on any adjoining property.

- The Contractor may use such tools and equipment as he/she deems to be suitable provided it complies with all Health and Safety requirements.

- Maintaining security to the property and site is sacrosanct and must be ensured at all times.

- Any damage to the galvanised and powder coated finish of the play area fencing and equipment, prior to and during the installation, may result in the affected items being refused and may require replacement at the Contractor’s own expense.

- The Contractor must close off the area during construction works using approved security fencing to be agreed with the Client Officer.

- Post signs in suitable positions on outer perimeter fence warning members of public that the area is closed due to construction works.  Signs must display all relevant Health & Safety information (emergency telephone no. as a minimum requirement).

- Leave areas/site safe and clean and remove any temporary fencing from site on completion of all works. All arisings shall be collected and taken to the Contractor's tip.

- Any figures given in this contract are guides only and the contractor must undertake site visits to satisfy themselves that the site and identified works, any shortfall/gaps will be made up by the contractor at his own cost.  Site visits can be arranged by appointment.

- The Contractor will be responsible for ensuring that no utilities are damaged during the installation of the fencing on site, should this occur then the contractor will be totally responsible for any claims made.  Likewise the Contractor shall be responsible for maintaining the security of the site during the programme of work.

# SPECIFICATION

## INTRODUCTION

  - The Contractor must visit the site, undertake, measure and ascertain all ground conditions, access points and layout.

  - Contractor shall allow for clearing the existing equipment and surfacing.  The Contractor shall allow for use of heras fencing to prevent access to and secure the site.  This shall be maintained at all times up to the point that the installation is fully completed and the Post Installation Report satisfactorily signed off by the Client Officer.

  - The Contractor shall provide risk assessments and method statements (RAMS) outlining his method of working prior to undertaking any works on the site with these being approved with the Client Officer.

## PRELIMINARIES

  - Bolts, Nuts and Washers

    - Fixings: - M12 Cup Square headed Bolts to BS 4933 strength Grade 8.8 and Shear headed “Permacone” nuts.

    - There is NO British Standard for Shear headed Cone Nuts. Cone nuts to be steel strength grade 8 as detailed in BS 4190 and threaded in accordance with BS 3643.

    - Nut and bolt fixings - where used threads are to be burred over after the nut has been tightened, the finish must receive a renovation to the coating as detailed in 5.8 above. No threads shall be exposed beyond 2.5 mm any excess must be trimmed off, with the remaining exposed thread rounded off removing any sharp/rough edges smoothing the ends and treated as detailed.

## 3.              REMOVAL AND REPLACEMENT OF CHILDREN’S PLAY AREA

3.1           As mentioned the identified play equipment and  surfacing are to be removed leaving

the site clear to enable the installation of new play equipment, safer surfacing.

3.2              The new play area shall be developed to include (if possible subject to cost) the

following items:-

- All play equipment shall be steel with the site having no mounds, tunnels, covered houses, grass mat/bark, wood

- The safer surfacing shall comply to BSEN 1177

- Facilities: minimum of 1x metal litter bin with lids/ roof.

- Inclusive play DDA compliant

- New play area signs (minimum 2) with artwork to be approved by VTC to be fitted adjacent to the gates on the metal fencing.

3.3		The signs shall consist of the site name with its post code to be added under the name of the site and shall be manufactured to EN 12899-1 2007 Class RA1 the Traffic Signs Regulations and General Directions 2002 and fitted using appropriate channelling to the fence.

3.4		The information the sign should identify includes (as shown above):-

        - the email address is verwoodtc@btconnect.com

        - Equipment installed for use by Children of 12 +  years of age

        - Pictorial as well as written restriction information as follows:

- No Litter

- No Dogs

- No Cycles

- No Ball Games

- No Alcohol

- No Drugs

- No Smoking

- No Skateboards

## 4		LITTER PICKING AND DEBRIS REMOVAL

4.1		Prior to any maintenance operation on the site, the Contractor shall be responsible for the collection of all litter, debris and other deleterious matter from the area and along the line of the new fences during the contract period, removing all arisings to the Contractor's tip.   The price for such clearance must be included within the Contractor's submitted rates for each billed maintenance operation.

## 5		AFTER CARE & MAINTENANCE

5.1		On the satisfactory completion of all site operations the Contractor shall provide for and give to the Authorising Officer, a complete set of maintenance instructions and tools for the individual items of equipment.

5.2		The Contractor shall be responsible for any aftercare and maintenance on the site for 12 months entirely at his own expense.  This work shall consist of:

- ensuring the stability/security of the new facility.

- any land settlement to be made up to surrounding levels and reseeded if necessary as per the above specification.

# BILL OF QUANTITIES

All ground works to be undertaken to minimise the damage to existing grass or other surfacing, where damage occurs the contractor shall be responsible for reinstatement of those areas (in accordance with current British Standards for Landscaping) back to their original condition at his own expense. (Photographic evidence will be obtained prior to commencement of any work on site).

Please expand table as required.

|  | Description | Quantity | Total |
| --- | --- | --- | --- |
| (i) | Supply and construction of welfare facilities, heras fencing and signage. | Sum |  |
| (ii) | Clearance of existing play area to facilitate installation of new play provision | Sum |  |
| (iii) | Supply and Installation of new play equipment to conform to current British & European Standards | Sum |  |
| (iv) | Post Installation Inspection | Sum |  |
|  | Project Grand Total | £ |  |
|  | Leave area safe and clean. |  |  |

APPENDIX 1 – SITE LOCATION PLAN – Doorstep Green Teen area BH