Call-Off Schedule 20 (Call-Off Specification)

This Schedule sets out the characteristics of the Deliverables that the Supplier will be required to make to the Buyers under this Call-Off Contract

# PURPOSE

## The purpose of this procurement exercise is to replace outdated Audio-Visual (AV) equipment in the NIAW lecture theatre and to ensure the provision of a high-quality, modern learning environment that meets the evolving needs of both our trainers, trainees and visitors. The current AV equipment has reached the end of its life, resulting in frequent technical issues, poor audio and video quality, and is problematic when using some devices on training courses (for example apple devices). The updated AV system will address these issues by:

## Enhancing Audio and Visual to improve the sound quality and video resolution, ensuring that all trainees regardless of their seating location, can hear and see presentations clearly.

## Supporting Hybrid and Online Learning – Integration is required with MS teams to support hybrid and online learning, enabling live streaming from the Ultrasound Suite (adjacent to the LT) and the recording of lectures.

## Facilitating Interactive Learning - Features such as wire-less screen sharing from mobile devices and seamless device connectivity, enabling trainers and visitors to deliver presentations in a user-friendly environment.

# BACKGROUND TO THE BUYER

## The National Imaging Academy was opened in 2018 and is an NHS training facility that trains doctors to become Consultant Radiologists. There is 1 large lecture theatre (110 capacity), 3 large classrooms and two small classrooms. In addition to the classrooms, the academy has 1 boardroom and 3 smaller meeting rooms. The administration office also doubles up as a large meeting room. The rooms in NIAW are used for multi-purposes, this includes RCR exams, meetings, events, training courses etc.

# BACKGROUND/ OVERVIEW OF REQUIREMENT

## The AV equipment currently in NIAW was purchased when the building opened in 2018. There is currently no contract in place with any supplier and no service and maintenance agreements in place. As technology has moved on significantly during this time, NIAW are happy to provide potential suppliers with a day to visit the facility and discuss requirements in more detail.

## This requirement is needed to modernise the equipment in the building for the purpose of training the next generation of Radiologists.

## This phase of the procurement will replace the equipment within the lecture theatre. In the financial year 2025/26 the AV equipment in the remainder of the academy will be replaced. It is important that there is consistency throughout the building and user-friendly displays are incorporated into the design. NIAW holds a significant number of events and courses whereby visitors will not be familiar with the equipment, seamless integration with MS teams and ease of use is an essential requirement. The current AV equipment in the academy consists of MS hubs, Avocors, and C-touch screens. The lecture theatre is 7.5 meters front to back and 19.7 meters side to side in size. 2 large projector screens and 2 repeater screens are on either side of the room. Ceiling microphones, a portable wheeled camera, ceiling camera and a lectern with rack are in place at present.

## NIAW is a national organisation that is hosted by CTMUHB on behalf of NHS Wales. More information on the rooms is available on the academy website National Imaging Academy Wales | Imaging Academy Wales.

# DEFINITIONS

| Expression or Acronym | Definition |
| --- | --- |
| AV | Means; Audio-Visual. |
| CTMUHB | Means; Cwm Taf Morgannwg University Health Board. |
| MS | Means; Microsoft. |
| NIAW | Means; National Imaging Academy Wales. |
| NHS | Means; National Health Service. |
| US | Means; Ultrasound. |
| RCR | Means; Royal College Radiologists. |

# SCOPE OF REQUIREMENT

## The scope of goods as part of this requirement extends to the following:

## Replacement of all AV equipment within the lecture theatre;

## Design and installation of new modern lecture theatre;

## Minimum of 6M LED wall to replace existing projector screens (6m x 1.6);

## Wall brackets to support LED wall;

## Live feed from Ultrasound Rooms;

## Ceiling, front speakers and amplifier;

## Microphones (2xlapel and 2xhandheld rechargeable not battery);

## Dual charging station for microphones;

## Wireless screen sharing capability (MUST include apple devices) (currently using solstice which works well, but needs to be upgraded);

## Capability to share on repeater screen;

## Induction loop (in place, may need to be upgraded);

## Video Conferencing package (MS teams);

## Cameras with 180-degree view of room;

## Wide curved monitor display to represent LED wall (touch screen);

## Minimum of 8 input and outputs required for display;

## Rack is available in the current lectern;

## Associated licences (if required);

## Touch panel and control processor, network switch;

## Control workstation with software, to control what is displayed and how it appears on all the outputs;

## Options for 3- and 5-year warranty; and

## Support and maintenance contract.

# THE REQUIREMENT

## It is recommended that the supplier visit NIAW before the design is completed

## NIAW staff will require training on the new AV equipment

## Documentation and user guides such as videos and troubleshooting guides must be provided to NIAW.

## The below testing must be completed by the supplier and documentation provided to NIAW:

| ## 6. 5 Pre-Installation Testing |  |  |  |
| --- | --- | --- | --- |
| ## ID1 | ## Equipment Inspection | ## Visually inspect all equipment on delivery to ensure no damages have occurred in transit |  |
| ## ID2 | ## Network and Power Check | ## Ensure site infrastructure and power supply can support new equipment in advance of delivery |  |
| ## ID3 | ## Network connectivity | ## Test network connectivity (wired and wireless) |  |
| ## 6. 6 Installation Testing |  |  |  |
| ## ID4 | ## Cable Testing | ## Test AV cables (e.g., HDMI, VGA, audio cables, Ethernet) for continuity and signal strength. |  |
| ## ID5 | ## AV Components | ## Ensure all components are properly installed and fully functional |  |
| ## ID5 | ## Power | ## Power on all equipment and confirm it is functioning as required |  |
| ## ID6 | ## Control Panels | ## Test all control panels and interfaces are responsive and can control the components |  |
| ## ID7 | ## Audio | ## Test the audio quality, balance, and performance of the sound system ensuring no feedback or distortions ## Confirm the audio output is synchronized with video for presentations or video playback |  |
| ## ID8 | ## Microphones | ## Test microphones for clarity and signal reception, including any noise-cancellation or echo-reduction features |  |
| ## ID9 | ## Video | ## Test the video quality, resolution, and performance of displays and projectors. (Note testing to be completed with X-Ray images) |  |
| ## 6.7 System Integration Test |  |  |  |
| ## ID10 | ## AV Components | ## Ensure that all AV components (audio, video, control systems) work together seamlessly as a single integrated system |  |
| ## ID11 |  | ## Test the system’s functionality across different use cases, such as presentations, video conferences, and multimedia Playback |  |
| ## ID12 |  | ## Test control systems to ensure they can manage all components from a central interface (including feed from US room) |  |
| ## ID13 |  | ## Test that AV equipment can interface with external devices, such as laptops, tablets, and USB drives, and that the correct source is displayed or played back without issues |  |
| ## ID14 | ## Network and Connectivity | ## Ensure that all networked AV components (e.g., IP cameras, streaming devices, video conferencing systems) are connected to the network and function properly |  |
| ## ID15 |  | ## Test networked AV equipment to confirm they are assigned correct IP addresses and are discoverable by other network devices |  |
| ## ID16 |  | ## Test remote control functionality, such as accessing AV system controls via a mobile device or tablet over the network |  |
| ## ID17 | ## Response Time | ## Ensure that the AV system responds quickly to user input and media signals |  |
| ## ID18 |  | ## Confirm that the system responds promptly to commands from control panels, remotes, or touchscreens |  |
| ## 6 . 8 User Acceptance Testing (UAT) |  |  |  |
| ## ID19 | ## AV Equipment | ## Validate that the AV system meets the needs of the end users by simulating real-world use cases |  |
| ## ID20 |  | ## Run through scenarios, such as hosting a presentation, streaming a video, or holding a video conference, with the participation of end users |  |
| ## ID21 |  | ## Test ease of use, accessibility of control interfaces, and overall user satisfaction |  |
| ## ID22 |  | ## Train nominated staff on how to use the equipment |  |
| ## 6.9 Final Testing and Sign-Off |  |  |  |
| ## ID23 |  | ## Confirm that all technical documentation, troubleshooting guides and user manuals are accurate and reflect the installed system. |  |
| ## ID24 |  | ## Confirm that the AV system meets all functional and quality requirements |  |
| ## ID25 |  | ## Final walk-through with key stakeholders to review functionality and address any concerns |  |
| ## ID26 |  | ## Obtain formal sign off from Academy Manager or Director |  |

# KEY MILESTONES AND DELIVERABLES

## The following Contract milestones/ deliverables shall apply:

| ### Milestone/Deliverable | ### Description | ### Timeframe or Delivery Date |
| --- | --- | --- |
| ### 1 | ### Project Kick-Off Meeting. | ### Within week 1 of Contract Award or no later than 29/01/2025. |
| ### 2 | ### Site Assessment. | ### Within week 2 of Contract Award or no later than 05/02/2025. |
| ### 3 | ### Finalisation of specification. | ### Within week 3 of Contract Award or no later than 12/02/2025. |
| ### 4 | ### Delivery of Equipment. | ### Within week 11 of Contract Award or no later than 09/04/2025. |
| ### 5. | ### Installation of Equipment. | ### Within week 12 of Contract Award or no later than 16/04/25. |
| ### 6. | ### Testing and Calibration Complete. | ### Within week 12 of Contract Award or no later than 16/04/25.. |
| ### 7. | ### User Training and Documentation. | ### Within week 13 of Contract Award or no later than 23/04/25. |
| ### 8. | ### Final Testing and Quality Assurance. | ### Within week 13 of Contract Award or no later than 23/04/25. |
| ### 9. | ### Project Close. | ### Within week 14 of Contract Award or no later than 30/04/2025. |

# MANAGEMENT INFORMATION/ REPORTING

## List of incidents, requests and KPI performance dashboard to be provided in advance of quarterly Service Level Contract Review meetings.

## Documented escalation process required.

# VOLUMES

## This is a call off contract and volumes cannot be guaranteed. We are seeking solutions from potential bidders to our requirements and thus shall decide the volumes required. For further information around the requirement please see Section 5 and 6.

# CONTINUOUS IMPROVEMENT

## The Supplier will be expected to continually improve the way in which the required Services are to be delivered throughout the Contract duration.

## The Supplier should present new ways of working to the Buyer during quarterly Contract review meetings.

## Changes to the way in which the Services are to be delivered must be brought to the Buyer’s attention and agreed prior to any changes being implemented.

# SUSTAINABILITY/ SOCIAL VALUE

## As part of the evaluation process and contract delivery, the Supplier shall be required to implement and evidence delivery of Social Value theme Wellbeing/ Tackling Economic Inequality as per PPN 06/20 Taking Account of Social Value in the Award of Central Government Contracts: https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/921437/PPN-06_20-Taking-Account-of-Social-Value-in-the-Award-of-Central-Government-Contracts.pdf.

# QUALITY

## All AV equipment must carry the CR marking to demonstrate compliance with EU safety, health, and environmental protection standards.

## All equipment must meet recognised energy efficiency standards to reduce power consumption and operational costs.

## All AV equipment must be installed by certified professionals with experience in large-scale AV installations (e.g., lecture theatres, conference rooms). The installation should follow best practices to ensure system performance and reliability.

## After installation, all AV systems must be properly calibrated to ensure optimal performance. This includes adjusting audio levels, video resolution, and system configurations to meet specific room acoustics and lighting conditions.

## The AV equipment must meet or exceed the following performance criteria to ensure reliable and high-quality operation:

## Audio Quality:

## Clear Audio Output: Microphones, speakers, and amplifiers must deliver clear, distortion-free audio with minimal feedback, echo, or noise interference;

## Frequency Range: Speakers must cover a wide frequency range to ensure high-fidelity audio reproduction;

## Microphone Sensitivity: Microphones should have high sensitivity and noise-cancellation features to capture clear voice input, even in challenging acoustic environments; and

## Sound Pressure Level (SPL): Speakers must be able to produce sufficient SPL to ensure audible sound across the room without distortion at high volumes.

## Video Quality:

## High Definition (HD) or 4K Resolution: Displays, and video equipment must support at least Full HD (1920x1080) or 4K (3840x2160) resolution for sharp and clear visuals. It is important to be able to control what is displayed on the screens so resolution is not lost and images do not appear stretched or squashed. Supplier must work with customer on achieving optimum viewing quality;

## Brightness: Display wall must have a brightness that supports X-Ray and DICOM images to ensure clear visibility; and

## Colour Accuracy: Video displays and LED wall must support high colour accuracy to ensure true-to-life visuals, especially for presentations involving detailed graphics or media content. Note – The lecture theatre will be used to display X-Ray Images on a regular basis.stand

# PRICE

## Prices are to be submitted via the e-Sourcing Suite Attachment 4 – Price Schedule excluding VAT and including all other expenses relating to Contract delivery.

## NIAW has a budget of £120,000.00 (excluding VAT) to complete this project.

# STAFF AND CUSTOMER SERVICE

## The Supplier shall provide a sufficient level of resource throughout the duration of the Contract in order to consistently deliver a quality service.

## The Supplier’s staff assigned to the Contract shall have the relevant qualifications and experience to deliver the Contract to the required standard.

## The Supplier shall ensure that staff understand the Buyer’s vision and objectives and will provide excellent customer service to the Buyer throughout the duration of the Contract.

# SERVICE LEVELS AND PERFORMANCE

## The Buyer will measure the quality of the Supplier’s delivery by:

## The successful Supplier must respond to reported issues within the agreed response time to minimise disruption to operations.

| KPI/SLA | Service Area | KPI/SLA description | Target |
| --- | --- | --- | --- |
| 1 | Priority 1 (Critical): | Major system failure affecting all training, events, or operations. | Resolution within 2 hours. |
| 2 | Priority 2 (High): | Significant system issue affecting a portion of users or critical functionality. | Resolution within 1 business day. |
| 3 | Priority 3 (Medium): | Minor system issue with minimal impact on users | Resolution within 3 business days. |
| 4 | Priority 4 (Low): | Routine support requests, enhancements, or minor issues. | Resolution within 5 business days. |
| 5. | Support | Support must be available from 8:30 AM to 5:00 PM, Monday to Saturday (excluding bank holidays) | 8:30am - 5:00pm Monday to Saturday |

## NIAW reserves the right to terminate the contract based on poor supplier performance, defined by one of the following criteria:

## Failure to meet agreed Service Level Agreements (SLA);

## Repeated breaches of contract terms;

## Frequent delayed or missed deadline;

## Inconsistent product/service quality; and/or

## Poor communication and responsiveness to escalations.

# SECURITY AND CONFIDENTIALITY REQUIREMENTS

## Suppliers that are on-site for the purposes of this project MUST report to reception.

## Secure Networking: The AV system must integrate with the organisation's secure network infrastructure, ensuring that no data is transmitted over unsecured or public networks.

## Regular Updates: All AV components (including screens, cameras, microphones, control systems, etc.) must support regular firmware and software updates to address security vulnerabilities. Updates should be applied promptly, and the system should allow for remote updates with minimal downtime.

## Secure Patching Process: The vendor must work with NIAW to ensure secure patching processes are in place, ensuring updates are verified for authenticity and integrity before installation.

# PAYMENT AND INVOICING

## Payment can only be made following satisfactory delivery of pre-agreed certified products and deliverables.

## Before payment can be considered, each invoice must include a detailed elemental breakdown of work completed and the associated costs.

## Invoices should be submitted to: National Imaging Academy Wales, Pencoed Business Park, Pencoed, CF35 5HY.

## Email: niaw.finance@wales.nhs.uk.

## Invoices MUST be sent no later than 12th March 2025.

# CONTRACT MANAGEMENT

## Quarterly contact review meetings required between the Supplier and NIAW. This can be managed via teams or in person at National Imaging Academy Wales, Pencoed Business Park, Pencoed, CF35 5HY.

## Attendance at Contract Review meetings shall be at the Supplier’s own expense.

# LOCATION

## The location of the Services will be carried out at National Imaging Academy Wales, Pencoed Business Park, Pencoed, CF35 5HY.