|  |  |  | Bay 3/21 Spring Place 105 Commercial Road Southampton SO15 1EG United Kingdom |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| All applicants for the refurbishment of: MCA LIVERPOOL, HALL ROAD WEST, CROSBY, L23 8SY Via Contracts Finder |  | Tel: e-mail: | +44 (0)20 381 72984 contracts@mcga.gov.uk |  |  |
|  |  | Our ref: |  | TCA 003/007/1083 |  |
|  |  | 28th January 2018 |  |  |  |

Dear Sir/Madam,

REFURBISHMENT OF MCA LIVERPOOL, HALL ROAD WEST, CROSBY, L23 8SY

Please see below for responses to questions and requests for information raised during the site visit on 23 January. To ensure that all applicants have access to the same information we will publish this document on Contracts Finder.

Question: 	Who is the contractor managing the Fire Alarm system on site?

Answer: 	Interserve maintain the fire alarm as part of the TFM contract.

Question:	Please supply the standard for the glazed security screen over the reception 	counter - if left open to interpretation pricing may not be comparable.

Answer:	Screen is to be anti-intruder, toughened glass. The glass specification 	standard is to be to BS EN 356 level P6B.

Question:	On inspection it was suggested the facias, soffits, bargeboards or guttering 	required replacement, and that a provisional sum should be added to the 	tender by MCA.

Answer:	A contingency sum has already been included within the pricing schedule for 	unforeseen works; following Contract Award the Project Manager will seek to 	identify the level of repairs or replacement required within the appointed 	Contractor and agree additional works if required.

I hope this provides all the information you require.

Yours sincerely,

Gillian Norris

MCA Procurement Strategy &Corporate Services