## Miscellaneous Alarms
Line Item | Description | Supplier Reference | NSN or NS Cat No. | EOQ | MOQ | MOD Required Qty | Unit Cost (£) Single item | Total Cost VAT Ex (£) | Procurement Lead Time (from order placement)
1 | Sounder 90dB 10-30Vdc | 18-980456 | P810 6350-99-976-4912 | 1 | 1 | 30 | REDACTED 1.1 | REDACTED 1.32 | 8w
2 | LED Indicator 24V Red | 508--501-22 | P810 6210-99-513-9731 | 25 | 1 | 97 | REDACTED 1.2 | REDACTED 1.33 | 8w
3 | Pull Cord Switch | MT1478 | P810 5930-99-164-4620 | 1 | 1 | 32 | REDACTED 1.3 | REDACTED 1.34 | 12w
4 | Over door Light | ZZCELL03 | P810 6210-99-702-7551 | 1 | 1 | 13 | REDACTED 1.4 | REDACTED 1.35 | 12w
5 | Cell call, Push Button | ZZCELL01 | P810 5930-99-160-4928 | 1 | 1 | 15 | REDACTED 1.5 | REDACTED 1.36 | 12w
6 | Cell Reset, Push Button | ZZCELL02 | P810 5930-99-878-9018 | 1 | 1 | 10 | REDACTED 1.6 | REDACTED 1.37 | 4w
7 | Selector Switch 3 Pos | GP3582 | CR7SA 5930-12-362-7442 | 1 | 1 | 10 | REDACTED 1.7 | REDACTED 1.38 | 4w
8 | LED Green NVG ASSY | SAMT1558 | P810 6210-99-154-4626 | 1 | 1 | 27 | REDACTED 1.8 | REDACTED 1.39 | 16w
9 | LED Red NVG ASSY | SAMT1556 | P810 6210-99-669-4252 | 1 | 1 | 38 | REDACTED 1.9 | REDACTED 1.40 | 16w
10 | Potentiometer Rotary 4K7 | RE4K710 | P810 5905-12-400-0016 | 1 | 1 | 10 | REDACTED 1.10 | REDACTED 1.41 | 12w
11 | LED Blue 24V | GP3567 | P810 5980-12-381-5367 | 1 | 1 | 8 | REDACTED 1.11 | REDACTED 1.42 | 8w
12 | Contact Block N/O | GP3462 | P810 5930-12-364-9987 | 1 | 1 | 81 | REDACTED 1.12 | REDACTED 1.43 | 8w
13 | Illuminated P/B Emergency | GP3615 | P810 5930-99-471-7759 | 1 | 1 | 3 | REDACTED 1.13 | REDACTED 1.44 | 8w
14 | PERMISION TO FLY SYSTEM, FLYCO SHIP LIFT HATCH OVERIDE MODULE | MT1484 | P810 5895-99-184-6788 | 1 | 1 | 2 | REDACTED 1.14 | REDACTED 1.45 | 16w
15 | Key switch | GP3614 | P810 5930-99-296-3388 | 1 | 1 | 3 | REDACTED 1.15 | REDACTED 1.46 | 8w
16 | PERMISION TO FLY SYSTEM, BRIDGE DIMMER MODULE | MT1485 | P810 6210-99-509-8166 | 1 | 1 | 4 | REDACTED 1.16 | REDACTED 1.47 | 16w
17 | Push Button Momentary Flush Blue | GP3488 | P810 5930-99-749-5672 | 1 | 1 | 15 | REDACTED 1.17 | REDACTED 1.48 | 8w
18 | Switch 2 Position Ill. | GP3606 | P810 5930-12-395-3710 | 1 | 1 | 3 | REDACTED 1.18 | REDACTED 1.49 | 8w
19 | BRIDGE CALL ALARM REPEATER PANEL | MT1512 | P811 6320-99-258-2339 | 1 | 1 | 7 | REDACTED 1.19 | REDACTED 1.50 | 16w
20 | SICK BAY WET ROOM ALARM PANEL | MT1513 | P811 6350-99-841-5893 | 1 | 1 | 7 | REDACTED 1.20 | REDACTED 1.51 | 16w
21 | SICK BAY WET ROOM ALARM PANEL | MT1514 | P811 6350-99-841-5897 | 1 | 1 | 2 | REDACTED 1.21 | REDACTED 1.52 | 16w
22 | CUSTODY SUITE MAIN CONTROL PANEL | Q15373 | P811 6110-99-257-8866 | 1 | 1 | 2 | REDACTED 1.22 | REDACTED 1.53 | 16w
23 | PERMISION TO FLY SYSTEM, BRIDGE | MT1487 | P811 5895-99-269-0197 | 1 | 1 | 2 | REDACTED 1.23 | REDACTED 1.54 | 16w
24 | PERMISION TO FLY INDICATION SYSTEM, BRIDGE | MT1530 | P811 5895-99-676-7336 | 1 | 1 | 4 | REDACTED 1.24 | REDACTED 1.55 | 16w
25 | PERMISION TO FLY SYSTEM, FLYCO DIMMER MODULE | MT1485A | P811 6210-99-269-0201 | 1 | 1 | 2 | REDACTED 1.25 | REDACTED 1.56 | 16w
26 | PERMISION TO FLY SYSTEM, FLYCO FLY NO FLY MODULE | MT1487A | P811 5895-99-514-4713 | 1 | 1 | 2 | REDACTED 1.26 | REDACTED 1.57 | 16w
27 | PERMISION TO FLY SYSTEM, FLYCO AVCAT AND FIRE STOP MODULE | MT1486 | P811 5895-99-669-4260 | 1 | 1 | 2 | REDACTED 1.27 | REDACTED 1.58 | 16w
28 | PERMISION TO FLY SYSTEM, FLYCO CRASH ON DECK MODULE | MT1483 | P811 5930-99-844-1866 | 1 | 1 | 4 | REDACTED 1.28 | REDACTED 1.59 | 16w
29 | PERMISION TO FLY SYSTEM, ECP PANEL | MT1529 | P811 5895-99-842-6089 | 1 | 1 | 2 | REDACTED 1.29 | REDACTED 1.60 | 20w
30 | ECP/BRIDGE CONTROL SELECT MODULE | MT1491 | P811 5930-99-355-5219 | 1 | 1 | 2 | REDACTED 1.30 | REDACTED 1.61 | 16w
31 | PERMISION TO FLY SYSTEM, BRIDGE DISTRIBUTION PANELPANEL | MT1517 | P811 6110-99-154-4636 | 1 | 1 | 2 | REDACTED 1.31 | REDACTED 1.62 | 20w
[7 empty] | TOTAL: | 78257.43

## Firestop
Line Item | Description | Supplier Reference | NSN or NS Cat. Number | EOQ | MOQ | MOD Required Qty | Unit Cost (£) Single item | Total Cost VAT Ex (£) | Procurement Lead Time (from order placement)
1 | RC Network RE12001 | EC2149 | P810 5915-99-357-9240 | 10 | 10 | 10 | REDCATED 1.63 | REDACTED 1.79 | 6w
2 | Relay 782XDXH10-120A | EC2150 | P810 5945-12-398-0735 | 10 | 10 | 10 | REDCATED 1.64 | REDACTED 1.80 | 26w
3 | NC Contact Block M22-CK01 216385 | GP3461 | P810 5930-12-374-0699 | 10 | 10 | 10 | REDCATED 1.65 | REDACTED 1.81 | 6w
4 | NO Contact Block M22-CK10 216384 | GP3462 | P810 5930-12-364-9987 | 10 | 10 | 554 | REDCATED 1.66 | REDACTED 1.82 | 6w
5 | Shroud 800F-AL01 | GP3464 | P810 5340-01-613-9826 | 10 | 10 | 10 | REDCATED 1.67 | REDACTED 1.83 | 6w
6 | PB Mom Flush Blue M22-D-B 216600 | GP3488 | P810 5930-99-749-5672 | 10 | 10 | 217 | REDCATED 1.68 | REDACTED 1.84 | 6w
7 | PB Mom Extended Black M22-DH-S 216636 | GP3489 | P810 5930-01-603-9097 | 10 | 10 | 10 | REDCATED 1.69 | REDACTED 1.85 | 6w
8 | PB Mom Extended Red M22-DH-R 216641 | GP3490 | P810 5930-01-532-6520 | 10 | 10 | 10 | REDCATED 1.70 | REDACTED 1.86 | 6w
9 | Indicator Red M22-L-R 216772 | GP3491 | J150 6210-12-363-2178 | 10 | 10 | 10 | REDCATED 1.71 | REDACTED 1.87 | 6w
10 | Indicator White M22-L-W 216771 | GP3492 | OHS1 6220-12-366-6081 | 10 | 10 | 10 | REDCATED 1.72 | REDACTED 1.88 | 6w
11 | Indicator Yellow M22-L-Y 216774 | GP3493 | OHS1 6210-12-364-9854 | 10 | 10 | 10 | REDCATED 1.73 | REDACTED 1.89 | 6w
12 | Key Switch 2 Pos M22-WRS 216887 | GP3494 | P810 5930-12-370-7279 | 10 | 10 | 10 | REDCATED 1.74 | REDACTED 1.90 | 6w
13 | Adaptor M22-A 216374 | GP3495 | J250 5930-12-359-8532 | 10 | 10 | 10 | REDCATED 1.75 | REDACTED 1.91 | 6w
14 | LED Red 85-264V M22-CLED230-R 216576 | GP3499 | P810 5980-12-378-2308 | 10 | 10 | 10 | REDCATED 1.76 | REDACTED 1.92 | 6w
15 | LED White 85-264V M22-CLED230-W 216575 | GP3500 | P810 5980-12-395-4865 | 10 | 10 | 10 | REDCATED 1.77 | REDACTED 1.93 | 6w
16 | Transformer 230V/115V 50VA GP3533 | GP3533 | P810 5950-99-284-3825 | 10 | 1 | 4 | REDCATED 1.78 | REDACTED 1.94 | 6w
[7 empty] | TOTAL: | 10000.52

## General and Emergency Lighting
Line Item | Description | Supplier Reference | NSN or NS Cat. Number | EOQ | MOQ | MOD Required Qty | Unit Cost (£) Single item | Total Cost VAT Ex (£) | Procurement Lead Time (from order placement)
1 | Circuit Breaker, Moulded Case, 3 pole, 160A Body, 16kA Rating, 20A Trip | EC1157 |  | 1 | 1 | 1 | REDACTED 1.95 | REDACTED 1.158 | 8w
2 | Circuit Breaker, Moulded Case, 3 pole, 160A Body, 16kA Rating, 32A Trip | EC1158 |  | 1 | 1 | 1 | REDACTED 1.96 | REDACTED 1.159 | 8w
3 | Circuit Breaker, Moulded Case, 3 pole, 160A Body, 16kA Rating, 50A Trip | EC1159 |  | 1 | 1 | 2 | REDACTED 1.97 | REDACTED 1.160 | 8w
4 | Locking Device, Miniature Circuit Breaker (no padlock) | EC1160 |  | 1 | 1 | 19 | REDACTED 1.98 | REDACTED 1.161 | 8w
5 | Locking Device, Moulded Case Circuit Breaker (no padlock) | EC1161 |  | 1 | 1 | 3 | REDACTED 1.99 | REDACTED 1.162 | 8w
6 | Terminal Extension, Moulded Case Circuit Breaker (set of 6) | EC1162 |  | 1 | 1 | 4 | REDACTED 1.100 | REDACTED 1.163 | 8w
7 | Circuit Breaker, Miniature, 1 pole, 20kA Rating, 6A Type D Trip | EC1164 |  | 1 | 1 | 42 | REDACTED 1.101 | REDACTED 1.164 | 8w
8 | Terminal Cover, Moulded Case Circuit Breaker | EC1168 |  | 5 | 5 | 9 | REDACTED 1.102 | REDACTED 1.165 | 8w
9 | Gasket Set | GAMT1367-50 |  | 1 | 1 | 1 | REDACTED 1.103 | REDACTED 1.166 | 12W
10 | Gasket Set | GAMT1368-50 |  | 1 | 1 | 2 | REDACTED 1.104 | REDACTED 1.167 | 12W
11 | Gasket Set | GAMT1369-50 |  | 1 | 1 | 2 | REDACTED 1.105 | REDACTED 1.168 | 12W
12 | Gasket Set | GAMT1370-50 |  | 1 | 1 | 10 | REDACTED 1.106 | REDACTED 1.169 | 12W
13 | Gasket Set | GAMT1372-50 |  | 1 | 1 | 2 | REDACTED 1.107 | REDACTED 1.170 | 12W
14 | Back Box | 866ZIC |  | 10 | 1 | 2 | REDACTED 1.108 | REDACTED 1.171 | 4W
15 | Back Box | 886ZIC |  | 5 | 5 | 5 | REDACTED 1.109 | REDACTED 1.172 | 4W
16 | Cover Plate | K3491ALM | P810 5340-99-262-1846 | 10 | 10 | 14 | REDACTED 1.110 | REDACTED 1.173 | 4W
17 | Cover Plate | K3492ALM |  | 10 | 10 | 82 | REDACTED 1.111 | REDACTED 1.174 | 4W
18 | Cover Plate | K3494ALM | O567 5340-99-613-5234 | 1 | 1 | 7 | REDACTED 1.112 | REDACTED 1.175 | 4W
19 | Grid | K3701 | P810 5975-99-219-6934 | 1 | 1 | 16 | REDACTED 1.113 | REDACTED 1.176 | 4W
20 | Grid | K3702 |  | 1 | 1 | 84 | REDACTED 1.114 | REDACTED 1.177 | 4W
21 | Grid | K3703 | Z5COR 5975-99-482-2019 | 1 | 1 | 6 | REDACTED 1.115 | REDACTED 1.178 | 4W
22 | Grid | K3704 | CONSTR 5975-99-399-8269 | 1 | 1 | 7 | REDACTED 1.116 | REDACTED 1.179 | 4W
23 | Switch Module | K4896WHI | O567 5930-99-727-9090 | 10 | 10 | 188 | REDACTED 1.117 | REDACTED 1.180 | 6W
24 | Back Box | K8891ALM | W810 5975-99-864-8371 | 10 | 10 | 92 | REDACTED 1.118 | REDACTED 1.181 | 6W
25 | Back Box | K8892ALM | P810 5975-99-598-8274 | 10 | 10 | 11 | REDACTED 1.119 | REDACTED 1.182 | 6W
26 | Battery Pack, Emergency Lighting, 3.6V, 4Ah | EC0640 | O251 6140-99-354-0611 | 100 | 10 | 100 | REDACTED 1.120 | REDACTED 1.183 | 10W
27 | Inverter, T8, 18W, 230V | EC1111 |  | 100 | 10 | 102 | REDACTED 1.121 | REDACTED 1.184 | 10W
28 | Starter to suit 230V 60Hz 18W tubes | EC2086 |  | 100 | 100 | 1252 | REDACTED 1.122 | REDACTED 1.185 | 4W
29 | Linear Tube 18W T8 Neutral White | LA192 |  | 100 | 100 | 1248 | REDACTED 1.123 | REDACTED 1.186 | 4W
30 | Vital Luminaire ExN Type (2x18W Fluorescent) | LTG-MT1383 |  | 1 | 1 | 7 | REDACTED 1.124 | REDACTED 1.187 | 16W
31 | Hazardous Area Lighting - ExN (2x18W Fluorescent) | LTG-MT1409 | O251 6210-99-244-0545 | 1 | 1 | 26 | REDACTED 1.125 | REDACTED 1.188 | 16w
32 | Choke, Fluorescent, T8, 230V, 60Hz, 20W (20568086) | MME0135 |  | 500 | 100 | 578 | REDACTED 1.126 | REDACTED 1.189 | 16w
33 | Capacitor, power factor correction, 10uF, 230V, 60Hz | MME0208 |  | 200 | 100 | 467 | REDACTED 1.127 | REDACTED 1.190 | 16w
34 | LED, White | MME0222 |  | 100 | 50 | 104 | REDACTED 1.128 | REDACTED 1.191 | 16w
35 | Capacitor, power factor correction, 16uF, 230V, 60Hz | MME0230 |  | 100 | 100 | 122 | REDACTED 1.129 | REDACTED 1.192 | 16w
36 | Capacitor, power factor correction, 4uF, 230V, 60Hz | MME0252 |  | 100 | 100 | 100 | REDACTED 1.130 | REDACTED 1.193 | 16w
37 | LED, Red | MME0261 |  | 100 | 50 | 50 | REDACTED 1.131 | REDACTED 1.194 | 16W
38 | Printed Circuit Board, LED, 230V | PC0026 | N701 5998-99-391-2176 | 100 | 50 | 107 | REDACTED 1.132 | REDACTED 1.195 | 16W
39 | Assembly, Diffuser | SAMT1377-50 |  | 10 | 10 | 61 | REDACTED 1.133 | REDACTED 1.196 | 16w
40 | Assembly, Diffuser | SAMT1380-50 |  | 10 | 10 | 12 | REDACTED 1.134 | REDACTED 1.197 | 16w
41 | Assembly, Diffuser | SAMT1381-50 |  | 10 | 10 | 18 | REDACTED 1.135 | REDACTED 1.198 | 16w
42 | Assembly, Diffuser | SAMT1382-50 |  | 10 | 10 | 35 | REDACTED 1.136 | REDACTED 1.199 | 16w
43 | Assembly, Diffuser | SAMT1385-50 |  | 10 | 10 | 10 | REDACTED 1.137 | REDACTED 1.200 | 16w
44 | Assembly, Diffuser | SAMT1387-50 |  | 10 | 10 | 10 | REDACTED 1.138 | REDACTED 1.201 | 16w
45 | Assembly, Diffuser | SAMT1388-50 |  | 10 | 10 | 10 | REDACTED 1.139 | REDACTED 1.202 | 16w
46 | Assembly, Diffuser | SAMT1389-50 |  | 10 | 10 | 10 | REDACTED 1.140 | REDACTED 1.203 | 16w
47 | Assembly, Diffuser | SAMT1391-50 |  | 10 | 10 | 21 | REDACTED 1.141 | REDACTED 1.204 | 16w
48 | Assembly, Diffuser | SAMT1392-50 |  | 10 | 10 | 304 | REDACTED 1.142 | REDACTED 1.205 | 16w
49 | Assembly, Diffuser | SAMT1395-50 |  | 10 | 10 | 40 | REDACTED 1.143 | REDACTED 1.206 | 16w
50 | Assembly, Diffuser | SAMT1397-50 |  | 10 | 10 | 48 | REDACTED 1.144 | REDACTED 1.207 | 16w
51 | Assembly, Diffuser | SAMT1405-50 |  | 10 | 10 | 10 | REDACTED 1.145 | REDACTED 1.208 | 16w
52 | Assembly, Diffuser | SAMT1406-50 |  | 10 | 10 | 10 | REDACTED 1.146 | REDACTED 1.209 | 16w
53 | Assembly, Diffuser | SAMT1407-50 |  | 10 | 10 | 10 | REDACTED 1.147 | REDACTED 1.210 | 16w
54 | Assembly, Diffuser | SAMT1408-50 |  | 10 | 10 | 10 | REDACTED 1.148 | REDACTED 1.211 | 16w
55 | Assembly, Diffuser | SAMT1410-50 |  | 10 | 10 | 10 | REDACTED 1.149 | REDACTED 1.212 | 16w
56 | Assembly, Diffuser | SAMT1414-50 |  | 10 | 10 | 30 | REDACTED 1.150 | REDACTED 1.213 | 16w
57 | Assembly, Diffuser | SAMT1494-50 |  | 10 | 10 | 17 | REDACTED 1.151 | REDACTED 1.214 | 16w
58 | Assembly, Diffuser | SAMT1495-50 |  | 10 | 10 | 10 | REDACTED 1.152 | REDACTED 1.215 | 16w
59 | Assembly, Diffuser | SAMT1496-50 |  | 10 | 10 | 10 | REDACTED 1.153 | REDACTED 1.216 | 16w
60 | Assembly, Diffuser | SAMT1497-50 |  | 10 | 10 | 10 | REDACTED 1.154 | REDACTED 1.217 | 16w
61 | Darken ship switch | 40044874 |  | 10 | 10 | 10 | REDACTED 1.155 | REDACTED 1.218 | 12w
62 | 3 LED Module Floodlight | FL60N30201 |  | 4 | 4 | 4 | REDACTED 1.156 | REDACTED 1.219 | 12w
63 | 4 LED Module Floodlight | FL60N30201 |  | 4 | 4 | 4 | REDACTED 1.157 | REDACTED 1.220 | 12w
[7 empty] | TOTAL: | 93857.82

## Boat Launch
Line Item | Description | Supplier Reference | NSN or NS Cat. Number | EOQ | MOQ | MOD Required Qty | Unit Cost (£) Single item | Total Cost VAT Ex (£) | Procurement Lead Time (from order placement)
1 | PERMISSION TO LAUNCH BOATS BRIDGE CONTROL CONSOLE | MT1503 | P811 2090-99-427-4239 | 1 | 1 | 1 | REDACTED 1.221 | REDACTED 1.232 | 20w
2 | Control Module | EA-MT1531 | P811 2090-99-755-7807 | 1 | 1 | 7 | REDACTED 1.222 | REDACTED 1.233 | 20w
3 | Dimmer Module | EA-MT1485 | P810 6210-99-509-8166 | 1 | 1 | 3 | REDACTED 1.223 | REDACTED 1.234 | 20w
4 | BOAT BAY STOP/GO INDICATION PANEL | MT1492 | P811 5895-99-190-7913 | 1 | 1 | 5 | REDACTED 1.224 | REDACTED 1.235 | 20w
5 | LED Red/Orange Star | EC2628 | P810 6240-12-397-8784 | 10 | 1 | 11 | REDACTED 1.225 | REDACTED 1.236 | 6w
6 | LED Green Star | EC2629 | P810 6240-12-397-8849 | 10 | 1 | 11 | REDACTED 1.226 | REDACTED 1.237 | 6w
7 | BOAT BAY STOP/GO CONTROL PANEL | MT1490 | P811 6110-99-154-7385 | 1 | 1 | 6 | REDACTED 1.227 | REDACTED 1.238 | 20w
8 | LED White 24V NVG | SAMT1557 |  | 10 | 10 | 35 | REDACTED 1.228 | REDACTED 1.239 | 16w
9 | Sounder 10700075 | GP3568 | P810 6350-12-364-9985 | 10 | 1 | 12 | REDACTED 1.229 | REDACTED 1.240 | 6w
10 | ACH 15k 5W | RE15K09 | P810 5905-01-643-9931 | 10 | 1 | 26 | REDACTED 1.230 | REDACTED 1.241 | 6w
11 | Bridge/ECP Select Module | EA-MT1491 | P811 5930-99-355-5219 | 1 | 1 | 3 | REDACTED 1.231 | REDACTED 1.242 | 20w
[7 empty] | TOTAL | 25671.25