Clarifications to Bidder’s Questions:

**Allonby Bay Highly Protected Marine Area Saline Contaminant Analysis**

|  |  |  |
| --- | --- | --- |
|  | *Clarification Question* | *Response* |
| 1 | There are 1654 compounds listed in the List of chemicals for GC-MS screen.  Can you clarify please:   * will bids will be considered with part of the list, or does the list need to be complete? | Natural England will consider bids which can only partially fulfil testing for the List of chemicals for GC-MS screen. Please provide information on the chemicals you can and cannot test for in the format requested in the Request for Quotation. Please note that an error was identified in the 'OFFICIAL RFQ Annex 3 Chemicals to be screened for using GCMS' spreadsheet and as a result a new version has been issued. Please ensure that you have downloaded the new version 'OFFICIAL RFQ Annex 3 Chemicals to be screened for using GCMS V2' and base your response on this. The updated Annex 3 now lists 1066 chemicals for the GC-MS screen. |