Ribble Valley Borough Council

INVITATION TO TENDER FOR A ROOF RENEWAL AND WINDOWS REPLACEMENT PROJECT

INSTRUCTIONS AND DETAILS OF CONTRACT

Ribble Valley Borough Council

INVITATION TO TENDER FOR A ROOF RENEWAL AND WINDOWS REPLACEMENT PROJECT

SUMMARY INSTRUCTIONS AND DETAILS OF CONTRACT

| ITEM | CONTRACT DETAILS |
| --- | --- |
| Contract Description: | To re-new the slate roof covering and to replace the timber framed windows with PVCU tilt and turn. |
| Insurance Requirements: | - Public Liability of £10 million - Employers Liability of £5 million |
| Procuring Officer: | Any queries must be submitted by email to procurement@ribblevalley.gov.uk |
| Submission instructions: | - 2 Paper Copies |
| Tenders to be sent to: | - Head of Legal and Democratic Services, Council Offices, Church Walk, Clitheroe, Lancashire, BB7 2RA POSTAL ONLY Tenders submitted by facsimilie or electronic transmission will not be considered. |
| Date/time for Tender return: | Noon Friday 7th August |
| Packaging: | Tenders must be submitted in a plain sealed envelope or package which shall bear the word “TENDER” followed by the subject to which it relates and shall not bear any name or mark indicating the sender. |

Timetable

This timetable is indicative only. The Council reserves the right to change it at its discretion.

| Stage | Date(s)/time |
| --- | --- |
| Deadline for Submission of Tenders | Noon 7th August 2015 |
| Evaluation of Tenders | 10th August 2015 |
| Notification of result of evaluation | 17th August 2015 |
| Expected date of award of Contract(s) | 24th August 2015 |
| Contract commencement | To Be Agreed |

CHECKLIST FOR TENDERERS

Failure to provide all of the items in the checklist may cause your Tender to be non-compliant and not be considered.

| No | Item | Included in Tender? |
| --- | --- | --- |
|  | All information requested in Section 5 |  |
|  | Form of Tender |  |
|  | Pricing Schedule |  |
|  | Certificate of non-canvassing and non-collusion |  |
|  | Completed Questionnaire together with the relevant additional documents as requested in the various sections of the questionnaire. |  |

Schedule 6 should be completed and returned immediately to indicate your intention to tender and returned under separate cover

CONTENTS

1	BACKGROUND	7

2	CONDITIONS OF TENDER	8

3	CONTRACT DOCUMENTS	8

4	TENDER EVALUATION AND AWARD CRITERIA	9

5	INFORMATION REQUIRED

6	CLARIFICATION MEETINGS, SITE VISITS AND INTERVIEWS	15

7	FREEDOM OF INFORMATION ACT AND ENVIRONMENTAL INFORMATION STATEMENT	15

Schedules

1	SPECIFICATION

2	PART 1 - CONTRACT PARTICULARS

PART 2 - STANDARD TERMS AND CONDITIONS

PART 3 - SPECIAL TERMS AND CONDITIONS

3	FORM OF TENDER

4	CERTIFICATE OF NON-COLLUSION AND NON-CANVASSING

5	ORGANISATION QUESTIONNAIRE

6	PRE CONSTRUCTION HEALTH & SAFETY INFORMATION

IMPORTANT NOTICE

This Invitation to Tender (“ITT”) is issued to those wishing to tender (“Tenderers”) to Ribble Valley Borough Council (the “Council”) To re-new the slate roof covering and to replace the timber framed windows with PVCU tilt and turn.

The contents of this ITT and of any other documentation sent to you in respect of this tender process, are provided on the basis that they remain the property of the Council and must be treated as confidential.  If you are unable or unwilling to comply with this requirement you are required to destroy this ITT and all associated documents immediately and not to retain any electronic or paper copies.

- No Tenderer will undertake any publicity activities with any part of the media in relation to the Contract or this ITT process without the prior written agreement of the Council, including agreement on the format and content of any publicity.

This ITT is made available in good faith.  No warranty is given as to the accuracy or completeness of the information contained in it and any liability or any inaccuracy or incompleteness is therefore expressly disclaimed by the Council and its advisers.

The Council reserves the right to cancel the tender process at any point. The Council is not liable for any costs resulting from any cancellation of this tender process nor for any other costs incurred by those tendering for this Contract.

You are deemed to understand fully the processes that the Council is required to follow under relevant European and UK legislation, particularly in relation to The Public Contracts Regulations 2006.

1.	BACKGROUND

Ribble Valley is located in the county of Lancashire bordering neighbouring district councils in East Lancashire on three sides and Craven District Council in North Yorkshire to the east. The administrative centre for the district is the historic market town of Clitheroe.  The industrial and commercial centre for the west of the borough is the town of Longridge.  The remaining area is rural with smaller dispersed settlements, some accessible along the A59 corridor and others more remote from services and public transport.  Two thirds of Ribble Valley is designated as part of the Forest of Bowland Area of Outstanding Natural Beauty.

According to the 2013 ONS mid-year population estimate the population of the district is 57,858 of whom approximately 25 per cent live in the town of Clitheroe.  Ribble Valley has the largest geographical area within Lancashire, covering 226 square miles, but the smallest population.

Further details of the Council’s needs under the Contract and other relevant information is provided in the Specification at Schedule 1.

If you have any questions or require any clarifications, please email the address shown below:

procurement@ribblevalley.gov.uk

Other than the person or persons identified above, no Council employee or member of the Council has the authority to give any information or make any representation (express or implied) in relation to this ITT or any other matter relating to the Contract.

Please note that the Council’s responses to any queries or clarification requests may, at the Council’s discretion, be circulated to all Tenderers.

The Council reserves the right to issue supplementary documentation at any time during the tendering process to clarify any issue or amend any aspect of the ITT.  All such further documentation that may be issued shall be deemed to form part of the ITT and shall supplement and/or supersede any part of the ITT to the extent indicated.

Tenderers must obtain for themselves at their own expense all information necessary for the preparation of their Tenders.

Under the Contract the Council will require compliance with its policies. Tenderers are advised to satisfy themselves that they understand all of the requirements of the Contract before submitting their Tender.

The Tender must be received in accordance with the relevant instructions no later than the time and date indicated.

2.	CONDITIONS OF TENDER

- ALL TENDERS

- 2.1	Tenders must be completed in the English language or a full English translation provided at no cost to the Council.

- 2.2	Tenders must provide responses referring back to the numbering format as set out in section 5 of this ITT.

- 2.3	Only one Tender is permitted from each Tenderer. In the event that more than one is submitted by a Tenderer the one with the latest time of submission will be evaluated and the other(s) disregarded.

- 2.4	The Tender (including price) should remain valid for a minimum period of 90 days.

- 2.5	The Tender should not be qualified in any way.

- 2.6	Any signatures must be made by a person who is authorised to commit the Tenderer to the Contract.

- 2.7	Your full registered business/name and main office address must also be provided on all documents.

- 2.8	Abnormally Low Tenders

Where the pricing of a Tender is abnormally low the Council reserves the right to reject the Tender in accordance with the requirements for further investigation under The Public Contracts Regulations 2015.

3.	CONTRACT DOCUMENTS

- 3.1	Any resulting Contract will consist of the Contract Particulars, the Standard Terms and Conditions and any Special Terms and Conditions (all as set out in Schedule 2) and will be subject to English law.

- 3.2	This procurement complies with EU procurement rules and the Council cannot enter into any negotiations on the Tender or Contract.

- 3.3	Any contract award will be conditional on the Contract being approved in accordance with the Council’s internal procedures and the Council being generally able to proceed and will allow the statutory standstill period of a minimum of 10 calendar days to elapse before sending confirmation of contract award to the successful Tenderer.

4.	TENDER EVALUATION AND AWARD CRITERIA

- 4.1	The Council does not undertake to accept the lowest or any Tender and reserves the right to accept the whole or any part of any Tender submitted.

- 4.2	Each Tender will be checked initially for compliance with all requirements of the ITT.

- 4.3	Tenders will be evaluated against the award criteria set out below.

- 4.4	During the evaluation period, the Council reserves the right to seek clarification in writing from the Tenderers, to assist it in its consideration of their Tenders.

- 4.5	The Council may decide to interview Tenderers, to assist its tendering process, and Tenderers will be notified in due course.

- 4.6	Tenders will be evaluated to determine the most economically advantageous  	 Tender with the following weighting:

- Price and quality of the schedule             35%

- Relevant experience and track record      25%

- Technical ability and suitability                20%

- Timescales and availability                      20%

With each aspect will be scored on a scale of 1 – 5.

Score 1 - No information provided.

Score 2 - Lack of detail, reviewer has to make assumptions.

Score 3 - A reasonable level of details, but some key information lacking.

Score 4 - Meets requirements with minor shortfalls.

Score 5 - A comprehensive response which meets all requirements and offers additional benefit.

- 5.1	Corporate Requirements

The Council has a statutory requirement to ensure compliance with a number of corporate considerations when providing its services. The Council is delivering its services when a contractor is delivering services on behalf of the Council. It is therefore incumbent upon the Council to ensure that these statutory requirements are carried out by any contractor that is working for the Council. Consequently, the Council is looking for a commitment within Tenders to assisting the Council in the following duties. The Council does not consider that these requirements will be onerous and so pricing should not be affected in complying with any of these obligations but if a Tenderer believes there is a pricing impact, the impact of complying with these obligations should be clearly identified in their Pricing Schedule.

- 5.2.1	INSURANCE

- Note to organisation:

- This section will be evaluated on a pass/fail basis.

- Please confirm details of all insurance cover currently in place, should you be required to increase your insurance levels to provide adequate cover, confirm this is acceptable.

| Insurance |  |
| --- | --- |
| Please provide confirmation that you have or, if successful, will buy the following minimum levels of insurance: - Public liability £10 million - Employers liability £5 million |  |

- 5.2.2	FINANCIAL INFORMATION

- Notes to organisation:

- This section will be evaluated on a pass/fail basis. Organisations will need to demonstrate the financial stability required to deliver the contract.

- We may seek evidence relating to the questions below, if required and we reserve the right to use the services of an independent party to access your financial standing/appraisal.

| Financial Information |  |  |  |
| --- | --- | --- | --- |
| What was your turnover in the last two years (if this applies)? | £ ……..……… for year ended __ / __ / ____ | £ ……..……… for year ended __ / __ / ____ |  |
| Has your organisation met the terms of its banking facilities and loan agreements (if any) during the past year? |  | Yes / No |  |
| If “No” what were the reasons, and what has been done to put things right? |  |  |  |
| Has your organisation met all its obligations to pay its creditors and staff during the past year? |  | Yes / No |  |
| If “No” please explain why not: |  |  |  |
| What is the name and branch of your bankers who could provide a reference? |  | Name |  |
|  |  | Branch |  |
|  |  | Contact details |  |
| If asked, would you be able to provide at least one of the following? |  |  |  |
| A copy of your most recent audited accounts (for the last two years if this applies) |  | Yes / No |  |
| A statement of your turnover, profit & loss account and cash flow for the most recent year of trading |  | Yes / No |  |
| A statement of your cash flow forecast for the current year and a bank letter outlining the current cash and credit position |  | Yes / No |  |

- 5.2.3	HEALTH AND SAFETY

- The aim of the Health and Safety Questionnaire is to collect sufficient information about your organisation’s management system with respect to health and safety.  This will help us to make a well-informed, qualitative assessment about your organisations performance.  Areas to be assessed include your Corporate Health and Safety Policy and supporting policies and procedures, Risk Control Systems and Workplace Precautions, all of which provide an indication of the Health and Safety Culture within your organisation.

| Health & Safety |  |  |  |  |
| --- | --- | --- | --- | --- |
| Does your organisation have a written Health and Safety Policy? |  | Yes / No |  |  |
| Does your organisation implement a Health and safety management System? (“System” means processes and procedures to ensure that the subject is properly managed. This includes making sure that legal requirements are met) |  | Yes / No |  |  |
| If “No”, to either of the above please explain why: |  |  |  |  |
| Responsibility & Structure |  |  |  |  |
| Please state the name and position of the person with overall responsibility for health and safety in your organisation. as required by Regulation 7 of the Management of Health & Safety Work Regulations 1999, together with details of experience and any relevant qualifications. | Name |  |  |  |
|  | Position in Organisation |  |  |  |
|  | Experience |  |  |  |
|  | Qualifications |  |  |  |
| Please state the name and position of the person (if different to above) appointed to provide health and safety advice as required by Regulation 7 of the Management of Health & Safety Work Regulations 1999, together with details of experience and any relevant qualifications. | Name |  |  |  |
|  | Position |  |  |  |
|  | Name of Organisation |  |  |  |
|  | Experience |  |  |  |
|  | Qualifications |  |  |  |
| How many persons does your organisation normally employ (include all types and grades in both totals)? | Directly employed by the organisation? |  |  |  |
|  | Frequently employed labour only sub-contractors, agency staff, consultants or similar |  |  |  |
| Does your organisation (not individuals within it) have current membership of any trade associations, safety organisations, registration with or accreditation by any accrediting bodies or similar? |  |  |  | Yes / No |
| If the answer is yes, please provide details, using full names of associations, bodies etc. Please do not use abbreviations. |  |  |  |  |
| POLICIES AND PROCEDURES |  |  |  |  |
| Does your organisation have a procedure for the reporting, recording and investigation of accidents and incidents? |  |  |  | Yes / No |
| If the answer is yes, please state the number of accidents reported in the last 2 years and confirm copy of procedure is enclosed. | Number of accidents reported in last 2 years |  |  |  |
|  | Please confirm copy of procedure is enclosed. |  |  | Yes / No |
|  | Please provide details of all accidents reported under the Reporting of Injuries, Diseases and Dangerous Occurrences Regulations 1995 (RIDDOR) in the last 5 years. |  |  |  |
| During the last five years, has the organisation been subject to formal enforcement (e.g. Prosecution, Prohibition Notice or Improvement Notice) for contravention of the Health and Safety at Work etc Act 1974, or equivalent legislation arising from the conduct of your activities? |  |  |  | Yes / No |
| If the answer is yes, please provide full details. |  |  |  |  |
| Is your organisation fully conversant with the roles and responsibilities of Principal Contractors under the Construction (Design and Management) Regulations 2015? |  |  |  | Yes / No |
| Does your organisation have Risk Assessments and Safe Working Procedures (for Work at Height, Protecting the Public, Transport on Site, Manual Handling, COSHH etc) as required by the Management of Health and Safety at Work Regulations 1999 and associated legislation? |  |  | Yes / No |  |
| If the answer is yes, please supply a copy of a procedure and a copy of an assessment undertaken within the last 6 months appropriate to this contract and explain how these are communicated throughout your organisation. |  |  |  |  |
| Please confirm a Safe Working Procedure is enclosed |  |  | Yes / No |  |
| Please confirm a risk assessment is enclosed, if appropriate |  |  | Yes / No |  |
| Do you supply suitable personal protective equipment to your employees free of charge? |  |  | Yes / No |  |
| If the answer is yes, please provide details of what equipment is supplied. |  |  |  |  |
| If the answer is yes, please provide details of how the equipment is inspected and maintained, e.g. the procedure and frequency for inspecting ladders, harnesses, work platforms, delivery vehicles and lifting equipment etc. If equipment is to be hired, please advise how the equipment is inspected/checked before it is used. |  |  |  |  |
| Does your organisation have a health and safety training programme for your employees to ensure that they are competent to carry out their duties safely, including driving, whilst employed on this contract? |  |  | Yes / No |  |
| If the answer is yes, please enclose details of training courses undertaken by staff, a copy of any relevant certification and the course objectives. |  |  | Please confirm details of training courses, copy of relevant certification and course objectives are enclosed. Yes / No |  |
| Does your organisation have a Health and Safety Committee? |  |  | Yes / No |  |
| If the answer is yes, are safety representatives involved? |  |  | Yes / No |  |
| Where appropriate, does your organisation undertake health surveillance of employees? |  |  | Yes / No |  |
| If the answer is yes, please provide details. |  |  |  |  |
| If your organisation uses agency staff or sub-contractors, do you have a system in place for assessing their competence? |  |  | Yes / No |  |
| If the answer is yes, please provide full details. |  |  |  |  |
| Do you agree to ensure that all your employees will comply with all current and relevant health and safety legislation and guidance, as well as any instructions from the Council’s Supervising Officers/Safety Advisor, whilst your organisation undertakes any work on behalf of the Council? |  |  | Yes / No |  |
| Please confirm that you have enclosed a copy of your signed and dated General Health and Safety Policy Statement. |  |  |  |  |
| Name of Person completing this form |  |  |  |  |
| Position in Organisation |  |  |  |  |
| Date |  |  |  |  |
| Signature |  |  |  |  |

5.2.4	ENVIRONMENTAL ISSUES

| Environmental |  |
| --- | --- |
| The Council is committed to the protection of the environment and the promotion of sustainable environmental development. Tenderers should note the various obligations contained within the Contract which will ensure that the successful Tenderer will provide the Contract in a non-detrimental manner to the environment. |  |
| Would you be willing to work with the Council regarding any environmental issues the Council considers relevant, comply with contractual obligations and carry out any reasonable requests to ensure the protection of the environment and promotion of sustainable development throughout the Contract Period. | Yes / No |

6.	CLARIFICATION MEETINGS, SITE VISITS AND INTERVIEWS

The Council reserves the right to hold clarification meetings as it considers appropriate both before and after Tender submission.

7.	FREEDOM OF INFORMATION ACT AND ENVIRONMENTAL INFORMATION STATEMENT

- 7.1	The Council is subject to The Freedom of Information Act 2000 (“Act”) and The Environmental Information Regulations 2004 (“EIR”).

- 7.2	As part of the Council’s duties under the Act or EIR, it may be required to disclose information concerning the procurement process or the Contract to anyone who makes a reasonable request.

- 7.3	If Tenderers consider that any of the information provided in their Tender is commercially sensitive (meaning it could reasonably cause prejudice to the organisation if disclosed to a third party) then it should be clearly marked as "Not for disclosure to third parties” together with valid reasons in support of the information being exempt from disclosure under the Act and the EIR.

- 7.4	The Council will endeavour to consult with Tenderers and have regard to comments and any objections before it releases any information to a third party under the Act or the EIR. However, the Council shall be entitled to determine in its absolute discretion whether any information is exempt from the Act and/or the EIR, or is to be disclosed in response to a request of information.  The Council must make its decision on disclosure in accordance with the provisions of the Act or the EIR and can only withhold information if it is covered by an exemption from disclosure under the Act or the EIR.

- 7.5	The Council will not be held liable for any loss or prejudice caused by the disclosure of information that:

- 7.5.1	has not been clearly marked as "Not for disclosure to third parties" with supporting reasons (referring to the relevant category of exemption under the Act or EIR where possible); or

- 7.5.2	does not fall into a category of information that is exempt from disclosure under the Act or EIR (for example, a trade secret or would be likely to prejudice the commercial interests of any person); and

- 7.5.3	In cases where there is no absolute statutory duty to withhold information, then notwithstanding the previous clauses, in circumstances where it is in the public interest to disclose any such information.

# Specification

Re-roofing and Window Replacement Scheme

## At

Council Offices, Church Walk, Clitheroe, Lancashire,BB7 2RA

For

Ribble Valley Borough Council

DIRECTOR OF COMMUNITY SERVICES

Ribble Valley Borough Council

Council Offices, Church Walk, Clitheroe, BB7 2RA

|  | Council Offices Re-roofing / Windows Scheme |  |  | £ | p |
| --- | --- | --- | --- | --- | --- |
|  | ## PRELIMINAIRES AND OVERHEADS Contractor to price where deemed necessary. ## SITE DETAILS |  |  |  |  |
|  | ALL DIMENSIONS OF ROOF AREAS, WINDOWS AND ROOFLIGHTS ARE TO BE CHECKED ONSITE BY THE CONTRACTOR PRIOR TO TENDERING. However it is estimated that the approximate areas are as follow: Total Roof Area = 1093m2 Total Area of gables slate hung = 200m2 Total lead cladding / flat roof area = 70m2 Box valley gutters, valleys and flashings to be determined by contractor. |  |  |  |  |
|  | ## TRADE PREAMBLES |  |  |  |  |
|  | All works shall be carried out in accordance with the standard specification for JCT Minor Works Building Contract 2011 (MW 2011) shall comply in all respects with British Standards, Building Regulations and Codes of Practice. All existing facilities above and below ground shall be protected and maintained free of damage. All access roadways and pedestrian access must remain open to traffic unless otherwise permitted. |  |  |  |  |
|  | ## HEALTH AND SAFETY All works shall be carried out in strict conformance with all relevant statutes and Health and Safety Legislation. In the case of Health and Safety matters and the Standard Specification referred to above, any reference to a Code of Practice British Standard or Health and Safety Guidance notes shall be the current issue; as amended. The Contractor shall use every available precaution to provide for the safety of the property users, visitors to the site, passing pedestrians, car park users and all connected with the work under the specification. Fire exits and entrances to be kept clear at all times. If successful in this tender the Contract Administrator will provide the pre-construction health and safety information for development and will require method statements and risk assessments for review and feedback seven days prior to the start on site date for both the scaffolding construction and the main works Any liquidated damages will be outlined in the JCT Minor works contract. The Clients assessment of the tenders received will include time, cost and quality. |  |  |  |  |
|  | GENERAL Allow for the provision of all access facilities and complete protection to the works and premises. Use of clients power supply will be made available where possible. Barricades shall be erected to fence off all construction areas from operations personnel. The contractor will be allocated an area of Railway View Car Park as outlined in drawing CLOFF/RVBC/001 for a compound for the duration of the project. The minimum size of the space will be the equivalent of 12 no. car parking spaces. There are presently two options for the location. The preferred is Option 2, but subject to 3rd party agreements. Provide adequate protection for curbs, footpaths or roads over which trucks and equipment pass to reach job site. If any damage occurs the contractor is responsible for repairs. The contractor shall apply for and secure all incidental permits, governmental fees and licenses necessary for proper execution and completion of the work. The contractor shall give all notices and comply with all laws, ordinances, rules, regulations and orders of any public authority bearing on the performance of the work. If the contractor performs any work knowing it to be contrary to such laws, ordinances, rules and regulations, without providing notice to building owner’s representative, Contractor shall assume full responsibility and shall bear all costs. |  |  |  |  |
|  | Dimensions in the construction documents are approximate and are used to describe the scope of work. The contractor shall measure all roof, window, rooflight, and lead areas prior to tendering in order to verify the dimensions to order adequate material quantities to complete the work specified in these documents. Technical information on the proposed roof slates, windows, rooflight, and lead should be provided along with the tender documents. |  |  |  |  |
|  | Any discrepancies found by the contractor during the tender process must be submitted in writing to the owner’s representative. Commencement of the project is notice to the owner that the contractor has verified all site dimensions and material quantities to complete the project. |  |  |  |  |
|  | REMOVAL OF DEBRIS AND RECYCLING All builders waste debris shall be removed from site on a daily basis and the site kept tidy at all times. Contractor will be expected to sort and recycle materials and report to the client on a regular basis in relation to % recycled and the various materials. |  |  |  |  |
|  | ## INSURANCE The contractor shall hold insurance cover for injury to persons or damage to the property for not less than £5,000,000. Before starting work on site the contractor must submit documentary evidence of policies and all works should be carried out in accordance with the specification for JCT Minor Works Building Contract 2011 (MW 2011). The contractor must indemnify the Council against any 3rd party claims made. PROTECTION OF THE STRUCTURE AND FABRIC The contractor should take care to not damage any item fixed to the roof or walls including rain water pipes, ventilation grills, CCTV cameras, TV aerials, Radio aerials etc. It should be noted that a signed photographic schedule will be produced prior to works commencing, and will be signed by the contractor. The contractor will be expected to protect the structure and fabric throughout the scheme. |  |  |  |  |
|  | SITE RULES The contractor will be expected to work in a professional manner at all times and should note that the building is an occupied workplace. As such no radios will be permitted for the duration of the project. |  |  |  |  |
|  | MOBILE TELEPHONE MASTS Contractor to note that the flag pole adjacent to the roof contains a mast and to liaise with the mobile telephone operator in order to organise any ‘outages’ necessary to safely complete the works. O2, cellsite ID No. 4 34233, NRG E374340N441971 tel. 01753564633. |  |  |  |  |
|  | WILDLIFE Contractor to review bat survey prior to work commencing and take care to avoid damaging the 6 no. bird boxes on the rear elevation. |  |  |  |  |
|  | ## TIMESCALES Contractors are to provide a detailed project programme outlining their approach to the scheme. This is to clearly show how the contractor plans to minimise the impact of the work on the offices, including phased elements and out of hours working. Delivery time on slates. |  |  |  |  |
|  | CONTRACT It is the clients expectation to put in place a JCT minor works contract. The contractor will need to sign and return this before the work on site can commence. |  |  |  |  |
|  | ## PAYMENTS It is the clients expectation that at least one and possibly two interim payments will be made. |  |  |  |  |
|  | ## PRACTICAL COMPLETION AND HANDOVER ## Where phased hand over is proposed, interim sign off and payments will be agreed in advance. Operation and maintenance files will be required from the contractor within a 6-month period following practical completion. |  |  |  |  |
|  | DEFECTS RECTIFICATION PERIOD The defects rectification period will be 12 months from the completion of the final phase. |  |  |  |  |
|  | CONTRACTOR MOBILIZATION Arrange for delivery and erection and removal of scaffolding. Scaffolding to be erected in accordance with NASC guidelines and standards and Health and Safety Working at height regulations. | 1 | Item |  |  |
|  | Supply, erect and remove all security fencing around site and site compound along with all necessary H&S signage. | 1 | Item |  |  |
|  | Arrange for delivery of adequate welfare facilities, all site cabins, conveniences and materials. | 1 | Item |  |  |
|  | Arrange for delivery and removal of skips as and when required. Number to be calculated by contractor. | 1 | Item |  |  |

|  | THE SCHEDULE BUILDING WORKS |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Carefully remove all existing roof slates, ridge tiles and carefully store for later re-use. Taking care to lift the nails from the battens through the slates and not levering the slate and risking damage to them. Store slates stacked on edge on battens or in wooden crates. Do not stack slates flat or crates more than two high. Ensure that crates are on an even firm base and keep clean. Dispose of all damaged slates as instructed by contract administrator. | 1093 | M2 |  |  |
|  | Carefully remove existing ridge tiles and carefully store for later re-use. | 59 | Lin M |  |  |
|  | Carefully remove existing wall hung slates. | 200 | M2 |  |  |
|  | Remove existing battens and existing felt and dispose off site as appropriate. | 1 | Item |  |  |
|  | Carefully remove existing lead flat roof areas and vertical cladding. Remove all wood core roles, building paper and ply boards and store for re-use. | 1 | Item |  |  |
|  | Carefully disconnect the surface mounted metal box gutter above reception roof and remove for storage. | 1 | Item |  |  |
|  | Carefully remove surface mounted lead open top gutters from existing roof covering and remove for storage. | 4 | No |  |  |
|  | Supply and fit new Dupont Tyvek Supro or similar approved breathable roofing membrane fitted to manufacturers instructions. Vapour permeable membrane be laid horizontally and secured with non-ferrous felt nails or staples at max 600c/cs horizontally and max 300mm vertically. Min overlap to be 150mm. | 1093 | M2 |  |  |
|  | Carefully remove existing roof lights and dispose of off site. | 12 | No |  |  |
|  | Supply and install new Velux roof lights or similar approved to manufacturers instructions. Include for automatic opening and blinds and for electricity supply, connection and 1 remote control per window. Include for flashing kits, making good etc. Rooflights are as indicated with a ‘V’ on the enclosed plans / elevations. | 12 | No |  |  |
|  | 4No 780 w x 978 h (assumed) 8No 1340 w x 1398 h (assumed) |  |  |  |  |
|  | Supply and Fit new 25mm wide x 50mm wide SR timber gold or similar approved soft wood battens graded to BS 55534: 2003 + A1 2010. Fixed to comply with the relevant parts of BS 1202. | Item |  |  |  |
|  | Replace all lead verges, valleys and box gutters with pressed code 5 lead, 2.24mm thick, colour code red. | Item |  |  |  |
|  | Carefully reinstate 75% of ridge tiles with a mortar, mix with a ratio of one part hydrated lime to one part Portland cement to six parts sand and point all joints. All work to meet BS EN 998-2 and BS 5628 Part 3. | 44 | Lin M |  |  |
|  | Supply and lay 25% of new ridge tiles to match existing. Use a mortar mix with a ratio of one part hydrated lime to one part Portland cement to six parts sand and point all joints. All work to meet BS EN 998-2 and BS 5628 Part 3. | 15 | Lin M |  |  |
|  | Carefully hack out and replace all cloaking verge / mortar fillets with a new mortar, mix with a ratio of one part hydrated lime to one part Portland cement to six parts sand. All work to meet BS EN 998-2 and BS 5628 Part 3. | 1 | Item |  |  |
|  | Supply and install new 18mm thick ply deck to WBP BS EN 636-3. Supply and install building paper to meet BS 1521 – Class A. Supply and install new wood core rolls shaped dims 45mm by 45mm, 25mm wide 1600mm long to match existing. Supply and fit new code 5 lead to flat roofs and vertical cladding , the width of the flat roofs bays are to match the existing in pressed code 5 lead, 2.24mm thick and colour code red. Include for 40mm splash lap over wood-cored rolls. Also include for 50mm air gap for lead roof and 25mm for vertical cladding at the top and bottom of each sheet. Include for stainless steel clips conforming to BS EN 1172 50mm wide and no less than 0.375mm thick fixed at laps and edges. For vertical cladding, include for welt from overcloak to undercloak between sheets. Nails to be large headed stainless steel conforming to BS EN 14592:2012. | 54 | M2 |  |  |
|  | Refix 60% of previously removed slates to roof slopes secure to new battens with copper nails to BS1202-3 with a head diameter of a minimum of 10mm. Headlap to match existing. Ensure nails hold the slates firmly without being driven down hard onto the slate. Ensure the nail head nestles into the spalled hole and does not project. Store crates on an even firm base and keep clean. | 656 | M2 |  |  |
|  | Supply and install 40% reclaimed Natural Welsh Slates including slates and a half. Sizes to match existing aprox. 560mm long by 7mm thick slates with a random but minimum width of 300mm. Slates to be installed to meet BSEN 12326-1 and BS 5534. Secure with copper nails to BS1202-3 with a shank and head diameter of a minimum of 10mm. Headlap to match existing. Ensure nails hold the slates firmly without being driven down hard onto the slate. Ensure the nail head nestles into the spalled hole and does not project. Store crates on an even firm base and keep clean. Where the roof slopes meet verges, roof lights, vents etc carefully cut slates to size. | 437 | M2 |  |  |
|  | In the event that a number of the reclaimed slates are not required a charge should be included for restocking and carriage. | 1 | Item |  |  |
|  | Re-connect surface mounted metal box gutter above reception roof. | 1 | Item |  |  |
|  | Carefully reinstate surface mounted lead open top gutters to new roof covering. | 1 | Item |  |  |
|  | Remove and replace existing timber / UPVC windows and supply and fit new Veka Matrix FS 70mm UPVC double glazed tilt and turn windows or similar approved. Windows to have a white internal finish and Rosewood wood grain effect external ‘wrap’ to match existing. Glass to be toughened and to meet BS 5713 and kite marked accordingly. Window frames to exclude trickle vents but to include for integrated internal cream colour blinds operated via a surface mounted steel control nob on the internal face. Windows to have at eight in line espagnolette latch points to secure the window fully and prevent draughts. Windows to have white handles and hinge covers. Contractor to ensure that all windows can be operated by the use of a single key, of which 8 copies should be provided to the contract administrator. Contractor to include for all necessary making good works internally including patch plastering / silicone sealing, redecorating etc. Windows are as indicated with a ‘W’ on the enclosed plans and elevations. All External work to be carried out from outside. | 69 | Number |  |  |
|  | Provisional Item (At the discretion of the Contract Administrator) Link Corridor Roof |  |  |  |  |
|  | Supply and install scaffolding to link corridor marked as in green on enclosed plan CLOFF/RVBC/001 and remove upon completion. | 1 | Item |  |  |
|  | Carefully strip lead from roof covering. | 33 | M2 |  |  |
|  | Either: |  |  |  |  |
|  | Supply and install new ply deck to WBP BS EN 636-3. Supply and install building paper to meet BS 1521 – Class A. Supply and install new wood core rolls shaped dims 45mm by 45mm, 25mm wide at base, as required. Replace roof covering with pressed lead code 5 in accordance with LSA guidance and BS EN 12588: 2006. | 33 | M2 |  |  |
|  | Or: |  |  |  |  |
|  | Replace roof covering with Sarnafil adhered G410-ELFor similar approved PVC single layer membrane. | 33 | M2 |  |  |
|  | Contractor to insert lesser of last two items to be taken through to page total. |  |  |  |  |
|  | ### SUMMARY |  |  |  |  |
|  | Page no 1 |  |  |  |  |
|  | Page no 2 |  |  |  |  |
|  | Page no 3 |  |  |  |  |
|  | Page no 4 |  |  |  |  |
|  | Page no 5 |  |  |  |  |
|  | Page no 6 |  |  |  |  |
|  | Page no 7 |  |  |  |  |
|  | Page no 8 |  |  |  |  |

|  | Schedule Of Rates |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Supply and install new mortar fillet mix with a ratio of one part hydrated lime to one part Portland cement to six parts sand | Lin M |  |  |  |
|  | Supply and install mesh type gutter guards to match existing | Lin M |  |  |  |
|  | New lead flashing, code 5 lead | 1 Lin M | by 50mm |  |  |
|  | New lead flashing, code 5 lead | 1 Lin M | by 100mm |  |  |
|  | New lead flashing, code 5 lead | 1 Lin M | by 150mm |  |  |
|  | New lead flashing, code 5 lead | 1 Lin M | by 200mm |  |  |
|  | Strip off existing, replace lead valley gutter with code 5 lead | 1 Lin M | by 400mm wide |  |  |
|  | Strip off existing, replace lead valley gutter with code 5 lead | 1 Lin M | by 600mm |  |  |
|  | Clear blocked hopper head | Item |  |  |  |
|  | Jet blocked downpipe and clear | Item |  |  |  |
|  | Clear gutter to remove all leaves, organic matter, plants etc. |  |  |  |  |
|  | Carefully cut out and remove vertical rubber type expansion joint replace with a proprietary expansion joint with 10 year warrantee to match existing. | Lin M |  |  |  |
|  | Install plastic weep holes to existing opening and bed in mortar to perimeter. | Item |  |  |  |
|  | Supply and install new surface mounted Tuiss essential cream roller blind to existing | 1010mm by 1300mm |  |  |  |
|  | Replace glass in existing double glazed window with Pilkington 6mm Sun Cool solar reflective glass or similar approved. Aprox dimensions 510mm by 810mm. | Item |  |  |  |
|  | Silcone seal horizontal joints on external metal down pipes. | Item |  |  |  |
|  | Re-line metal box gutters with proprietary lining system. | Lin M |  |  |  |
|  | Carefully hack off render, cut joint with angle grinder, supply and install helifix masonry crack stitching system including of resin and making good. | Lin M |  |  |  |
|  | Patch textured render when missing to match existing | M2 |  |  |  |

PART 2 – STANDARD TERMS AND CONDITIONS

# RIBBLE VALLEY BOROUGH COUNCIL terms and CONDITIONS OF CONTRACT FOR THE PURCHASE OF SERVICES

Clause	Heading

PART A - OPERATIVE PROVISIONS	5

A1	DEFINITIONS	5

A2	HEADINGS	24

A3	NOTICES	25

A4	ENTIRE AGREEMENT	25

PART B - PROVISION OF SERVICES	26

B1	CONTRACT PERIOD	26

B2	PERFORMANCE

B3	CONTRACT MANAGER	26

B4	ORDERING PROCESS	26

B5	RISK IN AND TITLE TO GOODS	26

B6	WARRANTY	27

B7	CONTRACTOR’S STAFF	28

PART C - PRICE AND PAYMENT	29

C1	PRICE AND PAYMENT	29

PART D - TERMINATION AND CONSEQUENCES OF TERMINATION	29

D1	TERMINATION	29

D2	CONSEQUENCES OF TERMINATION	30

D3	DISPUTE RESOLUTION PROCEDURE	31

D4	SURVIVAL	31

PART E - INSURANCE AND LIABILITIES	32

E1	INSURANCE	32

E2	INDEMNITY AND LIABILITY	32

PART F - PROTECTION OF INFORMATION	33

F1	INTELLECTUAL PROPERTY	33

F2	CONFIDENTIALITY AND PUBLICITY	33

F3	DATA PROTECTION	34

F4	FREEDOM OF INFORMATION	34

F5	RECORD KEEPING AND MONITORING	34

PART G - STATUTORY OBLIGATIONS	35

G1	HEALTH AND SAFETY	35

G2	CORPORATE REQUIREMENTS	35

G3	LAW AND CHANGE IN LAW	35

PART H - GENERAL PROVISIONS	36

H1	CONTRACT VARIATION	36

H2	THIRD PARTY RIGHTS	36

H3	NO WAIVER	36

H4	SEVERANCE	36

H5	ASSIGNMENT, SUB-CONTRACTING AND RESPONSIBILITY	37

H6	FORCE MAJEURE	37

H7	INDUCEMENTS	38

H8	COSTS AND EXPENSES	38

H9	NO AGENCY OR PARTNERSHIP	38

H10	NON SOLICITATION AND OFFERS OF EMPLOYMENT	38

H11	INSPECTION OF CONTRACTOR’S PREMISES	39

H12	LAW AND JURISDICTION	39

part a - operative provisions

- DEFINITIONS

The terms and expressions used in these Standard Terms and Conditions shall have the meanings set out below:

| “Authorised Officer” | the person duly appointed by the Council and notified in writing to the Contractor to act as the representative of the Council for the purpose of the Contract in the Contract Particulars or as amended from time to time and in default of such notification the Council’s head of procurement or similar responsible officer. |
| --- | --- |
| “Business Day” | any day other than a Saturday or Sunday or a public or bank holiday in England. Call outs may be on any day of the year including Saturday or Sunday or a public or bank holiday in England. |
| “Change in Law” | the coming into effect or repeal (without re-enactment or consolidation) in England of any Law, or any amendment or variation to any Law, or any judgement of a relevant court of law which changes binding precedent in England in each case after the date of this Contract. |
| “Commencement Date” | the commencement date stated in the Contract Particulars. |
| “Confidential Information” | any information which has been designated as confidential by either party in writing or that ought to be considered as confidential (however it is conveyed or on whatever media it is stored) including information which relates to the Services, the business, affairs, properties, assets, trading practices, developments, trade secrets, Intellectual Property Rights, know-how, personnel, customers and suppliers of either party, all personal data and sensitive personal data (within the meaning of the DPA). |
| “Contract” | the agreement in respect of the provision of the Services consisting of the following listed documents which shall be read as one document. In the event of ambiguity, conflict or contradictions between these documents the conflict will be resolved according to the following order of priority: 1. the Contract Particulars; 2. the Special Terms and Conditions; 3. the Standard Terms and Conditions; 4. the Tender except to the extent that any element of the Tender has been included in the Contract Particulars. |
| “Contractor” | the contractor and where applicable this shall include the contractor's employees, sub-contractors, agents, representatives, and permitted assigns and, if the contractor is a consortium or consortium leader, the consortium members. |
| “Contract Manager” | the person named in the Contract Particulars as the contract manager and any replacement from time to time in accordance with clause B3.2. |
| “Contract Particulars” | the document detailing the specific core terms agreed between the parties with regard to the Services which shall include but not be limited to the Pricing Schedule, Delivery Instructions, Commencement Date, Authorised Officer, Contract Manager, Key Personnel, Contract Period, and the Specification and relevant contract specific details of the Tender included in the document. |
| “Contract Period” | the period of the contract as stated in the Contract Particulars (and any extension in accordance with clause B1). |
| “Control” | control as defined by section 416 of the Income and Corporation Taxes Act 1988. |
| “Council” | the Council named in the Contract Particulars and where the context so admits includes any person which takes over or assumes the statutory functions or administrative responsibilities of the Council (whether in part or totally) or which is controlled by or is under common control with the Council (and the expression “control” shall mean the power to direct or cause the direction of the general management and policies of the person in question but only for so long as such control exists). |
| “DPA” | The Data Protection Act 1998. |
| “Delivery Instructions” | the instructions provided in the Contract Particulars, the Contract Specification and any other information that the Council considers appropriate to the provision of the Services. |
| “EIR” | The Environmental Information Regulations 2004. |
| “FOIA” | The Freedom of Information Act 2000. |
| “Force Majeure” | any cause materially affecting the performance by a party of its obligations under this Contract arising from any act beyond its reasonable control and affecting either party, including without limitation: acts of God, war, (subject to clause H6.3) industrial disputes, protests, fire, flood, storm, tempest, epidemic, explosion, acts of terrorism and national emergencies. |
| “Good Industry Practice” | the exercise of such degree of skill, diligence, care and foresight which would reasonably and ordinarily be expected from a skilled and experienced contractor engaged in the supply of services similar to the Services under the same or similar circumstances as those applicable to the Contract. |
| “HRA” | The Human Rights Act 1998. |
| “Intellectual Property Rights” | patents, inventions, trade marks, service marks, logos, design rights (whether registrable or otherwise), applications for any of the foregoing, copyright, database rights, domain names, trade or business names, moral rights and other similar rights or obligations whether registrable or not in any country (including but not limited to the United Kingdom) and the right to sue for passing off. |
| “Invitation to Tender” | the Council’s invitation to tender for the Contract. |
| “Key Personnel” | those persons named in the Contract Particulars as being key personnel and any replacement from time to time under clause B6.1.5. |
| “Law” | any applicable Act of Parliament, sub-ordinate legislation within the meaning of section 21(1) of the Interpretation Act 1978, exercise of the Royal Prerogative, enforceable community right within the meaning of section 2 of the European Communities Act 1972, bye-law, regulatory policy, guidance or industry code, judgement of a relevant court of law, or directives or requirements of any regulatory body of which the Contractor is bound to comply. |
| “Liabilities” | all costs, actions, demands, expenses, losses, damages, claims, proceedings, awards, fines, orders and other liabilities (including reasonable legal and other professional fees and expenses) whenever arising or brought. |
| “Order” | an order for Services to be provided where the Contract is identified in the Contract Particulars to be delivered by call off. |
| “Price” | the price of the Services as set out in the Contract Particulars. Unless otherwise stated, any reference to Price shall be regarded as being exclusive of properly chargeable VAT which shall be separately accounted for. |
| “Pricing Schedule” | the schedule from the Tender detailing the pricing as detailed in the Contract Particulars. |
| “Services” | the services described in the Specification to be supplied by the Contractor in accordance with the Contract together with all equipment required and any associated goods or personnel provided by the Contractor in relation to those services. |
| “Special Terms and Conditions” | the additional terms and conditions attached which were set out in the Invitation to Tender. |
| “Specification” | the specification included in the Contract Particulars setting out the Council's detailed requirements in relation to the Services. |
| “Standard Terms and Conditions” | the terms and conditions set out in this document. |
| “Tender” | the Contractor’s tender for the Services in response to the Council’s Invitation to Tender. |

  - Any reference to a person shall include any natural person, partnership, joint venture, body corporate, incorporated association, government, governmental agency, persons having a joint or common interest, or any other legal or commercial entity or undertakings.

  - A reference to any statute, order, regulation or similar instrument shall be construed as a reference to the statute, order, regulation or instrument as amended by any subsequent statute, order, regulation or instrument or as contained in any subsequent re-enactment.

- HEADINGS

  - The index and headings to the clauses and appendices to and schedules of this Contract are for convenience only and will not affect its construction or interpretation.

- NOTICES

  - Any notice required by this Contract to be given by either party to the other shall be in writing and shall be served personally, by fax or by sending it by registered post or recorded delivery to the appropriate address, fax number or email address notified to each other as set out in the Contract Particulars.

  - Any notice served personally will be deemed to have been served on the day of delivery, any notice sent by post will be deemed to have been served 48 hours after it was posted, any notice sent by fax will be deemed to have been served 24 hours after it was despatched and any notice sent by email before 5 p.m. will be deemed to have been served on the day of despatch and otherwise on the following day save where the deemed date of service falls on a day other than a Business Day in which case the date of service will be the following Business Day.

- ENTIRE AGREEMENT

  - The Contract constitutes the entire agreement between the parties relating to the subject matter of the Contract. The Contract supersedes all prior negotiations, representations and undertakings, whether written or oral, except that this clause A4 shall not exclude liability in respect of any fraudulent misrepresentation.

Part b - Provision of services

Contract Period

  - The Contract shall commence on the Commencement Date and subject to clause shall continue for the Contract Period.

  - If the Contract Period includes an option to extend and the Council intends to take up the option, the Contractor shall be notified in writing within the period stated in the Contract Particulars prior to the commencement of the extension.  If no such notification is issued the Contract shall automatically expire after the initial Contract Period.

- CONTRACT MANAGER

  - The Contractor shall employ a competent and authorised Contract Manager empowered to act on behalf of the Contractor for all purposes connected with the Contract.

  - The Contractor shall forthwith give notice in writing to the Council of any change in the identity, address and telephone numbers of the person appointed as Contract Manager.  The Contractor shall give maximum possible notice to the Council before changing its Contract Manager.

- ORDERING PROCESS

  - Where this Contract is identified as requiring Orders in the Contract Particulars the Contractor shall accept Orders made in writing by the Council under the provisions of this clause.

  - Except where specified Orders are required to call off the Services the Council gives no guarantees whatsoever as to when any Order will be placed during the Contract Period or under the Contract.

  - The Orders shall state the type of or part of the Services required including the Council’s requirements with regard to timescale for delivery of those Services.

  - The Contractor shall provide to the Council any contact details necessary for the provision of the out of hours call out service, in order to satisfy the 40 minute response time required and will ensure that services are in place to satisfy the demand whenever it may occur.

- RISK IN AND TITLE TO GOODS

  - Risk in any goods provided as part of the Services shall pass to the Council upon delivery without prejudice to any rights of rejection which may accrue to the Council under the Contract or otherwise.

  - Title in any goods provided as part of the Services shall pass to the Council upon delivery or earlier payment.

- WARRANTY

  - The Contractor warrants to the Council that the Services will be provided:

    - in a proper, skilful and workmanlike manner;

    - by a sufficient number of appropriately qualified, trained and experienced  personnel with a high standard of skill, care and due diligence and in accordance with Good Industry Practice;

    - in accordance with the Contract and any descriptions provided by the Contractor;

    - to the reasonable satisfaction of the Authorised Officer;

    - by Key Personnel (if any) who shall not be released from providing the Services permanently without the agreement of the Council, except by reason of sickness, maternity leave, paternity leave, termination of employment or because they have been requested to do so by the Council, or the element of the Services in respect of which the individual was engaged has been completed to the Council’s satisfaction or other extenuating circumstances explained to the Council.  Any replacements for the Key Personnel shall be subject to the agreement of the Council and such replacements shall be of at least equal status or of equivalent experience and skills to the Key Personnel being replaced and be suitable for the responsibilities of that person in relation to the Services.  The cost of effecting such replacement shall be borne by the Contractor; and

    - in a way that the Contractor takes every reasonable precaution to safeguard the Council’s and any third-party’s property entrusted to the care of the Contractor.

  - The Contractor warrants to the Council that to the extent that any goods, equipment or consumables are provided as part of the Services they will:

    - be free from defects in design, material and workmanship; and

    - be so formulated, designed, constructed, finished and packaged as to be safe and without risk to health.

  - Without prejudice to the Council’s rights to terminate under clause D1, if any of the Services supplied are not in accordance with the Contract, the Council shall be entitled to:

    - require the Contractor to provide replacement Services in accordance with the Contract as soon as reasonably practicable and in any event by 7.00am the following day; or

    - subject to clause E2 require repayment of the proportion of the Price which has been paid in respect of such Services together with payment of any additional expenditure over and above the Price reasonably incurred by the Council in obtaining replacement Services.

- CONTRACTOR’S STAFF

  - The Council reserves the right under the Contract to refuse to admit to, or to withdraw permission to remain on, any premises occupied by or on behalf of the Council:

    - any member of the Contractor’s staff; or

    - any person employed or engaged by a sub-contractor, agent or servant of the Contractor

whose admission or continued presence would be, in the reasonable opinion of the Council, undesirable.

  - When directed by the Council, the Contractor shall provide a list of the names and addresses of all persons (if any) who it is expected may require admission in connection with the Contract to any premises occupied by or on behalf of the Council, specifying the capacities in which they are concerned with the Contract and giving such other particulars as the Council may reasonably desire.

  - The Contractor’s staff, engaged within the boundaries of any of the Council’s premises, shall comply with such rules, regulations and requirements (including those relating to security arrangements) as may be in force from time to time for the conduct of personnel when at that establishment and when outside that establishment.

  - The decision of the Council as to whether any person is to be refused access to any premises occupied by or on behalf of the Council shall be final and conclusive.

  - The Contractor shall replace any of the Contractor’s staff who the Council reasonably decides have failed to carry out their duties with reasonable skill and care.  Following the removal of any of the Contractor’s staff for any reason, the Contractor shall ensure such person is replaced promptly with another person with the necessary training and skills to meet the requirements of the Services.

  - The Contractor shall bear the cost of or costs arising from any notice, instruction or decision of the Council under this clause.

part c - PRICE AND PAYMENT

- PRICE AND PAYMENT

  - The Council shall pay the Price for the Services to the Contractor.

  - The Contractor shall submit interim and final payments for the work as the scheme progresses.

  - Payment of any undisputed invoice will be made no later than thirty (30) days following the date of receipt of the invoice by the Council.

  - The Council reserves the right to withhold payment of the relevant part of the Price without payment of interest where the Contractor has either failed to provide the Services at all or has provided the Services inadequately and any invoice relating to such Services will not be paid unless or until the Services have been performed to the Council’s satisfaction.

  - The Council will be entitled but not obliged at any time or times without notice to the Contractor to set off any liability of the Council to the Contractor against any liability of the Contractor to the Council (in either case howsoever arising and whether any such liability is present or future, liquidated or unliquidated and irrespective of the currency) and may for such purpose convert or exchange any sums owing to the Contractor into any other currency or currencies in which the obligations of the Council are payable under this Contract.  The Council’s rights under this clause will be without prejudice to any other rights or remedies available to the Council under this Contract or otherwise.

  - Further details of payment, if any, are set out in the Pricing Schedule.

part d - termination AND CONSEQUENCES OF TERMINATION

- TERMINATION

  - Subject to the provisions of clause H6 (Force Majeure) the Council may terminate the Contract with immediate effect by notice in writing to the Contractor on or at any time if:

    - the Contractor becomes bankrupt, insolvent, makes any composition with its creditors, has a receiver appointed under the Mental Health Act 1983 or dies;

    - the Contractor is convicted of a criminal offence;

    - the Contractor ceases or threatens to cease to carry on its business;

    - the Contractor has a change in Control which the Council believes will have a substantial impact on the performance of the Contract;

    - there is a risk or a genuine belief that there is a risk that reputational damage to the Council will occur as a result of the Contract continuing;

    - the Contractor is in breach of any of its obligations under this Contract that is capable of remedy and which has not been remedied to the satisfaction of the Council within 14 days, or such other reasonable period as may be specified by the Council after issue of a written notice specifying the breach and requesting it to be remedied;

    - there is a material or substantial breach by the Contractor of any of its obligations under this Contract which is incapable of remedy; or

    - the Contractor commits persistent minor breaches of this Contract whether remedied or not.

  - The Council reserves the right to terminate the Contract in part in the case of termination under clauses D1.1.6, D1.1.7 and D1.1.8.

  - Where this Contract is subject to Orders as specified in the Contract Particulars the Council has the right to terminate any individual Order or Orders or the whole Contract under the provisions of this clause D1.

  - The Council reserves the right to terminate the Contract at will, in whole or in part, at any time with or without notice except that it will give as much notice as possible in the circumstances.

- CONSEQUENCES OF TERMINATION

  - If this Contract is terminated in whole or in part the Council shall:

    - only be liable to pay to the Contractor such elements of the Price, if any, that have properly accrued in accordance with the Contract or the affected part of the Contract up to the time of the termination; and/or

    - except for termination under clause D1.4, be entitled to deduct from any sum or sums which would have been due from the Council to the Contractor under this Contract or any other contract and to recover the same from the Contractor as a debt any sum in respect of any loss or damage to the Council resulting from or arising out of the termination of this Contract.  Such loss or damage shall include the reasonable cost to the Council of the time spent by its officers in terminating the Contract and in making alternative arrangements for the supply of the Services or any parts of them; and/or

    - where termination arises under clause D1.4, pay to the Contractor any reasonable, direct and quantifiable costs reasonably incurred by the Contractor due to early termination subject to the maximum liability provision in clause E1.4; and/or

    - in the event that any sum of money owed by the Contractor to the Council (the Contractor’s debt) exceeds any sum of money owed by the Council to the Contractor (the Council’s debt) under this Contract then the Council shall, at its sole discretion, be entitled to deduct the Contractor’s debt from any future Council’s debt or to recover the Contractor’s debt as a civil debt.

  - Upon the termination of the Contract for any reason, subject as otherwise provided in this Contract and to any rights or obligations which have accrued prior to termination, neither party shall have any further obligation to the other under the Contract.

- DISPUTE RESOLUTION PROCEDURE

  - If a dispute arises between the Council and the Contractor in connection with  the Contract, the parties shall each use reasonable endeavours to resolve such dispute by means of prompt discussion at an appropriate managerial level.

  - If a dispute is not resolved within fourteen (14) days of referral under clause D3.1 then either party may refer it to the Chief Executive or appropriate nominated officer of each party for resolution who shall meet for discussion within 14 days or longer period as the parties may agree.

  - Provided that both parties consent, a dispute not resolved in accordance with clauses D3.1 and D3.2, shall next be referred at the request of either party to a mediator appointed by agreement between the parties within 14 days of one party requesting mediation with the costs of mediation determined by the mediator.

  - Nothing in this clause shall preclude either party from applying at any time to the English courts for such interim or conservatory measures as may be considered appropriate.

- SURVIVAL

  - The following clauses will survive termination or expiry of the Contract: Clause B5 (Risk in and Title to the Goods), Clause D2 (Consequences of Termination), Clause F1 (Intellectual Property), Clause F2 (Confidentiality and Publicity), Clause F3 (Data Protection), Clause F4 (Freedom of Information), Clause F5 (Record Keeping and Monitoring), Clause H4 (Severance), Clause H10 (Non Solicitation and Offers of Employment) and Clause H12 (Law and Jurisdiction).

part e - insurance and liabilities

- INSURANCE

  - The Contractor shall maintain insurance necessary to cover any liability arising under the Contract as set out in the Contract Particulars.

  - The Contractor shall prior to the Commencement Date and on each anniversary of the Commencement Date and/or upon request provide evidence that all premiums relating to such insurances have been paid.

  - If the Contractor does not maintain the necessary insurances under the Contract the Council may insure against any risk in respect of the default and may charge the Contractor the cost of such insurance together with a reasonable administration charge.

- INDEMNITY AND LIABILITY

  - Neither party seeks to exclude or limit its liability for:

    - death or personal injury caused by its negligence (but will not be liable for death or personal injury caused by the other party’s negligence);

    - fraudulent misrepresentation; or

    - any other matter in respect of which, as a matter of Law, liability cannot  be excluded or limited.

  - Except as specifically provided, neither party shall in any event be liable to the other for any indirect or consequential loss (including loss of profit and pure economic loss) however caused.

  - Subject to clauses E2.1 and E2.2, the Contractor’s liability to the Council under the Contract whether in contract, tort (including negligence) or otherwise shall be limited to 125% of the proportion of the Price which is paid or payable at the time that the liability arises. For the avoidance of doubt this limitation shall not apply to the indemnity at clause E2.5

  - Subject to clauses E2.1 and E2.2, the Council’s liability to the Contractor under the Contract whether in contract, tort (including negligence) or otherwise shall be limited to 125% of the proportion of the Price which is paid or payable at the time that the liability arises.

  - The Contractor shall indemnify the Council in full without limit of liability for any direct loss of or damage to the real or personal property of the Council or any third party, including Intellectual Property Rights, or injury claimed by any third party and against all Liabilities awarded against or incurred by the Council (including legal expenses on an indemnity basis) arising from the Contractor’s negligence, any defect or fault in the Services or any act or omission of the Contractor in delivering the Services.

PART F - PROTECTION OF INFORMATION

- INTELLECTUAL PROPERTY

  - All Intellectual Property Rights in any specifications, instructions, plans, data, drawings, databases, patents, patterns, models, designs or other material:

    - provided to the Contractor by the Council shall remain the property of the Council;

    - prepared by or for the Contractor specifically for the use, or intended use, in relation to the performance of the Contract shall belong to the Council subject to any exceptions set out in the Contract Particulars.

  - The Contractor shall obtain necessary approval before using any material, in relation to the performance of the Contract which is or may be subject to any third party Intellectual Property Rights.  The Contractor shall procure that the owner of the Intellectual Property Rights grant to the Council a non-exclusive licence, or if the Contractor is itself a licensee of those rights, the Contractor shall grant to the Council an authorised sub-licence, to use, reproduce, and maintain the Intellectual Property Rights.  Such licence or sub-licence shall be non-exclusive, perpetual and irrevocable, shall include the right to sub-license, transfer, novate or assign to other Councils, the replacement Contractor or to any other third party providing services to the Council, and shall be granted at no cost to the Council.

  - It is a condition of the Contract that the Services will not infringe any Intellectual Property Rights of any third party and the Contractor shall during and after the Contract Period on written demand indemnify and keep indemnified without limitation the Council against all Liabilities which the Council may suffer or incur as a result of or in connection with any breach of this clause, except where any such claim relates to the act or omission of the Council.

  - At the termination of the Contract the Contractor shall at the request of the Council immediately return to the Council all materials, work or records held in relation to the Services, including any back-up media.

- CONFIDENTIALITY AND PUBLICITY

  - Any documents provided by the Council and information which the Contractor may acquire as a result of the Contract shall to the extent that they are not in the public domain or required to be disclosed by operation of Law remain confidential to the Council and shall not be disclosed disposed of or used for any purpose without prior written consent from the Council.

  - All Confidential Information provided by the Council to the Contractor shall be returned to the Council at the end of the Contract.

  - Without prejudice to the Council’s obligations under the FOIA or EIR, neither party shall make any press announcements or publicise the Contract or any part thereof in any way, except with the written consent of the other party (such consent not to be unreasonably withheld or delayed).

  - Both parties shall take all reasonable steps to ensure the observance of the provisions of this clause by all of their servants, employees, sub-contractors, agents, professional advisors and consultants.

- DATA PROTECTION

  - The Contractor shall (and shall procure that any of its staff involved in the provision of the Services) comply with any requirements under the DPA.

- FREEDOM OF INFORMATION

  - The Council is subject to the FOIA and the EIR (“the Acts”).  As part of the Council's duties under the Acts, it may be required to disclose information forming part of the Contract to anyone who makes a reasonable request.  The Council has absolute discretion to apply or not to apply any exemptions under the Acts.

  - The Contractor shall assist and cooperate with the Council (at the Contractor’s expense) to enable the Council to comply with the information disclosure requirements under the Acts and in so doing will comply with any timescale notified to it by the Council.

- RECORD KEEPING AND MONITORING

  - In order to assist the Council in its record keeping and monitoring requirements including auditing and National Audit Office requirements, the Contractor shall keep and maintain for six (6) years (or such longer time period required in accordance with any specific legislation) after the Contract has been completed, full and accurate records of the Contract including the Services supplied under it, all expenditure reimbursed by the Council, and all payments made by the Council.  The Contractor shall on request allow the Council or the Council’s representatives such access to (and copies of) those records as may be required by the Council in connection with the Contract.

  - The Contractor will at its own cost, provide any information that may be required by the Council to comply with the Council’s procedures for monitoring of the Contract.

part g - statutory obligations

- HEALTH AND SAFETY

  - The Contractor shall comply with all health and safety legislation in force and all health and safety policies of the Council and shall complete the Council’s “Contractor’s Health and Safety Questionnaire” before the Commencement Date.

- CORPORATE REQUIREMENTS

  - The Contractor shall comply with all obligations under the HRA.

  - The Contractor shall comply with all Council policies and rules, such as, but not limited to:

    - equality and diversity policies;

    - sustainability;

    - information security rules;

    - whistleblowing and/or confidential reporting policies; and

    - all site rules relevant to the fulfilment of the Contractor’s obligations in the performance of the Services.

  - The Contractor shall not unlawfully discriminate within the meaning and scope of any law, enactment, order, or regulation relating to discrimination (whether age, race, gender, religion, disability, sexual orientation or otherwise) in employment.

  - The Contractor shall comply with all relevant legislation relating to its staff however employed including (but not limited to) the compliance in law of the ability of the staff to work in the United Kingdom.

  - If the Contractor has a finding against it relating to its obligations under clause G2.4 it will provide the Council with:

    - details of the finding; and

    - the steps the Contractor has taken to remedy the situation.

- LAW AND CHANGE IN LAW

  - The Contractor shall comply at all times with the Law in its performance of the Contract.

  - On the occurrence of a Change in Law which has a direct effect upon the Price the parties shall meet within fourteen (14) days of the Contractor notifying the Council of the Change in Law to consult and seek to agree the effect of the Change in Law and any change in the Price as a result following the principle that this clause is not intended to create an artificial cushion from market forces for the Contractor. If the parties, within fourteen (14) days of this meeting, have not agreed the occurrence or the impact of the Change in Law, either party may refer the matter to dispute resolution in accordance with clause D3.

  - Any agreed additional sums payable as a result of the operation of clause G3.2 shall be included in the Price. For the avoidance of doubt nothing in this Contract is intended to allow the Contractor double recovery of any increase in costs.

part H - general provisions

- CONTRACT VARIATION

  - Subject to clause H1.2, no variation or modification to the Contract is valid unless it is in writing and signed by the Council and the Contractor.

  - The Council shall be entitled to issue to the Contractor in writing or, in case of urgency orally (provided the Council confirms oral instructions in writing as soon as it is practicable), variation orders requiring the addition, suspension, reduction or cessation of provision of any Services and/or the provision of emergency Services in accordance with revised Delivery Instructions. The Contractor shall charge for the impact of the variation order in accordance with the rates and prices used to calculate the Price in the Tender.

- THIRD PARTY RIGHTS

  - This Contract is enforceable by the original parties to it, by their successors in title and permitted assignees.  Any rights of any person to enforce the terms of this Contract pursuant to The Contracts (Rights of Third Parties) Act 1999 are excluded.

- NO WAIVER

  - Failure by either party at any time to enforce any one or more of the provisions of this Contract or to require performance by the other party of any of the provisions shall not constitute or be construed as a waiver of the provision or of the right at any time subsequently to enforce all terms and conditions of this Contract nor affect the validity of the Contract or any part of it or the right of the parties to enforce any provision in accordance with its terms.

  - No waiver of any of the provisions of this Contract shall be effective unless it is expressed to be a waiver in writing and communicated in accordance with clause A3.

- SEVERANCE

  - If any provision of the Contract shall become or shall be declared by any court of competent jurisdiction to be invalid or unenforceable in any way, such invalidity shall not impair or affect any other provision all of which shall remain in full force and effect.

- ASSIGNMENT, SUB-CONTRACTING AND RESPONSIBILITY

  - Subject to any express provision of this Contract, the Contractor shall not without the prior written consent of the Council, assign all or any  benefit, right or interest under this Contract or sub-contract the supply of the Services.

  - The Council shall be entitled to:

    - assign, novate or dispose of its rights and obligations under this Contract either in whole or part to any contracting authority (as defined in The Public Contracts Regulations 2015); or

    - transfer, assign or novate its rights and obligations where required by Law.

  - The Contractor shall remain responsible and liable for the acts and omissions of any other members of a consortium arrangement, sub-contractors, servant, agent and employee as though they were its own.

- FORCE MAJEURE

  - Neither party shall be liable for failure to perform its obligations under the Contract if such failure results from Force Majeure.

  - If the Council or the delivery location is affected by circumstance of Force Majeure, the Council shall be entitled to, totally or partially, suspend the date or dates for delivery of the Services until the circumstances of the Force Majeure have ceased.  The suspension shall not give rise to any claim by the Contractor against the Council nor entitle the Contractor to terminate the Contract.

  - Industrial action by, or illness or shortage of the Contractor’s staff, agents or subcontractors, failure or delay by any of the Contractor’s suppliers to supply goods, components, services or materials and breach of the Contractor’s warranties under clause B6 shall not be regarded as an event of Force Majeure.

  - If the event of Force Majeure continues for more than two (2) months either party may give written notice to the other to terminate the Contract immediately or on a set termination date.

  - If the Contract is terminated in accordance with clause H6.4 neither party will have any liability to the other except that any rights and liabilities which accrued prior to termination will continue to exist.

- INDUCEMENTS

  - The Contractor shall not offer or give, or agree to give, to any employee, agent, servant or representative of the Council any gift or consideration of any kind as an inducement or reward for doing, any act in relation to the obtaining or execution of the Contract or any other contract with the Council, or for showing or refraining from showing favour or disfavour to any person in relation to the Contract or any such contract.  The attention of the Contractor is drawn to the criminal offences under the Prevention of Corruption Acts 1889 to 1916.

  - The Contractor warrants that it has not paid commission nor agreed to pay any commission to any employee or representative of the Council by the Contractor or on the Contractor’s behalf.

  - Where the Contractor engages in conduct prohibited by clauses H7.1 and H7.2 in relation to this or any other contract with the Council, the Council has the right to:

    - terminate the Contract and recover from the Contractor the amount of any loss suffered by the Council resulting from the termination, including the cost reasonably incurred by the Council of making other arrangements for the provision of the Services and any additional expenditure incurred by the Council throughout the remainder of the Contract Period; or

    - recover in full from the Contractor any other loss sustained by the Council in consequence of any breach of this clause whether or not the Contract has been terminated.

- COSTS AND EXPENSES

  - Each of the parties will pay their own costs and expenses incurred in connection with the negotiation, preparation, execution, completion and implementation of this Contract.

- NO AGENCY OR PARTNERSHIP

  - Nothing contained in this Contract, and no action taken by the parties pursuant to this Contract, will be deemed to constitute a relationship between the parties of partnership, joint venture, principal and agent or employer and employee.  Neither party has, nor may it represent that it has, any authority to act or make any commitments on the other party’s behalf.

- NON SOLICITATION AND OFFERS OF EMPLOYMENT

  - The Contractor agrees that it will not, without the prior written consent of the Council, whether directly or indirectly, and whether alone or in conjunction with, or on behalf of, any other person and whether as a principal, shareholder, director, employee, agent, consultant, partner or otherwise during the Contract Period or for a period of 12 months following termination of this Contract:

    - solicit or entice, or endeavour to solicit or entice, away from the Council, any person directly related to the Services employed in a senior capacity in a managerial, supervisory, technical, sales or administrative capacity by, or who is or was a consultant to, the Council at the date of the termination of this Contract or at any time during the period of one month immediately preceding the date of termination;

    - attempt, or knowingly assist or procure any other person to do the above.

- INSPECTION OF CONTRACTOR’S PREMISES

  - The Contractor shall permit the Council to make any inspections or tests which may reasonably be required in respect of the Contractor’s premises in relation to the Contract.

- LAW AND JURISDICTION

  - This Contract shall be governed by the laws of England and shall be subject to the exclusive jurisdiction of the English courts.

Ribble Valley Borough Council

- Provision of a roof renewal and windows replacement project

ITT SCHEDULE 3

FORM OF TENDER

To re-new the slate roof covering and to replace the timber framed windows with PVCU tilt and turn.

FORM OF TENDER

To:	Ribble Valley Borough Council

Council Offices

Church Walk

Clitheroe

Lancashire

BB7 2RA

For the Attention of: Legal Services Manager

Date: ..........................................

Dear Sir/Madam,

TENDER FOR THE CONTRACT

I/We the undersigned, hereby tender and offer to provide the Contract as listed below which is more particularly referred to in the Invitation to Tender supplied to me/us for the purpose of tendering for the provision of the Contract and upon the terms thereof.

Attached to this Form of Tender are the following:

1.		My/our response to the issues raised in Section 5 of the ITT.

2.		The completed Pricing Schedule.

3.	A signed Certificate of Non Collusive Tendering and non-Canvassing.

I/We confirm that we accept the Contract as issued with the Invitation to Tender.

I/We undertake in the event of acceptance of our Tender to execute the Contract from the 1 April 2012 (or otherwise as agreed with the Council).

I/We understand that the Council reserves the right to accept or refuse this Tender whether it is lower, the same, or higher than any other Tender.

I/We confirm that the information supplied to you and forming part of this Tender including (for the avoidance of doubt) any information supplied to you as part of my/our initial expression of interest in tendering, was true when made and remains true and accurate in all respects.

I/We confirm that this Tender will remain valid for 90 days from the date of this Form of Tender.

I/We confirm and undertake that if any of such information becomes untrue or misleading that I/we shall notify you immediately and update such information as required.

I/We confirm that the undersigned are authorised to commit the Tenderer to the contractual obligations contained in the Invitation to Tender and the Contract.

Signed by

Name(s)…………………………………

Position………………………………….

for and on behalf of [Tenderer]

Ribble Valley Borough Council

PROVISION FOR THE ROOF RENEWAL AND WINDOW REPLACEMENT PROJECT

ITT SCHEDULE 4

COMMENCEMENT DATE – August 2015

CERTIFICATE OF NON-COLLUSION

AND NON-CANVASSING

To:	Ribble Valley Borough Council

Council Offices

Church Walk

Clitheroe

Lancashire

BB7 2RA

Date:

For the Attention of: Legal Services Manager

Statement of non-canvassing

I/we hereby certify that I/we have not canvassed any member, Director, employee, representative or adviser of the Council in connection with the proposed award of the Contract by the Council, and that no person employed by me/us or acting on my/our behalf, or advising me/us, has done any such act.

I/we further hereby undertake that I/we will not canvass any member, Director, employee, representative or adviser of the Council in connection with the award of the Contract and that no person employed by me/us or acting on my/our behalf, or advising me/us, will do any such act.

Statement of non-collusion

The essence of selective tendering for the Contract is that the Council shall receive bona fide competitive Tenders from all Tenderers.

In recognition of this principle, I/we certify that this is a bona fide offer, intended to be competitive and that I/we have not fixed or adjusted the amount of the offer in accordance with any agreement or arrangement with any other person (except any sub-contractor identified in this offer).

I/we also certify that I/we have not done, and undertake that I/we will not do, at any time any of the following acts:

communicate to a person other than the Council, the amount or approximate amount of my/our proposed offer except where the disclosure in confidence of the approximate value of the Tender was essential to obtain insurance premium quotations required for the preparation of the Tender; or

enter into any agreement or agreements with any other person that they shall refrain from tendering or as to the amount of any offer submitted by them; or

offer or agree to pay or give or actually pay or give any sum of money, inducement or valuable consideration, directly or indirectly, to any person for doing or having done or having caused to be done in relation to any other offer or proposed offer, any act or omission.

I/we agree that the Council may, in its consideration of the offer and in any subsequent actions, rely upon the statements made in this Certificate.

Signed:	……………..........................

Name:   …………………………………………..

Position:	……………..........................

For and on behalf of [Tenderer]

..................................................

Ribble Valley Borough Council

PROVISION FOR THE ROOF RENEWAL AND WINDOWS REPLACEMENT PROJECT

ITT SCHEDULE 5

ORGANISATION QUESTIONNAIRE

CONTENTS

Page

A.	ORGANISATION PROFILE 							2

B.	GROUNDS FOR EXCLUSION 							3

C.	UNDERTAKING								5

A.	ORGANISATION PROFILE

Please provide the following details:

| Business name: |  |
| --- | --- |
| Registered or trading name if different: |  |
| Type of organisation (e.g. private limited company, partnership, sole trader): |  |
| Registered address: |  |
| Correspondence address if different from the above: |  |
| Address from which the Contract will be provided if different from the above: |  |
| Name of ultimate holding or subsidiary companies including addresses and an explanation of group structure and internal relationships: |  |
| Indication of the principal areas of business activity of your organisation: |  |
| Contact name: |  |
| Contact's position: |  |
| Contact's telephone number: |  |
| Contact's fax number: |  |
| Contact’s email address: |  |
| Company/ies registration number(s): |  |
| Place of registration: |  |
| Year established: |  |
| VAT number: |  |

B.	GROUNDS FOR EXCLUSION

Please confirm the following statements or give details if you cannot confirm them.

B1.	Mandatory Grounds

CRIMINAL MATTERS

|  | Confirmed |
| --- | --- |
| Please confirm that the applicant has no convictions under the circumstances set out in regulation 57(1) of the Public Contracts Regulations 2015. | Yes If no (provide details) |

B2.	Discretionary Grounds

CONFLICT OF INTEREST

|  | Confirmed |
| --- | --- |
| Please give details of any relatives of any relevant person associated with the applicant who are in a senior position or are a councillor within the Council and confirm that there are no conflicts of interest in that respect. If none, please state “none”. |  |

INSOLVENCY INFORMATION

- Individuals, sole traders or partnerships:

- Please confirm for the business and each individual as a partner in the business that:

|  | - Confirmed |
| --- | --- |
| no bankruptcy order has been made or is being applied for; | - Yes - If no (provide details) |
| that a court is not administering the business affairs or is being requested to do so; | - Yes - If no (provide details) |
| no composition or arrangement has been entered into for the benefit of creditors or has been requested; | - Yes - If no (provide details) |
| - business activities are continuing and have not been suspended; | - Yes - If no (provide details) |
| no similar situation has arisen or is arising under any national laws of a member state. | - Yes - If no (provide details) |

- Companies or similar trading entities (e.g. Limited Liability Partnership):

- Please confirm that:

|  | - Confirmed |
| --- | --- |
| the affairs of the business have not been wound up or are subject to winding up proceedings; | - Yes If no (provide details) |
| no composition or arrangement has been entered in for the benefit of creditors or that such an arrangement has been requested; | - Yes If no (provide details) |
| business activities are continuing and have not been suspended; | - Yes If no (provide details) |
| no analogous situation has arisen or is arising under any national laws of any EU member state; | - Yes If no (provide details) |
| no offences have been committed in relation to the business. When answering this query please ensure that you consider any prosecutions under The Health and Safety at Work Act 1974, race, sex and age discrimination related legislation. | - Yes If no (provide details) |

PROFESSIONAL CONDUCT INFORMATION

Please confirm that:

|  | Confirmed |
| --- | --- |
| no offence concerning professional conduct has been committed in relation to the business. | - Yes If no (provide details) |

SOCIAL SECURITY AND TAXATION INFORMATION

Please confirm that:

|  | Confirmed |
| --- | --- |
| all social security contributions have been met; and | - Yes If no (provide details) |
| all necessary taxation payments have been made in any member state in which the business is or was liable to make social security or taxation payments. | - Yes If no (provide details) |

MISREPRESENTATIONS

Please confirm that:

|  | Confirmed |
| --- | --- |
| no serious misrepresentations have been made in supplying information on any of the matters covered by or in this questionnaire to other contracting authorities. | - Yes If no (provide details) |

C.	UNDERTAKING

When you have completed the questionnaire please ensure that:

You have answered all the questions;

You have enclosed all documents requested;

You have read and signed the undertaking below.

I certify that the information supplied regarding the Applicant is accurate to the best of my knowledge and that I accept the conditions and undertakings requested in the questionnaire.  I understand and accept that false information could result in rejection of the tender.

I also understand that it is a criminal offence, punishable by imprisonment, to give or offer any gift or consideration whatsoever as an inducement or reward to any servant of a public body.  I also understand that any such action will result in rejection of our tender and empower the Council to cancel any contract currently in force.

I understand and agree that if our tender is successful that the Applicant will purchase professional indemnity insurance as required if such insurance is not already held.

I understand and agree to the conditions set out in the Freedom of Information and Environmental Information Statement.

NB This undertaking is to be signed by a Partner, Director or authorised representative i.e. in their name on behalf of the Applicant.

Signed for and on behalf of the Applicant:

Signed:

Position/Status in the Applicant:

Applicant’s name:

Applicant’s address:

Date:

Ribble Valley Borough Council

PROVISION FOR THE ROOF RENEWAL AND WINDOWS REPLACEMENT PROJECT

ITT SCHEDULE 6

PRE CONSTRUCTION HEALTH AND SAFETY INFORMATION

| SECTION 1. |  | ## DESCRIPTION OF PROJECT |  |
| --- | --- | --- | --- |
| Project Description and Nature of works (include timescale) |  | The project involves removal and renewal of the Council offices roof finish, lead work renewal, repointing verges and re-hanging slate gables. It also involves the replacement of 69 timber framed windows with UPVC double glazed units. The project is to be completed in the summer of 2015. |  |
| LocatioN |  | ## Clitheroe Council Offices, Church Walk, Clitheroe, Lancashire |  |
| Post Code |  | BB7 2RA |  |
| Programme details including commencement and duration. |  | Start on site due August 2015. Completion due September 2015. |  |
| Client |  | Ribble Valley Borough Council |  |
| Principal Designer |  | Ribble Valley Borough Council |  |
| Existing records |  | The building was constructed in 1979 and it is our understanding that the roof covering is the original installed. |  |
| Surveys undertaken |  | Visual inspection from ground level has been carried out, and plans and elevations have been produced. |  |
| HSE F10(rev) Notification sent |  | Initial dated: 12th February 2015 |  |
| HSE Area Office |  | HSE, Redgrave Court, Merton Road Bootle, Merseyside, L20 7HS |  |
| Contact |  | (name) (tel. no) TIM LYNAS 01200 414495 |  |
| This Pre-construction information has been supplied for the determination of resources necessary to meet the health and safety requirements for the construction phase of the above project, and shall not be used as the Construction Phase Health and Safety Plan |  |  |  |
| Signed |  | Principal Designer | Date |
| ## SECTION 2 | ### CLIENT’S CONSIDERATIONS AND MANAGEMENT REQUIREMENTS |  |  |  |
| Structure and organisation | All persons working on site must be competent to carry out the duties requested of them. Any person placed in charge of the site will be conversant with all of the Principal Contractors duties under the CDM2007. HSE expect all site managers on CDM projects to have undergone the CITB 5-day Site Managers Safety Training Scheme or equivalent to be able to demonstrate competence. The Principal Contractor must be satisfied that all sub-contractors are competent prior to offering appointments. Sub-contractors must undergo a form of health and safety competence assessment relevant to the duties they are asked to perform. Contractors will be required to confirm that health and safety standards on site will be controlled and that welfare facilities will be provided, in accordance with schedule 2 of the CDM2007 regulations, prior to commencement on site. Formerly known as the Construction Health Safety and Welfare Regulations 1996. The site layout, size, parking and access/egress points, restricts vehicle access. There are parking restrictions at the site, which is surrounded on all sides by a busy public car park. The contractor must review the site plan and assess the movement of site transport. The construction phase plan must include the proposal for traffic management and deliveries to consider the heavy foot and vehicle traffic immediately outside the site. There is limited public parking available close to site. |  |  |  |
| Safety goals | The following health and safety goals are required on this project: Monitoring of accidents and near misses with a goal of zero major accidents. Minimise risk, disruption or inconvenience to the staff and public, who will require access during the works. |  |  |  |
| Permits and authorisation | The Principal Contractor must agree procedures for the control of visitors to site. Such procedures will include signing in and out of visitors to the site and arrangements for accompanying them at all times. |  |  |  |
| Emergency procedures | First aid –The principal contractor must identify those with first aid responsibilities. The nearest accident and emergency hospital is Blackburn A&E. Fire – The principal contractor must arrange fire prevention and fire-fighting equipment. This should include regular liaison regarding any temporary obstructions to means of escape, fire doors, alarms etc. And coordination with the Clients activities. The contractor is to report any incidents to Ribble Valley Borough Council representative in addition to the statutory authorities under The Reporting of Injuries, Diseases and Dangerous Occurrences Regulations 1995 (RIDDOR) as they require the 'responsible person' to notify any death, reportable injury, disease or dangerous occurrence, to the relevant enforcing authority. |  |  |  |
| Site rules | The following arrangements are required on this project: No radios are permitted or any behaviour inappropriate to areas accessed by members of the public. Regular report on progress to be provided to client to include details of incidents and near misses A Principal Contractor to be a continuous presence on site. No headphones to be used on site. All equipment brought to site must be fit for purpose and where necessary. Inspected and tested in accordance with relevant legislation. Electrical supply for tools and equipment must not be in excess of 110 Volts and should have an RCD protection. Ensure all who are likely to work on site (inc. subcontractors) are aware of the rules Ensure the Principal Designer is aware of any changes that may be required before the changes take place. No smoking onsite or abusive / foul language on any area of the site at any time. Operatives must be ‘Competent’ to carry out work for which have been engaged. Know the emergency procedure rules. Keep work areas tidy, consider other working in that area and keep them informed where necessary. Appropriate PPE and relevant procedures to be worn / followed at all times. |  |  |  |
| Liaison arrangements between parties | All unforeseen eventualities which may occur during construction and which affect previously recognised health and safety issues or resources must be reported to the Principal Designer. All design work carried out by the Principal Contractor or appointed contractors during the construction phase, to include temporary works, must be notified to the Principal Designer. Principal Designer must be informed of all new design and revised designs. Where required additional meeting will be held with the Client in attendance. The Principal Contractor is required to liaise with the Principal Designer should any specific issues be raised that have not been discussed in this information. |  |  |  |
| Security arrangements | The works are external in nature and mainly located at high level. All scaffolding is to be enclosed by herris fencing with only one access provided onto the site. Any stored materials or tools should be moved off the public footpath or highway as quickly as possible. Scaffold will provide a possible means of access to the building or opportunity for trespass. Reasonable measures to prevent access to the scaffold should be employed, e.g. any access ladder removed when unattended or at the end of each working day. |  |  |  |
| SECTION 3 | ENVIRONMENTAL RESTRICTIONS AND EXISTING ON-SITE RISKS |  |  |  |
| Boundaries and access | The site is situated at the top of the main public carpark in the centre of Clitheroe. The works will only be accessed from agreed site entrance areas. |  |  |  |
| Adjacent land uses | The majority of the surrounding land is public car park space apart from the one side, which is adjacent to a row of commercial properties. |  |  |  |
| Existing storage of hazardous materials | N/A |  |  |  |
| Location of existing services | Sufficient space for toilet and welfare facilities will be made available on the Railway View Car Park adjacent to the Council Offices and owned by Ribble Valley Borough Council. The contractor will be responsible for ensuring that the facilities meet the requirements of the CDM Regulations 2007. There are plenty of local facilities to obtain hot food and drinks. The contractor must otherwise outline in their Construction Phase Plan how they will meet the requirements for construction site welfare, i.e. drying facilities, drinking water, and rest facilities. Suitable facilities must be provided from the commencement of the project, reflecting the numbers on site and the nature of the work being undertaken. The Construction Phase Plan must adequately describe how these facilities will be maintained. Electricity may be available in the form of 240VAC supply. Connection must be negotiated via the Client and contract administrator. All tools will be required to be 110VAC CTE or battery powered, particularly where used outside. Overhead services should not impede the works. |  |  |  |
| Ground conditions | Not relevant to the works as there will be no excavations. |  |  |  |
| Existing structures | The property is of steel frame construction with cavity walls ‘Davis’ blocks. The roof is a mix of pitched roofs at a variety of heights. The roof is slate on timber battens and traditional rafters with insulated bitumen felt lay over. There are lead box gutters and flashing with flat lead roof areas to two elevations. |  |  |  |
| Existing structures hazardous materials | The following hazardous substances have been highlighted in the surveys provided. The Principal Contractor is required to assess the risks from the substances and ensure that suitable controls are implemented: Asbestos is not anticipated, but the Principal Contractor must include arrangements for stopping work and obtaining further guidance in the event that suspicious materials are encountered. Lead removal and Ingestion of lead or inhalation during any hot work with lead. Contact with biological hazards when removing roof materials or rubbing down areas where birds have roosted, e.g. Psittacosis. |  |  |  |
| Health risks arising from client’s activities | The building will be occupied for the duration of the works, however the predominant work type is office based activities. Therefore no significant health risks and anticipated as a direct result of the clients activities. |  |  |  |
| SECTION 4 | SIGNIFICANT DESIGN AND CONSTRUCTION HAZARDS |  |  |  |
| Design assumptions and control measures | (Principles of design) The designers should ensure that risks are managed out through the design process. The contractor will need to ensure that the scaffolding designer recognises the hazards associated with working at height and adopts a risk based approach to identify suitable precautions. (Special design criteria) If, as expected the scaffolding falls out of TG-20 good practice, the contractor is to arrange for it to be designed by a bespoke calculation and for design drawings to be produced to ensure that the structure will have adequate strength, rigidity and stability while it is erected, used and dismantled. Suitable scaffolding designed and constructed by a competent person to ensuring that all elements are fit for purpose including: - Fittings - Boards - Tubes - Light line and lifting rope - Base plates and sole plates - Standards - Ledgers - Transoms - Bracing - Ties - Platforms - Guards rails and toe boards - Ladder access - Gin wheels The scaffolders will be trained to C.I.T.B standards. The safety system of scafftag shall be employed for the inspection of the scaffolding. At the commencement of scaffolding construction, a scafftag holder shall be installed at every proposed access point, ensuring that ‘do not use scaffolding’ wording is clearly visible to the user, and that the scafftag holder is securely connected to the scaffolding. |  |  |  |
| Design liaison | Regular communications will be required between the Principal Designer, Principal Contractor, Scaffolding Contractor and any Sub Contractors. |  |  |  |
| Significant and principal hazards | - Falls from height. - Fragile materials. - Struck by moving, flying or falling object. - Struck or crushed by vehicle. - Electrical. - Collapse or overturning. - Slips or falls. - Lack of adequate tethering. - Lack of toe boards. - Ladder defects. - Slow rescue of person suspended on harness. - Damage caused by power tools. - Damage caused by manual tools. |  |  |  |
| Materials requiring particular precautions | Contractor to review asbestos survey prior to commencing work and to exercise caution and an assumption that ACM’s may be present when works are underway. If any concerns are felt, the contractor it to halt all work on site and report to the Contract Administrator. Given the exposed location of the site and the height of the roof, care is to be taken to ensure that any light weight materials i.e. packaging, insulation etc. are not blow off the roof. Netting should be used to secure any such items. |  |  |  |