**Request for Quotation MQ 045**

**Nursery Canopy**

Issued 22 June 2017

Contents

[Confidentiality Statement 4](#_Toc476926284)

[Submission Details 4](#_Toc476926285)

[Submission Deadlines 4](#_Toc476926286)

[Submission Delivery Address 4](#_Toc476926287)

[Submission Questions and Clarifications 4](#_Toc476926288)

[Electronic Submissions 5](#_Toc476926289)

[Introduction and Executive Summary 6](#_Toc476926290)

[Business Overview & Background 6](#_Toc476926291)

[Our Vision … is where our future lies 6](#_Toc476926292)

[Our Mission … is what we focus on each and every day 6](#_Toc476926293)

[Background 7](#_Toc476926294)

[Requirement 7](#_Toc476926295)

[Payment Arrangements 8](#_Toc476926296)

[Written Submission 8](#_Toc476926297)

[Specific conditions applicable to this quotation 8](#_Toc476926298)

[Working Requirements 8](#_Toc476926299)

[Electricity at Work Act 1989 8](#_Toc476926300)

[Health & Safety 8](#_Toc476926301)

[Noise Control 9](#_Toc476926302)

[Environmental 9](#_Toc476926303)

[Provision of Materials, Plant and Equipment 9](#_Toc476926304)

[Construction (Design and Management) Regulations 2015 9](#_Toc476926305)

[Conduct of Work 10](#_Toc476926306)

[Delivery of Plant and Materials 10](#_Toc476926307)

[Site Protection and Cleaning 10](#_Toc476926308)

[Pricing 10](#_Toc476926309)

[Terms and Conditions 10](#_Toc476926310)

[Validity 11](#_Toc476926311)

[Freedom of Information Act 2000 11](#_Toc476926312)

[Selection Criteria 11](#_Toc476926313)

[Award Price 11](#_Toc476926314)

[Written Submission 12](#_Toc476926315)

[Assessment of Quotations 12](#_Toc476926316)

[Agreement Conditions Acceptance and Declaration 12](#_Toc476926317)

[Supporting Documentation 13](#_Toc476926318)

[Agreement Conditions Acceptance and Declaration Form 14](#_Toc476926319)

# Confidentiality Statement

This document, and any attachments thereto, regardless of form or medium, is intended only for use by the addressee(s) and may contain legally privileged and/or confidential, copyrighted, trademarked, patented or otherwise restricted information viewable by the intended recipient only. If you are not the intended recipient of this document (or the person responsible for delivering this document to the intended recipient), you are hereby notified that any dissemination, distribution, printing or copying of this document, and any attachment thereto, is strictly prohibited and violation of this condition may infringe upon copyright, trademark, patent, or other laws protecting proprietary and, or, intellectual property. In no event shall this document be delivered to anyone other than the intended recipient or original sender and violation may be considered a breach of law fully punishable by various domestic and international courts. If you have received this document in error, please respond to the originator of this message or email him/her at the address below and permanently delete and/or shred the original and any copies and any electronic form this document, and any attachments thereto and do not disseminate further.

Thank you for your consideration, City College Plymouth.

Where no notice is given, all information contained herein is Copyright 2017 City College Plymouth.

# Submission Details

## Submission Deadlines

All submissions for responding to this Request for Quote must be submitted via email as stated below, no later than:

**Friday 30th June 2017**

**12:00 Noon**

Any submissions received after this date will not be considered.

## Submission Delivery Address

All submissions should be submitted electronically as below

## Submission Questions and Clarifications

You may contact the following person if you have any questions or require clarification on any topics covered in this Request for Quotation: by Friday 23 June 2017

**Adam Baker**

Finance and Facilities

Phone: 01752 305313

Email: [tenders@cityplym.ac.uk](mailto:tenders@cityplym.ac.uk)

All correspondence during the Tender should be channeled via the Procurement Team using the above details only. Bidders found to have gained an unfair advantage shall be disqualified from the current opportunity and future opportunities with the College for a minimum of four (4) years.

## Electronic Submissions

Electronic submissions in response to this Request for Quotation will be accepted as long as they meet the following criteria:

Sent via email to: [tenders@cityplym.ac.uk](mailto:tenders@cityplym.ac.uk)

Document standards:

* Text must be in Microsoft Word format;
* Price tables must be in Microsoft Excel format (using pricing schedule in Appendix A);
* Supportive evidence may additionally be submitted in PDF format;
* Images, Designs, and other supporting evidence may be in either JPEG or PDF format
* Completed Appendix C Suitability Assessment & Selection Questionnaire (Including Mandatory & Discretionary Exclusions) Parts 1, 2 and 3. - *Please note this suitability assessment will not be viewed unless you are the winning tenderer. Failure at this stage may prevent the contract from being awarded.*
* Signed Agreement Acceptance and Declaration.

*Please note that the College is able to accept submissions sent in a compressed or “.zip” file format, so long as the files contained meet the standards described above.*

***WARRANTY****:*

By submitting your tender bid, you are warrantying to the College that you have not breached our canvassing or soliciting clause.

If any successful tenderer awarded a contract is found to have provided an inaccurate warranty, then the College reserves the right to terminate the awarded contract with immediate effect and re-tender the contract from which the successful tenderer will be excluded from re-bidding and shall be disqualified from any future opportunities for a period of four years.

# Introduction and Executive Summary

The College is looking to source a contractor for the one off job to install 2 x Timber Framed Lean Too Canopies to create a protected play space and walkway for the nursery.

# Business Overview & Background

The College operates on four sites within the city, serving 12,897 students and employing 622 staff. The College operates year round, with opening times from 0800-2100 on some days.

City College Plymouth’s Estate includes 4 sites;

**Kings Road 24,321m2**

Consisting of 8 buildings including an 8 story tower block.

A new 5 floor 4,500m2 stem centre to open in July 2017

**Goschen Centre 11,442m2**

One main building.

**Picquet Barracks 1706m2**

Distributed across 7 different buildings at the site including a 2 story building.

**Pace 569m2**

2 story building located in the city centre.

## Our Vision … is where our future lies

We are a College with a national reputation for promoting enterprise, employability and science, technology, engineering and mathematics (STEM).

## Our Mission … is what we focus on each and every day

To be the South West’s leading provider of innovative, technical, professional education and training by supporting partnerships for growth, raising aspirations and fostering wealth creation

## Background

City College Plymouth is one of the largest professional, vocational and technical colleges in the South West with a national reputation for promoting enterprise, employability and science, technology, engineering and mathematics (STEM). The College plays a central role in the educational, cultural and economic life of the region and works with strategic partners to facilitate growth, raise aspirations and foster wealth creation.

The College is dedicated to enabling local people to access both new and existing job prospects through its strong links with industry. Working in partnership with employers, the College’s training offer is practical, relevant to business needs and prepares people for the real work environment.

The College’s £13million Regional Centre for Excellence in STEM is due to open in autumn 2017. The state-of-the-art facility will provide a flexible learning environment that simulates ‘real work’ scenarios with industry-standard workshops, laboratories and studios. It will be equipped with high-tech resources to support a broader and more relevant STEM curriculum.

The most recent Ofsted inspection confirmed that the College continues to be ‘Good’ with outstanding features and this year it won the Beacon Award for the Promotion and Delivery of Successful Apprenticeships.

# Requirement

Approximate Value of Job: £13,000

**Works to take place 07.08.2017 – 23.08.17**

**North End Play Pace to Kings Road Nursery – West End**

Remove existing fence and dispose in contractors skip to create an open space. Supply and Install new section of picket fence (1600mm Length x 1200mm high) and return into existing bank.

Dig out existing tarmac pathway and shrubbery to create a new open play space (4200mm Wide x 3200mm Depth). Remove weeds and other organic matter, along with topsoil and cart away for contractor disposal. Install 4” x 2” tantalised timber perimeter edging anchored in. Excavate to a depth of 200mm, lay 803 hardcore compacted to a 150mm depth with a 10mm wearing course tarmac and roll to a compacted depth of 50mm with a constructed fall to allow water to fall away.

Supply and Install 1 in no. wall mounted timber framed lean too canopy (2600mm High x 4000mm Wide x 3000m Depth). Canopy to be constructed from a Glulam timber frame which is PEFC certified and fire resistant to BS 5268. Square supporting posts to be 150mm x 150mm and fitted into aluminium base plates. Columns, eave beams and rafters are GL24h glulam with MUF adhesive and 45mm laminations. Purlins are C24 regularised timber. Finished to be planed ,with any planer chatter or roller remarks removed. Loose knots and soft sap pockets are filled or plugged with timber.

Mono pitched roof to be constructed with 35mm multiwall polycarbonate clear roof panels with a tensile fabric strength of 252/250 daN/5 cm. To be clamped in place using aluminium extrusion strips on the frame.

Supply and install 4m length of 112mm half round UPVC guttering and 68mm round downpipe and fittings in Grey.

Make good to all surrounding areas on completion of works and dispose of all debris to contractors own skip

**North End Play Pace to Kings Road Nursery – East End**

Re-align existing fence adjacent to sceptic tank to make way for new lean too canopy and fix into existing fence.

Dig out existing tarmac pathway and cut into bank to create a new open play space (8200mm Wide x 4200mm Depth). Remove weeds and other organic matter, along with topsoil and cart away for contractor disposal.

Install 8000mm in length retaining wall, 600mm high from ground level with a rendered finish. Blocks to be laid on a concrete footing (300mm wide x 150mm high) with rebar and inserted every three blocks. Adequate weep holes to be inserted, backfill with 10mm pea gravel.

Flag on edge retainer to be used on both sides of sloping level.

Excavate to a depth of 200mm, lay 803 hardcore compacted to a 150mm depth with a 10mm wearing course tarmac and roll to a compacted depth of 50mm with a constructed fall to allow water to fall away.

Supply and Install 1 in no. wall mounted timber frame canopy (2600mm High x 8000mm Wide x 4000m Depth). Canopy to be constructed from a Glulam timber frame which is PEFC certified and fire resistant to BS 5268. Square supporting posts to be 150mm x 150mm and fitted into aluminium base plates with a maximum 4000m apart along the length. Columns, eave beams and rafters are GL24h glulam with MUF adhesive and 45mm laminations. Purlins are C24 regularised timber. Finished to be planed ,with any planer chatter or roller remarks removed. Loose knots and soft sap pockets are filled or plugged with timber.

Mono pitched roof to be constructed with 35mm multiwall polycarbonate clear roof panels with a tensile fabric strength of 252/250 daN/5 cm. To be clamped in place using aluminium extrusion strips on the frame.

Supply and install 8m length of 112mm half round UPVC guttering and 68mm round downpipe and fittings in Grey.

Make good to all surrounding areas on completion of works and dispose of all debris to contractors own skip.

**You are advised to meet Site Manager Paul Applin on site before tendering. He can be contacted on 01752 305301 to arrange a visit**

## Payment Arrangements

All invoices should quote the Official Purchase Order number.

All invoices should be sent electronically to the College Purchase Ledger Team.

## Written Submission

We also require a written document which details your company offer with particular interest to the following areas. This submitted document will be scored as per the table on page 12.

* Responsiveness, lead times, service,
* Sustainability,

# Specific conditions applicable to this quotation

## Working Requirements

### Electricity at Work Act 1989

The contractor is to comply with the Act at all times. If LIVE WORKING cannot be avoided, the contractor is to inform the Estates Engineer of the reasons and the proposed action to be taken, to implement a safe system of working.

### Health & Safety

The contractor is responsible for carrying out a detailed risk assessment of the work to be done. This must be issued to the Estates Engineer at least two weeks before work commences, along with method statements, which explain how the work is to be carried out, and the safety controls to be employed.

In addition to the Electricity at Work Act 1989, all work must be carried out in a safe manner, and in accordance with all relevant Health & Safety Regulations, without risk of harm to the people carrying out the work, students and staff of the college, and members of the public.

The College operates a Signing In/Out, and a permit to work system which must be strictly adhered to.

The contractor is responsible for arranging all safe access to work areas (e.g. scaffolding) and for maintaining safe working conditions (e.g. edge protection, temporary lighting) within the work area.

### Noise Control

The Contractor shall comply with The Noise at Work Regulations 1989. He must take all reasonable steps to control and curtail the level of noise whilst carrying out the works.

### Environmental

All work must be carried out with a responsible attitude to environmental concerns. All waste arising from the work is the responsibility of the contractor, and must be handled and disposed of in accordance with the current waste and all relevant environmental legislation.

### Provision of Materials, Plant and Equipment

* Unless otherwise specified, the contractor must supply all materials, plant, tools and equipment required, to effectively complete the works detailed in this specification.
* For all equipment, fittings and accessories, where a manufacturer is not specified, good quality units compliant with the relevant British Standards and EN Standards must be used.
* Any deviation from the specified fitting’s, must be agreed with the Estates Engineer.

### Construction (Design and Management) Regulations 2015

The Contractor must comply with the requirements of the CDM Regulations and notify the other parties to the contract immediately it becomes aware that they are or likely to be in breach of these Regulations.

All building and maintenance work now falls under CDM Regulations.

All building and maintenance work will now require a Construction Health & Safety Plan, even if it is not notifiable. The level of detail and planning required will be proportionate to the scale and complexity of the project.

All projects involving more than one Contractor must have a Health & Safety File.

Projects will be notifiable to the HSE where:-

* The work will last longer than 30 working days AND involve more than 20 workers on site simultaneously.

OR

* The work exceeds 500 person days.

The Contractor must notify the Contract Administrator in writing, with their quotation or tender, if they foresee the above criteria for notification being exceeded during the works. The Contractor must also notify the Contract Administrator if they foresee that additional contractors are required to complete the work.

### Conduct of Work

The Contractor is to plan his work so as to cause minimum interference to the use of the occupied premises, and co-operate with persons occupying these premises.

### Delivery of Plant and Materials

The contractor is responsible for the supply, delivery and off-loading of all plant, materials and equipment into final positions. The contractor must liaise with site services staff to identify suitable storage areas, although these cannot be guaranteed.

### Site Protection and Cleaning

The Contractor at commencement shall adequately screen the area of work at high and low levels to prevent the spread of air-borne dust/debris.

On completion of the works, all surfaces within the following areas are to be cleaned:-

* The area of the works
* Any areas affected by the transmission of dust/debris etc. from the works
* Any areas affected by the movement of operatives etc. in and around the building.

All other areas are to be cleaned to a standard equivalent to that existing immediately prior to the commencement of the works. Contractors are to allow due time during the contract for the cleaning operation to be completed within the contract period.

# Pricing

Bidders should provide their pricing for the works as outlined Appendix A

# Terms and Conditions

The College’s normal business terms are 1-2 months from the date of invoice. Payment will become due subject to the above upon the College’s full acceptance of the goods/services. This Request for Quotation and any resulting purchase order will be subject to the College’s General Terms and Conditions of Purchase of Goods/Services – see appendix B.

# Validity

Bidder’s offers should be open and valid for acceptance for a period of no less than ninety [90] days from the date of submission.

# Freedom of Information Act 2000

Under the Freedom of Information Act 2000 the College cannot guarantee that information provided by bidders during the course of this RFQ procedure or any resulting contract will be held a confidential. The College will not routinely release information to interested parties unless required to do so in order to meet our statutory obligations.

# Selection Criteria

The successful supplier will have provided the Most Economically Advantageous Tender (MEAT) to the college. It should be noted that the bidder with the lowest submitted prices will not necessarily be down-selected. All bidders will be notified via email of the results of the outcome no later than ninety [90] days form the date of submission. The date of contract award will be provided within that email.

The marking criteria are described in the table below:

|  |  |
| --- | --- |
| **Category** | **Weight** |
| Price | 90% |
| Responsiveness / Lead Times | 5% |
| Sustainability & Environmental Impact | 5% |

Please see table on the next page for more details on the scoring method.

## Award Price

Lowest Quote Price divided by Current Quote price x 100

## Written Submission

|  |  |  |
| --- | --- | --- |
| **Assessment** | **Score** | **Interpretation** |
| **Excellent** | 4 | *Comprehensive response supported by examples*  *Description fully supported by details that demonstrate the applicant’s ability to provide the required services.* |
| **Good** | 3 | *Broad response supported by relevant examples.*  *Description well supported by details that demonstrate the applicant’s ability to provide the required services.* |
| **Satisfactory** | 2 | *Reasonable response supported by some evidence.*  *Description adequately supported by details that demonstrate the applicant’s ability to provide the required services.* |
| **Poor** | 1 | *Limited response not well supported by evidence.*  *Description inadequately supported by details that demonstrate the applicant’s ability to provide the required services.* |
| **Unacceptable** | 0 | *No response or insufficient information provided.* |

# Assessment of Quotations

Bidders must ensure that their quotation fully addresses all information requested within this RFQ document. Bidders must ensure that any quotation fully meets the specification required. The College reserves the right to discount any quotation which does not fully meet the specification.

The College reserves the right to seek clarification with bidders upon receipt of quotations.

## Agreement Conditions Acceptance and Declaration

Bidders are required to sign and return the attached Agreement Conditions Acceptance and Declaration.

# Supporting Documentation

Appendix A: City College Plymouth Pricing Schedule

Appendix B: City College Plymouth Standard Terms & Conditions

Appendix C: City College Plymouth Suitability Questionnaire

Appendix D: Agreement Conditions and Acceptance declaration form

# Agreement Conditions Acceptance and Declaration Form

**Agreement for the Provision: MQ045 Nursery Canopy**

I/We the undersigned DO HEREBY UNDERTAKE to provide the Goods/Services upon and subject to City College Plymouth’s standard terms and conditions set out in Appendix B, together with the Specification and the pricing and rates contained in our quote and all other Agreement Documents as are contained or incorporated herein.

I/We agree to establish and maintain appropriate business standards, procedures and controls including those necessary to avoid any real or apparent impropriety or to prevent any action or conditions which could result in conflict with the College’s best interests.

I/We declare that we have not offered to pay or to give or agree to pay any sum of money or valuable consideration directly or indirectly to any person nor entered into any agreement or arrangements with any person that he/she shall refrain from quoting or as to the amount of any quote to be submitted.

I/We agree that we have satisfied ourselves before submitting this quote as to the correctness and sufficiency of the pricing/rates quoted.

DATE

COMPANY\* (1) Signature:

Name:   
Position in Company:

For and on behalf of:

(Print Company's full name and registered number)

\*NOTE:

* + 1. An electronic or typed signature will be accepted.
    2. Where the bidder is a limited company the Quote and this Declaration must be signed on behalf of the company by an authorised officer whose designation must be stated and the address of the registered office of the company must be given.
    3. In the case of a partnership the names of all the partners must be given on a separate sheet and attached to this Request for Quote and the Quote and this Declaration must be signed by one of the partners on behalf of the partnership.
    4. Where the supplier is a private firm the Quote and this Declaration must be signed with the firm's name.