## PIF
PROJECT INFORMATION FILE (PIF)
Content Check Sheet
Project:
Building/Systems:
| Handover Stage: |  |  |  |  | Q-Pulse Doc: EMS-FORM-332
Date:
PIF Location:
Project Sponsor:
| Project Manager: |  |  |  | Grey | Not Applicable
| Principal Designer: |  |  |  | Green | Complete and in file
| Principal Contractor: |  |  |  | Amber | Not complete but acceptable
| Primary End User: |  |  |  | Red | Not complete, not acceptable
Ref | Element | Dept. | Subfolders | More information | Status | Comment/Action
0 | Handover
0.01 | Project Presentation Slides | Main Contractor
0.02 | Project Contacts List | Main Contractor
1 | Pre-Construction & Scope
1.01 | User requirement Specification | N/A
1.02 | Business Case | Main Contractor
1.03 | Scope of Works | Main Contractor
1.04 | Design Information | Main Contractor
1.05 | Resilience Descriptions | Main Contractor
1.06 | Technical Reviews | Main Contractor | 1.06.01 HAZOP | 1.7.1 HAZOP 1.7.2 SWIFT 1.7.3 LOPA
1.06.02 SWIFT
1.06.03 LOPA
1.07 | Project Change Control Log | Main Contractor
2 | Construction Phase
2.01 | Tender Pack | Main Contractor
2.02 | Construction Contracts | Main Contractor
2.03 | Design Stage Risk Assessment | Main Contractor
2.04 | Project Risk Register | Main Contractor
2.05 | Capital Costs Summary | Main Contractor
2.06 | Forecast Operational Costs | Main Contractor
3 | Commissioning, Validation & Verification
3.01 | Equipment CVV Test Certificates | Main Contractor | 3.01.01 Electrical | Currently Sections 3.1, 3.3 & 3.4 in PIF
3.01.02 HEPAs
3.01.03 Pressure
3.01.04 F-Gas
3.01.05 LOLER
3.01.06 L8
3.01.07 Chilled Water
3.01.08 Compressed Air
3.01.09 Domestic Water System
3.01.10 Fire Alarms & Systems
3.01.11 LTHW
3.01.12 Steam
3.01.13 Trace Heating
3.01.14 Lightning Protection
|  |  | 3.01.15 BACS Point to Point Tests | Currently Section 3.2 in PIF
3.01.16 BACS Graphics
3.01.17 BACS Alarms
3.02 | Final Scanned TCVV Packs | Main Contractor
3.03 | Snagging/Additional Work List | Main Contractor |  | Currently Section 8.1 in PIF
3.04 | Identified Issues | Main Contractor |  | Currently Section 8.2 in PIF
4 | As-Built Documentation
4.01 | Asset Lists | Main Contractor | 4.01.01 Mechanical | Currently Section 2.5 in PIF
4.01.02 Electrical
4.01.03 Control
4.02 | O&M Manuals | Main Contractor | 4.02.01 Mechanical | Currently Section 2.2 in PIF
4.02.02 Electrical
4.02.03 Control
4.02.04 Building User Guide
4.03 | Record Drawings | Main Contractor | 4.03.01 Mechanical | Currently Section 2.3 in PIF
4.03.02 Electrical
4.03.03 Control
4.03.04 Architectural
4.04 | Building DesOps | Main Contractor
4.05 | Photos | Main Contractor |  | Currently Section 2.8 in PIF
4.06 | Security | Main Contractor | 4.06.01 Keys
4.06.02 Passwords
4.07 | IT | Main Contractor | 4.07.01 Software
4.07.02 Equipment (e.g. Laptops)
4.08 | Guarantees & Warranties | Main Contractor
4.09 | BACS Disaster Recovery Files | Main Contractor | 4.09.01 PLC Disaster Recovery CD | Currently Section 2.9 in PIF
4.09.02 Recovery Instructions
4.09.03 Recovery Passwords
4.1 | Health & Safety | Main Contractor | 4.10.01 CDM File | Currently Section 5.0 in PIF
4.10.02 DSEAR
4.11 | Critical Spares Recommendations | Main Contractor |  | Currently Section 2.7 in PIF
4.12 | Familiarisation Training Records | Main Contractor |  | Currently Section 3.9 in PIF