Specification for tender to quantify the impacts of alternate heat decarbonisation pathways on UK electricity and gas infrastructure in 2050.

Tender Reference Number: MH/0917

INVITATION TO TENDER

Invitation to tender to quantify the impacts of alternate heat decarbonisation pathways on UK electricity and gas infrastructure in 2050.

Contents

| ### Instructions for Submission of Tenders | ### Part A |
| --- | --- |
| ### Specification (including the Preamble, Background, Requirement) | ### Part B |
| ### Information to be provided by the Bidder / Supplier Questionnaire | ### Part C |
| ### Pricing Information to be provided by the Bidder | ### Part D |
| ### Conditions of Contract for Services | ### Part E |

# Part A

Specification for tender to quantify the impacts of alternate heat decarbonisation pathways on UK electricity and gas infrastructure in 2050.

INSTRUCTIONS FOR Submission of TENDERS

- The CCC project manager will be Mike Hemsley

Address: 7 Holbein Place, London, SW1W 8NR. Tel: 020 7591 6121

Mike.hemsley@theccc.gsi.gov.uk

Mike should be contacted with any queries on the content of the project.

Further information and clarification about the tendering process can be obtained from:

Sean Taylor, e-mail:  sean.taylor@theCCC.gsi.gov.uk    Tel 020 7591 6093.

- Bidders are required to submit two copies of their bid via email to finance@theccc.gsi.gov.uk also copying in sean.taylor@theCCC.gsi.gov.uk.  One version should contain no pricing information. The other version must be costed and identified as "PRICED".  The email subject should read:

“INVITATION TO TENDER for CCC POWER/GAS MODELLING PROJECT”

Bidders are also required to submit four hard copies of their bid.  One of these must be costed and identified as "PRICED".  Bids should be submitted in a sealed envelope, marked as follows:

“INVITATION TO TENDER for CCC POWER/GAS MODELLING PROJECT”

Envelopes should bear no external indication of the sender's identity.  All bids should be addressed to:

Business Manager

Committee on Climate Change

7 Holbein Place

London

SW1W 8NR

Bids should be sent in time in time for receipt by 10am on 18th October 2017

- If required, interviews will take place in London on the in the w/c 23th October. If you are invited for interview, you will be notified of the address and time in the letter of invitation, sent out by email.

- In practice, we welcome suggestions from consultants around what is feasible within the available timescales and budget (£70,000-90,000 excluding VAT).

Specification of Requirements

Invitation to Tender to quantify the impacts of alternate heat decarbonisation pathways on UK electricity and gas infrastructure in 2050.

Tender Reference Number: MH/0917

Deadline for Tender Responses: Wednesday October 18th 2017

Contents

1.	Introduction and summary of requirements / Preamble	5

2.	Background	5

3.	Aims and Objectives	6

4.	Methodology	8

5.	Outputs Required	15

6.	Quality Assurance	15

7.	Timetable	16

8.	Ethics	16

9.	Working Arrangements	17

10.	Required Skills	17

11.	Consortium Bids	17

12.	Budget	18

13.	Evaluation of Tenders	18

# Part B

# Introduction and summary of requirements / Preamble

The Committee on Climate Change was set up as part of the Climate Change Act. The Committee is an independent body tasked with providing advice to government on climate change issues, particularly the setting of carbon budgets for the UK.

# Background

The CCC’s advice on carbon budgets is based on detailed modelling of a range of technologies and behaviours that could be deployed across the economy. Using that modelling, the CCC has developed scenarios for deployment of technologies to reduce greenhouse gas emissions to 2020, 2030 and to 2050. These are intended to demonstrate possible ways in which carbon budgets and the 2050 target could be met, estimate the economic cost of doing so, and identify barriers to delivery and consider how these could be overcome.

- The CCC’s scenarios for 2050 involve near-full decarbonisation of the power sector (e.g. to 10-20 gCO2/kWh, or potentially negative emissions if removals from biomass with CCS are attributed to the power sector). They also involve extensive decarbonisation of surface transport and buildings, and other measures to reduce greenhouse gas emissions across the transport, buildings, industry, agriculture, waste and other non-CO2 sectors.

- However, the CCC scenarios identify multiple options for decarbonising the gas grid. Our October 2016 report, Next Steps for UK Heat Policy, proposed alternative pathways for low-carbon heating. This could be through electrification, by ‘greening’ the gas supply (e.g. shifting to low-carbon hydrogen), or by a mix of these alongside heat networks, and potential hybrid solutions, with the bulk of heat demand met by electricity, and peak demands met by green gas.

- The CCC is looking to model scenarios that include high levels of hydrogen as an energy vector in 2050, and is looking to compare the overall system costs of such a scenario with alternative decarbonisation scenarios.

- Our assessment, and research to date has identified some of the potential challenges:

  - It is likely that no single decarbonised heating solution will meet all heating needs, so a variety of low-carbon heating options will be needed

  - The need for carbon capture and storage (CCS) if hydrogen is to be used at scale in the gas grid

  - Final energy demand for space heating and hot water demand is greater than that for electricity – overall final energy consumption is about 150% of total current electricity demand, and peak requirements in winter can be five or six times those for electricity. A particular challenge is the large seasonal variation in space heating demand.

  - Maintenance requirements for the UK’s electricity and  gas grids in various low-carbon futures, and safety and regulatory requirements for non-methane gases in the gas grid

  - Public acceptability of alternative heat solutions

  - Geographical variation in deployment of low-carbon heating technologies

  - The need for strong policy action in the 2020s, preceding mass rollout in the 2030s of low-carbon heating technologies

The CCC has previously used energy systems models to identify potential timescales for decarbonisation across all sectors of the economy. These models consistently identify a role for early power sector decarbonisation in helping to reduce UK wide emissions (e.g. through low-carbon heating and transport), and point to a near fully decarbonised power system by 2050. However there remain significant uncertainties:

- Future demand requirements across various degrees of electrification of heating and transport

- High uncertainty over costs of future technologies, and technology mix.

The CCC is looking to model alternative scenarios for low-carbon heating in 2050, in order to better understand the interactions between decarbonised electricity and heating systems, and identify and understand the key uncertainties that affect decisions around low-carbon heat to 2050.

# Aims and Objectives

This project focuses on the long-term challenge of decarbonising heating, and the potential issues this will bring in terms of delivering peak seasonal energy requirements. This will contribute to a report on the role of hydrogen in meeting carbon budgets and the 2050 target, and will form part of the evidence base for our recommendations in 2020 for the sixth carbon budget.

The aims of the project are:

- Compare the whole system costs of alternative heat decarbonisation scenarios in 2050

- Understand the implications on electricity supply and associated electricity infrastructure of alternative heat decarbonisation pathways on the UK electricity system in 2050

- Compare the costs of retaining gas distribution networks against reinforcing the electricity grid under various low-carbon heating scenarios

- Better understand the interactions between the electricity and heat systems (including storage), and consider how to optimise these interactions to maximise system benefits

- Inform recommendations on whether policy can be introduced or improved to assist and complement the transition to low-carbon heating provision

For example, questions under consideration include:

- What are the relative infrastructure costs and barriers under different heat decarbonisation scenarios (i.e. reinforcing the electricity networks or establishing and maintaining a hydrogen network)? In a hybrid heat pump scenario, what are the economic implications of maintaining a gas network for only a small (peak) gas flow? Is a future hydrogen transmission grid viable?

- What are the key enablers (e.g. local heat provision or electricity storage) to minimise the costs and disruption in either scenario? At which tipping points (e.g. storage capacity, cost reduction of storage, cost of electricity/hydrogen) do scenarios become cost-effective?

- What role can storage technologies (including potential interseasonal storage) play in reducing peak demand requirements?

- How does the nature of the decarbonisation of heat affect the optimal generation mix for the electricity sector (e.g. are CCS/nuclear needed more if heat is electrified)?

- How do hydrogen production technologies interact with the electricity system?

- What are the infrastructure requirements in these scenarios? And when would decisions need to be made on infrastructure investment?

# Methodology

This project contains four components:

- Task 1: Characterising annual demand patterns for five core heat decarbonisation scenarios

- Task 2: Comparing the network, supply and system costs of the five core heat decarbonisation scenarios, and exploring interactions between electricity and gas systems

- Task 3: Modelling electricity and gas supply mixes for the scenarios

- Task 4: Characterising the key uncertainties in the analysis, and identifying policy implications

Description of tasks

Task 1: Develop up to five core scenarios for hourly energy demands in a very low-carbon energy system (i.e. in 2050, and beyond, towards achieving overall net-zero emissions). The CCC will provide annual demands for electricity, gas, by end-use (specifying heat demand), and the bidder should convert these into hourly profiles. The bidder will also be asked to characterise (in collaboration with the CCC) the flexibility of these demands (i.e. ability to shift demand away from peak periods). Scenarios include two divergent scenarios which maximise the amount of low-carbon heat that can be provided by a single vector, and three scenarios that see a mix of electricity and gas

- Maximum electrification of domestic and commercial heat largely via heat pumps, and electrification of industry and transport

- Maximum use of the gas grid for domestic and commercial heat, and industrial use of gas (largely using low-carbon hydrogen), electrification of transport, limited electrification of commercial heat

- Hybrid heat pumps, consuming both electricity and gas. High efficiency heat pumps provide the bulk of heating demand, with gas networks (and storage) being maintained to provide peak demand

- An ‘optimised’ regional scenario, where gas is used for low-carbon heating in areas where it is produced, and heat pumps are used elsewhere. This should consider the optimum siting of H2 and/or biogas production for potential use in industrial clusters (clusters defined by CCC)

- A ‘non-optimised’ regional scenario, which reflects that democratic deployment of low-carbon heating options may not be optimised on a UK level.

The CCC will work with the consultants to define the geographical dispersion of low-carbon heat in the regional scenarios, giving consideration to clusters of potential hydrogen demand (e.g. near to hydrogen production centres, industrial clusters), and the location of district heating in the CCC’s existing scenarios. The exact definition of the regional scenarios will depend on the models being used.

Task 2: Assess the (annualised) costs and emissions of the scenarios in Task 1, relative to each other, with the electricity system optimised to provide the lowest cost mix of low-carbon electricity supply (e.g. up to around 20 gCO2/kWh in 2050, ignoring any contribution of negative emissions from BECCS) for a given scenario, with low-carbon hydrogen used in the gas grid. Where actions in the heat system (such as retaining hot water stores) can complement actions in the power system these should be brought out (and vice versa). Particular consideration should be given to future transmission and distribution infrastructure requirements of the scenarios, and additional system (e.g. balancing) services required in each of the above scenarios.

- The bidder would be expected to break down emissions and generation/production by technology source, including electricity generation and hydrogen production

- The bidder would be expected to break down the system costs into individual components:

  - Transmission and distribution system costs for the electricity and gas systems, giving consideration to grid constraints and reinforcements

  - Capital expenditure, operating expenditure (incl. fuel costs) and balancing costs for the electricity system (based on technology costs that can be provided by or agreed with the CCC)

  - Storage costs, and annual fuel costs for the gas system (the CCC will provide gas production costs)

  - Other household level costs (e.g. heat pump capital costs – to be provided by the CCC)

- The bidder should also consider the interactions between electricity and gas systems, and the opportunities to optimise use of these systems to minimise overall costs. For example, bidders should set out the implications for gas transmission and distribution infrastructure in a high electrification scenario, and the implications for electricity networks for a high decarbonised gas scenario. Opportunities for provision of system flexibility (e.g. intra-day, inter-day and seasonal flexibility) across both sets of infrastructures should also be set out (i.e. how can stored hydrogen be used to provide power system flexibility).

- The bidders should set out the proportion, and temporal resolution, of heat provided via electricity and gas in the hybrid scenarios (e.g. via heat pumps, or hydrogen boilers)

- The CCC will provide consultants with assumptions around a fixed amount of biomethane and BECCS for use in the energy system. The consultants will then be expected to identify the role that bioenergy plant plays within the energy system (i.e. for electricity generation, baseload vs. mid-merit plant, hydrogen production)

The modelling should identify the role hydrogen can play in reducing costs for the power sector given its interactions with other parts of the UK energy system. For example, where significant amounts of hydrogen are consumed, the implications of UK production on the electricity system should be considered within the above scenarios, including:

- Hydrogen production via electrolysis (e.g. using low-cost electricity)

  - For example, what is the amount of hydrogen that can be generated from low-price ‘surplus’ electricity? What does this imply for electrolyser load factors? What are the key factors that affect this (e.g. CCS availability)? How does electrolyser uptake affect the electricity price?

  - What is the value of electrolysis on short timescales (e.g. intra-day) for balancing the electricity system?

  - How would a network of distributed electrolysers (e.g. at hydrogen refuelling stations) impact large-scale hydrogen production? What flexibility could this provide to the electricity system?

- Electricity generation from stored hydrogen (“gas to power”), for example:

  - Where relevant (e.g. for scenarios with high penetrations of intermittent renewables and/or high electrification of heat), the potential for hydrogen to provide a fuel for low-carbon electricity generation at peak demand, and provide system balancing services to replace low-load factor natural gas or diesel capacity

    - Does the availability of low-carbon peaking solutions displace other electricity system flexibility options? Is geographical siting a constraint on this?

  - Stored hydrogen being used more widely across the year, as a flexible but high load factor thermal plant (e.g. hydrogen CCGT, in proximity to salt cavern gas storage)

  - District-scale CHP, and H2 micro-CHP solutions (e.g. based on fuel cells)

    - To what extent can the use of micro-CHP help to reduce peak electricity demand? Does this create any adverse infrastructure issues?

    - What is the optimal scale of CHP plant in the scenarios?

The consultants should provide a summary of the scenarios in task 2, covering the cost and emissions implications of the scenarios, as well as the generation mix in electricity, the production mix in hydrogen, production challenges around hydrogen, levels of storage and comments on any underutilised capacity in the system.

Task 3: Understanding how unavailability and limitations of technologies and resources affect the costs and emissions of the core scenarios in task 2. The consultants should assess, ideally quantitatively, how the scenarios perform across several sensitivities, and in particular, how the cost ranking might change. The consultants should model different mixes of electricity supply for the task 2 scenarios around a power system in 2050 with a very low carbon intensity. The consultants should also assess how different levels of non-hydrogen gases within the gas system affect the costs and emissions of the scenarios in task 2. Modelling should include sensitivities around:

- Unavailable/limited carbon capture & storage (e.g. completely unavailable, or  hydrogen production / pre-combustion power generation only)

- Sensitivities around nuclear power

- A high renewables scenario with constrained deployment of both nuclear power and carbon capture and storage.

- Limitations on electricity system flexibility provided by non-hydrogen assets (e.g. high storage costs, limited uptake of demand-side response, restrictions on interconnection)

- Sensitivity around amount of heat provided through heat pumps or gas boilers in the hybrid heat pumps scenario.

- Greater levels of energy efficiency in buildings leading to higher levels of demand reduction (e.g. for heat demand in buildings)

- Low uptake of electric vehicles, and high levels of hydrogen uptake in the transport sector. This could, for example, involve a minimum amount of electrolysers (reflecting transport provision), with fixed quantity of H2 produced over 24h period.

- Additional sensitivities for the electrification scenario, including:

  - air source vs. ground source heat pumps,

  - building vs. district level heat pumps,

  - Increased resistive heating.

Task 4: Consider the key uncertainties in the analysis, and their importance across the scenarios, and recommend any actions that can be taken to reduce the uncertainties. Outline any policy implications resulting from the scenarios, which may include:

- Key unknowns that must be resolved to enable effective choices that avoid the largest costs

- Any ‘no regrets’ actions that maintain the viability of all scenarios

- The key uncertainties that have been identified and any recommendations that can be made to overcome them.

- The interplays between hydrogen and CCS infrastructure

- Timelines for decision-making in the scenarios, and within this, timelines for required infrastructure investment

- Milestones that may indicate when a certain low-carbon heat system may longer be viable by 2050 (e.g. deployment of CCS by 2030)

- Actions that can be taken to maximise flexibility between parts of the energy system, and maintain flexibility in the energy system on the path to 2050.

  - E.g. Co-production of hydrogen with electricity in thermal plants (e.g. biomass gasification, SMR with CCS) – could be initially 100% electricity production, with an increasing fraction of the output energy diverted to H2 supply as demand grows;

- The implications of the scenario results for a potential ‘net zero’ emission UK energy system

- Provide qualitative (and where possible, quantitative) insights on how/where transmission and distribution constraints may occur within these scenarios

- Provide qualitative views on where synergies between the use of bioenergy and hydrogen may occur.

Consultants should set out in their bid their proposed method for accomplishing tasks 1-4, including how the modelling undertaken for each task will generate meaningful and sensible results.

Modelling expectations

The scenarios we require will characterise the power sector as a snapshot in in a very low-carbon energy system (i.e. in 2050, and beyond, towards achieving overall net-zero emissions). This requires a robust modelling framework and robust assumptions within this, some of which CCC will provide:

- For the core scenarios (Task 1), CCC will provide assumptions over the level of demand, including sub-components expected to have a different profile and responsiveness (industrial load, residential heating, electric vehicle demand, district heating etc) CCC will also provide assumed fuel prices, technology costs and carbon prices.

- Consultants should be prepared to propose assumptions (to be agreed with CCC) over siting of low-carbon capacity, levels of consumer flexibility (i.e. demand-side response) and the characteristics of the European grid.

- Consultants are expected to use their own assumptions (or published Government assumptions) for the operation of the system, e.g. including plant efficiencies/availability, risk of unexpected outages, predictability of wind output and correlation across sites. Where consultants provide their own assumptions, they should be documented and well justified (see section 6, ‘Quality Assurance’).

Consultants should produce snapshot scenarios that robustly model the dispatch of the system and meet the Government’s reliability standard for the GB electricity market (a Loss of Load Expectation of 3 hours/year, as set out in the Electricity Market Reform Delivery Plan), and the ‘N-1’ requirement for the gas system (in the appropriate scenarios). Pathway dependency issues arising from the snapshot scenarios should be given qualitative consideration (i.e. could a pre-combustion CCS plant produce electricity in 2030, but then later switch some/all of the output to hydrogen?). Outputs should include:

- Capacity and generation by technology type, distinguishing between new build and existing plant (i.e. currently on the system in 2017).

- Hourly demand by fuel type

- CO2 emissions and emissions intensity. As far as possible the sources of CO2 emissions should be disaggregated, for example, between generating technologies and for plant running at baseload, mid-merit, peaking or as reserve and response.

- Total annual system cost, split between sub-components such as (annualised) costs of capacity, O&M, fuel, carbon, transmission, distribution, interconnection, storage

- Load factors and utilisation by technology type: on average, for new build and existing capacity, and for the marginal (lowest utilisation factor) plant of each generation type.

- Load and price duration curves, including identification of the proportion of the year each plant type is the system marginal plant

- Interconnector (gross) flows, any shifting of movable demand, usage patterns for energy storage.

- Ideally, full hourly or half-hourly results at a high granularity would be provided alongside summary results.

System modelling should:

- be undertaken on an hourly or half-hourly basis

- approximate optimised system dispatch under expected market rules

- suitably reflect the technical needs of balancing the grid from second to second, including maintaining grid frequency and providing system inertia; and reflect the technical limitations of the available capacity (e.g. the time taken to ramp to full capacity, reduced efficiencies when ramping up and down more regularly)

- have a robust representation of demand and outputs of intermittent technologies on an hourly/half-hourly basis, allowing for differences in different locations and the correlation of output across locations and with demand; also be able to reflect that wind and weather conditions vary from year to year; and be able to represent opportunities for demand-side response

- reflect correlation of both demand and supply with interconnected markets (e.g. to what extent low wind in the UK corresponds to low wind in Ireland and North-west Europe, affecting potential interconnector flows), and

- reflect that fuel prices fluctuate within a year

- reflect the risk of forecast errors (in demand and supply) at different timescales, the need to respond to these and the options for doing so

- include all components of system cost – capital, generation, carbon, operation and maintenance, transmission and distribution, etc

- reflect the impact on transmission and distribution costs of capacity connecting in different locations and operating at reduced load factors, also potential benefits where generation (e.g. solar, wind, micro CHP) connects directly into the distribution network

Placeholder for possible further runs:

- Potential for additional runs in January with final industrial hydrogen demand, and alternative transport scenarios

- Increased or decreased uptake of heat networks.

# Outputs Required

The deliverables from this assignment will be:

- A report setting out the findings of Tasks 1-4, i.e.:

  - Characteristics of energy demand and production in the five core scenarios

  - System costs and emissions for all core scenarios

  - Transmission and distribution implications of the scenarios

  - Identification and discussion of key uncertainties uncovered by the analysis, and a summary of policy implications, incl.: interactions between hydrogen production and electricity generation

  - Opportunities for maximising system flexibility across energy vectors, and over a transition to 2050

  - The optimal role for bioenergy used to produce negative emissions via electricity and gas production in 2050

  - The implications of the scenario results for a potential ‘net zero’ emission UK energy system

- A set of Excel spreadsheets containing all quantitative data produced in Tasks 1-4, and any detailed analysis used to calculate the outputs.

- A copy of the modelling documentation

- Presentations for interim and final meetings

- A Quality Assurance log (see section 6)

In addition to these formal reporting points, the CCC would expect to have regular discussions to ensure the work is progressing as expected and focuses on key issues of interest to the Committee.

# Quality Assurance

This project must comply with the ‘CCC – Quality Assurance of Evidence and Analysis’ guidance and bidders must set out their approach to quality assurance in their response to this ITT.

All research tasks and modelling must be quality assured and documented. Contractors should:

- Include a quality assurance (QA) plan that they will apply to all of the research tasks and modelling,

- Provide an assumptions log of the key assumptions used in the analysis

- Specify who will take lead responsibility for ensuring quality assurance and ensure that this responsibility rests with an individual not directly involved in the research, analysis or model development,

- Provide QA log to demonstrate the QA undertaken, including who undertook the QA and the scope, type and level of QA that has been undertaken (e.g. a log entry only stating ‘the data was checked’ will not be sufficient)

Sign-off for the quality assurance must be done by someone of sufficient seniority within the contractor organisation to be able take responsibility for the work done.  Acceptance of the work by the CCC will take this into consideration. The CCC reserves the right to refuse to sign off outputs which do not meet the required standard specified in this invitation to tender.

The successful bidder will be responsible for any work supplied by sub-contractors and should therefore provide assurance that all work in the contract is undertaken in accordance with the quality assurance expectation agreed at the beginning of the project.

For primary research, contractors should be willing to facilitate CCC research staff to attend interviews or listen in to telephone surveys as part of the quality assurance process.

# Timetable

The proposed timetable will run as follows.

| Date | Action |
| --- | --- |
| 27 September (Wed) | Circulate ITT |
| 18 October (Wed) | Deadline for response to ITT |
| w/c 23-Oct | Interviews |
| w/c 30-Oct | Kick-off meeting |
| w/c 18-Dec | Interim meeting |
| 09-Feb (Fri) | Draft report |
| w/c 25 Feb | Final project meeting (present and discuss results and findings) |
| 07-Mar (Wed) | CCC comments on draft report |
| 16-Mar (Fri) | Final report |

# Ethics

All applicants will need to identify and propose arrangements for initial scrutiny and on-going monitoring of ethical issues. The appropriate handling of ethical issues is part of the tender assessment exercise and proposals will be evaluated on this as part of the ‘addressing challenges and risks’ criterion.

We expect contractors to adhere to the following GSR Principals:

- Sound application and conduct of social research methods and appropriate dissemination and utilisation of findings

- Participation based on valid consent

- Enabling participation

- Avoidance of personal harm

- Non-disclosure of identity and personal information

# Working Arrangements

The successful contractor will be expected to identify one named point of contract through whom all enquiries can be filtered. A CCC project manager will be assigned to the project and will be the central point of contact.

# Skills and experience

CCC would like you to demonstrate that you have the experience and capabilities to undertake the project. Your tender response should include a summary of each proposed team members experience and capabilities.

Contractors should propose named members of the project team, and include the tasks and responsibilities of each team member. This should be clearly linked to the work programme, indicating the grade/ seniority of staff and number of days allocated to specific tasks.

Contractors should identify the individual(s) who will be responsible for managing the project.

# Consortium Bids

In the case of a consortium tender, only one submission covering all of the partners is required but consortia are advised to make clear the proposed role that each partner will play in performing the contract as per the requirements of the technical specification.  We expect the bidder to indicate who in the consortium will be the lead contact for this project, and the organisation and governance associated with the consortia.

Contractors must provide details as to how they will manage any sub-contractors and what percentage of the tendered activity (in terms of monetary value) will be sub-contracted.

If a consortium is not proposing to form a corporate entity, full details of alternative proposed arrangements should be provided. However, please note CCC reserves the right to require a successful consortium to form a single legal entity in accordance with Regulation 28 of the Public Contracts Regulations 2006.

CCC recognises that arrangements in relation to consortia may (within limits) be subject to future change. Potential Providers should therefore respond in the light of the arrangements as currently envisaged. Potential Providers are reminded that any future proposed change in relation to consortia must be notified to CCC so that it can make a further assessment by applying the selection criteria to the new information provided.

# Budget

The budget for this project is £70,000-£90,000 excluding VAT.

Contractors should provide a full and detailed breakdown of costs (including options where appropriate). This should include staff (and day rate) allocated to specific tasks.

Cost will be a criterion against which bids which will be assessed

Payments will be linked to delivery of key milestones. The indicative milestones and phasing of payments can be adjusted and agreed with the contractor and Project Manager. Please advise in your tender response how this breakdown reflects your usual payment processes:

In submitting full tenders, contractors confirm in writing that the price offered will be held for a minimum of 60 calendar days from the date of submission. Any payment conditions applicable to the prime contractor must also be replicated with sub-contractors.

The Department aims to pay all correctly submitted invoices as soon as possible with a target of 10 days from the date of receipt and within 30 days at the latest in line with standard terms and conditions of contract.

# Evaluation of Tenders

Tenders will be evaluated by at least three CCC staff.

CCC will select the bidder that scores highest against the criteria and weighting listed below, see the ITT for further information.

EVALUATION CRITERIA AND SCORING METHODOLOGY

| #### Criterion | #### Description | #### Weighting |
| --- | --- | --- |
| 1 | RELEVANT EXPERIENCE / DEMONSTRATION OF CABABILITY | 20% |
| 2 | MANAGING YOUR RELATIONSHIP WITH THE CCC | 10% |
| 3 | QUALITY ASSURING THE SERVICES YOU PROVIDE | 10% |
| 4 | MANAGEMENT STRUCTURE | 10% |
| 5 | PROJECT TEAM – SKILLS AND KNOWLEDGE | 20% |
| 6 | METHOD, ABILITY AND TECHNICAL CAPACITY | 10% |
| 7 | UNDERSTANDING OF REQUIREMENTS | 10% |
| 8 | RISK AND CHALLENGES | 10% |
|  |  | 100% |

Scoring Method

Tenders will be scored against each of the criteria above, according to the extent to which they meet the requirements of the tender. The meaning of each score is outlined in the table below.

The total score will be calculated by applying the weighting set against each criterion, outlined above; the maximum number of marks possible will be 100.  Should any contractor score 1 in any of the criteria, they will be excluded from the tender competition.

| Score | Description |
| --- | --- |
| 1 | Not Satisfactory: Proposal contains significant shortcomings and does not meet the required standard |
| 2 | Partially Satisfactory: Proposal partially meets the required standard, with one or more moderate weaknesses or gaps |
| 3 | Satisfactory: Proposal mostly meets the required standard, with one or more minor weaknesses or gaps. |
| 4 | Good: Proposal meets the required standard, with moderate levels of assurance |
| 5 | Excellent: Proposal fully meets the required standard with high levels of assurance |

Structure of Tenders

Contractors are strongly advised to structure their tender submissions to cover each of the criteria above and supply a price schedule specifying the daily rates (ex-VAT) you will charge for each level of your staff.

Evaluation for Interviews, if held

CCC reserves the right to award the contract based on applicants’ written evaluation only if one candidate emerges from the evaluation stage as significantly stronger than the others.

Should interviews go ahead, CCC will shortlist the top three suppliers with the highest marks from the written proposals. Interviews are provisionally expected to be held on Thursday October 26th. If this date changes, CCC will notify applicants.

The areas to be covered in the interview, and markings allocated to each topic area will be sent to the shortlisted supplier prior to interview.

Further details of interviews will be sent to successful applicants on selection.

Feedback

Feedback will be given in the unsuccessful letters or emails.

# Part C

SUPPLIER INFORMATION

Please complete the following information:-

All information supplied will be treated as Strictly Private and Confidential.  The information will be reviewed by the Evaluation Panel only and will not be divulged to other parties during the de-briefing stage, or at any other time.

| Supplier Information Concerning the provision of ………………………………………………………………………………… |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name of Company: |  |  |  |  |
| Address: |  |  |  |  |
| Contact Name: |  | Telephone Number: (Including STD Code) |  |  |
| Contact Title: |  | Facsimile Number: (Including STD Code) |  |  |
| Email and website Address: |  |  |  |  |
| Signed: |  | Dated: |  |  |

| SECTION C1 : ORGANISATION, MANDATORY AND FINANCIAL INFORMATION |  |  |  |  |
| --- | --- | --- | --- | --- |
| Note: Where a consortium bid is proposed, please present the information for each consortium member individually. |  |  |  |  |
| GENERAL INFORMATION Please enclose details of your organisation’s internal structure. A diagram would be helpful to support your answer. |  |  |  |  |
| - Is your organisation: (Please tick a box) |  |  |  |  |
|  | i) a public limited company; |  | Registration No: ____________________ |  |
|  | ii) a limited company; |  | Registration No: ____________________ |  |
|  | iii) a sole trader; |  |  |  |
|  | iii) a partnership; |  |  |  |
|  | iii) other, please specify; |  |  |  |

SECTION C2: MANDATORY INFORMATION REQUIREMENTS

Note: The information required in this section is a mandatory requirement for this quotation. Failure to provide the information may result in your bid being eliminated. Where a consortium bid is proposed, please present the information for each consortium member individually.

FINANCIAL REQUIREMENTS - Please note we will request from the proposed winner a set of the last year’s audited accounts (if these accounts are required under the law of the state in which your organisation is established) for your own organisation and the holding and/or ultimate parent and your organisation’s subsidiaries (if applicable). If you cannot provide the last year’s audited accounts, please provide a copy of your most recent business plan, budget or similar document. OR If the audited accounts are available online, please provide details of the web page address where the accounts are held so that the Authority can access the information. Web address: __________________________________ (your organisation) Web address: __________________________________ (holding / ultimate parent company)

SECTION C3: Evaluation Criteria and weighting

RELEVANT EXPERIENCE / DEMONSTRATION OF CABABILITY - 20% 1. Please describe the relevant principal areas of business activity of your organisation and the number of years you have been involved in this activity. Describe in detail, giving dates of your current and previous experience of comparable projects you have been awarded by public and private sector Clients and undertaken by your organisation in the past 5 years.

MANAGING YOUR RELATIONSHIP WITH THE CCC – 10% 2. Please describe how your organisation will manage its relationship with the CCC, including attendance at meeting and/or provision of progress reports and how communication between all levels of staff will be maintained.

QUALITY ASSURING THE SERVICES YOU PROVIDE – 10% 3. Please provide a brief plan of how you would monitor and maintain the quality of the services delivered (e.g. relevant Key Performance Indicators, risk management arrangements), including a statement of how you would ensure the key dates and deliverables are met. Please indicate whether in your opinion our timescales can be achieved.

MANAGEMENT STRUCTURE – 10% 4. Please briefly describe your proposed management and organisational structure for providing the services.

PROJECT TEAM – SKILLS AND KNOWLEDGE – 20% 5. Please provide details of the full project team, including a team structure, with an outline of roles and responsibilities and copies of proposed project team CV’s. Please also confirm whether project team members would be full time or part time on this contract and if part time, please specify time contributed to this project.

| SECTION C4: METHOD, ABILITY AND TECHNICAL CAPACITY – 10% |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Note: The purpose of the Method Statement is to enable us to evaluate your understanding of our requirements and the quality of your proposals for meeting them. |  |  |  |  |  |  |
| UNDERSTANDING OF REQUIREMENTS – 10% 1. Please provide a detailed statement of your understanding of the CCC’s requirements for this contract. |  |  |  |  |  |  |
| RISK AND CHALLENGES – 10% 2. What do you consider are the specific challenges for this project over the life of the contract and how do you propose to overcome these? |  |  |  |  |  |  |
| SECTION C5: SIGNATURE AND DATE |  |  |  |  |  |  |
| I hereby declare that the information provided herein is complete and accurate: |  |  |  |  |  |  |
| Signature: |  |  | Date: |  |  |  |
| Name (PRINT): |  |  |  |  |  |  |
| Job Title: |  |  |  |  |  |  |

# Part D

Pricing Information to be provided by bidder

Please provide a pricing schedule for the following:

- Consultancy Charge per day  - Please indicate here staff level (i.e. junior consultant, partner etc.), rate per day, the number of days the individual would be allocated to the contract and the number of hours worked per day.

- Any other costs – (please specify).

- Any discounts offered.

- Total cost of the Contract.

Notes:

- Please note that all Travel and Subsistence will be as per the Civil Service Standard i.e. standard class.

- V.A.T. will be separately indicated

- All priced bids must be in pounds sterling and any subsequent invoices resulting from a successful bid must also be in pounds sterling.

# Part E

CCC CONDITIONS OF CONTRACT FOR SERVICES

Please see the attachment referring to the Committee on Climate Change standard terms and conditions. Potential bidders are requested that they must make clear any issues they have with these standard terms and conditions as part of their bid.

See CCC (2008) Building a low-carbon economy, and CCC’s annual progress reports

See CCC (2015) The Fifth Carbon Budget

See CCC (2016) UK Climate Action following the Paris Agreement

See CCC (2016) Next Steps for UK Heat Policy

See Imperial College (2016) Managing Heat System Decarbonisation

See: CCC (2015) The Fifth Carbon Budget, CCC (2015) Power Sector Scenarios for the Fifth Carbon Budget, CCC (2013) The Fourth Carbon Budget Review.

For the hybrid heat pumps scenario, consultants should assume that heat demand can through either electricity or gas

CCC (2015) The Fifth Carbon Budget (Max scenario)

CCC (2015) The Fifth Carbon Budget (Barriers scenario)

Gas system cost analysis can draw from Frontier Economics (2016) Future Regulation of the Gas Grid for the CCC