Schedule A

### THE HEALTH AND SAFETY EXECUTIVE

STATEMENT OF REQUIREMENTS FOR THE PROVISION OF SUPPLY OF A Freeze Dryer Unit (t36 1516 freezer dryer system)

- THE HEALTH AND SAFETY EXECUTIVE (HSE)

1.1	The Health and Safety Executive (HSE) is a Crown non-departmental public body with specific statutory functions in relation to health and safety.  It is appointed by the Secretary of State for Work and Pensions and employs around 3500 staff including policy advisers, inspectors, technologists and scientific and medical advisers. HSE’s job is to prevent people being killed, injured or made ill by work.

  - HSE consists of a governing Board comprising of a Chair and nine non-executive members, all of whom are appointed by the Secretary of State for Work and Pensions after consultation with organisations representing employers, employees, local authorities and others, as appropriate.

1.3	HSE comprises various directorates and groups and is led by a senior management team.  The Health and Safety Laboratory (HSL), Chemicals Regulation Directorate (CRD) and Office for Nuclear Regulation (ONR) are also part of HSE.  HSE works from over 30 locations throughout Great Britain.

2.	Health & Safety Laboratory

The Health and Safety Laboratory (HSL) is Britain's leading industrial health and safety facility. Operating as part of the Health and Safety Executive (HSE), HSL supports HSE’s mission to protect people's health and safety by ensuring risks in the changing workplace are properly controlled.

3	Background

3.1	HSL requires a freeze-drying (or lyophilisation) capability for the concentration and preservation of biological samples.  Freeze-drying removes the water content from matrices, making them much more stable during long-term storage.  HSL currently uses this technology for the stabilisation of quality control samples (essential for maintaining analytical methods over years and demonstrating no deterioration in quality) and for the preservation of biological extracts used for immunoassay assays.  These extracts are labour-intensive to prepare and are often difficult to produce so preservation of existing stock is essential.

The current freeze dryer Edwards Modulyo system is over 25 years old and is no longer fit for purpose with components missing and a lack of capacity.  Replacement parts are no longer available. Offers for exchange / trade in or disposal will be considered.

4		Objectives

4.1	To source a compact and efficient freeze drying system suitable for processing relevant biological specimens.

5.	Specification

5.1	A bench top freeze dryer with temperature display as a minimum (vacuum display also would be desirable).  The system should be supplied with the following:

- Suitable vacuum pump to run the system

- A freeze drying chamber capable of adaptable shelving

- A vial stoppering device for standard 10 ml and 20 ml vials

- Capacity of at least 200 vials (10 ml)

- Capability or accessory for freeze-drying of samples in flasks (specify number and individual volume)

Please state whether shelves can be used unbalanced.  State whether temperature and pressure recording are available and whether standard or at additional cost.

6	Training

6.1	Sufficient on-site training following installation to allow full use and running of the system.

7	Delivery, Installation & Commissioning

7.1	HSL currently has laboratory benching measuring 180cm x 91 cm.  Please state whether the	instrument will fit on such benching. Please state the maximum load the bench must bear.

7.2	Please indicate what procedure required for delivery, installation and commissioning.

7.3	Specify electrical power supply and any gases (including purity and flowrates) required.

8	Safety Considerations

8.1	The system is required to emit no harmful substances, radiation or noise.  It is required to	meet all UK electrical and environmental regulations and operate in a laboratory temperature	range of 10 to 40 degrees Centigrade. Please include any necessary equipment to vent	emissions to ventilation system if appropriate.

9	Maintenance Agreement

9.	Provide an example quotation for a one year maintenance agreement (including all travel and	labour, based on unlimited callouts, but not parts).

- Warranty and Documentation

Customary warranty and or extended warranty to be offered.

All user manuals and copies of software and manuals should be received by HSL with the system hardware.

On warranty, HSL would like to achieve 24 month warranty period for the instrument as standard.