Schedule D

Tender Ref HSL/ T36 1516 Freeze Dryer System

Evaluation Criteria

Tenderers are required to demonstrate and provide evidence that meets or exceeds the specification (schedule A). Tender Submissions will be scored on the following criteria

| Score | Scoring of Tenders |
| --- | --- |
| 4 | Fully meets requirements and may offer a degree of additional benefits |
| 3 | Meets requirements, but with some minor reservations. |
| 2 | Meets some of the requirement, but with major reservations. |
| 1 | Unlikely to be able to deliver what HSE wants. |
| 0 | Cannot deliver what HSE wants or does not address the requirement. |

| Weighting | Description |
| --- | --- |
| 3 | Critical |
| 2 | Important |
| 1 | Standard |

See over page for evaluation  criteria table

Schedule D

Tender Ref HSL/ T36 1516 Freeze Dryer System

| Tender Evaluation - Scoring Criteria |  |  |  |
| --- | --- | --- | --- |
| Criteria | Score (0-4) | Weighting (1-3) | Weighted Score |
| Adaptable shelving – state minimum and maximum number of shelves plus minimum and maximum heights between shelves |  | 3 |  |
| Number of vials – state minimum and maximum number for both 10 ml and 20 ml vials |  | 3 |  |
| Sample flask capability – state number of ports and minimum and maximum volume of each flask |  | 3 |  |
| State pump-down time to operating temperature and pressure |  | 2 |  |
| Give an estimated cycle time for 200 vials (10 ml) containing 5 ml frozen (-20oC) urine |  | 2 |  |
| Specify temperature and pressure displays, logging capability etc |  | 2 |  |
| Warranty Period (24 Months) |  | 2 |  |
| Maintenance |  | 2 |  |
| On Site Training |  | 1 |  |
| Delivery |  | 1 |  |
|  |  | Total Score |  |