NML Martin Luther King Building Welfare Facilities Questions & Answers

Q - Please could you confirm the proposed works/location to the Wall mounted 110V power supply currently located in Office G.06?

A - The contractor will need to investigate the existing power installation within the proposed area. The proposed works in the currently located G6 Office will then need to be considered.

Q - Please could you confirm that JCL are to allow for FD 30 rating for doors?

A - No fire rating is required to the cubicle doors. As these doors require an undercut for ventilation purposes.

Q - Please could you provide as-builts to allow JCL to confirm location of SVP which we are proposing to break in to for the new toilet waste connections?

A - We do not have as-builts to confirm the location of SVP. The detail on drainage can be found at Appendix M of the Tender.

Q - Please could you confirm that the end toilet (near window) in the line of 3 no cubicles, is to have a door of 900mm wide? Drawing no. ‘2036/P-320’ contradicts and illustrates the door to be 800mm wide.

A - The end toilet (near the window) is to be 900mm wide. This toilet is proposed as an ambulant toilet.

Q - Can you clarify if you have employed the Architects FCB up to and including the construction stage and that Construction issue drawings will be issued to the successful contractor on appointment.

A - Listed Building Consent has been submitted to Liverpool City Council with the expiry date as 22 January 2021. We have worked closely with Liverpool City Council throughout this. Liverpool City Council have confirmed that we do not require a planning application for the toilet facilities.    The contractor will be responsible for the construction drawings as per the D&B contract.