****

**PURCHASE ORDER**

**Contract** **No:**  FLEET/00673

**Contract Name:**  Purchase of Jet Fuel Thermal Oxidation Tester and Ellipsometer Instruments plus service, calibration and support

**Dated:** 11th September 2018

Supply the Deliverables described in the Schedule to this Purchase Order, subject to the attached MOD Terms and Conditions for Less Complex Requirements (up to £118,133) (Edn. 02/18).

|  |  |
| --- | --- |
| **Contractor** | **Quality Assurance Requirements (Clause 8)** |
| Name: Integrated Scientific Limited    Registered Address:  3 Aspen Court, Aspen Way  Centurion Business Park  Templeborough  Rotheram  South Yorkshire  S60 1FB | AQAP 2120  DEF-STAN 05-61 PART 4  ASTM D3241 |
| **Consignor (if different from Contractor’s registered address)** | **Transport Instructions (Clause 10)** |
| N.A | To be Delivered by the Contactor to the address below:    Each consignment of the Deliverablesshall be accompanied by a Delivery Note |

|  |  |
| --- | --- |
| **Progress Meetings (Clause 13)** | **Progress Reports (Clause 13)** |
| The Contractor shall be required to attend the following meetings: **TBC**  Subject:  Frequency:  Location: | The Contractor is required to submit the following Reports: **TBC**  Subject:  Frequency:  Method of Delivery:  Delivery Address: |

|  |  |
| --- | --- |
| **Forms and Documentation** | **Supply of Hazardous Deliverables (Clause 9)** |
| Forms can be obtained from the following websites:  [https://www.aof.gov.uk/acquisition-operating-fframework/content/tactical/toolkit/index.htm](https://www.gov.uk/guidance/acquisition-operating-framework)  (Registration is required).  [https://www.gov.uk/government/organisations/ministry-of-defence/about/procurement#invoice-processing](https://www.gov.uk/government/organisations/ministry-of-defence/about/procurement" \l "invoice-processing)  [https://www.dstan.mod.uk](http://www.dstan.mod.uk/)  (Registration is required).  The MOD Forms and Documentation referred to in the Conditions are available free of charge from:  Ministry of Defence, Forms and Pubs Commodity Management  PO Box 2, Building C16, C Site  Lower Arncott  Bicester, OX25 1LP  (Tel. 01869 256197 Fax: 01869 256824)  Applications via email:    [DESLCSLS-OpsFormsandPubs@mod.uk](mailto:DESLCSLS-OpsFormsandPubs@mod.uk)  If you require this document in a different format (i.e. in a larger font) please contact the Authority’s Representative (Commercial Officer), detailed below. | A completed DEFFORM 68 and, if applicable, Safety Data Sheet(s) are to be provided by email with attachment(s) in Adobe PDF or MS WORD format to:  a. The Commercial Officer detailed in the Purchase Order, and  b. [DSA-DLSR-MovTpt-DGHSIS@mod.uk](mailto:DSEA-Land-MovTpt-DGHSIS@mod.uk)  by the following date:  or if only hardcopy is available to the addresses below:  Hazardous Stores Information System (HSIS)  Defence Safety Authority (DSA)  Movement Transport Safety Regulator (MTSR)  Hazel Building Level 1, #H019  MOD Abbey Wood (North)  Bristol BS34 8QW |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **DEFFORM 111**  **(Edn 11/17)**  **Appendix - Addresses and Other Information** | | | | |
|  | 1. **Commercial Officer:**   Name: Jack Grady  Address:  Room 303, 3rd Floor, Bldg 1/080, PP773A, Jago Road, HMNB Portsmouth, Hants, PO1 3LU  Email:  🕿 02392 722665 |  | **8. Public Accounting Authority:**  1. Returns under DEFCON 694 (or SC equivalent) should be sent to DBS Finance ADMT – Assets In Industry 1, Level 4 Piccadilly Gate, Store Street, Manchester, M1 2WD  🕿 44 (0) 161 233 5397  2. For all other enquiries contact DES Fin FA-AMET Policy, Level 4 Piccadilly Gate, Store Street, Manchester, M1 2WD  🕿 44 (0) 161 233 5394 |  |
|  | | | | |
|  | 1. **Project Manager, Equipment Support Manager or PT Leader** (from whom technical information is available):   Name:  Address: 1710 NAS, Unicorn Building PP88, Unicorn Road, HM Naval Base Portsmouth, PO1 3GX    Email:  🕿 02392 722614 |  | **9. Consignment Instructions:**  The items are to be consigned as follows:    See Schedule of Requirement |  |
|  | | | | |
|  | 1. **Packaging Design Authority:**   Organisation and point of contact:  DES IMOC SCP TLS Packaging  MOD Abbey Wood,  Bristol, BS34 8JH  Tel: +44(0)30 679 35353  DESIMOCSCP-TLS-Pkg@mod.uk  (where no address is shown please contact the Project Team in Box 2)  🕿 |  | **10. Transport.** The appropriate Ministry of Defence Transport Offices are:  A**. DSCOM**, DE&S, DSCOM, MoD Abbey Wood, Cedar 3c, Mail Point 3351, BRISTOL BS34 8JH  Air Freight Centre  IMPORTS 🕿 030 679 81113 / 81114 Fax 0117 913 8943  EXPORTS 🕿 030 679 81113 / 81114 Fax 0117 913 8943  Surface Freight Centre  IMPORTS 🕿 030 679 81129 / 81133 / 81138 Fax 0117 913 8946  EXPORTS 🕿030 679 81129 / 81133 / 81138 Fax 0117 913 8946  B. **JSCS**  JSCS Helpdesk 🕿 01869 256052 (option 2, then option 3); JSCS Fax No 01869 256837 www.freightcollection.com |  |
|  | | |
|  | 1. **(a) Supply/Support Management Branch or Order Manager**   **Branch/Name:** 1710 NAS    🕿 02392 722614  **(b) U.I.N. N5618N** |  |
|  | | | | |
|  | 1. **Drawings/Specifications are available from:**   N/A |  | **11. The Invoice Paying Authority:**  Ministry of Defence 🕿 0151-242-2000  DBS Finance  Walker House, Exchange Flags Fax: 0151-242-2809  Liverpool, L2 3YL **Website is:** <https://www.gov.uk/government/organisations/ministry-of-defence/about/procurement#invoice-processing> |  |
|  | | |
|  | 1. **Intentionally Left Blank** |  |
|  | | | | |
|  | 1. **Quality Assurance Representative:**     Commercial staff are reminded that all Quality Assurance requirements should be listed under the General Contract Conditions.    **AQAPS** and **DEF STANs** are available from UK Defence Standardization, for access to the documents and details of the helpdesk visit <http://dstan.uwh.diif.r.mil.uk/> [intranet] or <https://www.dstan.mod.uk/> [extranet, registration needed] |  | **12. Forms and Documentation are available through \*:**  Ministry of Defence, Forms and Pubs Commodity Management  PO Box 2, Building C16, C Site  Lower Arncott  Bicester, OX25 1LP (Tel. 01869 256197 Fax: 01869 256824)  **Applications via fax or email:** [DESLCSLS-OpsFormsandPubs@mod.uk](mailto:DESLCSLS-OpsFormsandPubs@mod.uk). |  |
|  |  | | |
|  |  | **\* NOTE**  **1.** Many **DEFCONs** and **DEFFORMs** can be obtained from the MOD Internet Site: <https://www.aof.mod.uk/aofcontent/tactical/toolkit/index.htm>  2. If the required forms or documentation are not available on the MOD Intranet site requests should be submitted through the Commercial Officer named in Section 1. |  |
|  | | | | |
|  | | | | |

|  |
| --- |
| **Contractor’s Commercially Sensitive Information (Clause 4). Not to be Published** |
| Description of Contractor’s Commercially Sensitive Information: |
| Cross reference to location of sensitive information: |
| Explanation of Sensitivity: |
| Details of potential harm resulting from disclosure: |
| Period of Confidence (if Applicable): |
| Contact Details for Transparency / Freedom of Information matters:  Name:  Position:  Address:  Telephone Number:  E-Mail Address: |
|  |

|  |  |
| --- | --- |
| **Offer and Acceptance** | |
| A) The Purchase Order constitutes an offer by the Contractor to supply the Deliverables. This is open for acceptance by the Authority for       days from the date of signature. By signing the Purchase Order the Contractor agrees to be bound by the attached Terms and Conditions for Less Complex Requirements (up to £118,133)  Name (Block Capitals):  Position:  For and on behalf of the Contractor:  Authorised Signatory ……………………………..  Date: | B) Acceptance  Name (Block Capitals):  Position:  For and on behalf of the Authority:  Authorised Signatory …………………………….  Date: |
| C) **Effective Date of Contract**: 05/12/2018 | |

**SCHEDULE OF REQUIREMENTS** **FLEET/00673 FOR THE SUPPLY OF** **Purchase of Jet Fuel Thermal Oxidation Tester and Ellipsometer Instruments plus service, calibration and support for 5 years**

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Deliverables** | | | | | | | | | |
| **Item Number** | **MOD Stock Reference No.** | **Part No. (where applicable)** | **Specification** | **Consignee Address Code**  (as detailed in DEFFORM 96 full address below) | **Packaging Requirements inc. PPQ and DofQ** (as detailed in DEFFORM 96) | **Delivery Date** | **Total Qty** | **Firm Price (£) Ex VAT** | |
| **Per Item** | **Total inc. packaging**  **(and delivery if specified in the Purchase Order)** |
| 1 |  |  | Jet Fuel Thermal Oxidation Tester & Instrument Software | XY | 00 |  | 1 |  |  |
| 2 |  |  | Ellipsometric Tube Rater & Instrument Software | XY | 00 |  | 1 |  |  |
| 3 |  |  | Year 2 Service Contract |  | N/A |  | 1 |  |  |
| 4 |  |  | Year 3 Service Contract |  | N/A |  | 1 |  |  |
| 5 |  |  | Year 4 Service Contract |  | N/A |  | 1 |  |  |
| 6 |  |  | Year 5 Service Contract |  | N/A |  | 1 |  |  |
|  |  |  |  |  |  |  |  | **Total Firm Price** |  |

|  |  |
| --- | --- |
| **XY – Consignee Address** | **1710 NAS, Unicorn Building PP88, Unicorn Road, HM Naval Base Portsmouth, PO1 3GX** |

**TECHNICAL SPECIFICATION FOR A JET FUEL THERMAL OXIDATION TESTER AND ELLIPSOMETRIC TUBE RATER FOR 1710 NAVAL AIR SQUADRON**

1. **General Requirement**

1.0 The following technical specification refers to two separate instruments: a jet fuel thermal oxidation tester and an ellipsometric tube rater. Both instruments are required in order to generate results which conform to ASTM D3241.

JET FUEL THERMAL OXIDATION TESTER

1.1 The instrument shall be capable of measuring the high temperature stability of aviation turbine fuels in accordance with the current version of ASTM D3241 (Standard Test Method for Thermal Oxidation Stability of Aviation Turbine Fuels)

1.2 The instrument shall meet the critical operational characteristics as detailed in Table 2 of the current version of ASTM D3241.

1.3 The instrument must be bench mountable, of a size no bigger than 1m3 and weigh no more than 90Kg.

1.4 The instrument must be pressurised hydraulically, cooled using an internal system and shut down automatically after test completion.

1.5 Preference will be given to instruments with simplified operation for activities including sample aeration, pump priming and flow monitoring.

1.6 The instrument must be able to operate from the following voltage supply: 220 to 240V AC, 50 to 60 Hz and must be fitted with standard UK plug in accordance with BS 1363.

ELLIPSOMETRIC TUBE RATER

1.7 The instrument must be capable of rating aluminium heater tubes as specified by the current version of ASTM D3241, Annex 3.

1.8 The instrument must be suitable for use with all aluminium heater tubes and all thermal oxidation stability instrument types specified in the current version of ASTM D3241.

1.9 The instrument must be capable of measuring deposit depth in the range of 0 to 300nm minimum.

1.10 The tender must include a statement on the precision of the instrument at 85nm, which should be less than or equal to 2.00 nm (repeatability) and 4.15 nm (reproducibility).

1.11 The tender must include a statement on the method to verify the operation of the instrument (see instrument support 3.2.4).

1.12 The instrument must be bench mountable, of a size no bigger than 1m3 and weigh no more than 40Kg.

1.13 The instrument must be able to operate from the following voltage supply: 220 to 240V AC, 50 to 60 Hz and must be fitted with standard UK plug in accordance with BS 1363.

2. **Instrument Software**

JET FUEL THERMAL OXIDATION TESTER

2.1 Instrument software must include the means to edit relevant instrument test parameters including experimental test temperature and test time.

2.2 The software must include functions for data management including copying, deleting, archiving and printing.

2.3 Software updates shall be supplied as they become available.

ELLIPSOMETRIC TUBE RATER

2.4 The software must be able to sufficiently identify the heater tube tested and include functions for data management including copying, deleting, archiving and printing.

2.5 Test results must include as a minimum:

2.5.1 Sample identification.

2.5.2 Maximum average 2.5mm2 deposit thickness in nm.

2.5.3 Deposit volume in mm3.

2.5.4 3D graphical display of the results.

2.6 Software updates shall be supplied as they become available.

3. **Instrument Support**

3.1 The instruments will be supplied with a 12 month warranty and tenders must include a description of the warranty offered.

3.2. The tender must include the cost of a service contract for an additional 4 years and the service contract shall include the following elements:

3.2.1 A fault reporting service must be available Monday to Friday during office hours (0800 to 1700) with a response time of 48 hours from logging a call to an engineer being on-site, or available to offer advice on remedial action to remedy the fault.

3.2.2 At least the minimum required scheduled preventative maintenance /instrument service/calibration, service parts and travel costs shall be included.

3.2.3 A price list for associated consumable items such as filters, elastomer O-rings, heater tubes etc.

3.2.4 The instruments must be provided with all necessary verification materials, as per ASTM D3241 Annex 3 3.5.1 and 3.8.1.

3.3 The instruments must come with comprehensive manuals describing the full capabilities and user maintenance of the system.

3.4 The manufacturer must state the length of time the company intend to offer maintenance support/replacement parts for the instruments.

4. **Delivery, Installation, Commissioning and Training**

4.1 The instruments shall be supplied with all manuals, tools, adapters, initial consumables and replacement parts required for normal use and user maintenance.

4.2 Installation and commissioning of the instruments will be the responsibility of the supplier or their representative.

4.3 After installation the tender must include the cost of on-site training to cover instrument operation and instrument maintenance for up to x3 1710 NAS personnel.

**SC1A  
(Edn 05/18)**



**MOD Terms and Conditions for Less Complex Requirements**

**1 Definitions - In the Contract:**

**The Authority** means the Secretary of State for Defence of the United Kingdom of Great Britain and Northern Ireland, (referred to in this document as "the Authority"), acting as part of the Crown;

**Business Day** means 09:00 to 17:00 Monday to Friday, excluding public and statutory holidays;

**Contract** means the agreement concluded between the Authority and the Contractor, including all terms and conditions, associated purchase order, specifications, plans, drawings, schedules and other documentation, expressly made part of the agreement in accordance with Clause 2.c;

**Contractor** means the person, firm or company specified as such in the purchase order;

**Contractor Commercially Sensitive Information** means the information listed as such in the purchase order, which is information notified by the Contractor to the Authority, which is acknowledged by the Authority as being commercially sensitive;

**Contractor Deliverables** means the goods and / or services including packaging (and supplied in accordance with any QA requirements if specified) which the Contractor is required to provide under the Contract in accordance with the schedule to the purchase order;

**Effective Date of Contract** means the date stated on the purchase order or, if there is no such date stated, the date upon which both Parties have signed the purchase order;

**Firm Price** means a price excluding Value Added Tax (VAT) which is not subject to variation;

**Hazardous Contractor Deliverable** means a Contractor Deliverable or a component of a Contractor Deliverable that is itself a hazardous material or substance or that may in the course of its use, maintenance, disposal, or in the event of an accident, release one or more hazardous materials or substances and each material or substance that may be so released;

**Legislation** means in relation to the United Kingdom any Act of Parliament, any subordinate legislation within the meaning of section 21 of the Interpretation Act 1978, any exercise of Royal Prerogative or any enforceable community right within the meaning of Section 2 of the European Communities Act 1972.

**Notices**  means all notices, orders, or other forms of communication required to be given in writing under or in connection with the Contract;

**Parties** means the Contractor and the Authority, and Party shall be construed accordingly;

**Transparency Information** means the content of this Contract in its entirety, including from time to time agreed changes to the Contract, and details of any payments made by the Authority to the Contractor under the Contract.

**2 General**

a. The Contractor shall comply with all applicable Legislation, whether specifically referenced in this Contract or not.

b. Any variation to the Contract shall have no effect unless expressly agreed in writing and signed by both Parties.

c. If there is any inconsistency between these terms and conditions and the purchase order or the documents expressly referred to therein, the conflict shall be resolved according to the following descending order of priority:

(1) the terms and conditions;

(2) the purchase order; and

(3) the documents expressly referred to in the purchase order.

d. Neither Party shall be entitled to assign the Contract (or any part thereof) without the prior written consent of the other Party.

e. Failure or delay by either Party in enforcing or partially enforcing any provision of the Contract shall not be construed as a waiver of its rights under the Contract.

f. The Parties to the Contract do not intend that any term of the Contract shall be enforceable by virtue of the Contracts (Rights of Third Parties) Act 1999 by any person that is not a Party to it.

g. The Contract and any non-contractual obligations arising out of or in connection with it shall be governed by and construed in accordance with English Law, and subject to Clause 15 and without prejudice to the dispute resolution procedure set out therein, the Parties submit to the exclusive jurisdiction of the English courts. Other jurisdictions may apply solely for the purpose of giving effect to this Clause 2.g and for enforcement of any judgement, order or award given under English jurisdiction.

**3 Application of Conditions**

a. The purchase order, these terms and conditions and the specification govern the Contract to the entire exclusion of all other terms and conditions. No other terms or conditions are implied.

b. The Contract constitutes the entire agreement and understanding and supersedes any previous agreement between the Parties relating to the subject matter of the Contract.

**4 Disclosure of Information**

Disclosure of information under the Contract shall be managed in accordance with DEFCON 531 (SC1).

**5 Transparency**

a. Subject to Clause 5.b, but notwithstanding Clause 4, the Contractor understands that the Authority may publish the Transparency Information to the general public. The Contractor shall assist and cooperate with the Authority to enable the Authority to publish the Transparency Information.

b. Before publishing the Transparency Information to the general public in accordance with Clause 5.a, the Authority shall redact any information that would be exempt from disclosure if it was the subject of a request for information under the Freedom of Information Act 2000 or the Environmental Information Regulations 2004, including the Contractor Commercially Sensitive Information.

c. The Authority may consult with the Contractor before redacting any information from the Transparency Information in accordance with Clause 5.b. The Contractor acknowledges and accepts that its representations on redactions during consultation may not be determinative and that the decision whether to redact information is a matter in which the Authority shall exercise its own discretion, subject always to the provisions of the Freedom of Information Act 2000 or the Environmental Information Regulations 2004.

d. For the avoidance of doubt, nothing in this Clause 5 shall affect the Contractor’s rights at law.

**6 Notices**

a. A Notice served under the Contract shall be:

(1) in writing in the English Language;

(2) authenticated by signature or such other method as may be agreed between the Parties;

(3) sent for the attention of the other Party’s representative, and to the address set out in the purchase order;

(4) marked with the number of the Contract; and

(5) delivered by hand, prepaid post (or airmail), facsimile transmission or, if agreed in the purchase order, by electronic mail.

b. Notices shall be deemed to have been received:

(1) if delivered by hand, on the day of delivery if it is a Business Day in the place of receipt, and otherwise on the first Business Day in the place of receipt following the day of delivery;

(2) if sent by prepaid post, on the fourth Business Day (or the tenth Business Day in the case of airmail) after the day of posting;

(3) if sent by facsimile or electronic means:

(a) if transmitted between 09:00 and 17:00 hours on a Business Day (recipient’s time) on completion of receipt by the sender of verification of the transmission from the receiving instrument; or

(b) if transmitted at any other time, at 09:00 on the first Business Day (recipient’s time) following the completion of receipt by the sender of verification of transmission from the receiving instrument.

**7 Intellectual Property**

a. The Contractor shall as its sole liability keep the Authority fully indemnified against an infringement or alleged infringement of any intellectual property rights or a claim for Crown use of a UK patent or registered design caused by the use, manufacture or supply of the Contractor Deliverables.

b. The Authority shall promptly notify the Contractor of any infringement claim made against it relating to any Contractor Deliverable and, subject to any statutory obligation requiring the Authority to respond, shall permit the Contractor to have the right, at its sole discretion to assume, defend, settle or otherwise dispose of such claim. The Authority shall give the Contractor such assistance as it may reasonably require to dispose of the claim and will not make any statement which might be prejudicial to the settlement or defence of the claim

**8 Supply of Contractor Deliverables and Quality Assurance**

a. This Contract comes into effect on the Effective Date of Contract.

b. The Contractor shall supply the Contractor Deliverables to the Authority at the Firm Price stated in the Schedule to the purchase order.

c. The Contractor shall ensure that the Contractor Deliverables:

(1) correspond with the specification;

(2) are of satisfactory quality (within the meaning of the Sale of Goods Act 1979, as amended) except that fitness for purpose shall be limited to the goods being fit for the particular purpose held out expressly by or made known expressly to the Contractor and in this respect the Authority relies on the Contractor’s skill and judgement; and

(3) comply with any applicable Quality Assurance Requirements specified in the purchase order.

d. The Contractor shall apply for and obtain any licences required to import any material required for the performance of the Contract in the UK. The Authority shall provide to the Contractor reasonable assistance with regard to any relevant defence or security matter arising in the application for any such licence.

**9 Supply of Hazardous Contractor Deliverables**

a. The Contractor shall establish if the Contractor Deliverables are, or contain, Dangerous Goods as defined in the Regulations set out in this Clause 9. Any that do shall be packaged for UK or worldwide shipment by all modes of transport in accordance with the following unless otherwise specified in the Schedule to the purchase order:

(1) the Technical Instructions for the Safe Transport of Dangerous Goods by Air (ICAO), IATA Dangerous Goods Regulations;

(2) the International Maritime Dangerous Goods (IMDG) Code;

(3) the Regulations Concerning the International Carriage of Dangerous Goods by Rail (RID); and

(4) the European Agreement Concerning the International Carriage of Dangerous Goods by Road (ADR).

b. Certification markings, incorporating the UN logo, the package code and other prescribed information indicating that the package corresponds to the successfully designed type shall be marked on the packaging in accordance with the relevant regulation.

c. As soon as possible and in any event within the period specified in the purchase order (or if no such period is specified no later than one month prior to the delivery date), the Contractor shall provide to the Authority’s representatives in the manner and format prescribed in the purchase order:

(1) confirmation as to whether or not to the best of its knowledge any of the Contractor Deliverables are Hazardous Contractor Deliverables; and

(2) for each Hazardous Contractor Deliverable, a Safety Data Sheet containing the data set out at Clause 9.d, which shall be updated by the Contractor during the period of the Contract if it becomes aware of any new relevant data.

d. Safety Data Sheets if required under Clause 9.c shall be provided in accordance with the REACH Regulations (EC) No 1907/2006 and any additional information required by the Health and Safety at Work etc. Act 1974 and shall contain:

(1) Information required by the Chemicals (Hazardous Information and Packaging for Supply) (CHIP) Regulations 2009 and / or the Classification, Labelling and Packaging (CLP) Regulation 1272/2008 (whichever is applicable) or any replacement thereof; and

(2) where the Hazardous Contractor Deliverable is, contains or embodies a radioactive substance as defined in the Ionising Radiation Regulations SI 1999/3232, details of the activity, substance and form (including any isotope); and

(3) where the Hazardous Contractor Deliverable has magnetic properties, details of the magnetic flux density at a defined distance, for the condition in which it is packed.

e. The Contractor shall retain its own copies of the Safety Data Sheets provided to the Authority in accordance with Clause 9.d for 4 years after the end of the Contract and shall make them available to the Authority’s representatives on request.

f. Nothing in this Clause 9 reduces or limits any statutory or legal obligation of the Authority or the Contractor.

**10 Delivery / Collection**

a. The purchase order shall specify whether the Contractor Deliverables are to be delivered to the consignee by the Contractor or collected from the consignor by the Authority.

b. Title and risk in the Contractor Deliverables shall pass from the Contractor to the Authority on delivery or on collection in accordance with Clause 10.a.

c. The Authority shall be deemed to have accepted the Contractor Deliverables thirty (30) days after title and risk has passed to the Authority unless it has rejected the Contractor Deliverables within the same period.

**11 Marking of Contractor Deliverables**

a. The Contractor shall ensure that each Contractor Deliverable is marked clearly and indelibly:

(1) in accordance with the requirements specified in the purchase order, or if no such requirement is specified, with the MOD stock reference number, NATO Stock Number (NSN) or alternative reference number specified in the Schedule to the purchase order;

(2) where the Contractor Deliverable has a limited shelf life, the marking shall include: the expiry date / date of manufacture, expressed as specified in the purchase order, or in the absence of such requirement, as month (letters) and year (last two figures); and

(3) ensure that any marking method used does not have a detrimental effect on the strength, serviceability or corrosion resistance of the Contractor Deliverables.

b. Where it is not possible to mark a Contractor Deliverable with the required particulars, these should be included on the package in which the Contractor Deliverable is packed.

**12 Packaging and Labelling of Contractor Deliverables (Excluding Contractor Deliverables Containing Ammunition or Explosives)**

The Contractor shall pack or have packed the Contractor Deliverables in accordance with any requirements specified in the purchase order and Def Stan 81-041 (Part 1 and Part 6).

**13 Progress Monitoring, Meetings and Reports**

The Contractor shall attend progress meetings and deliver reports at the frequency or times (if any) specified in the purchase order and shall ensure that its Contractor’s representatives are suitably qualified to attend such meetings.

**14**  **Payment**

a. Payment for Contractor Deliverables will be made by electronic transfer and prior to submitting any claims for payment under clause 14b the Contractor will be required to register their details (Supplier on-boarding) on the Contracting, Purchasing and Finance (CP&F) electronic procurement tool.

b. Where the Contractor submits an invoice to the Authority in accordance with clause 14a, the Authority will consider and verify that invoice in a timely fashion.

c. The Authority shall pay the Contractor any sums due under such an invoice no later than a period of 30 days from the date on which the Authority has determined that the invoice is valid and undisputed.

d. Where the Authority fails to comply with clause 14b and there is undue delay in considering and verifying the invoice, the invoice shall be regarded as valid and undisputed for the purpose of clause 14c after a reasonable time has passed.

e. The approval for payment of a valid and undisputed invoice by the Authority shall not be construed as acceptance by the Authority of the performance of the Contractor’s obligations nor as a waiver of its rights and remedies under this Contract.

f. Without prejudice to any other right or remedy, the Authority reserves the right to set off any amount owing at any time from the Contractor to the Authority against any amount payable by the Authority to the Contractor under the Contract or under any other contract with the Authority, or with any other Government Department.

**15 Dispute Resolution**

a. The Parties will attempt in good faith to resolve any dispute or claim arising out of or relating to the Contract through negotiations between the respective representatives of the Parties having authority to settle the matter, which attempts may include the use of any alternative dispute resolution procedure on which the Parties may agree.

b. In the event that the dispute or claim is not resolved pursuant to Clause 15.a the dispute shall be referred to arbitration and shall be governed by the Arbitration Act 1996. For the purposes of the arbitration, the arbitrator shall have the power to make provisional awards pursuant to Section 39 of the Arbitration Act 1996.

**16 Termination for Corrupt Gifts**

The Authority may terminate the Contract with immediate effect, without compensation, by giving written notice to the Contractor at any time after any of the following events:

a. where the Authority becomes aware that the Contractor, its employees, agents or any sub-contractor (or anyone acting on its behalf or any of its or their employees):

(1) has offered, promised or given to any Crown servant any gift or financial or other advantage of any kind as an inducement or reward;

(2) commits or has committed any prohibited act or any offence under the Bribery Act 2010 with or without the knowledge or authority of the Contractor in relation to this Contract or any other contract with the Crown;

(3) has entered into this or any other contract with the Crown in connection with which commission has been paid or has been agreed to be paid by it or on its behalf, or to its knowledge, unless before the contract is made particulars of any such commission and of the terms and conditions of any such agreement for the payment thereof have been disclosed in writing to the Authority.

b. In exercising its rights or remedies to terminate the Contract under Clause 16.a. the Authority shall:

(1) act in a reasonable and proportionate manner having regard to such matters as the gravity of, and the identity of the person committing the prohibited act;

(2) give due consideration, where appropriate, to action other than termination of the Contract, including (without being limited to):

(a) requiring the Contractor to procure the termination of a subcontract where the prohibited act is that of a Subcontractor or anyone acting on its or their behalf;

(b) requiring the Contractor to procure the dismissal of an employee (whether its own or that of a Subcontractor or anyone acting on its behalf) where the prohibited act is that of such employee.

c. Where the Contract has been terminated under Clause 16.a.the Authority shall be entitled to purchase substitute Contractor Deliverables from elsewhere and recover from the Contractor any costs and expenses incurred by the Authority in obtaining the Contractor Deliverables in substitution from another supplier.

**17 Material Breach**

In addition to any other rights and remedies, the Authority shall have the right to terminate the Contract (in whole or in part) with immediate effect by giving written notice to the Contractor where the Contractor is in material breach of its obligations under the Contract. Where the Authority has terminated the Contract under Clause 17 the Authority shall have the right to claim such damages as may have been sustained as a result of the Contractor’s material breach of the Contract.

**18 Insolvency**

The Authority shall have the right to terminate the contract if the Contractor is declared bankrupt or goes into liquidation or administration. This is without prejudice to any other rights or remedies under this Contract.

**19 Limitation of Contractor's Liability**

1. Subject to Clause 19.b the Contractor's liability to the Authority in connection with this Contract shall be limited to £5m (five million pounds).
2. Nothing in this Contract shall operate to limit or exclude the Contractor's liability:

(1) for:

1. any liquidated damages (to the extent expressly provided for under this contract);
2. any amount (s) which the Authority is entitled to claim, retain or withhold in relation to the Contractor's failure to perform or under-perform its obligations under this Contract, including service credits or other deductions (to the extent expressly provided for under this Contract);
3. any interest payable in relation to the late payment of any sum due and payable by the Contractor to the Authority under this contract;
4. any amount payable by the Contractor to the Authority in relation to TUPE or pensions to the extent expressly provided for under this Contract;

(2) under Condition 7 of the Contract (Intellectual Property), and DEFCONs 91 or 638 (SC1) where specified in the Contract;

(3) for death or personal injury caused by the Contractor's negligence or the negligence of any of its personnel, agents, consultants or sub-contractors;

(4) for fraud, fraudulent misrepresentation, wilful misconduct or negligence

(5) in relation to the termination of this Contract on the basis of abandonment by the Contractor;

(6) for breach of the terms implied by Section 2 of the Supply of Goods and Services Act 1982; or

(7) for any other liability which cannot be limited or excluded under general (including statute and common) law.

c. The rights of the Authority under this Contract are in addition to, and not exclusive of, any rights or remedies provided by general (including statute and common) law

**20 The project specific DEFCONs and DEFCON SC variants that apply to this Contract are:**

DEFCON 531 (SC1)

DEFCON 532B

**21 The special conditions that apply to this Contract are:** N/A

**22 The processes that apply to this Contract are:** N/A

# Schedule 1 – Additional Definitions of Contract

LEFT INTENTIONNALY BLANK